QUESTION 1:

PZS4-1.  On page 8 of Appendix A of Ms. Fung’s Testimony, a breakdown of the backbone transmission and local transmission miles is provided with 1,933 miles for backbone transmission and 954 miles for local transmission, for a total of 2,887 miles for SoCalGas.  SDG&E is shown as consisting of 170 miles.  Page 7 of Appendix A of Ms. Fung’s Testimony provides the backbone and local transmission system identified by pipeline numbers and a footnote asterisk below indicates that SDG&E’s transmission is 100% backbone per Mr. Bisi’s testimony in A.04-12-004.

- Please confirm whether all the non-local transmission facilities identified by numbered pipelines add up to the 1,933 miles of SoCalGas backbone transmission pipeline facilities, and indicate the design operating pressures for these backbone transmission pipeline facilities in terms of pounds per square inch gauge (psig).

- Please confirm whether all of the 1,933 miles of backbone transmission in Appendix A interconnect with an interstate pipeline from which SoCalGas receives gas and transports that gas to SoCalGas’ load centers and/or storage facilities.  If not, please explain your response.

- Please confirm whether all of the non-backbone numbered pipeline facilities in Appendix A add up and correspond to the 954 miles of SoCalGas local transmission pipelines and indicate the design operating pressures for these local transmission pipeline facilities in terms of psig.

- Please indicate the design operating pressures at which SoCalGas’ gas transportation facilities would be classified as distribution facilities.

- Please confirm whether all the backbone numbered pipeline facilities in Appendix A under the column for SDG&E’s backbone add up and correspond to SDG&E’s 170 miles and indicate the design operating pressures for these backbone numbered pipeline facilities in terms of psig.

- Please confirm whether all of the 170 miles of SDG&E’s backbone numbered pipelines interconnect with an interstate pipeline from which it receives gas and transports that gas to SDG&E’s load centers and/or any storage facilities.  If not, please explain your response.

- Please indicate the design operating pressures at which SDG&E’s gas transportation facilities would be classified as local transmission facilities in terms of psig, and state how many miles of such local transmission facilities are in SDG&E’s system.

- Please indicate the design operating pressures at which SDG&E’s gas transportation facilities would be classified as distribution facilities in terms of psig, and state how many miles of such distribution facilities are in SDG&E’s system.

RESPONSE 1:

- Yes, SoCalGas/SDG&E interpret the request for the “design operating pressure” as the rated Maximum Allowable Operating Pressure (MAOP).  The MAOP for the backbone transmission pipelines listed in Appendix A of Ms. Fung’s testimony is provided in the attached Excel file:

The Attached Confidential Excel file was provided under the Confidential Provisions of General Order 66-C and Section 583 of the Public Utilities Code.

- Examining just the individual pipelines listed in Appendix A of Ms. Fung’s testimony, it would be incorrect to characterize all of the backbone transmission pipelines as interconnecting directly with an interstate pipeline.  First, backbone pipelines do not receive their gas supplies only from interstate pipelines, but also from the California producers.  Further, many backbone pipelines receive their gas supplies from other backbone pipelines, these of which may interconnect with interstate pipelines, California producers, or other backbone pipelines.  However, they are still designated as backbone because they serve the function of a backbone pipeline, namely to “transport gas supplies received from the interstate pipelines and from California producers to the local transmission pipeline system or to the storage fields” (from Mr. Bisi’s testimony in A.04-12-004).  In this definition, “gas supplies received” is not intended to imply only directly, but rather could mean indirectly as well through a network of backbone pipelines.

- Yes.  SoCalGas/SDG&E interpret this request for “non-backbone numbered pipeline facilities” as a request for data regarding the local transmission facilities listed in Appendix A of Ms. Fung’s testimony.  SoCalGas/SDG&E further interpret the request for the “design operating pressure” as the rated Maximum Allowable Operating Pressure (MAOP).  The MAOP for the local transmission pipelines listed in Appendix A of Ms. Fung’s testimony is provided in the attached Excel file:

The Attached Confidential Excel file was provided under the Confidential Provisions of General Order 66-C and Section 583 of the Public Utilities Code.

- SoCalGas/SDG&E do not distinguish pipeline facilities as being either transmission or distribution by design operating pressures.

- Please refer to Response 1(a) of this data request.

- Please refer to Response 1(b) of this data request.

- Please refer to Response 1(d) of this data request.  As stated in Ms. Fung’s testimony, SDG&E has no pipelines that would be classified as local transmission at this time.

- Please refer to Response 1(d) of this data request.  SDG&E has 8345 miles of distribution pipeline.

QUESTION 2:

PZS4-2.  The Workpaper for Table 3 of Ms. Fung’s testimony shows that a total of 1957 MMcfd of demand on SoCalGas’ system is direct connect demand, while a total of 3676 MMcfd of demand on SoCalGas’ system is transported demand, for a combined total of 5634 MMcfd of total demand on the SoCalGas system.

- Please explain whether all of the 1933 miles of SoCalGas’ backbone numbered pipelines serve the total 5634 MMcfd of demand on SoCalGas system.  In your response, please clarify whether any portion of SDG&E’s 170 miles of backbone serve the total 5634 MMcfd of demand.

- Please indicate which of the 1933 miles of SoCalGas’ backbone numbered pipeline facilities serve the direct connect demand.  In your response, please clarify whether any portion of SDG&E’s 170 miles of backbone serve the direct connect demand shown in the workpaper for Table 3.

RESPONSE 2:

- The 5634 MMcfd of demand is the 1-in-10 year cold day demand for the entire SoCalGas/SDG&E system.  As such, all pipelines identified for both SoCalGas and SDG&E in Ms. Fung’s workpaper serve this demand.

- Pipelines which serve direct connect demand are provided in the attached Excel file:

QUESTION 3:

PZS4-3.  Page 3 at lines 5-7 of Ms. Fung’s Testimony states “Therefore, the utilities have reallocated 24% of the embedded cost of backbone transmission to the local transmission function.”

- Please provide the impact of the utilities’ proposed reallocation of 24% of the embedded cost of backbone transmission to the local transmission function in terms of total embedded cost of the local transmission in US dollar amount and the average local transmission rate to the core and noncore customers of SoCalGas and SDG&E.  In your response, please show a “before and after” comparison for the local transmission that results from the proposed 24% reallocation.

- Please discuss how your response in (a) above would impact end-use customers in terms of end-use rates.

- Based on your responses in (a) and (b) above, please provide the corresponding excel spreadsheets that show how you arrived at the calculations indicated.

- Please clarify whether the impact of the proposed reallocation to the local transmission function would take place in the same year the new backbone transmission rate would be implemented.  Please explain your response, including providing a reference to your application where you discuss the impact of the proposed 24% reallocation to local transmission customers and end-use customers.

RESPONSE 3:

- Impact of the utilities’ proposed reallocation of 24% of the embedded cost of backbone transmission to the local transmission function:

- The response to (a) would impact end-use rates by:

1) SoCalGas core rates would decrease the distribution/local transmission rate ($0.00518)/therm compared to the proposed amount. This would be offset by an increase in the backbone rate of $0.03103/dth/day.

2) SoCalGas’ noncore rates would decrease by ($0.00240/therm) compared to the proposed amount. This would be offset by an increase in the backbone rate of $0.03103/dth/day.

- Excel spreadsheets used in response (a) and (b):

Instructions:
These files are linked together through the worksheet tab “RUN”. This worksheet is the last tab in both files. You will need to re-link the files if you wish to re-run the rates under different assumptions.

- Yes, the impact of the proposed reallocation to the local transmission function would take place in the same year the new backbone transmission rate would be implemented.

The impact of the 24% reallocation is not shown separately, this proposal is being made to be implemented in its entirety and at the same time.

QUESTION 4:

PZS4-4.  Page 3 at lines 3 -21 of Ms. Smith’s testimony states: that SDG&E/SoCalGas propose to unbundle the total embedded cost of the combined backbone transmission system from end-use transportation rates and that such proposal will reduce the transmission system costs in current end-use transportation rates by an additional $67.5 million, for a total of $119.8 .million.  In addition, the SDG&E/SoCalGas proposal to unbundle the fuel costs for transmission compressors on the SDG&E/SoCalGas backbone transmission system from rates to end-use transportation customers and instead integrate them as part of the charges for backbone transmission service will reduce the costs in current end-use transportation rates by $11.3 million.  Table 1 on page 4 of Ms. Smith’s testimony provides a summary of the change in transportation rates due to FAR Updates (in $/therm).

- Please provide a breakdown of the expected change to transportation rates in Table 1 that shows (1) how much of the proposed rate change would result from the proposed update of the FAR rate to a cost-based charge based on  unbundling the embedded cost from end-use charges, including how much of the change would result from the proposed change to the demand determinant discussed in Ms. Smith’s testimony at  page 6 at lines 10-14 and (2) how much of the proposed rate change would result from the unbundling of the fuel costs for transmission compressors.

- Based on your response in (a) above, please confirm whether the changes in transportation rates shown in Table 1 due to the FAR Update include the impact on end-use transportation rates of the proposed reallocation of 24% of the embedded cost of backbone transmission to the local transmission function.  Please explain your response.

RESPONSE 4:

- The attached is a breakdown of the expected change to transportation rates due to (i) updating the FAR rate to a cost-based charge, (ii) changing the demand determinate; and (iii) unbundling fuel costs.

- Yes, the changes in transportation rates shown in Table 1 due to the FAR Update include the impact on end-use transportation rates of the proposed reallocation of 24% of the embedded cost of backbone transmission to the local transmission function.

The total amount being unbundled, and the amount reflected in the rates in Table 1, is $119.8 million. This amount is net of the 24% reallocation. Therefore, the changes shown in Table 1 include the reallocation.

QUESTION 5:

PZS4-5.  Page 6 at lines 10-14 of Ms. Smith’s testimony states that SDG&E/SoCalGas “seek to reflect the full embedded cost of the backbone transmission system and revise the demand determinant used to calculate the BTS rate.”  DRA understands that the selection of the billing determinant for the reservation charge is addressed in the testimony of Ms. Fung.

- Please clarify the current demand determinant used to calculate the BTS rate and the proposed demand determinant in this Application.

- Please provide a page and line reference to the discussion in Ms. Fung’s testimony of the proposed change to the demand determinant

- Please explain why it would be reasonable for the Commission to change the current demand determinant for the reservation charge and adopt SDG&E/SoCalGas’ proposed demand determinant.

RESPONSE 5:

- Current demand determinant = 2,821 mmcfd * 1.016 mbtu/cf = 2,866 dth/day.
Proposed demand determinant = 3,232 mmcfd * 1.0302 mbtu/cf = 3,330 dth/day.  Please refer to DRA-PZS-01 Response 18(a).

- The proposed change to the demand determinant is shown in the testimony of Ms. Fung page 4 lines 3 to 4.
“…3,232 MMcfd, which is the average daily firm contract demand quantity …”

- Please refer to DRA-PZS-01 Response 18(a).