QUESTION PZS6-1:

Please provide the recorded noncore throughput volumes for each of SDG&E and SoCalGas for each year in the period 2000 thru 2011 (in MMCF/day)

RESPONSE PZS6-1:

Table PZS-06-1(a)

SoCalGas Noncore Throughput

|  |  | SoCalGas | SoCalGas | SoCalGas |
| --- | --- | --- | --- | --- |
|  |  | Noncore | System | Noncore |
| Year | #Days/Yr | (MMDth/Yr) | ( Dth/Mcf ) | (MMcf/d) |
| 2000 | 366 | 791 | 1.0192 | 2,120 |
| 2001 | 365 | 809 | 1.0239 | 2,164 |
| 2002 | 365 | 660 | 1.0234 | 1,766 |
| 2003 | 365 | 604 | 1.0258 | 1,614 |
| 2004 | 366 | 621 | 1.0255 | 1,653 |
| 2005 | 365 | 559 | 1.0276 | 1,491 |
| 2006 | 365 | 612 | 1.0302 | 1,628 |
| 2007 | 365 | 638 | 1.0305 | 1,697 |
| 2008 | 366 | 668 | 1.0299 | 1,771 |
| 2009 | 365 | 615 | 1.0273 | 1,639 |
| 2010 | 365 | 608 | 1.0235 | 1,629 |
| 2011 | 365 | 589 | 1.0209 | 1,582 |

Table PZS-06-1(b)

SDG&E Noncore Throughput

|  |  | SDG&E | SDG&E | SDG&E |
| --- | --- | --- | --- | --- |
|  |  | Noncore | System | Noncore |
| Year | #Days/Yr | (MMDth/Yr) | ( Dth/Mcf ) | (MMcf/d) |
| 2000 | 366 | 92.6 | 1.0130 | 250 |
| 2001 | 365 | 106.9 | 1.0180 | 288 |
| 2002 | 365 | 90.3 | 1.0136 | 244 |
| 2003 | 365 | 67.4 | 1.0117 | 183 |
| 2004 | 366 | 78.7 | 1.0123 | 213 |
| 2005 | 365 | 64.5 | 1.0150 | 174 |
| 2006 | 365 | 70.3 | 1.0175 | 189 |
| 2007 | 365 | 64.6 | 1.0217 | 173 |
| 2008 | 366 | 74.2 | 1.0230 | 198 |
| 2009 | 365 | 71.1 | 1.0196 | 191 |
| 2010 | 365 | 71.0 | 1.0194 | 191 |
| 2011 | 365 | 62.8 | 1.0105 | 170 |

QUESTION PZS6-2:

Please provide the adopted forecast noncore throughput volumes for each of SDG&E and SoCalGas for each year in the period 2000 thru 2011 (in MMCF/day) based on average temperature year.

RESPONSE PZS6-2:

Table PZS-06-2(a)

SoCalGas Noncore Adopted Throughput

|  |  | SoCalGas | SoCalGas | SoCalGas |
| --- | --- | --- | --- | --- |
|  |  | Noncore | System | Noncore |
| Year | #Days/Yr | (MMDth/Yr) | ( Dth/Mcf ) | (MMcf/d) |
| 2000 | 366 | 658.7 | 1.0192 | 1,766 |
| 2001 | 365 | 658.7 | 1.0239 | 1,762 |
| 2002 | 365 | 658.7 | 1.0234 | 1,763 |
| 2003 | 365 | 658.7 | 1.0258 | 1,759 |
| 2004 | 366 | 658.7 | 1.0255 | 1,755 |
| 2005 | 365 | 658.7 | 1.0276 | 1,756 |
| 2006 | 365 | 658.7 | 1.0302 | 1,752 |
| 2007 | 365 | 658.7 | 1.0305 | 1,751 |
| 2008 | 366 | 658.7 | 1.0299 | 1,747 |
| 2009 | 365 | 658.7 | 1.0273 | 1,757 |
| 2010 | 365 | 602.3 | 1.0235 | 1,612 |
| 2011 | 365 | 602.3 | 1.0209 | 1,616 |

Table PZS-06-2(b)

SDG&E Noncore Adopted Throughput

|  |  | SDG&E | SDG&E | SDG&E |
| --- | --- | --- | --- | --- |
|  |  | Noncore | System | Noncore |
| Year | #Days/Yr | (MMDth/Yr) | ( Dth/Mcf ) | (MMcf/d) |
| 2000 | 366 | 98.4 | 1.0130 | 265 |
| 2001 | 365 | 98.4 | 1.0180 | 265 |
| 2002 | 365 | 98.4 | 1.0136 | 266 |
| 2003 | 365 | 98.4 | 1.0117 | 267 |
| 2004 | 366 | 98.4 | 1.0123 | 266 |
| 2005 | 365 | 98.4 | 1.0150 | 266 |
| 2006 | 365 | 98.4 | 1.0175 | 265 |
| 2007 | 365 | 98.4 | 1.0217 | 264 |
| 2008 | 366 | 98.4 | 1.0230 | 263 |
| 2009 | 365 | 98.4 | 1.0196 | 264 |
| 2010 | 365 | 71.6 | 1.0194 | 193 |
| 2011 | 365 | 71.6 | 1.0105 | 194 |

QUESTION PZS6-3:

Please describe any observed disparity between the adopted forecast and the recorded actual throughput in each year based on the information provided in the above items PZS6-1 and PZS6-2.

RESPONSE PZS6-3:

Table PZS-06-3(a)

Difference: Actual less Adopted Noncore Throughput

|  |  | SoCalGas |  | SDG&E |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Noncore |  | Noncore |  |
|  |  | Diff= (Adopted less Actual) | Diff as % of Actual | Diff= (Adopted less Actual) | Diff as % of Actual |
| Year | #Days/Yr | (MMcf/d) | ( %_Actual ) | (MMcf/d) | ( %_Actual ) |
| 2000 | 366 | -355 | -17% | 16 | 6% |
| 2001 | 365 | -401 | -19% | -23 | -8% |
| 2002 | 365 | -3 | 0% | 22 | 9% |
| 2003 | 365 | 145 | 9% | 84 | 46% |
| 2004 | 366 | 102 | 6% | 53 | 25% |
| 2005 | 365 | 266 | 18% | 92 | 53% |
| 2006 | 365 | 124 | 8% | 76 | 40% |
| 2007 | 365 | 54 | 3% | 91 | 52% |
| 2008 | 366 | -24 | -1% | 65 | 33% |
| 2009 | 365 | 117 | 7% | 74 | 39% |
| 2010 | 365 | -16 | -1% | 2 | 1% |
| 2011 | 365 | 35 | 2% | 24 | 14% |

In the table above we observe that all the apparently large magnitude values of difference (Adopted less Actual) values occur prior to year 2010 when the adopted noncore throughput values in place were the result of analyses and forecasts developed in the course of SoCalGas’ and SDG&E’s 1999 BCAP applications.  For 2010 and 2011, the adopted noncore throughput values were from the two utilities’ 2009 BCAP gas demand forecasts.  The yardstick that is used to measure a large difference is key.  A widely used statistic to measure the statistical performance of a predictor is the Root-Mean-Squared-Error (RMSE) of the predictor’s values as compared to the observed data (i.e., the values of “Diff” in the above table).

For the 2000-2011 time period, the RMSE of the SoCalGas differences in Table PZS-03(a) above is 187.7 MMcf/d; the RMSE of the SDG&E data is 60.3 MMcf/d.  The data in Tables PZS-03(b) and PZS-03(c), below show how each of these values were calculated from the data in columns #3 and #5 in Table PZS-03(a).

Table PZS-06-3(b)

Calculation of RMSE for

SoCalGas Differences: Actual less Adopted Noncore Throughput

and their Significance

|  |  | SoCalGas | SoCalGas | SoCalGas | SoCalGas |
| --- | --- | --- | --- | --- | --- |
|  |  | Noncore |  |  | Noncore |
|  |  | Diff= (Adopted less Actual) | Squared value of Diff (“Diff2”) | Standardized Variables using RMSE | RMSE-Based Est. of Stat. Significance of "Diff" |
| Year | #Days/Yr | (MMcf/d) | (MMcf/d)2 | (ABS(Diff) / RMSE) | ( %Chance of > ABS(Diff) ) |
| 2000 | 366 | -354.5 | 125,692.6 | 1.889 | 9% |
| 2001 | 365 | -401.2 | 160,970.2 | 2.138 | 6% |
| 2002 | 365 | -2.7 | 7.2 | 0.014 | 99% |
| 2003 | 365 | 145.1 | 21,062.7 | 0.773 | 46% |
| 2004 | 366 | 101.7 | 10,342.6 | 0.542 | 60% |
| 2005 | 365 | 265.6 | 70,541.0 | 1.415 | 19% |
| 2006 | 365 | 124.1 | 15,394.8 | 0.661 | 53% |
| 2007 | 365 | 53.9 | 2,901.7 | 0.287 | 78% |
| 2008 | 366 | -23.9 | 573.5 | 0.128 | 90% |
| 2009 | 365 | 117.4 | 13,774.9 | 0.625 | 55% |
| 2010 | 365 | -16.4 | 270.5 | 0.088 | 93% |
| 2011 | 365 | 34.7 | 1,202.6 | 0.185 | 86% |

For SoCalGas, the RMSE is calculated in three steps from the data in the fourth column of Table PZS-03(b), above:

Sum of “Diff2“ Values (SSQ) = 422,734.4,

Mean Sum of Squares (MSSQ) = 35,227.9 (= SSQ / #observed values, i.e. 12),

"Root Mean Squared Error" (RMSE) = 187.7 (= [MSSQ]½)

Table PZS-06-3(c)

Calculation of RMSE for

SDG&E Differences: Actual less Adopted Noncore Throughput

and their Significance

|  |  | SDG&E | SDG&E | SDG&E | SDG&E |
| --- | --- | --- | --- | --- | --- |
|  |  | Noncore | Noncore | Noncore | Noncore |
|  |  | Diff= (Adopted less Actual) | Squared value of Diff (“Diff2”) | Standardized Variables using RMSE | RMSE-Based Est. of Stat. Significance of "Diff" |
| Year | #Days/Yr | (MMcf/d) | (MMcf/d)2 | (ABS(Diff) / RMSE) | ( %Chance of > ABS(Diff) ) |
| 2000 | 366 | 15.7 | 246.7 | 0.260 | 80% |
| 2001 | 365 | -22.9 | 526.7 | 0.381 | 71% |
| 2002 | 365 | 21.9 | 481.3 | 0.364 | 72% |
| 2003 | 365 | 84.0 | 7,051.4 | 1.393 | 20% |
| 2004 | 366 | 53.1 | 2,818.8 | 0.881 | 40% |
| 2005 | 365 | 91.6 | 8,390.7 | 1.519 | 16% |
| 2006 | 365 | 75.7 | 5,727.0 | 1.255 | 24% |
| 2007 | 365 | 90.7 | 8,230.7 | 1.505 | 17% |
| 2008 | 366 | 64.6 | 4,176.7 | 1.072 | 31% |
| 2009 | 365 | 73.5 | 5,406.0 | 1.219 | 25% |
| 2010 | 365 | 1.7 | 3.0 | 0.029 | 98% |
| 2011 | 365 | 23.8 | 567.9 | 0.395 | 70% |

For SDG&E, the RMSE is calculated in three steps from the data in the fourth column of Table PZS-03(c), above:

Sum of “Diff2“ Values (SSQ) = 43,627.1,

Mean Sum of Squares (MSSQ) = 3,635.6 (= SSQ / #observed values, i.e. 12),

"Root Mean Squared Error" (RMSE) = 60.3 (= [MSSQ]½)

The data in column 6 of each table above (Table PZS-06-3(b) and Table PZS-06-3(c)) provide estimates of the statistical significance of the differences in the respective column 3 data of each table.  The likelihood values reported in each table’s row of column 6 are an estimate of the probability that we would observe a difference in absolute value that is greater than the absolute value of the calculated difference for that row.  Typically, a “1-in-20” chance (i.e., a 5% likelihood) is used to define a statistically significant (absolute value) difference.  Under this 5% threshold, there are no statistically significant differences for the adopted throughput values for either SoCalGas or SDG&E.

If a “1-in-10” chance is used to define a threshold for statistically significant differences, then the only two differences are for the years 2000 and 2001 in the SoCalGas data--recall that these were years of very substantial turmoil in California’s electricity and natural gas markets.

The likelihood in column-6 of each table is calculated assuming that the random variables z = Diff / RMSE follow a Student’s T-Distribution with 9 (=12-3) degrees of freedom.

QUESTION PZS6-4:

Please state whether SoCalGas and SDG&E were at risk for any observed disparity in each year as described in the above PZS6-3.

RESPONSE PZS6-4:

2000-2002		At risk for 25% of noncore revenues

2003 – 2012		Not at risk for noncore revenues

QUESTION PZS6-5:

On page 4 of the above exhibit reference, witness Beth Musich states “The result of placing the Utilities at risk for noncore throughput is that any difference in actual throughput compared to the Commission’s adopted demand forecast used to set customer rates would cause a variation in the recovery of the Utilities’ fixed costs.  An at-risk structure makes utility earnings rise or fall based on whether actual throughput is greater or less than the adopted demand forecast.”  Please describe how any observed disparity between the adopted forecast and the recorded actual throughput has affected SoCalGas’ earnings in each year that this occurred.

RESPONSE PZS6-5:

Since 2003, SoCalGas has not been at risk for noncore revenues.  Therefore, there has not been any earnings impact to the company.

QUESTION PZS6-6:

Please provide a comparison of SoCalGas’ and SDG&E’s energy savings (i.e., natural gas savings in million therms) versus the corresponding goals set by the Commission for energy efficiency programs for each year for the period 2000 through 2011.  Please identify the source of this information, preferably one that could readily be verified.

RESPONSE PZS6-6:

SoCalGas:

SDG&E:

QUESTION PZS6-7:

Please provide a comparison of SoCalGas’ and SDG&E’s total actual spending for the energy efficiency programs versus the total budget amounts authorized by the Commission for each year for the period 2000 through 2011.  Please identify the source of this information, preferably one that could readily be verified.

RESPONSE PZS6-7:

See Response 6-7.

QUESTION PZS6-8:

Please provide the historical recorded SoCalGas (and SDG&E if applicable) noncore throughput for electric generation for the period 2000 through 2011

RESPONSE PZS6-8:

Table PZS-06-8(a)

SoCalGas Noncore Electric Generation Throughput

|  |  | SoCalGas | SoCalGas | SoCalGas |
| --- | --- | --- | --- | --- |
|  |  | Noncore-Elec Gen | System | Noncore-Elec Gen |
| Year | #Days/Yr | (MMDth/Yr) | ( Dth/Mcf ) | (MMcf/d) |
| 2000 | 366 | 438.6 | 1.0192 | 1,176 |
| 2001 | 365 | 468.0 | 1.0239 | 1,252 |
| 2002 | 365 | 325.4 | 1.0234 | 871 |
| 2003 | 365 | 293.6 | 1.0258 | 784 |
| 2004 | 366 | 294.0 | 1.0255 | 783 |
| 2005 | 365 | 254.5 | 1.0276 | 678 |
| 2006 | 365 | 287.6 | 1.0302 | 765 |
| 2007 | 365 | 319.4 | 1.0305 | 849 |
| 2008 | 366 | 343.1 | 1.0299 | 910 |
| 2009 | 365 | 304.0 | 1.0273 | 811 |
| 2010 | 365 | 286.9 | 1.0235 | 768 |
| 2011 | 365 | 270.0 | 1.0209 | 725 |

Table PZS-06-8(b)

SDG&E Noncore Electric Generation Throughput

|  |  | SDG&E | SDG&E | SDG&E |
| --- | --- | --- | --- | --- |
|  |  | Noncore-Elec Gen | System | Noncore-Elec Gen |
| Year | #Days/Yr | (MMDth/Yr) | ( Dth/Mcf ) | (MMcf/d) |
| 2000 | 366 | 85.3 | 1.0130 | 230 |
| 2001 | 365 | 102.4 | 1.0180 | 276 |
| 2002 | 365 | 86.7 | 1.0136 | 234 |
| 2003 | 365 | 63.6 | 1.0117 | 172 |
| 2004 | 366 | 75.1 | 1.0123 | 203 |
| 2005 | 365 | 60.7 | 1.0150 | 164 |
| 2006 | 365 | 66.0 | 1.0175 | 178 |
| 2007 | 365 | 61.1 | 1.0217 | 164 |
| 2008 | 366 | 69.8 | 1.0230 | 186 |
| 2009 | 365 | 66.9 | 1.0196 | 180 |
| 2010 | 365 | 66.5 | 1.0194 | 179 |
| 2011 | 365 | 58.3 | 1.0105 | 158 |

QUESTION PZS6-9:

In A.11-11-002, SoCalGas seeks continued 100% balancing account treatment for noncore transportation revenues.  If SDG&E likewise seeks the same 100% balancing account treatment for noncore transportation revenues, then please clarify whether SDG&E requests the same.  Please identify the periods of time (which years) when SoCalGas was at risk for noncore transportation revenues.  For any periods of time identified, please state whether the at-risk provision had any impact on SoCalGas earnings.  If SDG&E requests the same, then please also respond for SDG&E.

RESPONSE PZS6-9:

A.11-11-002 is a joint application of SoCalGas and SDG&E so SDG&E is also seeking continued 100% balancing account treatment for noncore transportation revenues.

With regards to the historical treatment of noncore revenues, D.00-04-060 (1999 BCAP) reinstituted the 75/25 balancing account protection for noncore revenue that was in place prior to the adoption of the Global Settlement for both throughput variation and lost revenue resulting from discounting.

Subsequently, when the SoCalGas and SDG&E’s 2001 BCAP filings were delayed the Utilities submitted a request to provide for 100 percent balancing account protection for noncore revenues which was adopted in D.02-12-017, effective 1/1/2003.

In the 2009 BCAP, D.09-11-006 approved the Settlement Agreement that provides that SDG&E and SoCalGas shall not be at risk for throughput during the term of the Settlement Agreement.

Since 2003, SoCalGas and SDG&E have not been at risk for noncore revenues therefore, there has not been any earnings impact to the company. During the period of 2000 through 2002, SoCalGas was at risk for 25% of the authorized noncore margin and actual costs recorded in the NFCA.  SoCalGas shareholders benefited by $8.0 million in 2000, $2.2 million in 2001, and incurred a loss of $$0.5 million in 2002 for a net total earnings of $9.7 million over the 3-year period.  SDG&E’s accounting records do not reflect any earnings impact from 2000-2002.

QUESTION PZS6-10:

In A.11-11-002, DRA understands that SoCalGas is not seeking balancing account protection for core transportation revenues.  Please identify the periods of time (which years) when SoCalGas was at risk for core transportation revenues.  If SDG&E is likewise not seeking balancing account protection for core transportation revenues, then please also respond for SDG&E.

RESPONSE PZS6-10:

The Commission’s decision to not put SoCalGas and SDG&E at risk for core throughput was adopted in the early 1980’s and SoCalGas and SDG&E are not seeking to change that decision.