## LED base to incremental Costs
MeasureName | WPMeasureID | MeasureCode | LgtTyp | DualBaseline | DeltaWatts | DeltaWatts2 | ControlledWattage | DEERMeasure | DEERMeasure2 | BaseCost | MeasureCost | IMC
MR16(20W) | WPSDGENRLG0106-1 |  | LED | n | 15.283 | 15.283 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 6.78 | 21.85 | 15.07 | 1.4499
MR16(35W) | WPSDGENRLG0106-2 |  | LED | n | 26.7453 | 26.7453 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 6.59 | 27.9 | 21.31 | 1.3092
PAR20(30-40W) | WPSDGENRLG0106-3 |  | LED | n | 27.5532 | 27.5532 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 9.53 | 33.97 | 24.44 | 1.3899
PAR30(45-55W) | WPSDGENRLG0106-4 |  | LED | n | 37.5622 | 37.5622 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 9.98 | 45.23 | 35.25 | 1.2831
PAR30(60-70W) | WPSDGENRLG0106-5 |  | LED | n | 48.8308 | 48.8308 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 10.24 | 37.14 | 26.9 | 1.3807
PAR38(50-65W) | WPSDGENRLG0106-6 |  | LED | n | 44.658 | 44.658 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 9.8 | 44.97 | 35.17 | 1.2786
PAR38(75W) | WPSDGENRLG0106-7 |  | LED | n | 58.2496 | 58.2496 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 9.6 | 45.98 | 36.38 | 1.2639
PAR38(90W) | WPSDGENRLG0106-8 |  | LED | n | 69.8995 | 69.8995 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 9.86 | 55.99 | 46.13 | 1.2137
Globe(15W) | WPSDGENRLG0106-9 |  | LED | n | 12.9592 | 12.9592 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 1.65 | 18.98 | 17.33 | 1.0952
Globe(40W) | WPSDGENRLG0106-10 |  | LED | n | 31.9028 | 31.9028 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 1.65 | 38.73 | 37.08 | 1.0445
Candelabra | WPSDGENRLG0106-11 |  | LED | n | 21.5986 | 21.5986 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 2.77 | 16.76 | 13.99 | 1.198
A-lamp(25W) | WPSDGENRLG0106-12 |  | LED | n | 18.3862 | 18.3862 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 3.32 | 19.97 | 16.65 | 1.1994
A-lamp(35W) | WPSDGENRLG0106-13 |  | LED | n | 25.7407 | 25.7407 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 3.55 | 19.97 | 16.42 | 1.2162
A-lamp(40W) | WPSDGENRLG0106-14 |  | LED | n | 29.418 | 29.418 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 4.02 | 19.97 | 15.95 | 1.252
A-lamp(60W) | WPSDGENRLG0106-15 |  | LED | n | 44.127 | 44.127 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 4.61 | 25.47 | 20.86 | 1.221
A-lamp(100W) | WPSDGENRLG0106-16 |  | LED | n | 73.545 | 73.545 | 0 | Com-Indoor-CFL | Com-Indoor-CFL | 6.49 | 33.97 | 27.48 | 1.2362
1.252

## LEd 2nd Baseline
LED Ratio of 1st period savings to 2nd period savings
3.51 | 5.63 | 62.34%

## WP LinFL and other - 2nd Per
ProgramName | PGM_CD | FilingMeasureNumber | MSR_LF_TYP | FilingMeasureDescription | RUL | Life | Cost1 | Cost/kWh | Cost2 | GR_SV_KWH | GR_SV_KW | GR_SV_Therm | GR_SV_KWH2 | GR_SV_KW2 | GR_SV_Therm2 | Ratio | WPMeasureID | WPName | OldGR_SV_KWH | OldGR_SV_KW | OldGR_SV_Therm | OldGR_SV_KWH2 | OldGR_SV_KW2 | OldGR_SV_Therm2 | CUST_CST | MSR_LF | OldNTG | F18 | SHORT_MSR_DESC | MeasureName | EUL | EUL2 | MeasureCode | LgtTyp | DualBaseline | DeltaWatts | DeltaWatts2 | ControlledWattage | PTO | LightingType | IOU | BldgType | BldgVint | BldgLoc | EFLH | CDF | IE_kWh | IE_kW | IE_therm | BaseCost | MeasureCost | cost/kWh | IMC | GR_KWH_SV_Dir | GR_KW_SV_Dir | GR_KWH_SV_Dir2 | GR_KW_SV_Dir2 | GR_THM_SV_Dir
SW-IndB - Deemed | 3223 | 402148 | RET | Lighting-Wall or Ceiling-mounted Lighting Sensor >= 500 watts | 15 |  | 77.28 | 0.2119 |  | 364.7078 | 0.086655 | -0.19212 |  |  |  |  | WPSDGENRLG0016-1 | WPSDGENRLG0016 | 789 | 0.381 | 0 |  |  |  | 141 | 8 | 0.84 |  | L-J31:Lighting-Wall or Ceiling-mounted L | Wall or Ceiling Mounted Lighting Sensor > 500 Watts | 15 | 15 | L-J31 |  | n |  |  | 512 | 0.2 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 77.28 | 0.23732 |  | 325.632 | 0.070451
SW-ResC - Multi-Family | 3207 | 405038 | RET | Lighting-Occupancy Sensors | 15 |  | 77.28 | 0.60273 |  | 128.2176 | 0.030465 | -0.067543 |  |  |  |  | WPSDGENRLG0016-4 | DEER05 | 213.759 | 0.17617 | 0 |  |  |  | 42.2833 | 8 | 0.84 |  | Occupancy Sensors | Lighting - Occupancy Sensor - Wallbox Lighting Sensor | 15 | 15 | L-J11 |  | n |  |  | 180 | 0.2 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 77.28 | 0.67505 |  | 114.48 | 0.024768
SW-IndB - Deemed | 3223 | 402220 | RET | Lighting - Occupancy Sensor - Wallbox Lighting Sensor | 8 |  | 77.28 | 0.60273 |  | 128.2176 | 0.030465 | -0.067543 |  |  |  |  | WPSDGENRLG0016-4 | SDGENRLG0016 Rev2 | 213.759 | 0 | 0 |  |  |  | 42.2833 | 8 | 0.84 |  | L-J11:Lighting - Occupancy Sensor - Wall | Lighting - Occupancy Sensor - Wallbox Lighting Sensor | 15 | 15 | L-J11 |  | n |  |  | 180 | 0.2 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 77.28 | 0.67505 |  | 114.48 | 0.024768
SW-ComE - Direct Install | 3226 | 428069 | RET | Lighting - Occupancy Sensor - Wall/Ceiling Mounted Lighting Sensor | 15 |  | 77.2833 | 0.60275 |  | 128.2176 | 0.030465 | -0.067543 |  |  |  |  | WPSDGENRLG0016-5 | WPSCNRLG0016 | 213.759 | 0.17617 | 0 |  |  |  | 77.2833 | 8 | 0.84 |  | L-J21:Lighting - Occupancy Sensor - Wall | Wall or Ceiling Mounted Lighting Sensor < 500 Watts | 15 | 15 | L-J21 |  | n |  |  | 180 | 0.2 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 77.28 | 0.67505 |  | 114.48 | 0.024768
SW-IndB - Deemed | 3223 | 402217 | RET | Lighting - Occupancy Sensor - High-Bay Sensor <12' | 15 |  | 91.27 | 1.3777 |  | 66.2458 | 0.01574 | -0.034897 |  |  |  |  | WPSDGENRLG0016-3 | WPSDGENRLG0016.1 - Occupancy Sensors .docx | 21.8 | 0.00419 | 0 |  |  |  | 100 | 8 | 0.84 |  | L-J51:Lighting - Occupancy Sensor - High | Fixture Integrated Occupancy Sensors, < 150 Wattage Controlled | 15 | 15 | L-J51 |  | n |  |  | 93 | 0.2 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 91.27 | 1.5431 |  | 59.148 | 0.012797
SW-ComE - Direct Install | 3226 | 428073 | RET | Lighting - 4 Ft 4th Gen. T-8 with Elec. Ballast (1 Lamp) | 2.0964 | 15 | 45.18 | 0.60406 | 6.4 | 74.7936 | 0.017771 | -0.197 | 32.0544 | 0.0076162 | -0.084429 | 0.42857 | WPSDGENRLG0013-10 | WPSDGENRLG0013-6 | 72.5909 | 0.01518 | -1.0149 |  |  |  | 45.18 | 15 | 0.85 |  | Lighting - 4 Ft 2nd Gen. T-8 with Elec. | Lighting-4 Ft T12 to T8 28W T-8 with RLO - 1 Lamp MF/DI | 10 | 12.9036 |  | LF | y | 21 | 9 | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 25.6 | 32 | 0.47919 | 6.4 | 66.78 | 0.014448 | 28.62 | 0.006192
SW-ComB - Deemed | 3223 | 402139 | RET | Lighting - 4 Ft T12 to 28W T-8 with Elec. Ballast | 2.0964 | 15 | 18 | 0.36099 | 3.6 | 49.8624 | 0.011847 | -0.13133 | 32.0544 | 0.0076162 | -0.084429 | 0.64286 | WPSDGENRLG0013-5 |  | 36.0653 | 0.0075392 | -0.51941 |  |  |  | 20.97 | 15 | 0.78 |  | L-E31:Lighting - 4 Ft 2nd Gen. T-8 with | Lighting-4 Ft T12 to 28W T-8 with Elec Ballast | 10 | 12.9036 |  | LF | y | 14 | 9 | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 14.4 | 18 | 0.40431 | 3.6 | 44.52 | 0.009632 | 28.62 | 0.006192
SW-ResC - Multi-Family | 3207 | 405018 | RET | Lighting-T-8 or T-5 Premium Lamp and Electronic, 4-foot lamp installed 2 lamp | 2.0964 | 15 | 36 | 0.33693 | 7.2 | 106.848 | 0.025387 | -0.28143 | 60.5472 | 0.014386 | -0.15948 | 0.56667 | WPSDGENRLG0013-11 | Linear Fluorescent WPSDGENRLG0013 Rev3 | 16.427 | 0.0505 | 0 |  |  |  | 34 | 15 | 0.76 |  | 4-foot lamp installed 2 lamp T-8/T5 | Lighting-4 Ft T12 to T8 28W T-8 with RLO - 2 Lamp MF/DI | 10 | 12.9036 |  | LF | y | 30 | 17 | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 28.8 | 36 | 0.37736 | 7.2 | 95.4 | 0.02064 | 54.06 | 0.011696
SW-ComE - Direct Install | 3226 | 428074 | RET | Lighting - 4 Ft 4th Gen. T-8 with Elec. Ballast (2-Lamp) | 2 | 15 | 51.53 | 0.48227 | 7.2 | 106.848 | 0.025387 | -0.28143 | 60.5472 | 0.014386 | -0.15948 | 0.56667 | WPSDGENRLG0013-11 | WPSDGENRLG0013-10 | 69.3763 | 0.014449 | -1.1339 |  |  |  | 51.53 | 15 | 0.85 |  | Lighting - 4 Ft 4th Gen. T-8 with Elec. | Lighting-4 Ft T12 to T8 28W T-8 with RLO - 2 Lamp MF/DI | 10 | 12.9036 |  | LF | y | 30 | 17 | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 28.8 | 36 | 0.37736 | 7.2 | 95.4 | 0.02064 | 54.06 | 0.011696
SW-ResC - Multi-Family | 3207 | 405026 | RET | Lighting-T-8 or T-5 Premium Lamp and Electronic, 4-foot lamp installed 4 lamp | 2.0964 | 15 | 48 | 0.22462 | 9.6 | 213.696 | 0.050774 | -0.56286 | 121.0944 | 0.028772 | -0.31895 | 0.56667 | WPSDGENRLG0013-13 | Linear Fluorescent WPSDGENRLG0013 Rev3 | 16.427 | 0.0505 | 0 |  |  |  | 45 | 15 | 0.76 |  | 4-foot lamp installed 4 lamp T-8/T5 | Lighting-4 Ft T12 to T8 28W T-8 with RLO - 4 Lamp MF/DI | 10 | 12.9036 |  | LF | y | 60 | 34 | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 38.4 | 48 | 0.25157 | 9.6 | 190.8 | 0.04128 | 108.12 | 0.023392
SW-IndB - Deemed | 3223 | 402202 | RET | Lighting - Interior Linear Fluorescent Fixture 245-360 watts replacing 400 Watts (Tier 2) | 2.0964 | 15 | 275.51 | 0.66116 | 182.51 | 416.7072 | 0.09901 | -1.0976 | 174.5184 | 0.041466 | -0.45967 | 0.4188 | WPSDGENRLG0044-3 | WPSDGENRLG0044(2) Interior Linear Fluorescent Fixture .docx | 855.2419 | 0.095222 | 0 |  |  |  | 360 | 15 | 0.77 |  | L-H31:Lighting - Interior Linear Fluores | Lighting - Interior Linear Fluorescent Fixture 245-360 watts replacing 400 Watts (Tier 2) | 10 | 12.9036 | L-H31 | LF | y | 117 | 49 | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 93 | 275.51 | 0.7405 | 182.51 | 372.06 | 0.080496 | 155.82 | 0.033712
SW-IndB - Deemed | 3223 | 402198 | RET | Lighting - Interior Linear Fluorescent Fixture <=192 watts replacing 176-399 Watts | 2.0964 | 15 | 253 | 0.61237 | 179.12 | 413.1456 | 0.098164 | -1.0882 | 188.7648 | 0.044851 | -0.49719 | 0.4569 | WPSDGENRLG0044-4 | WPSDGENRLG0044(2) Interior Linear Fluorescent Fixture .docx | 576.97 | 0.119 | 0 |  |  |  | 260 | 11 | 0.7 |  | L-H41:Lighting - Interior Linear Fluores | Lighting - Interior Linear Fluorescent Fixture <=192 watts replacing 176-399 Watts | 10 | 12.9036 | L-H41 | LF | y | 116 | 53 | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 73.88 | 253 | 0.68586 | 179.12 | 368.88 | 0.079808 | 168.54 | 0.036464
SW-IndB - Deemed | 3223 | 402194 | RET | Lighting - Interior Induction Fixture <=250watts L-D41 | 15 |  | 570 | 0.76943 |  | 740.8128 | 0.17602 | -1.9512 | 669.5808 |  |  | 0.52102 | WPSDGENRLG0002-4 | SDGEWPNRLG0002 | 884.45 | 0.13167 | 0 |  |  |  | 570 | 15 | 0.7 |  | L-D41:Lighting - Interior Induction Fixt | Interior Induction Fixtures < 360 Watt (400 Watt lamp basecase) Tier II | 15 | 15 | L-D41 |  | n | 208 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 570 | 0.86176 |  | 661.44 | 0.1431
SW-IndB - Deemed | 3223 | 402193 | RET | Lighting - Interior Induction Fixture <=180 watts L-D31 | 15 |  | 470 | 1.1475 |  | 409.584 | 0.097318 | -1.0788 |  |  |  | 0.47898 | WPSDGENRLG0002-3 | SDGEWPNRLG0002 | 884.45 | 0.13167 | 0 |  |  |  | 470 | 15 | 0.7 |  | L-D31:Lighting - Interior Induction Fixt | Interior Induction Fixtures < 180 Watt (176 - 399 Watt lamp basecase) | 15 | 15 | L-D31 |  | n | 115 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 470 | 1.2852 |  | 365.7 | 0.07912
SW-IndB - Deemed | 3223 | 402201 | RET | Lighting - Interior Linear Fluorescent Fixture <=64 watts replacing <=100 Watts | 15 |  | 145 | 0.61685 |  | 235.0656 | 0.055852 | -0.61915 |  |  |  |  | WPSDGENRLG0044-6 | WPSDGENRLG0044(2) Interior Linear Fluorescent Fixture .docx | 353.94 | 0.073 | 0 |  |  |  | 250 | 15 | 0.77 |  | L-H61:Lighting - Interior Linear Fluores | Lighting - Interior Linear Fluorescent Fixture <=64 watts replacing <=100 Watts | 15 | 15 | L-H61 | LF | n | 66 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 145 | 0.69087 |  | 209.88 | 0.045408
SW-IndB - Deemed | 3223 | 402263 | RET | Lighting - Interior LED Fixtures <=130 watts L-S41 | 16 |  | 790 | 3.6968 |  | 213.696 | 0.050774 | -0.56286 |  |  |  |  | WPSDGENRL0080-1 | WPSDGENRLG0080 | 44.5 | 0.0088 | 0 |  |  |  | 790 | 12 | 0.7 |  | L-S41:Lighting - Interior LED Fixtures < | Lighting - Interior LED Fixtures <=130 watts L-S41 | 15 | 15 | L-O11 | LF | n | 60 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 38 | 23.8994 | 38 | 1.59 | 0.000344
SW-IndB - Deemed | 3223 | 402266 | RET | Lighting - LED System <=15 watts Surface/Pendant/Recessed Down Lighting | 15 |  | 76.93 | 0.4 |  | 192.3264 | 0.045697 | -0.50657 |  |  |  |  | WPSDGENRLG0196-1 | SDGENRL0196 | 137.5739 | 0.021283 | 0 |  |  |  | 30 | 1.8 | 0.77 |  | L-U11:Lighting - LED System <=15 watts S | Lighting - LED System <=15 watts Surface/Pendant/Recessed Down Lighting | 15 | 15 | L-U11 |  | n | 54 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 131.07 | 208 | 1.2113 | 76.93 | 171.72 | 0.037152
SW-ResC - Multi-Family | 3207 | 405016 | RET | Lighting-T-8 or T-5 Lamp and Electronic, 2-foot lamp installed 2 lamp | 15 |  | 42 | 0.26801 |  | 156.7104 | 0.037235 | -0.41276 |  |  |  |  | WPSDGENRLG0013-8 | Linear Fluorescent WPSDGENRLG0013 Rev3 | 106 | 0.018 | 0 |  |  |  | 42 | 15 | 0.76 |  | 2-foot lamp installed 2 lamp T-8/T5 | Lighting-2 Ft T-8 with Elec Ballast - 2 lamp MF | 15 | 15 |  | LF | n | 44 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 42 | 0.30017 |  | 139.92 | 0.030272
SW-IndB - Deemed | 3223 | 402140 | RET | Lighting - 8 Ft T-8 with Elec. Ballast | 15 |  | 32.5 | 0.20977 |  | 154.9296 | 0.036811 | -0.40807 |  |  |  |  | WPSDGENRLG0013-4 | WPSDGENRLG0013 Rev3 | 54.1176 | 0.0095172 | 0 |  |  |  | 32.5 | 15 | 0.78 |  | L-E41:Lighting - 8 Ft T-8 with Elec. Bal | Lighting-8 Ft T-8 with Elec Ballast | 15 | 15 |  | LF | n | 43.5 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 32.5 | 0.23495 |  | 138.33 | 0.029928
SW-IndB - Deemed | 3223 | 402142 | RET | Lighting - Remove 3 Ft T-8 (De-Lamp) | 15 |  | 25.86 | 0.17288 |  | 149.5872 | 0.035542 | -0.394 |  |  |  |  | WPSDGENRLG0022-2 | WPSDGENRLG0022 Rev3 | 182.6 | 0.031387 | 0 |  |  |  | 19 | 15 | 0.77 |  | L-E61:Lighting - Remove 3 Ft T-8 (De-Lam | Lighting-Remove 3 Ft Lamp (De-Lamp) | 15 | 15 |  | LF | n | 42 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 25.86 | 0.19362 |  | 133.56 | 0.028896
SW-ComE - Direct Install - Willdan | 3226 | 428093 | RET | Lighting - T8 to 4ft 25 Watt Lamp & Ballast (4 Lamp) | 15 |  | 58.9 | 0.42404 |  | 138.9024 | 0.033003 | -0.36586 |  |  |  |  | WPSDGENRLG0013-21 | WPSDGENRLG0013-7 | 174 | 0.0406 | -2.5059 |  |  |  | 58.9 | 15 | 0.78 |  | Lighting - T8 to 4ft 25 Watt Lamp & Ball | Lighting-4 Ft T8 to T8 25W T-8 with RLO - 4 Lamp | 15 | 15 |  | LF | n | 39 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 41.6 | 52 | 0.41929 | 10.4 | 124.02 | 0.026832
SW-IndB - Deemed | 3223 | 402147 | RET | Lighting- Ceramic Metal Halide Fixture | 15 |  | 25.17 | 0.18597 |  | 135.3408 | 0.032157 | -0.35648 |  |  |  |  | WPSDGENRLG0007-1 | Ceramic Metal Halide Par Lamp WPSDGENRLG0007.doc | 484.848 | 0.10472 | 0 |  |  |  | 48.77 | 15 | 0.77 |  | L-G11:Lighting- Ceramic Metal Halide Fix | Lighting- Ceramic Metal Halide Fixture | 15 | 15 | L-G21 |  | n | 38 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 23.6 | 48.77 | 0.40359 | 25.17 | 120.84 | 0.026144
SW-IndB - Deemed | 3223 | 402284 | RET | Lighting - Integrated Ballast Ceramic Metal Halide PAR Lamps <=25 watts | 15 |  | 25.17 | 0.18597 |  | 135.3408 | 0.032157 | -0.35648 |  |  |  |  | WPSDGENRLG0007-1 | ceramic metal halide par lamps WPSDGENRLG0007 Rev1 | 114 | 0.0266 | -1.6418 |  |  |  | 48.77 | 15 | 0.7 |  | L-G21:Lighting - Integrated Ballast Cera | Lighting- Ceramic Metal Halide Fixture | 15 | 15 | L-G21 |  | n | 38 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 23.6 | 48.77 | 0.40359 | 25.17 | 120.84 | 0.026144
SW-ResC - Multi-Family | 3207 | 405017 | RET | Lighting-T-8 or T-5 Lamp and Electronic, 3-foot lamp installed 2 lamp | 15 |  | 42 | 0.32757 |  | 128.2176 | 0.030465 | -0.33772 |  |  |  |  | WPSDGENRLG0013-9 | Linear Fluorescent WPSDGENRLG0013 Rev3 | 126 | 0.022 | 0 |  |  |  | 42 | 15 | 0.76 |  | 3-foot lamp installed 2 lamp T-8/T5 | Lighting-3 Ft T-8 with Elec Ballast - 2 Lamp MF | 15 | 15 |  | LF | n | 36 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 42 | 0.36688 |  | 114.48 | 0.024768
SW-ComE - Direct Install | 3226 | 428080 | RET | Lighting - T8 to 4ft 28 Watt Lamp & Ballast (4 Lamp) | 15 |  | 58.9 | 0.4864 |  | 121.0944 | 0.028772 | -0.31895 |  |  |  |  | WPSDGENRLG0013-17 | WPSDGENRLG0013-6 | 174 | 0.0406 | -2.5059 |  |  |  | 58.9 | 15 | 0.78 |  | L-T41:Lighting - T8 to 4ft 28 Watt L & B | Lighting-4 Ft T8 to T8 28W T-8 with RLO - 4 Lamp | 15 | 15 |  | LF | n | 34 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 38.4 | 48 | 0.44395 | 9.6 | 108.12 | 0.023392
SW-ResC - Multi-Family | 3207 | 405028 | RET | Lighting-T12 Delamping | 15 |  | 25.86 | 0.24203 |  | 106.848 | 0.025387 | -0.28143 |  |  |  |  | WPSDGENRLG0022-3 | WPSDGENRLG0022 Rev2 | 144 | 0.0243 | 0 |  |  |  | 19 | 15 | 0.76 |  | T12 Delamping | Lighting - Remove 4 Ft T-8 (De-Lamp) | 15 | 15 |  | LF | n | 30 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 25.86 | 0.27107 |  | 95.4 | 0.02064
SW-IndB - Deemed | 3223 | 402054 | RET | Lighting - Remove 2 Ft T-8 (De-Lamp) | 15 |  | 25.86 | 0.24203 |  | 106.848 | 0.025387 | -0.28143 |  |  |  |  | WPSDGENRLG0022-1 | WPSDGENRLG0022 Rev3 | 128 | 0.02592 | 0 |  |  |  | 19 | 15 | 0.77 |  | L-E5:Lighting - Remove 2 Ft T-8 (De-Lamp | Lighting-Remove 2 Ft Lamp (De-Lamp) | 15 | 15 |  | LF | n | 30 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 25.86 | 0.27107 |  | 95.4 | 0.02064
SW-IndB - Deemed | 3223 | 402192 | RET | Lighting - Interior Induction Fixture <=120 watts L-D21 | 15 |  | 370 | 3.4629 |  | 106.848 | 0.025387 | -0.28143 |  |  |  |  | WPSDGENRLG0002-2 | SDGEWPNRLG0002 | 884.45 | 0.13167 | 0 |  |  |  | 370 | 15 | 0.7 |  | L-D21:Lighting - Interior Induction Fixt | Interior Induction Fixtures < 120 Watt (101- 175 Watt lamp basecase) | 15 | 15 | L-D21 |  | n | 30 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 370 | 3.8784 |  | 95.4 | 0.02064
SW-IndB - Deemed | 3223 | 402411 | RET | Lighting - Remove 4 Ft T-8 (De-Lamp 32W) | 15 |  | 25.86 | 0.24203 |  | 106.848 | 0.025387 | -0.28143 |  |  |  |  | WPSDGENRLG0022-3 | WPSDGENRLG0022 Rev3 | 119.9371 | 0.026787 | -0.00067 |  |  |  | 25.86 | 15 | 0.77 |  | L-T51:Lighting - Remove 4' 32W | Lighting - Remove 4 Ft T-8 (De-Lamp) | 15 | 15 |  | LF | n | 30 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 25.86 | 0.27107 |  | 95.4 | 0.02064
SW-ComE - Direct Install | 3226 | 428079 | RET | Lighting - T8 to 4ft 28 Watt Lamp & Ballast (3 Lamp) | 15 |  | 51.63 | 0.48321 |  | 106.848 | 0.025387 | -0.28143 |  |  |  |  | WPSDGENRLG0013-16 | WPSDGENRLG0013-6 | 153 | 0.0357 | -2.2035 |  |  |  | 51.63 | 15 | 0.78 |  | Lighting - T8 to 4ft 28 Watt Lamp & Ball | Lighting-4 Ft T8 to T8 28W T-8 with RLO - 3 Lamp | 15 | 15 |  | LF | n | 30 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 33.6 | 42 | 0.44025 | 8.4 | 95.4 | 0.02064
SW-ComE - Direct Install - Willdan | 3226 | 428094 | RET | 4-foot (3-lamp) T8 to 28 Watt lamps (2 lamp) and (1) HLO ballast | 15 |  | 51.63 | 0.49987 |  | 103.2864 | 0.024541 | -0.27205 |  |  |  |  | WPSDGENRLG0013-22 | WPSDGENRLG0013-7 | 141 | 0.0329 | -2.0307 |  |  |  | 51.63 | 15 | 0.85 |  | 4-foot (3-lamp) T8 to 28 Watt lamps (2 l | 4-foot (3-lamp) T8 to 28 Watt lamps (2 lamp) and (1) HLO ballast - DI | 15 | 15 |  | LF | n | 29 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  |  | 0 |  | 92.22 | 0.019952
SW-ResC - Multi-Family | 3207 | 405012 | RET | Lighting-T-8 or T-5 Lamp and Electronic, 2-foot lamp installed 1 lamp | 15 |  | 21 | 0.26801 |  | 78.3552 | 0.018617 | -0.20638 |  |  |  |  | WPSDGENRLG0013-1 | Linear Fluorescent WPSDGENRLG0013 Rev3 | 47.3 | 0.008 | 0 |  |  |  | 21 | 15 | 0.76 |  | 2-foot lamp installed 1 lamp T-8/T5 | Lighting-2 Ft T-8 with Elec Ballast | 15 | 15 |  | LF | n | 22 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 21 | 0.30017 |  | 69.96 | 0.015136
SW-ComE - Direct Install | 3226 | 428071 | RET | Lighting - 2 Ft 4th Gen. T-8 with Elec. Ballast (1 Lamp) | 15 |  | 46.37 | 0.59179 |  | 78.3552 | 0.018617 | -0.20638 |  |  |  |  | WPSDGENRLG0013-1 | Linear Fluorescent WPSDGENRLG0013 Rev3 | 42 | 0.0098 | -0.6 |  |  |  | 46.37 | 15 | 0.78 |  | Lighting - 2 Ft 4th Gen. T-8 with Elec. | Lighting-2 Ft T-8 with Elec Ballast | 15 | 15 |  | LF | n | 22 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 21 | 0.30017 |  | 69.96 | 0.015136
SW-ComE - Direct Install - Willdan | 3226 | 428092 | RET | Lighting - T8 to 4ft 25 Watt Lamp & Ballast (2 Lamp) | 15 |  | 51.53 | 0.72341 |  | 71.232 | 0.016925 | -0.18762 |  |  |  |  | WPSDGENRLG0013-19 | WPSDGENRLG0013-7 | 87 | 0.0203 | -1.253 |  |  |  | 51.53 | 15 | 0.78 |  | Lighting - T8 to 4ft 25 Watt Lamp & Ball | Lighting-4 Ft T8 to T8 25W T-8 with RLO - 2 Lamp | 15 | 15 |  | LF | n | 20 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 31.2 | 39 | 0.61321 | 7.8 | 63.6 | 0.01376
SW-ResC - Multi-Family | 3207 | 405013 | RET | Lighting-T-8 or T-5 Lamp and Electronic, 3-foot lamp installed 1 lamp | 15 |  | 32 | 0.49915 |  | 64.1088 | 0.015232 | -0.16886 |  |  |  |  | WPSDGENRLG0013-2 | Linear Fluorescent WPSDGENRLG0013 Rev3 | 58.5 | 0.0099 | 0 |  |  |  | 32 | 15 | 0.76 |  | 3-foot lamp installed 1 lamp T-8/T5 | Lighting-3 Ft T-8 with Elec Ballast | 15 | 15 |  | LF | n | 18 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 32 | 0.55905 |  | 57.24 | 0.012384
SW-ComE - Direct Install | 3226 | 428072 | RET | Lighting - 3 Ft 4th Gen. T-8 with Elec. Ballast (1 Lamp) | 15 |  | 46.42 | 0.72408 |  | 64.1088 | 0.015232 | -0.16886 |  |  |  |  | WPSDGENRLG0013-2 | Linear Fluorescent WPSDGENRLG0013 Rev3 | 60 | 0.014 | -0.864 |  |  |  | 46.42 | 15 | 0.78 |  | Lighting - 3 Ft 4th Gen. T-8 with Elec. | Lighting-3 Ft T-8 with Elec Ballast | 15 | 15 |  | LF | n | 18 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 32 | 0.55905 |  | 57.24 | 0.012384
SW-ComE - Direct Install | 3226 | 428078 | RET | Lighting - T8 to 4ft 28 Watt Lamp & Ballast (2 Lamp) | 15 |  | 51.53 | 0.85107 |  | 60.5472 | 0.014386 | -0.15948 |  |  |  |  | WPSDGENRLG0013-15 | T8T8FluorescentLamp-WPSDGENRL120(2).doc | 87 | 0.0203 | -1.253 |  |  |  | 51.53 | 15 | 0.78 |  | Lighting - T8 to 4ft 28 Watt Lamp & Ball | Lighting-4 Ft T8 to T8 28W T-8 with RLO - 2 Lamp | 15 | 15 |  | LF | n | 17 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 28.8 | 36 | 0.66593 | 7.2 | 54.06 | 0.011696
SW-IndB - Deemed | 3223 | 402410 | RET | Lighting - T8 to 4ft T8 28 Watt Lamp & Ballast | 15 |  | 18 | 0.33693 |  | 53.424 | 0.012694 | -0.14072 |  |  |  |  | WPSDGENRLG0013-6 | WPSDGENRLG0013 Rev3 | 18.7402 | 0.0041854 | -0.0001 |  |  |  | 54.68 | 15 | 0.78 |  | L-T41:Lighting - T8 to 4ft 28 Watt L & B | Lighting-4 Ft T8 to T8 28W T-8 with RLO - EEBR | 15 | 15 |  | LF | n | 15 | 8.5 | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 14.4 | 18 | 0.37736 | 3.6 | 47.7 | 0.01032
SW-IndB - Deemed | 3223 | 402409 | RET | Lighting - T8 to 4ft 25 Watt Lamp & Ballast | 15 |  | 19.5 | 0.39108 |  | 49.8624 | 0.011847 | -0.13133 |  |  |  |  | WPSDGENRLG0013-7 | WPSDGENRLG0013 Rev3 | 29.9843 | 0.0066967 | -0.00016686 |  |  |  | 54.68 | 15 | 0.78 |  | L-T31:Lighting - T8 to 4ft 25 Watt L&B | Lighting-4 Ft T8 to T8 25W T-8 with RLO - EEBR | 15 | 15 |  | LF | n | 14 | 7.5 | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 15.6 | 19.5 | 0.43801 | 3.9 | 44.52 | 0.009632
SW-ComE - Direct Install | 3226 | 428077 | RET | Lighting - T8 to 4ft 28 Watt Lamp & Ballast (1 Lamp) | 15 |  | 45.18 | 1.4095 |  | 32.0544 | 0.0076162 | -0.084429 |  |  |  |  | WPSDGENRLG0013-14 | WPSDGENRLG0013-6 | 63 | 0.0147 | -0.9073 |  |  |  | 45.18 | 15 | 0.78 |  | Lighting - T8 to 4ft 28 Watt Lamp & Ball | Lighting-4 Ft T8 to T8 28W T-8 with RLO - 1 Lamp | 15 | 15 |  | LF | n | 9 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 25.6 | 32 | 1.1181 | 6.4 | 28.62 | 0.006192
SW-IndB - Deemed | 3223 | 402221 | RET | Lighting - T8 to 4ft 25 Watt Lamp | 15 |  | 2 | 0.080221 |  | 24.9312 | 0.0059237 | -0.065667 |  |  |  |  | WPSDGENRLG120-1 | T8T8FluorescentLamp_WPSDGENRL120.doc | 54.1176 | 0.0095172 | 0 |  |  |  | 32.5 | 15 | 0.78 |  | L-T11:Lighting - T8 to 4ft 25 Watt Lamp | Lighting - T8 to 4ft 25 Watt Lamp | 15 | 15 | L-T11 | LF | n | 7 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 1.5 | 2 | 0.089847 | 0.5 | 22.26 | 0.004816
SW-IndB - Deemed | 3223 | 402222 | RET | Lighting - T8 to 4ft 28 Watt Lamp | 15 |  | 2 | 0.14039 |  | 14.2464 | 0.003385 | -0.037524 |  |  |  |  | WPSDGENRLG120-2 | T8T8FluorescentLamp_WPSDGENRL120.doc | 54.1176 | 0.0095172 | 0 |  |  |  | 32.5 | 15 | 0.78 |  | L-T21:Lighting - T8 to 4ft 28 Watt Lamp | Lighting - T8 to 4ft 28 Watt Lamp | 15 | 15 | L-T12 | LF | n | 4 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 | 1.5 | 2 | 0.15723 | 0.5 | 12.72 | 0.002752
SW-IndB - Deemed | 3223 | 402269 | RET | Lighting - Linear LED Systems (T8 Basecase) | 15 |  | 38 | 21.3387 |  | 1.7808 | 0.00042312 | -0.0046905 |  |  |  |  | WPSDGENRL0081-1 | LED Display case retrofit WPSDGENRL0081 | 16.427 | 0.00505 | 0 |  |  |  | 38 | 11 | 0.7 |  | L-O11:Lighting - Linear LED Systems (T8 | Lighting - Linear LED Systems (T8 Basecase) | 15 | 15 | L-O11 | LF | n | 0.5 |  | 0 | 0 | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295 |  | 38 | 23.8994 | 38 | 1.59 | 0.000344
|  |  |  | 414064-Commercial Exterior Hardwired Fixtures (65 watt) | [5 empty] | 106.848 | 0.025387 | -0.28143 |  |  |  |  | SDGE WPNRLG0006-2 | [18 empty] | 30 |  |  |  | Com-Indoor-LF+HID | SDG | Com | Ex | IOU | 3180 | 0.688 | 1.12 | 1.23 | -0.00295

## Other lighting
Other Lighting Ratio of 1st period savings to 2nd period savings
Com, HID fixture: 780 Watt Mercury Vapor lamp (1) ==> LF fixture: T5, 46inch, 54W lamp (6), Total fixture Watts = 351 (Minor Retrofit - HID replacement)
Com-Lighting-InGen_MV-780w_PSMH-456w_T5-46in-351w
| 780 | 351 | 429
| 456 | 351 | 105 | 24.48%

## Chiller Dual Baseline
BldgType | MeasureDesc | MeasureID | Test | IOU | BldgVint | BldgHVAC | BldgLoc | NormUnit | NumUnits | MeasArea | ScalBasis | ACustEUkWh | ACustEUkW | ACustEUtherm | ACustWBkWh | ACustWBkW | ACustWBtherm | AStdEUkWh | AStdEUkW | AStdEUtherm | AStdWBkWh | AStdWBkW | AStdWBtherm | ElecImpProfileID | GasImpProfileID | Flag | BldgType_desc | BldgVint_desc | BldgLoc_desc | IOUname | MeasureID | MeasImpactType | MeasTechEUL_ID | MeasTechDesc | StdTechDesc | BaseTechDesc
Com | Water cooled centrifugal chiller (>= 300 tons, 0.461 kW/ton) | NE-HVAC-Chlr-Cent-gte300tons-0p461kwpton-ConstSpd | FALSE | SDG | Ex | cSVVG | IOU | Cap-Tons | 744 | 234000 | None | 0 | 0 | 0 | 353 | 0.157 | 3.76e-05 | 0 | 0 | 0 | 155 | 0.0694 | -5.37e-05 |  |  | 2 | Commercial | Existing | IOU Territory | SDG&E | NE-HVAC-Chlr-Cent-gte300tons-0p461kwpton-ConstSpd | Standard | HVAC-Chlr | Water cooled centrifugal chiller (>= 300 tons, 0.461 kW/ton) | Water cooled centrifugal chiller (0.576 kW/ton) | multiple base efficiency levels used, example: Water cooled centrifugal chiller (0.576 kW/ton)
0.43909