SECTION 1 – GENERAL MEASURE & BASELINE DATA

## Energy Savings Bid Program (ESB)

1.1 Measure Summary

- Measure Name: Energy Savings Bid Custom Electric &  Gas Measures

- End Use: Various gas and electric

- Effective Useful Life (EUL): Provide EUL for Retrofit (RET) and Replace on Burnout (ROB) and/or New Construction (NEW), if applicable.  Must include reference (most recent M&V or ET study, DEER, Energy Efficiency Policy Manual, etc).

### EUL:15 years, HVAC; 10 years Miscellaneous (gas and electric); 11 years Lighting Measures – per Energy Efficiency Policy Manual and 2005 DEER Update

Definitions of each activity type from DEER Measure Cost Users Guide (v2.01):

- Retrofit (RET) – replacing a working technology prior to failure

- Replace-on-burnout (ROB) – replacing a technology at the end of its useful life

- New construction (NEW) – installing a technology in a new construction or major renovation project

# Type: RET

- Net-to-Gross Ratio (NTG): Provide NTG for different program strategies that may apply to this measure. Must include reference (most recent M&V or ET study, DEER, Energy Efficiency Policy Manual, etc).

#### NTG: 0.80 per Energy Efficiency Policy Manual

Gross Annual Savings:

| Unit of Measure | Building Type | Building Vintage | Climate Zone | Peak kW | kWh | Therms |
| --- | --- | --- | --- | --- | --- | --- |

Savings are based on job/site specific information engineering/ ex post measurement and verification (M&V).  See “Bid Manual.pdf”

Measure Cost Data:

| Unit of Measure | Program Strategy | Base Equipment Cost | Measure Equipment Cost | Incremental Cost | Labor Cost | Installed Cost |
| --- | --- | --- | --- | --- | --- | --- |

See “Energy Savings Bid Program 2006 Summary.doc “.  Actual project costs were used.

1.2 Measure Description & Background

Measure Description: Provide brief description of measure – The energy savings reported for the ESB program are estimated using engineering estimates and then are validated under the program’s ex post savings measurement and verification (M&V) protocols (see “BID Munual.pdf”).

Related DEER Measure: If measure is in DEER, indicate DEER measure and provide DEER measure ID/ run ID numbers, as well as a brief explanation on why the DEER numbers are not applicable – Since the measures in the ESB program are generally site specific custom measures or measures not listed in the Statewide Express Efficiency program, DEER measures are not applicable.

- Base Case for Savings Estimate (Existing and Above Code): Provide description of measure base case and cite any codes and standards requirement analysis as applicable.  (Include applicable references in Section 4) - ESB measures are generally custom and the estimated saving is determined  by calculating the usage for a standard or generally accepted baseline unit and the usage of an energy efficient model.  The savings estimate is the difference between the two cases.  As stated above, the post-installation energy savings are verified through ex post M&V.

1.3 Load Shape

Indicate applicable measure load shape(s) – Lighting measures use a interior nonresidential lighting load profile, HVAC measures use a nonresidential space cooling load profile and other electric measures use an office equipment load profile.

Section 2 – Savings Calculation (Energy and Demand)

2.1 Energy Savings Estimation Methodologies (Electric & Natural Gas)

Describe energy savings estimation methodologies.  Include explanation and sample calculation including assumptions for hours of operation, energy interactive effects, etc., as applicable and cite references.  Calculation methodology must meet commonly-accepted industry standards, such as ASHRAE standards, EM&V protocol, etc.

See Section 1.2 above.

2.2 Peak Demand Reduction Estimation Methodologies (Electric)

Describe peak demand reduction estimation methodologies.  Include explanation and sample calculation including assumptions for coincident diversity factors, demand interactive effects, etc. as applicable and cite references. Calculation methodology must meet commonly-accepted industry standards, such as ASHRAE standards, EM&V protocol, etc.

See Section 1.2 above.

SECTION 3 – BASE CASE & MEASURE COSTS

Provide description of base case and measure costs, and explanation of which cost is used for different program strategies. - ESB measures costs are based on data collected from actual  projects.  See “Energy Savings Bid Program 2006 Summary.doc “.

Definitions from DEER Measure Cost Users Guide (v2.01):

- Base equipment cost – the cost of the baseline efficiency technology

- Measure equipment cost – the cost of the energy-efficient technology

- Incremental cost – the difference between the measure equipment cost and the base equipment cost

- Labor cost – the installation cost of the measure including contractor overhead & profit

- Installed cost – the sum of the measure equipment cost and the labor cost

3.1 Base Case Costs

Provide description of base case costs, including base equipment, installation labor, maintenance, etc. as applicable.

3.2 Measure Costs

Provide description of measure case costs, including measure equipment, installation labor, maintenance, etc. as applicable.

3.3 Incremental Measure and Installed Costs

Provide explanation of what costs (incremental measure and installed costs) are used for different program strategies.

Section 4: References and Citation

Provide references and citations, such as:

- Related EM&V studies (Ex Post Data, etc.)

- Market potential & saturation (RASS, CEUS, etc.)

- Engineering/industry references

Section 5 – Appendices

- Document Revision History, including revision approvals

- Tables

- Figures

- Lists