QUESTION 1:

Please provide the following information for each actual curtailment event on the SoCalGas system, whether systemwide or local curtailment, for calendar years 2012-2014 and year to date 2015:

- Specific cause of curtailment (e.g., planned maintenance of a specific line or station, emergency conditions, etc.);

- Date on which the curtailment occurred;

- Date and time at which notice of curtailment was first provided to customers;

- Form of curtailment notice provided to customers;

- Using the zones proposed in the Application, the zone(s) affected by the curtailment;

- Number of industrial customers curtailed;

- Number of electric generation customers curtailed;

- Volume of industrial supply curtailed;

- Volume of electric generation supply curtailed;

- Methodology used to effectuate the curtailment, referencing the relevant provisions of Rule 23; and

- Exceptions provided to curtailment protocols.

RESPONSE 1:

Please see the attached Excel file.

QUESTION 2:

- For each curtailment identified in response to Question 01-01, please describe any communications between SoCalGas and the California Independent System Operator (CAISO) regarding the potential or actual curtailment.

- Please provide copies of all written correspondence between SoCalGas and CAISO provided during the communications identified in response to subsection a.

- Please describe CAISO’s involvement in the development of the proposed curtailment protocols.

RESPONSE 2:

- In general, for planned curtailments, the CAISO is consulted during the planning and scheduling stages.  For emergency curtailments, communication and interactions with the ISO occur in real time, outside of the control room environment and are not formalized.

- SoCalGas has no responsive documents.  The referenced communications were all verbal.

- SoCalGas and SDG&E briefed CAISO on our proposed curtailment protocols before the application was filed.

QUESTION 3:

Please provide the following information for each noticed curtailment that was not carried out for calendar years 2012-2014 and year to date 2015:

- Specific cause of the anticipated curtailment (e.g., planned maintenance of a specific line or station, emergency conditions, etc.);

- Date on which the curtailment was expected to occur;

- Date and time at which notice of the anticipated curtailment was first provided to customers;

- Form of curtailment notice provided to customers;

- Using the zones proposed in the Application, the zone(s) anticipated to be affected by the curtailment; and

- Reason for not carrying out the anticipated curtailment.

RESPONSE 3:

Case 1

- Planned Maintenance curtailment on L324 for Pipeline Integrity work.

- June 8-9, 2015.

- June 1, 2015 at 5:55 PM.

- Envoy posting.

- Coastal System.

- High temperature weather conditions on the day of planned maintenance resulting in high throughput demand.  Schedule was delayed to accommodate customer needs.

Case 2:

- Planned Maintenance curtailment on L324 for Pipeline Integrity work.

- June 26-27, 2015.

- June 15, 2015 at 4:09 PM.

- Envoy posting.

- Coastal System.

- Favorable system conditions allowed the planned maintenance work to be completed without having to implement a curtailment.

Case 3

- Planned Maintenance curtailment on L1014 for PSEP work.

- October 30 to November 1, 2015.

- October 1, 2015 at 10:45 AM.

- Envoy posting.

- South LA Basin.

- Project start date depended on the completion of a meter relocation project that was delayed.  This PSEP work and the related curtailment will need to be rescheduled.

QUESTION 4:

Table 1 of the Prepared Direct Testimony of Tuan Nguyen identifies peak loads in summer and winter months by proposed zones.

- For each zone, specify the peak load in summer and winter for electric generation customers in aggregate.

- For each zone, specify the peak load in summer and winter for industrial customers in aggregate.

- For each zone, identify the number of customers contributing to the identified peak loads, counting multiple meters at a single facility as a single customer.

- For each zone, identify the contribution to summer and winter peak load by customers

RESPONSE 4:

SoCalGas and SDG&E object to this request on the grounds that it seeks confidential customer data.  Information by zones is not sufficiently aggregated for the EG market segment and wholesale segment.  Without waiving this objection, and subject thereto, SoCalGas and SDG&E respond as follows:

For Question 4 a, b, and c, please refer to SCGC DR2.1.

Please refer to the attached spreadsheet ‘IS DR1.4’ for Response 4 d.  Responses to this data request are based on daily operational (i.e. not billing) data for the entire SoCalGas and SDG&E gas transmission system, and should be considered as estimates for the noted time periods.  Those responses which would divulge customer confidential data have been indicated with “CONFD”.

For the purposes of this response, SoCalGas and SDG&E utilized the most recent full operating year.  “Summer” was defined as April through October, 2014, and “winter” as November 2014 through March 2015.

The coincident peak day was taken for both the summer and winter periods.  Core load was allocated to each zone by the number of customers in each zone.  Noncore non-EG load was allocated using 2014 yearly aggregate demand and customer counts, where applicable.  SDG&E is not included in the wholesale category, and is distributed among the other appropriate customer classes.