QUESTION 1:

Question 2.2.4 of IP’s first set of data requests inquires about the quantity of discounted interruptible capacity that parties secured.  In response, SoCalGas/SDG&E provided the following table:

In response to Question 2.2.1, SoCalGas/SDG&E clarified that interruptible capacity discounts were provided for BTS capacity at the following receipt points: Ehrenberg, North Baja, and Otay Mesa.  Please update the table above to clarify what quantity of discounted interruptible capacity was sold at Ehrenberg, North Baja and Otay Mesa.  Use the table below to provide a response to this data request.

| Date | 000’s dth Discounted Southern System Interruptible Capacity | 000’s dth Discounted Interruptible Capacity at Ehrenberg Receipt Point | 000’s dth Discounted Interruptible Capacity at North Baja Receipt Point | 000’s dth Discounted Interruptible Capacity at Otay Mesa Receipt Point |
| --- | --- | --- | --- | --- |

RESPONSE 1:

Please see attached table.

QUESTION 2:

Envoy provides data regarding unsubscribed receipt point capacity.  For January 2011, it clarifies that the following amounts of capacity were available:

| Receipt Point | Flow Date | Total Firm Capacity | Contracted Firm Rights | Available Firm Capacity |
| --- | --- | --- | --- | --- |
| TGN - Otay Mesa | 1/1/2011 0:00 | 414,000 | 90,000 | 123,936 |
| TGN - Otay Mesa | 1/2/2011 0:00 | 414,000 | 90,000 | 123,936 |
| TGN - Otay Mesa | 1/3/2011 0:00 | 414,000 | 90,000 | 123,936 |
| TGN - Otay Mesa | 1/4/2011 0:00 | 414,000 | 90,000 | 151,993 |
| TGN - Otay Mesa | 1/5/2011 0:00 | 414,000 | 90,000 | 83,299 |
| TGN - Otay Mesa | 1/6/2011 0:00 | 414,000 | 90,000 | 111,733 |
| TGN - Otay Mesa | 1/7/2011 0:00 | 414,000 | 90,000 | 109,633 |
| TGN - Otay Mesa | 1/8/2011 0:00 | 414,000 | 90,000 | 134,230 |
| TGN - Otay Mesa | 1/9/2011 0:00 | 414,000 | 90,000 | 134,230 |
| TGN - Otay Mesa | 1/10/2011 0:00 | 414,000 | 90,000 | 134,230 |
| TGN - Otay Mesa | 1/11/2011 0:00 | 414,000 | 90,000 | 121,733 |
| TGN - Otay Mesa | 1/12/2011 0:00 | 414,000 | 90,000 | 111,733 |
| TGN - Otay Mesa | 1/13/2011 0:00 | 414,000 | 90,000 | 121,733 |
| TGN - Otay Mesa | 1/14/2011 0:00 | 414,000 | 90,000 | 140,171 |
| TGN - Otay Mesa | 1/15/2011 0:00 | 414,000 | 90,000 | 151,733 |
| TGN - Otay Mesa | 1/16/2011 0:00 | 414,000 | 90,000 | 151,733 |
| TGN - Otay Mesa | 1/17/2011 0:00 | 414,000 | 90,000 | 151,733 |
| TGN - Otay Mesa | 1/18/2011 0:00 | 414,000 | 90,000 | 151,733 |
| TGN - Otay Mesa | 1/19/2011 0:00 | 414,000 | 90,000 | 118,833 |
| TGN - Otay Mesa | 1/20/2011 0:00 | 414,000 | 90,000 | 96,733 |
| TGN - Otay Mesa | 1/21/2011 0:00 | 414,000 | 90,000 | 129,571 |
| TGN - Otay Mesa | 1/22/2011 0:00 | 414,000 | 90,000 | 141,733 |
| TGN - Otay Mesa | 1/23/2011 0:00 | 414,000 | 90,000 | 141,733 |
| TGN - Otay Mesa | 1/24/2011 0:00 | 414,000 | 90,000 | 141,733 |
| TGN - Otay Mesa | 1/25/2011 0:00 | 414,000 | 90,000 | 129,733 |
| TGN - Otay Mesa | 1/26/2011 0:00 | 414,000 | 90,000 | 132,400 |
| TGN - Otay Mesa | 1/27/2011 0:00 | 414,000 | 90,000 | 180,590 |
| TGN - Otay Mesa | 1/28/2011 0:00 | 414,000 | 90,000 | 200,003 |
| TGN - Otay Mesa | 1/29/2011 0:00 | 414,000 | 90,000 | 173,553 |
| TGN - Otay Mesa | 1/30/2011 0:00 | 414,000 | 90,000 | 173,553 |

  - Please explain why the contracted firm capacity and available firm capacity columns do not add up to the total firm capacity.

  - Please list all factors that increase or decrease the amount of available firm receipt point capacity that is available at the Otay Mesa receipt point.

RESPONSE 2:

2.1

When viewing available capacity at one receipt point it should be viewed in context with other interconnecting receipt points within the same transmission subzone and zone. The Otay Mesa receipt point is part of SoCalGas’ Southern Transmission Zone which also includes El Paso – Ehrenberg, and North Baja – Blythe.   These receipt points interconnect for a combined receipt capacity of 1,229,000 dth/day.  The contracted capacity from Jan 1 through Jan 30, 2011 at these three (3) receipt points is shown below and the remaining capacity matches what is available at Otay Mesa for the days in question.   Because firm capacity was contracted at the other interconnecting receipt points (Ehrenberg and Blythe) this reduced the available capacity that could be contracted for at Otay Mesa.  The sum of the firm capacity in the Southern Transmission Zone cannot exceed 1,229,000 dth/day.  The information below is also available on SoCalGas’ EBB system (Envoy) in the Unsubscribed Capacity Report.

2.2

Available firm capacity will be affected by:

- Scheduled and unscheduled maintenance events

- Firm capacity that is contracted by market participants at a particular receipt point or an interconnecting receipt point in the same transmission sub-zone or zone.

- Firm capacity that is exchanged into or out of receipt point by market participants at a particular receipt or an interconnecting receipt point in the same sub-zone or zone.

- Operation Flow Order (OFO) events.  Once an OFO is called no additional firm rights can be sold at any receipt point even if the receipt point is not fully subscribed.

QUESTION 3:

Table 7, on page 12 of Bruce Wetzel’s direct testimony provides “the peak day gas demand for each year of the TCAP period as well as the 3-year average for that period.”  Please provide a comparable table based upon 1-in-10 day peak-day temperature conditions for the retail core classes.

RESPONSE 3:

Table IP-02 (Q#3) below has the requested gas peak day gas demand for SoCalGas’ and SDG&E’s retail core market segments.

For retail core HDD-sensitive market segments, peak-day demand was calculated using the applicable 1-in-10 peak-day temperature condition for SoCalGas or SDG&E.  For the SoCalGas retail noncore HDD-sensitive market segment, peak-day demand was calculated under a 1-in-10 peak-day temperature condition.  For the SoCalGas and SDG&E electric generation facilities included in Mr. Huang's testimony, power market simulation model, peak-day demand was calculated as a coincident peak day for all these facilities.  For all other market segments, peak-day load was calculated as average daily December month’s demand.

Table IP-02 (Q#3)

SoCalGas’ Peak Day Demand (MDth/d)

(Under 1-in-10 Temperature Condition)

|  |  | 2013 | 2014 | 2015 | 3-Year Avg. 2013-2015 |
| --- | --- | --- | --- | --- | --- |
| Core |  |  |  |  |  |
|  | Residential | 2,338 | 2,330 | 2,323 | 2,330 |
|  | Core C&I | 576 | 577 | 573 | 575 |
|  | Gas AC | 0.1 | 0.1 | 0.1 | 0.1 |
|  | Gas Engine | 3 | 2 | 2 | 2 |
|  | NGV | 42 | 43 | 45 | 43 |
|  | Total Core | 2,959 | 2,952 | 2,943 | 2,951 |
| Noncore |  |  |  |  |  |
|  | Noncore C&I | 421 | 417 | 411 | 416 |
|  | EG | 861 | 896 | 931 | 896 |
|  | EOR | 41 | 41 | 41 | 41 |
|  | Total Retail Noncore | 1,323 | 1,354 | 1,383 | 1,354 |
| Wholesale and International |  |  |  |  |  |
|  | Long Beach | 62 | 62 | 62 | 62 |
|  | SDG&E | 584 | 585 | 544 | 571 |
|  | SWG | 59 | 59 | 60 | 59 |
|  | Vernon | 29 | 29 | 30 | 29 |
|  | Mexicali | 17 | 17 | 17 | 17 |
|  | Total Wholesale & Intl. | 751 | 753 | 714 | 739 |
| Total Peak Day Demand |  | 5,033 | 5,060 | 5,040 | 5,044 |

QUESTION 4:

Table 14, on page 18, of Bruce Wetzel’s direct testimony provides the peak day gas demand for the SDG&E system from 2013-2015 that is used for cost allocation and rate design purposes.  Please provide a comparable table based upon 1-in-10 day peak-day temperature conditions for the core classes.

RESPONSE 4:

Table IP-02 (Q#4) below has the requested gas peak day gas demand for SoCalGas’ and SDG&E’s retail core market segments.

For SDG&E's HDD-sensitive core market segments, peak-day demand was calculated under a 1-in-10 peak-day temperature condition.  For the SDG&E (and SoCalGas) electric generation facilities included in Mr. Huang's power market simulation model, peak-day demand was calculated as a coincident peak day for all these facilities.  For all other market segments, peak-day load was calculated as average daily December month’s demand.

Table IP-02 (Q#4)

SDG&E’s Peak Day Demand (MDth/d)

(Under 1-in-10 Temperature Condition)

|  |  | 2013 | 2014 | 2015 | 3-Year Avg. 2013-2015 |
| --- | --- | --- | --- | --- | --- |
| Core |  |  |  |  |  |
|  | Residential | 262 | 262 | 263 | 263 |
|  | Core C&I | 86 | 85 | 83 | 85 |
|  | NGV | 3 | 3 | 3 | 3 |
|  | Total Core | 352 | 351 | 350 | 351 |
| Noncore |  |  |  |  |  |
|  | Noncore C&I | 13 | 13 | 13 | 13 |
|  | Electric Generation | 211 | 213 | 173 | 199 |
|  | Total Retail Noncore | 225 | 227 | 187 | 213 |
| Total Peak Day Demand |  | 576 | 577 | 536 | 563 |

QUESTION 5:

On August 26, 2011 SoCalGas/SDG&E provided IP with responses to questions on SoCalGas/SDG&E’s embedded cost and functionalization study.  In its response to Question 1, it provided an excel spreadsheet, entitled 110817 – Demand.xlsx,  that “updates the reallocation of costs between backbone and local transmission as proposed in A.10-03-028 using the current SoCalGas/SDG&E long-term demand forecast for the 1-in-10 cold day event.”

  - Did SoCalGas/SDG&E rely on this same demand data in A.11-11-002?  If not, please provide an updated file, in the same format, using the demand data relied upon in A.11-11-002 and the 1-in-10 cold day event criterion.

  - Please provide peak-day demand, in MMcfd, for each customer class in the format used in Table 7 of Mr. Wetzel’s direct testimony based on the 1-in-10 cold day event criterion.

RESPONSE 5:

5.1

No, the demand forecast used for A.11-11-002 had not yet been prepared when this data was provided.  The table provided in 110817 – Demand.xlsx was based upon the 1-in-10 year cold day demand forecast prepared for the 2010 California Gas Report.  Attached is an update based upon the 2011 1-in-10 year cold day demand forecast prepared for A.11-11-002.  The resulting changes in allocation between Direct Connected load and Local Transmission load, and allocation by region are minor.

5.2

Table IP-02 (Q#5.2) below has the requested gas peak day gas demand for SoCalGas’ and SDG&E’s retail core market segments based on the gas demand data provided to SoCalGas’ Gas Transmission Planning Group and that underlies the response provided to question 5.1, above.

For retail core HDD-sensitive market segments, peak-day demand was calculated using the applicable 1-in-10 peak-day temperature condition for SoCalGas or SDG&E.  For the SoCalGas retail noncore HDD-sensitive market segment, peak-day demand was calculated under a 1-in-10 peak-day temperature condition.  For the SoCalGas and SDG&E electric generation facilities included in Mr. Huang's testimony, power market simulation model, peak-day demand was calculated as a coincident peak day for all these facilities.  For refinery segment (LA Basin area), peak-day loads are set at estimated winter peak-day load values.  For all other market segments, peak-day load was calculated as average daily December month’s demand.  Also, please note that for the SDG&E load under "Wholesale", peak-day load was calculated as end-use gas demand by SDG&E's customers.

Table IP-02 (Q#5.2)

SoCalGas’ Peak Day Demand (MMcf/d)

(Under 1-in-10 Temperature Condition)

|  |  | 2011 | 2013 | 2014 | 2015 | 3-Year Avg. 2013-2015 |
| --- | --- | --- | --- | --- | --- | --- |
| Core |  |  |  |  |  |  |
|  | Residential | 2,338 | 2,284 | 2,276 | 2,270 | 2,277 |
|  | Core C&I | 564 | 563 | 564 | 560 | 562 |
|  | Gas AC | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 |
|  | Gas Engine | 2 | 3 | 2 | 2 | 2 |
|  | NGV | 38 | 41 | 42 | 44 | 42 |
|  | Total Core | 2,943 | 2,891 | 2,884 | 2,875 | 2,884 |
| Noncore |  |  |  |  |  |  |
|  | Noncore C&I | 520 | 504 | 499 | 492 | 498 |
|  | EG | 807 | 868 | 903 | 936 | 902 |
|  | EOR | 40 | 40 | 40 | 40 | 40 |
|  | Total Retail Noncore | 1,366 | 1,412 | 1,442 | 1,469 | 1,441 |
| Wholesale and International |  |  |  |  |  |  |
|  | Long Beach | 60 | 61 | 61 | 61 | 61 |
|  | SDG&E | 560 | 565 | 566 | 526 | 553 |
|  | SWG | 56 | 57 | 58 | 59 | 58 |
|  | Vernon | 25 | 28 | 29 | 29 | 29 |
|  | Mexicali | 16 | 17 | 17 | 17 | 17 |
|  | Total Wholesale & Intl. | 717 | 728 | 730 | 692 | 717 |
| Total Peak Day Demand |  | 5,026 | 5,031 | 5,057 | 5,036 | 5,041 |

QUESTION 6:

On August 9, 2011 SoCalGas/SDG&E provided IP with responses to its questions on SoCalGas/SDG&E’s embedded cost and functionalization study.  In its response to Question 1, it provided an excel spreadsheet, entitled Attachment 2_ B-LT pipelines.xlsx, which lists 21 backbone transmission lines in the SDG&E area.  Please provide the net book value amount for each backbone line along with the depreciation expense and line length in the same format as provided for SoCalGas transmission lines in pages 5-7 of Sim-Cheng Fung’s workpapers.  If data cannot be provided for each of these backbone transmission lines in the specified format, please explain why.

RESPONSE 6:

SDG&E does not record nor track its gas transmission assets by transmission line number, thus we cannot provide net book value, depreciation expense and line length at the requested detailed level.

QUESTION 7:

Please provide the total amount of gas deliveries to all SDG&E customers by day for the years 2008, 2009, 2010 and 2011.

RESPONSE 7:

SoCalGas and SDG&E object to this request on the grounds that it seeks customer information that is confidential and proprietary, and could subject SDG&E and its customers to competitive disadvantage if this information were revealed to market participants such as the Indicated Producers.  Without waiving these objections and subject thereto, SoCalGas and SDG&E respond as follows:

Annual gas deliveries to SDG&E are reported for 2008-2009 in the 2010 California Gas Report (CGR).   The California Gas Report can be accessed at the following link:

http://www.socalgas.com/regulatory/cgr.shtml

QUESTION 8:

On page 2 of Sim-Cheng Fung’s supplemental testimony, she states that “Recent data from October 1, 2011 to mid-February 2012 shows that on average, contracted quantities for MFV are approximately only six percent of total contracted volumes.”

  - Please provide copies of all workpapers supporting the value provided in this sentence.

  - Please provide the SFV and MFV volumes by month from when the rate design was approved to the present.

RESPONSE 8:

8.1 Please see attached file.

8.2 Please see attached file.

QUESTION 9:

- On March 30, 2012, SoCalGas filed Advice Letter 4353 to authorize the System Operator to move supplies from the Blythe receipt point to the Otay Mesa receipt point when needed to maintain system reliability.  The AL further states that it seeks authority for this new tool because “[i]n certain instances … the System Operator has needed to maintain minimum system pressures, and supplies delivered to Blythe were not a reasonable substitute.”

  - Describe all circumstances under which gas supplies would need to be moved from the Blythe to the Otay Mesa receipt points in order to maintain Southern System reliability.

  - List all factors that would determine the amount of gas supplies required to flow through the Otay Mesa receipt point to maintain Southern System reliability.

  - If the Otay Mesa receipt point did not exist, how would SoCalGas/SDG&E have addressed this southern system reliability issue?

  - Explain why supplies through the Blythe receipt point are not a reasonable substitute to address this new southern system reliability issue.

  - Provide the first date on which the System Operator was required to deliver supplies at Otay Mesa, rather than Blythe, in order to preserve Southern System reliability.

  - Please list all dates on which the System Operator has been required to delivery supplies at Otay Mesa, rather than Blythe, in order to preserve Southern System reliability.

  - For each date provided in response to Question 9.6, provide the quantities of gas supplies required to be delivered at Otay Mesa, rather than Blythe, to preserve Southern System reliability.

  - For each date provided in response to Question 9.6, clarify how the System Operator calculated the quantities of gas supplies required to be delivered at Otay Mesa, rather than Blythe, to preserve Southern System reliability.

RESPONSE 9:

9.1-9.8

SoCalGas and SDG&E object to these requests because they go beyond the scope of

this proceeding, and therefore are overbroad, unfairly burdensome, and seek

information not relevant to consideration of A.11-11-002.  The new System Operator

tool proposed by SoCalGas in Advice Letter 4353 is not part of our TCAP application or

supporting testimony.  SoCalGas and SDG&E further object on the grounds that the

request seeks information that is confidential and proprietary, and could subject

SoCalGas/SDG&E and their customers to competitive disadvantage if this information

were revealed to market participants such as the Indicated Producers. Without waiving

these objections, and subject thereto, SoCalGas and SDG&E respond as follows:

Please see the responses and objections already submitted by SoCalGas in

response to the very same questions in the Indicated Producers’ Data Request dated

April 2, 2012 re AL 4353

QUESTION 10:

Advice Letter 4282 provides an annual compliance report on the System Operator’s reliability purchases and sales.  On page 2 of that AL, it states that “Over January 31, 2011 through February 4, 2011 SoCalGas purchased just over 1 Bcf of spot gas at Ehrenberg and Otay Mesa for $8,314,055 (included in this amount was an incremental $442,780 from Southern California Gas Company’s Utility Gas Procurement Department as provider of last resort).”

  - Please clarify the quantity of gas (in dth) purchased from the Otay Mesa receipt point on each of the dates listed in Attachments B and C.

  - Please clarify the quantity of gas (in dth) purchased from the Ehrenberg receipt point on each of the dates listed in Attachments B and C.

  - Attachment C clarifies that Gas Control was specifically requested to deliver gas supplies to Otay Mesa on February 2, 2011 and February 3, 2011.

    - What specific circumstances required the delivery of gas supplies through the Otay Mesa receipt point on each of these dates?

    - List all additional dates on which supplies were required to flow through the Otay Mesa receipt point? Please also provide the specific circumstances requiring delivery of gas supplies at the Otay Mesa receipt point on those days.

    - On all days on which supplies were required to be delivered to the Otay Mesa receipt point, how would SoCalGas have dealt with the southern system reliability issue had the Otay Mesa receipt point not existed?

  - For each date provided in Attachments B and C, list all efforts undertaken by SoCalGas/SDG&E to maintain system reliability.

RESPONSE 10:

10.1-10.4

Please see our objections and response to Question 9 above.

Wetzel Direct Testimony, at 11.