QUESTION 1:

Please provide the total actual sendout for each day commencing on July 1, 2009, through June 30, 2014.

RESPONSE 1:

QUESTION 2:

Please provide each of the total actual noncore sendout and the total actual core sendout for each day commencing on July 1, 2009, through June 30, 2014.

RESPONSE 2:

SoCalGas and SDG&E object to this question on the grounds that it requests confidential customer-specific (core) data.

QUESTION 3:

Please provide, for each day from December 5-11, 2013 and December 4-6, 2013, storage withdrawals attributed to noncore balancing and explain how these values were derived.

RESPONSE 3:

Envoy only records storage withdrawal attributed to the entire balancing function.  No core/noncore distinction is drawn.

QUESTION 4:

Please provide, for each day from July 1, 2009, to June 30, 2014, interruptible storage withdrawals.

RESPONSE 4:

SoCalGas and SDG&E initially understood that during the 49 day period of 70% winter balancing in 2014 (February 11 – March 31), no interruptible storage withdrawal nominations were accepted.  However, it now appears that on 9 days, due to a programming glitch, a very small amount of interruptible storage withdrawal that had not been scheduled in earlier cycles was able to be scheduled in Cycle 5.  Further, on 5 days, small amounts of interruptible storage withdrawal were able to be scheduled in cycles 1-4.  Nonetheless, the average daily amount scheduled during this period of 3 Mdth was less than 1% of the 2014 daily average up to that point (January 1 to February 10) of 556 Mdth.

QUESTION 5:

Please provide information regarding historical forecasts and actual receipts and sendout from January 1, 2009, through June 30, 2014, in the following format:

| Date | Forecast Sendout | Actual Sendout | Forecast Receipts | Actual Receipts |
| --- | --- | --- | --- | --- |

RESPONSE 5:

QUESTION 6:

What level of noncore storage withdrawals allocated to balancing would be required to reduce potential Low OFOs to 5 per year, using the assumptions and data used by Mr. Watson in his direct testimony at p. 8? 10 per year? 25 per year?

RESPONSE 6:

We assume the question means total storage withdrawals allocated to the balancing function.  There is no such thing as a “core” balancing function and a “noncore" balancing function.  Currently 340 MMcfd is allocated to the balancing function.

Using the same data and assumptions as on page 8 of Mr. Watson’s direct testimony, 790 MMcfd would be needed to produce 5 annual low OFOs.  680 MMcfd would be needed to produce 10 annual low OFOs.  485 MMcfd would be needed to produce 25 low OFOs.  Please note that all of these figures assume no change in shipper behavior from historical deliveries in response to implementation of new low OFO/EFO requirements, which is likely to be an incorrect assumption.  As Mr. Watson also explained at p. 8 of his direct testimony, the figure of 41 low OFOs during the referenced time period “likely overstates the frequency of low OFOs since customers will likely use more storage or schedule more out-of-state supplies under SoCalGas’ new, PG&E-like balancing regime.”

QUESTION 7:

Please specify the cost per Dth to noncore end-use customers for each increase in storage withdrawal allocation.

RESPONSE 7:

Under the current TCAP, every 100,000 dth/day of increase in storage withdrawal allocation to the balancing function results in a .018 cent/therm increase in noncore end-user rates.

QUESTION 8:

Please provide historical forecasts of Storage Injection for Customer Balancing for July 1, 2009 through June 30, 2014. Identify separately the forecast posted on Envoy for the day of flow (what would be used for the Cycle 3 Low OFO determination) and the forecast for the next day flow (what would be used for the Cycle 1 determination). For the same days, please identify the actual storage injection used for Customer Balancing.

RESPONSE 8:

This data is not available.  These forecasts have not been archived in Envoy.

Actual injection used for Customer balancing is attached for the December 2012 to date period.  The calculation in Envoy changed at the beginning of December.  Comparison with earlier “actuals” is not possible.