| Application of San Diego Gas & Electric Company (U-902-M) for Approval of Demand Response Programs and Budgets for the Years 2012 through 2014. | Application 11-03-002 |
| --- | --- |

CHAPTER IV

REBUTTAL TESTIMONY OF

KEVIN C. McKINLEY

SAN DIEGO GAS & ELECTRIC COMPANY

BEFORE THE PUBLIC UTILITIES COMMISSION

OF THE STATE OF CALIFORNIA

July 11, 2011

CHAPTER IV

REBUTTAL TESTIMONY

OF KEVIN C. McKINLEY

Response To DRA

The DRA states on page 2-2 of its testimony that;

“SDG&E provided an alternate load levels analysis which is a modified version of E3’s suggested method, using 100 peak hours, rather that the 250 hours in E3’s method.”

In its original filing, SDG&E used a load based approach based on publicly available data consistent with the Demand response Cost Effectiveness Protocols.  The protocols state on page 23 that;

“An alternate approach to developing a LOLE/LOLP model is to base the likelihood of an outage on load levels alone.  The advantage of such an approach is that it does not require the generator-specific information and is simple enough to implement in a spreadsheet.  While not as theoretically robust as the traditional LOLE/LOLP approach, this approach provides results that properly place more emphasis on the hours of the year when system demands are the highest.  In this calculation as in many others, the advantage of simplicity and transparency outweigh the advantages of proprietary traditional LOLE/LOLP models.”

In the protocols there is no mention of the number of hours required in the Load Level analysis.  SDG&E did not request to use an LOLE/LOLP model to derive the A factor.  Since there was no request to deviate from the protocols, there was no requirement to provide a second analysis.  However, in the interest of time in this proceeding and in order to provide an additional comparison analysis, attached to this rebuttal testimony is an alternative analysis based on the E3 recommended 250 peak time hours.

SDG&E hopes that this additional information will eliminate any compliance issues related to its Demand Response filing.

As a result of this rebuttal testimony, SDG&E discovered a minor error in utilizing the E3 model and has also attached to this document an update of the May 27 testimony Chapter 4, the Prepared Direct Testimony of Kevin C. McKinley along with a complete set of work papers and supporting documents.

Response To TURN

Turn states in section II. A. of it testimony that;

“Lack of time has limited our investigation to SCE only.  It may be, however, that the issue of inclusion of software costs is also a valid question for the other utilities that we have not examined.  We encourage the Commission to verify that IT costs have been properly included in the CE tests by the other two utilities.”

To its knowledge, SDG&E has incorporated all of the software costs related to Demand Response programs into its Cost Effectiveness analysis.  The exact values included in the Cost Effectiveness can be found in the Chapter II the prepared testimony of Athena M. Besa.  The total value included in the cost effectiveness calculations is $5,409,750.

This concludes my rebuttal testimony.