QUESTION 1:

At page 1 of the Application, the Applicants state that “The North-South Project is

needed to maintain Southern System reliability and alleviate the potential for curtailments of customers on the Southern System due to a potential mismatch between the demand of such customers and the volume of flowing supplies delivered to the Southern System to meet that demand.

(a) Please describe and define the metrics that demonstrate the need or needs identified by the Applicants in the above statement.

(b) Does the above statement identify two separate primary needs to be met by the North-South Project? If not, please explain. If so, please explain the relationship between the two identified needs to be met, if any.

(c) Please describe the rating criteria used to assess and determine the adequacy of each Project Alternative to be considered in meeting the identified need/s.

(d) Does the second part of the above statement, which reads “alleviate the potential for

curtailments of customers on the Southern System due to a potential mismatch…to meet that demand” pertain to, or include, an identified need for risk reduction of the potential for customer curtailments? If so, please describe the target risk reduction and how this risk reduction target was arrived at by the Applicants.

RESPONSE 1:

- As explained in the direst testimony of Ms. Musich, the need for minimum flows on the Southern System is created by the fact, that unlike other portions of SoCalGas’ system, physical flows delivered to the Southern System are needed on a regular basis, and only a portion of the system’s needs can be served by flows from other portions of the system.  As illustrated in Figure 1 of Ms. Musich’s testimony, the Southern System has risen from an annual average of 366 Mdth/d in 2008 to the current 541 Mdth/d level.  Conversely, customer deliveries into the Southern System have dropped from an annual average level exceeding 800 Mdth/d in 2008 to 593 Mdth/d in 2013.

As also addressed by Ms. Musich in her testimony, this mismatch between demand and flowing supplies is further threatened by the potential for significant volumes of gas to flow to Mexico rather than California and the increase in electric generation demand on the Southern System.

- No.  The mission of the System Operator is to maintain safe, reliable service to customers.  The Southern System is currently configured in a manner that requires minimum flowing supplies of natural gas from receipt points within the Southern System each day.  But the current configuration (together with market conditions) cannot always provide reliable minimum flowing supplies during critical time periods. When supplies are not available into the Southern System (or any other part of the system), the mission to provide reliable service is put into jeopardy and may result in curtailment of service to customers.

- SoCalGas assesses the projects based on their ability to meet the Purpose and Need as presented in the Proponent’s Environmental Assessment.

- SoCalGas always seeks to reduce the risk of the potential for customer curtailments, but has not quantified a risk reduction target.

QUESTION 2:

At page 2 of the Application, the Applicants state that “the volume of supplies

received into the Southern System at Otay Mesa has generally been minimal due to growing demand for domestic supplies exported to Mexico.”

(a) Please provide the date when the Otay Mesa receipt point became operational.

(b) Please provide the data on the volume of supplies received into the Southern System at Otay Mesa from the date Otay Mesa became operational to the latest available date and explain why this information indicates that this volume of supplies has been minimal.

(c) Please explain how the Applicants verified the “growing demand for domestic supplies exported to Mexico.” Please also provide all supporting data for this verification.

(d) Does the above statement mean that the Applicants attribute the “minimal’” volume of supplies received into the Southern System at Otay Mesa to the “growing demand for domestic supplies exported to Mexico”? If so, please explain how the Applicants reached this conclusion.

(e) Please provide the volumes received at Otay Mesa transported from the Costa Azul

Liquefied Natural Gas (LNG) Terminal.

RESPONSE 2:

- The Otay Mesa receipt point became operational on May 9, 2008.

- Please see the attached spreadsheet for the volume of supplies received into the Southern System at Otay Mesa from the date Otay Mesa became operational to 9/17/14.  The attached file provides the total deliveries in Dths (10,043,000 Dths).  It also shows the average daily deliveries for the period in question (4,368 Dths/day) and the number of days deliveries were made at the receipt point (154) as well as the percentage of those delivery days (7%) in relation to the total number of days in the period (2,299 days).  These statistics demonstrate that deliveries were not significant.

- As described in sections II and III of Mr. Chaudhury’s direct testimony (pages 1-5), there are numerous sources highlighting the growing demand for domestic U.S. supplies exported to Mexico.  Such sources include the Energy Secretary of the Federal Government of Mexico, the U.S. Energy Information Administration, the California Energy Commission, Kinder Morgan—the owner of El Paso Pipeline Company, and consultants, such as, Bentek Energy.

- The minimal volume of supplies received into the Southern System at Otay Mesa is attributable to market conditions in Mexico and the United States.  These market conditions include the growing demand for natural gas in Mexico and increased exports to Mexico.

- To date SoCalGas has not transported gas supply on the Bajanorte/TGN systems for delivery at Otay Mesa that was purchased by SoCalGas from the Costa Azul LNG terminal.  SoCalGas is unable to provide the volumes scheduled by other shippers for delivery at Otay Mesa that were transported from the Costa Azul LNG Terminal because it does not have access to upstream scheduling data on the Bajanorte/TGN systems that are required to determine the volumes sourced from Costa Azul.

QUESTION 3:

At page 2 of the Application, the Applicants state that SoCalGas also has the ability

to transport up to 80 MMcfd of supply from its Northern System to the Southern System via Transmission Line 6916, formerly the Questar Southern Trails Pipeline. Please describe how the Applicants considered the role of Line 6916 in determining possible solutions to the need identified in Question 1.

RESPONSE 3:

Line 6916 was factored into the determination of the need for the North-South Project.  If Line 6916 were not available, the need for the North-South Project and flowing supplies from Northern receipt points and storage would increase.

QUESTION 4:

At page 3 of the Application, the Applicants state that “The minimum flow

requirements on the Southern System vary with the demand on the system. As demand increases, the minimum flow requirements increase and vice versa. Supplies delivered at Blythe and Otay Mesa are needed to support any Southern System customer demand not met by Chino and Prado Stations during peak periods.”3

(a) Please provide the historical monthly recorded demand on the system from the beginning of the year 2000 through the latest available date. Based on this recorded data, please provide the recorded minimum flow requirements on the Southern System.

(b) Do the Applicants expect the minimum flow requirements on the Southern System to

increase from the historical recorded levels in the future? If so, please provide the

projected minimum flow requirements for the forecast period relevant to the Applicants’ analysis. Please also identify the dates of the forecast period.

(c) Please provide the required amount of capacity, to meet the need(s) identified in your response to Question 1.

(d) Please identify the specific receipt points where gas supplies should be delivered in order to meet the minimum flow requirements on the Southern System.

(e) How much firm receipt point capacity is available at the receipt points discussed in

response to Question 4(d)?

(f) Do the minimum flow requirements shown in the Applicants’ response to Question 4(a) meet the need to maintain Southern System reliability as identified on page 1 of the application? If not, please explain.

(g) Do the minimum flow requirements in the Applicants’ response to Question 4(a) meet the need to “alleviate the potential for curtailments of customers on the Southern System due to a potential mismatch between the demand of such customers and the volume of flowing supplies delivered to the Southern System to meet that demand”, as indicated on page 1 of the application? If not, please explain.

RESPONSE 4:

- Please refer to the attached file for the total daily gas demand on the Southern System for the period January 2011 through April 2014.  Note that data for the Southern System demand prior to January 2011 are unavailable.

Please refer to the attached file for the recorded minimum flow requirements.

- Yes.  SoCalGas believes it is likely that Southern System minimum flow requirements will increase in the future.  Please see the direct testimony of Ms. Musich at pages 5-6.  Future Southern System minimum requirements will depend on a host of variable factors including weather and demand.  SoCalGas has not attempted to forecast future Southern System minimums.

- Please refer to Response 1 above.

- Currently, gas supplies needed to meet the Southern System Minimum need to be delivered at El Paso Ehrenberg, North Baja Blythe or Otay Mesa.

- The Southern Zone has a total receipt point capacity of 1.2 BCFD.  El Paso Ehrenberg has a capacity of 1.2 BCFD (temporarily lowered to 1.0 BCFD pending a hydrotest for Line 2000), North Baja has a capacity of 0.6 BCFD and Otay Mesa has a capacity of 0.4 BCFD.

- Yes.

- Yes.

QUESTION 5:

Table 1 at page 6 of the Application shows the costs of Southern System Support

after the transfer to the System Operator, beginning in September 2009 and through August 2013.

(a) The column labeled as “Purchases” in Table 1 shows significant variations in the purchase amount from the first 12-month period to the next 12-month period and on to the next. Please explain the reason/s for the yearly variations noted.

(b) The column labeled as “SRMA Costs” shows a huge increase in the fourth year (about 3.5 times) compared to the first 3 years. Please explain the reason for the significant increase in the SRMA costs starting at the fourth year.

(c) The column labeled as “IT BTS Ehrenberg Discounts” showed a dramatic increase in the fourth year to $12.1 million compared to zero $ amounts in the first two years. Please explain the reason for the increase in the discounts noted.

RESPONSE 5:

- See Figure 1 of Ms. Musich’s direct testimony.  Customer purchases were falling at the same time that the Southern System minimum was increasing.  As a result the frequency and the size of the gap between customer purchases and the minimum increased over the period, which translates into System Operator purchases.

- The purchases requested by the System Operator almost tripled in the final year compared to the previous year.  In addition, the net cost of those purchases (purchase cost at Ehrenberg + BTS transport – citygate sale) increased in the fourth year.

- The utility did not employ a BTS discount strategy until December 2011.  The fourth year is the only one in which the utility discounted its BTS4 rate at Ehrenberg throughout the year. Without such discounts, the increase in SRMA costs noted in (b) would have been even higher because customers would have purchased even less gas at Ehrenberg absent a discounted BTS transport rate from Ehrenberg to the citygate.

QUESTION 6:

At page 6 of the Application, the Applicants state “In order for Gas Acquisition to

meet their obligations for the southern system minimum under the MILC, Gas Acquisition purchased El Paso South Mainline capacity to Ehrenberg at a 15 cent/dth reservation charge premium over other interstate pipeline alternatives.”4 MILC stands for Memorandum in Lieu of Contract. Applicants state that this translates to a $16 million per year cost impact.5

(a) Please provide the basis for stating that El Paso South Mainline capacity purchased by Gas Acquisition was “at a 15 cent/dth reservation charge premium over other interstate pipeline alternatives.” Which interstate pipeline capacity alternatives did Gas Acquisition consider? Do any of those alternatives deliver to Ehrenberg, or elsewhere on the SCG Southern System?

(b) Please provide the calculation for the $16 million a year impact, including any

assumptions.

(c) Do the Applicants expect the North-South Project, or an Alternative Project to be

determined, to eliminate the need for a Gas Acquisition MILC? If not, please explain.

(d) How much of an increase in present rates would SoCalGas/SDG&E’s proposed project have for customers in the Southern System and all customers, both at the backbone transmission level and at the end-use customer level?

RESPONSE 6:

a.	Generally, when Gas Acquisition re-contracts for interstate pipeline capacity, it analyzes a number of alternatives and assesses the market rate for each of those alternatives.  For purposes of fulfilling its obligation under the MILC, Gas Acquisition considered capacity on the Kern River, Transwestern, and El Paso pipelines, with only El Paso capacity being able to deliver to Ehrenberg and only El Paso being able to deliver from a supply basin to the SoCalGas Southern System.  Gas Acquisition’s contracts executed closest to the time when this Application was prepared were directly with El Paso.  The contracted capacity with an Ehrenberg delivery point has a 40¢/dth reservation rate, and the capacity with a Topock delivery point has a 23¢/dth reservation rate, resulting in a 17¢/dth premium for Ehrenberg capacity.  The15¢/dth market premium discussed in the Application is conservative compared to this 17¢/dth difference.

- The calculation for the $16 million a year impact is shown in footnote 9 on page 6 of the Application: $0.15/dth x 300 Mdth/day x 365 days = $16 million.

    - 15¢/dth = reservation charge premium discussed in (a)

    - 300 Mdth/day = approximate volume contracted at Ehrenberg that is paying the premium

    - 365 days = number of days in a year

While the actual product of these numbers is $16.425 million, it was rounded to $16 million in the footnote since it is an approximation.

- Yes.  If the North-South Project is built there will probably be no need for a MILC.

- The proposed increase in rates can be found in the direct testimony of Mr. Joseph Mock on page 2, Table 1.

QUESTION 7:

At page 7 of the Application, Applicants state that “Increases in cost of Southern

System reliability are expected by SoCalGas to continue.” Please provide all the SoCalGas analysis upon which this statement is based.

RESPONSE 7:

SoCalGas does not have any additional analysis beyond what is provided in our testimony, workpapers, and application.

QUESTION 8:

At page 7 of the Application, Applicants state “Customer deliveries are expected to

continue to drop as supplies on El Paso’s South Mainline are diverted to high-value Mexican markets.”7

a. Please provide all the SoCalGas analysis upon which this statement is based.

b. What does the phrase “high-value Mexican market” mean? Is the Mexican market

considered “high-value” because of Mexican purchases of firm interstate capacity on

El Paso, and other interstate pipelines?

RESPONSE 8:

- The term ‘high value’ as used refers to price premiums generally paid by the Mexican government for its gas purchases through Pemex. [1]   The statement is not based on any analyses done by SoCalGas.  Rather it is based on publicly available information about the structure of the natural gas market in Mexico. The gas sales prices in Mexico are simply set by the government.  As an example of natural gas price premium paid by the Mexican government, Francisco Salazar, the President of the Mexico’s Energy Regulatory Commission (CRE), in an interview in October 2013, mentioned that in February 2013 Pemex Gas “paid upwards of US$21/MM BTU for natural gas in LNG cargos, when, in the U.S. the same gas was at $4” (http://www.energia.com/wp-content/uploads/2013/12/2013-111-30-Interview-with-Francisco-Salazar_v2.pdf, page 6).

- See response to 8a above.

QUESTION 9:

At page 7 of the Application, Applicants state “Increasing Mexican exports may reduce flow into Blythe.”8 Please provide all the SoCalGas analysis upon which this statement is based.

RESPONSE 9:

Section III of Mr. Chaudhury’s testimony (pages 3-5) contains analysis of potential natural gas exports to Mexico via the El Paso South Mainline, including information on El Paso’s recently completed new laterals/expansion of laterals off of South Mainline to facilitate export to Mexico.  These additional exports to Mexico will directly compete with available supplies into Ehrenberg.  As entities serving the new gas load in Mexico sign long term contracts for capacity with El Paso, the likely result will be substantially lower flowing supplies available to reach Ehrenberg.

QUESTION 10:

At page 8 of the Application, Applicants state “Essentially all of the flowing

supplies that arrive at Southern System receipt points are sourced from one pipeline – El Paso. (footnote omitted) Southern System customers have faced reliability problems in the past because of this situation, including a Southern System curtailment in February of 2011 brought about by force majeure conditions upstream of the SoCalGas system, several recent supply related near misses, and operational issues that have created reliability concerns.”9 In a footnote, Applicants state that Transportadora de Gas Natural de Baja California (TGN) also has the capability to deliver supply at Otay Mesa but that receipt point is not utilized by the Applicants’ customers for economic reasons.

(a) Please identify all the Southern System receipt points where El Paso deliveries of flowing supplies are made. Are these identical to the specific receipt points in your response to Question 4(d) where gas supplies should be delivered in order to meet the minimum flow requirements on the Southern System?

(b) Please explain whether TGN has the capability to deliver supply at the same Southern System receipt points where El Paso delivers flowing supplies.

(c) Please define what is meant by “economic reasons”.

(d) Please explain whether “economic reasons” pertain to the higher rates charged by TGN for deliveries to Otay Mesa.

(e) Please explain whether the Applicants believe the TGN pipe through the Otay Mesa

receipt point could also meet Southern System minimum requirements needed to maintain system reliability if economic reasons were not a factor.

(f) Please provide details regarding whether the Southern System curtailment in February of 2011 was an emergency curtailment, the time duration and frequency of occurrence, the magnitude of demand curtailment, the number of customers affected by the curtailment and customer type, and the reasons that necessitated the curtailment (i.e., shortfall in gas supply to the Southern System, insufficient pipeline capacity, or other reasons).

(g) Please provide details to explain the clause, “several recent supply near misses and

operational issues that have created reliability concerns.”

(h) Please explain if during the supply events in Question 10(g) also impacted other natural gas suppliers in other regions or coming off of other pipelines than those identified in Question 10(g).

RESPONSE 10:

- The Southern System receipt points are Ehrenberg, North Baja, and Otay Mesa.  The supplies delivered into all of the Southern receipt points originate from El Paso, but may arrive via an intermediate pipeline.

- Any supplies delivered from TGN to Otay Mesa either arrived there via El Paso to North Baja to Baja Norte to TGN or else from Costa de Azul to TGN.

- Gas delivered at Otay Mesa pays the same costs as gas delivered at Ehrenberg, plus the additional costs to get through the three pipelines described in Response 10b above.  LNG from Costa Azul does not arrive because the price of LNG is considerably higher than the price of domestic natural gas.

- See Response 10c.

- If economic reasons were not a factor, gas delivered at Otay Mesa could go towards meeting the Southern System Minimum requirements.

- Please refer to SoCalGas Advice Letter 4207.

- Please refer to Section V of the direct testimony of Ms. Musich.

- Please refer to Section V of the direct testimony of Ms. Musich.

QUESTION 11:

At page 8 of the above subject, Applicants state “As deliveries to Mexico from the

El Paso system increase, supplies into Blythe are going to become more scarce and expensive. This decrease in available supplies at Blythe will make it more difficult to find supplies at any price when problems occur in the supply basins or on interstate pipelines serving Southern California.”10

(a) In the statements above, do Applicants mean that the expected decrease in available supplies into Blythe would be attributable solely to expected increases in deliveries to Mexico from the El Paso system? Please explain your response.

(b) If some of the Mexican projects expected to result in potential increased deliveries to

Mexico do not materialize for whatever reason, then does the need for the North-South Project identified in response to Question 1(a) go away? Please explain your response.

(c) Had Applicants, or other purchasers on behalf of California customers, obtained additional firm capacity on El Paso’s southern system prior to purchase of capacity by Mexican customers, would the need for the North-South project been reduced?

RESPONSE 11:

- In the statement above, SoCalGas/SDG&E do not mean that the expected decrease in available supply into Blythe would be attributable solely to expected increases in deliveries to Mexico from the El Paso system.  However, the expected increases in deliveries to Mexico from the El Paso system could be a significant contributor to the expected decrease in available supply into Blythe.

- Ms. Musich’s direct testimony discusses the current reliability issues facing the Southern System.  So, the need for North-South Project does not go away under the hypothetical that some of the Mexican projects expected to result in potential deliveries to Mexico do not materialize for whatever reason.  However, as explained in Mr. Chaudhury’s direct testimony, multiple and disparate sources think that the export growth to Mexico will materialize, including the U.S. Energy Information Administration, the Federal Government of Mexico, and the El Paso Pipeline Company.

- The North South project will enable the delivery of physical supply to the Southern System.  Owning capacity on the El Paso system does not insure someone will actually move physical gas on that capacity or that there will not be upstream supply or maintenance issues preventing that supply from reaching the SoCalGas/SDG&E system.

QUESTION 12:

At page 8 of the Application, Applicants state that “At times the System Operator

is already practically the only party delivering supplies to the Southern System. Combined with the potential for upstream problems on the El Paso system, this is not a recipe for reliable service to Southern System customers.11

(a) Please identify the specific time period or periods when the situation described has

occurred.

(b) Please describe the tools the System Operator used to address the situations asked about in question 12(a).

(c) Did any of the situations asked about in question 12(a) result in any curtailment or

curtailments? If so, please provide the details of each curtailment.

RESPONSE 12:

- The system operator uses both spot gas purchases and baseload contracts

- Please refer to the following SoCalGas Advice Letters.

[1] Pemex is Mexico’s state oil and gas monopoly and controls exploration, processing and sales.