QUESTION 1:

Please provide 3 hardcopies of 18 x 24 maps showing in detail the design plan for the

South-North project, River Route pipeline and the Cross Desert project, including all

segments of relevant interstate pipelines used at all to transport gas to California.. These maps should show all pressure limiting stations, compressor stations, pipeline segments such as the Havasu crossover and all other details, as well as any interstate pipeline connections not included in the maps on Figures 3, 4 and 5.

RESPONSE 1:

Please see the attached map depicting the proposed North-South Project pipeline route, the River Route alternative, and the Cross Desert Route alternative.  The map also depicts existing interstate pipeline routes, together with existing compressor stations and pressure limiting stations.  Also attached are additional maps depicting in further detail the design plan for the proposed North-South Project pipeline route.  Three 18”x24” hard copies of each map are attached.

Please note that the North-South Project pipeline route as depicted in each of the maps is based on preliminary engineering analysis.  Consequently, the pipeline route alignments may be modified at a later date based on further project refinements and/or environmental analysis.

SoCalGas and SDG&E did not initiate detailed level design efforts for either the River Route or Cross Desert, thus no detailed maps were produced.

SoCalGas and SDG&E are not privy to design level maps for interstate pipelines.

QUESTION 2:

Please provide the name(s) of the pipeline construction company / companies SDG&E

and SoCalGas plans to engage for this project if approved.

RESPONSE 2:

SoCalGas/SDG&E will develop a list of qualified construction companies for the North-South Project.  SoCalGas/SDG&E will issue an RFP to the qualified companies to bid on the work once the Project is approved. SoCalGas/SDG&E can provide a list of the companies once the selection is complete.

QUESTION 3:

- For each of SDG&E’s and SoCal’s projects (the N-S Project, River Route, and

Cross Desert) please provide any analysis conducted regarding risks to the

public and Sempra employees and contractors associated with each of the

potential projects. This includes, but is not limited to percentage and mileage

of pipes by class locations.

ii.        Would your response in the “Supplemental Prepared Direct Testimony of

Deanna Haines” be in anyway different for the other two alternate projects

namely, the River Route project and the Cross Desert project?

RESPONSE 3:

Class location Breakdown for North South Project:

| Class Location Breakdown |  |  |
| --- | --- | --- |
| Rating | Miles | Percentage |
| Class 1 | 46.01 | 50.3% |
| Class 2 | 3.61 | 3.9% |
| Class 3 | 41.87 | 45.8% |
| Class 4 | 0 | 0.0% |
| Total Length | 91.5 | 100% |

SoCalGas and SDG&E have also proposed a pipeline safety and reliability study for the North-South Project in the Proponents Environmental Assessment (PEA):

Safety and Reliability Study. The Applicant will complete a pipeline safety and reliability study for the Proposed Project. The study will include a summary of nationwide natural gas pipeline accident statistics to provide an indication of potential impacts on public safety as a result of the Proposed Project. Risk management measures that would be incorporated into the Proposed Project will be described. Class location designations to be used as a design basis for the Proposed Project will be presented in the study.  Information regarding the Applicant’s proposed design standards (e.g., pipe material selection, depth of burial, corrosion protection measures, leak detection measures, pipeline segment isolation), operational parameters (e.g., design pressure, Maximum Allowable Operating Pressure), and monitoring procedures (e.g., inspection and testing methods and frequency, SCADA monitoring capability, in-line inspection tool capability) will be described as related to the class location designations associated with the pipeline segments.

The study is expected to be complete in the first quarter of 2015, and will be made available when it is complete and submitted to the CPUC for review.  SoCalGas and SDG&E do not plan to complete similar studies for the two project alternatives: Cross Desert or River Route.

In addition, contractor, employee and public safety will be analyzed prior to initiation of construction and addressed in Job Specific Safety Plans; plans that are required to be submitted to SoCalGas and SDG&E by all contractors working on the North South Project.  Attached are the preliminary North South Job Specific Safety Plan requirements.

- The approach to safety in design and construction described in Deanna Haines’ “Supplemental Prepared Direct Testimony” would not differ for the alternatives, namely the River and the Cross Desert routes. The safety principles, programs, and policies remain consistent and are independent of the route.

PEA APM-HAZ-9 (Applicant Proposed Measure).