**QUESTION 1:**

With respect to SCG/SDG&E's response to #13 (2) [attached], how much would

it cost to design and construct "an additional customer export meter set assembly"?

For purposes of this question please assume the assembly can provide 350 MMcfd

of service to Mexico.

**RESPONSE 1:**

Please refer to SoCalGas and SDG&E’s response to Question 10.2 of SCGC’s 23rd data request in this proceeding.

**QUESTION 2:**

How much gas does SCG/SDG&E import on an annual basis from Mexico via

Otay Mesa, expressed in MMcfd? How many days per year does gas flow from

Mexico onto SCG/SDG&E's system? Please provide annual data for 2008 – 2014

for these inquiries.

**RESPONSE 2:**

|  |  |  |
| --- | --- | --- |
| **Year** | **Number of Flow Days** | **Annual Import Volume (MMcfd)** |
| 2008 | 12 | 24 |
| 2009 | 0 | 0 |
| 2010 | 61 | 84 |
| 2011 | 62 | 52 |
| 2012 | 16 | 45 |
| 2013 | 13 | 52 |
| 2014 | 0 | 0 |