Total Storage Capacities (Questions 1-3)

QUESTION 1:

SCG’s and SDG&E’s testimony (Watson testimony, pg. 2, lines 11-13) states “A decade ago, maintenance on these units could be focused in the winter period. The age of these other, smaller compressor units, however, has created maintenance issues throughout the year.” Please clarify which compressor units are referred to in the quoted section. Do SCG & SDG&E have maintenance plans in place that foresaw or could have foreseen these issues? If so, please explain why maintenance has become disruptive to injection capacity. If not, please explain how SCG and SDG&E plan to avoid similar disruptions in the future.

RESPONSE 1:

Basically all the units outside of Aliso Canyon are being referenced.  As explained, maintenance becomes more continuous and frequent as units age.  A major part of SoCalGas’ plan to improve injection reliability is the Aliso Canyon Modernization Project that is already underway.  Another part of SoCalGas’ plan to deal with this issue is to lower the firm injection capacity of existing units to more realistic summer and winter levels.  Maintenance plans for the Goleta compressors are described on pages 26-28 of the direct testimony of Phil Baker in SoCalGas and SDG&E’s General Rate Case, A.14-11-003/004.

QUESTION 2:

SCG’s and SDG&E’s testimony states (Watson testimony, pg. 3, lines 17-18) “Therefore, proportioning of firm rights should be rare using the 3,175 MMcfd figure since inventories do not typically fall below 34 Bcf, if at all, until late February or March …” Please:

- Provide a quantitative definition of the word ‘rare’ as used in this context and provide the data and assumptions used to conclude that pro-rationing will be ‘rare’ if firm withdrawal capacity is lowered in the manner described.

- Identify the number of times over the past 10 years that pro-rationing of firm rights has occurrence. For each occurrence, identify the date or range of dates the pro-rationing happened.

RESPONSE 2:

- The workpapers to the Direct Testimony of Mr. Watson show that storage inventories were less than 34 Bcf on only 9% of the winter days in 2011/12, 2012/13, and 2013/2014, and that all of these days were in February and March.  Firm nominations by core and noncore customers never reached 2100 MMcf/d in those February and March time periods (compared to 2650 MMcfd of proposed firm withdrawal rights for customers).  Therefore, rare means only a tiny fraction of a 1% probability for each winter day.

- See spreadsheet below.  Scheduling data was only available going back through 2009, or six years.  Over those six years, firm withdrawal rights were not cut.  On the other hand, firm injection rights were cut on 73 days, on average by almost 30%.  Only 7 of those days were in the summer periods, and the cuts in those days averaged less than 10%.  66 of the cuts were in the winter period.  This is a major reason why SoCalGas is proposing to lower its estimates of injection capacities, especially in the winter.

QUESTION 3:

SCG’s and SDG&E’s testimony states (Watson testimony, pg. 3-4, lines 21-22 and line 1, respectively) “Due to maintenance of withdrawal capabilities during the summer, total firm withdrawal over the summer should be set at 1,812 MMcfd, which is below posted withdrawal capacity over the last three summers more than 85% of the days. As will be apparent later in this testimony, this requires that the firm withdrawal rights of unbundled storage and core customers (not balancing rights) be reduced by 50 percent over the 214 days of summer.” Please:

- Identify all of the pages and line numbers of testimony referenced by this passage.

- Identify and describe in detail any alternatives to reductions in core firm withdrawal rights that SCG and SDG&E considered and why these options were ruled out.

- Provide all documentation supporting why alternatives provided in response to question 3b were ruled out.

d. If no alternatives to reductions in core firm withdrawal rights were ruled out, please describe in detail why reduction in core firm withdrawal rights in the manner described is the only feasible option. Please provide all available documentation supporting this view.

e. Please provide detailed cost and service impacts that this proposal would have on core customers.

RESPONSE 3:

- See Table 3 on page 10 of Mr. Watson’s testimony.  The core and unbundled storage firm withdrawal rights are 51% lower in the summer than in the winter.

- Table 3 does not represent a “reduction” in core firm withdrawal rights.  It represents a recognition that 3 Bcfd of firm withdrawal has not been available throughout the summer and that prorationing of firm withdrawal would likely have occurred had the core tried to nominate its full withdrawal rights in the summer period.

- See Response 3b.

- See Response 3b.

- There should be no cost or service impacts on core customers.  The core has not nominated more than 1081 MMcfd of firm withdrawal over the last four summers.

The Balancing Function (Questions 4-7)

QUESTION 4:

SCG’s and SDG&E’s testimony states (Watson testimony, pg. 4, lines 11-15) “PG&E’s rules allow for a low OFO any time during the year regardless of inventory levels, they allow more appropriate flexibility in tolerance levels, they allow for more appropriate noncompliance changes based on the economic circumstances leading to under deliveries, and they ensure that transportation customers do no excessively rely on storage by using storage assets beyond those allocated in the cost allocation process.”

- Provide a quantitative definition of “more appropriate compliance charges” as used in this context.

b. If a quantitative definition has not yet been created, describe in detail what metrics, principles, and processes will be used to determine the compliance charges.

c. Provide the SDG&E and SoCalGas requirements that set forth the current compliance charges. Please include references to the applicable requirements.

RESPONSE 4:

- SoCalGas and SDG&E would exercise the same discretion in determining Stage levels as PG&E does in its current tariffs.  The Stage level would be chosen with the minimum “noncompliance charge level that utilities believe necessary to incent customer/suppliers to more closely match supply with demand.”  (Lines 5-7, p.6 of the Direct Testimony of Mr. Watson)

- In establishing the appropriate stage/noncompliance charge for any particular OFO, SoCalGas would compare the SoCal citygate price to prices at the following physical points—Opal, KRGT, TW-Blanco, EP-SJ Blanco Pool, EP-Keystone, PG&E Topock, KRGT-Del Pool, EP-S. Mainline, Chicago citygate, as well as dozens of other receipt points.  Comparisons would also be made to forward temporal prices, especially the SoCal-Border Balmo, and SoCal-Border Prompt.  The maximum disparity in any of these comparisons would likely establish a floor for the necessary noncompliance charge during a low OFO.

- There is no such tariff language.

QUESTION 5:

SCG’s and SDG&E’s testimony states (Watson testimony, pp. 6, lines 4-6) “Since we have asked to adopt PG&E’s low OFO procedures, it makes sense to also adopt PG&E’s high OFO procedures in 2017 and create more statewide consistency.” In reference to the proposed changes to OFO procedures, please:

- Describe in detail the cost effects of delaying changes to high-OFO procedures to 2017 (vs. implementing in 2016), as Mr. Watson proposes. Please provide all supporting documentation.

- Is such a delay necessary? If so, please describe how.

- If Sempra were able to “get more experience with low OFOs before implementing similar high OFO procedures” (Watson testimony, pg. 6, lines 8-9.) how would this experience improve the implementation of high-OFO procedures?

d. If Sempra’s pending application on OFO is denied, would Sempra still request a 2017 implementation date? If so, what circumstances would merit that?

RESPONSE 5:

- SoCalGas and SDG&E have done no such analysis.

- Yes.  High OFO implementation will likely require the allocation of additional injection rights to the balancing function.  Additional injection capability will not come on-line until 2017 with the expected completion of the Aliso Canyon Turbine Replacement Project.

- The programming, forecasting, and other issues relating to high OFO are similar to those for low OFO procedures.  Any improvements made during the low OFO implementation process could presumably be transferred to the initial implementation of a revised high OFO process.

- If SoCalGas and SDG&E’s pending low OFO application is denied, we would need to evaluate the details of such denial to determine what, if any, effect it would have on the high OFO proposal in this current TCAP application.

QUESTION 6:

Table 1: OFO Storage (Watson testimony, pg. 7, line 3) outlines proposed OFO stage levels.

- Please clarify why Table 1 includes two Stage Levels (shown as 4 and 5) whose tolerance is listed as “Up to +/- 5%”.

- Under what conditions would a Stage Level 4 be called instead of a Stage Level 5, and vice versa?

c.  Does Sempra ever intend to call a Stage Level 4 and Stage Level 5 at the same time?

RESPONSE 6:

- Table 1 mirrors PG&E’s OFO tables.  The difference is the noncompliance charge and the addition of the citygate price in Stage 5.

- If price differentials in other areas vis-à-vis the SoCalGas citygate price were well under $25/dth, then a Stage 4 would be in order. If the price differentials were greater than $25/dth, then a Stage 5 would be in order.

- No.  It would be one or the other.

QUESTION 7:

SCG’s and SDG&E’s testimony states (Watson testimony, pg. 8, lines 14-16) “Essentially, we would be allocating all of the incremental capacity of Aliso Canyon to the balancing function to help facilitate the new PG&E-like high OFO procedures.”

a. Does facilitation of the “new PG&E-like high OFO procedures” specifically require that Aliso Canyon be allocated in this manner?

- If so, please describe how this was determined and provide the relevant data, workpapers, and other documentation used to make this determination.

- If not, please:

- Describe how it was determined that Aliso Canyon injection is not specifically required for high-OFO procedure balancing.

- Describe and outline the process through which SCG and SDG&E elected to allocate Aliso Canyon to balancing.

- Describe alternative allocations that were considered and how/why they were ruled out.

4. Provide calculations of alternatives’ costs and service impacts on core customers.

This response should include supporting data sources, workpapers, and all other available documentation.

RESPONSE 7:

- To some degree, yes.  If one is willing to accept a potential increase in the number of high OFOs, then less than 145 MMcfd of incremental injection capacity need be allocated to the balancing function.

- See Direct Testimony of Mr. Watson lines 16-21 of p. 8 and 1-3 of p. 9.

C.  See a.

Core Storage Allocations

QUESTION 8:

Please provide the relevant data, workpapers, and assumptions used to generate the data in Table 2: Core Storage Requirements, MMcf/d per 2014 CGR (2016-2019 Averages) (Watson testimony, pg. 10, line 9).

RESPONSE 8:

Please see the attached files for the relevant data that produced Table 2.

Unbundled Storage Allocations

QUESTION 9:

Please provide annual historical data from 2010-2014 matching the format of the data presented in Table 3: Storage Capacity Allocations (Watson testimony, pg. 10, line 14). Specifically, provide injection and withdrawal figures for winter and summer for unbundled, core, and balancing functions; provide the total and an explanation if the total does not equal exactly to the sum of the three functions.

RESPONSE 9:

Table 3 is a proposed future definition and allocation of firm rights.  Such a table cannot be “backcast.”

G-TBS Tariff

QUESTION 10:

Please provide detailed cost and service impacts that the proposal to modify the G-TBS tariff would have on core customers.

RESPONSE 10:

There are no costs allocated, either under the status quo or under the proposed allocation to as-available, interruptible rights.  Therefore, the cost impact is zero.  The core uses its firm rights first whenever it nominates gas into storage.  The “reduction” in as-available injection rights from 83 Bcf in a day to 529 MMcfd (83 Bcf / 157 days) would have negligible impact on service to core customers.  The “reduction” in as-available withdrawal rights from 83 Bcf in a day to 1,886 MMcf/d would also have negligible impact on service to core customers.

Unbundled Storage Sharing Mechanism

QUESTION 11:

SCG’s and SDG&E’s testimony states (Watson testimony, pg. 13, lines 6-12) “From 1999-2008 the unbundled storage program had a 50/50 sharing mechanism for any revenues relative to costs. As part of the 2009 Phase 1 BCAP Settlement adopted in D. 08-12-020, that mechanism was revised to: 90/10 (customer/shareholder) sharing of the first $15 million of earnings; 75/25 sharing of the next $15 million of earnings; and 50/50 sharing for earnings over $30 million, subject to a $20 million annual shareholder earnings cap. For the next TCAP period we recommend a 60/40 (customer/shareholder) sharing of earnings. The annual shareholder earnings cap of $20 million would remain in place.” Please:

- Provide the total revenue (i.e. before revenue was divided) generated by the unbundled storage program for years 2008-2014.

b. Provide a table that compares the dollar amounts that would have been distributed to shareholders and to ratepayers in years 2008-2014. The first column or columns should show the total amount distributed to ratepayers and to shareholders under the existing 90/10 sharing mechanism identified in the quote above. The second column or set of columns should identify the total amount that would have been distributed to shareholders and to ratepayers had the unbundled storage program used the 60/40 sharing ratio as proposed in the testimony of Mr. Watson (page 13, lines 10-11).

c. Please identify the column headings to show which columns fall under the 90/10 sharing mechanism and which ones fall under the 60/40 sharing mechanism. This response should include relevant data sources and workpapers. State any assumptions about revenue increases or decreases.

RESPONSE 11:

We assume that (a) means “net revenue”; revenue minus allocated cost, to which the sharing mechanism applies.  That data is in the table below, and is primarily taken from year-end NSBA reports.

|  | Net Unbundled Storage Revenues $M | Existing Mechanism SH $M | Existing Mechanism RP $M |
| --- | --- | --- | --- |
| 2008 | $43.9 | 12.2 | 31.7 |
| 2009 | $58.2 | 19.4 | 38.9 |
| 2010 | $48.6 | 14.6 | 34.1 |
| 2011 | $24.4 | 3.8 | 20.5 |
| 2012 | $19.6 | 2.7 | 17.0 |
| 2013 | $5.6 | 0.6 | 5.1 |
| 2014 | $0 | 0 | 0 |

SoCalGas is unable to backcast what net unbundled storage revenues (and the associated shareholder and ratepayer amounts) might have been under a 60/40 sharing mechanism.  Directionally, net storage revenues would have been higher under the 60/40 mechanism than under the current mechanism—especially in the last few years.  But SoCalGas is unable to quantify that effect.

QUESTION 12:

In reference to the passage quoted in question 12b, please provide in a spreadsheet with columns in the same format as provided in response to question 12b the dollar amount that would be distributed to shareholders and dollar amount that would be distributed to ratepayers for years 2016-2021 under the proposed 60/40 revenue sharing ratio were the unbundled storage program revenues to change in the following manners:

  - Decrease by 25%, 20%, 15%, 10%, or 5% (provide 5 calculations)

  - Remain unchanged (provide 1 calculation)

  - Increase by 5%, 10%, 15%, 20%, or 25% (provide 5 calculations)

Assume ‘decrease’ and ‘increase’ mean a one-time change in the year 2016 and no change in the years thereafter.

RESPONSE 12:

SoCalGas has no forecasts of unbundled storage revenues for 2016-2021 under any sharing mechanism, nor is it capable of generating such a forecast using its current tools.

QUESTION 13:

In a spreadsheet with the same format provided in response to question 12b, please provide the revenue projections from the unbundled storage program for years 2016-2021, given:

- the current revenue sharing ratio and

b) the proposed 60/40 revenue sharing ratio

RESPONSE 13:

See Response 12.

Posting Requirement

QUESTION 14:

SCG’s and SDG&E’s testimony states (Watson testimony, pg. 16, lines 19-22) “As part of D.07-12-019 (the Omnibus Decision), SoCalGas agreed to post primary unbundled storage transaction details on its Envoy system the day after a deal was executed. That requirement was carried over into the 2009 BCAP. SoCalGas, however, believes it is time to revisit and eliminate that requirement.” Please provide detailed cost and service impacts that the proposal to remove the unbundled storage transaction details posting requirement would have on customers. Include as a subset the impact on core customers.

RESPONSE 14:

SoCalGas and SDG&E do not believe there would be an impact on customers.  There could be no impact on core customers since Gas Acquisition does not buy storage from the unbundled storage program.  Unbundled storage customers negotiate for the particular price that a particular package is worth to them on a particular day.  A particular deal done by one customer on a prior day should not be relevant to another customer looking at another package on a different day.

QUESTION 15:

SCG’s and SDG&E’s testimony states (Watson testimony, pg. 16, lines 2-4 ) “Without rehashing all the past arguments made on this issue, it should now be obvious that SoCalGas does not have the ability to manipulate prices in the unbundled storage market. If it did, it would be able to generate much greater revenues that it has.”

Please provide the relevant quantitative information, assumptions, data sources, and Workpapers used to draw this conclusion. If none exist, please describe in detail the process through which this conclusion was drawn.

RESPONSE 15:

The statement is based on Figure 1 in Mr. Watson’s testimony.