QUESTION 1:

Subject: Flows at Southern System Receipt Points

Please provide the data used to create the document “Gas Market OIR Report on Receipt Point Utilization of SDG&E and SoCalGas” emailed to the Commission on

Oct. 15, 2012. Please provide this data in an Excel spreadsheet in electronic format, with the original formulas intact.

RESPONSE 1:

QUESTION 2:

Subject: Forecasts of system daily needs

a) Please provide a complete description of the each of the models (formulas) that

SoCalGas/SDG&E uses to estimate the Southern System flow requirements which is

posted on Envoy for Cycle 1, 2, 3, and 4, along with a detailed explanation of the logic

behind each of these models.

b) Rule 30, F.4 (on Sheet 11), says that in the event of an OFO, ”For the Utility Gas

Procurement Department, the Daily Forecast Quantity will be used as a proxy for daily

usage." Please provide a complete description of the model (formula) that

SoCalGas/SDG&E uses to produce said Daily Forecast Quantity, along with a detailed

explanation of the logic behind the model. Please provide any studies that

SoCalGas/SDG&E has done of the accuracy of the model.

RESPONSE 2:

2a.	There is no model, algorithm, or formula for the Southern System minimum flowing supply requirement.  The minimum flowing supply for the Southern System is a function of the forecasted gas demand for the Southern System, including SDG&E demand, less the capability to provide additional supplies to the Southern System from the Northern System or storage via the Chino and Prado crossovers, and other factors, such as but not limited to: the state of the Southern System, demand and supply available on the remainder of SoCalGas’ system, and expectations of changing demand patterns. The Gas Control Department estimates the level of demand and the Chino/Prado crossover capability each day.

2b.	The Daily Load Forecasting Model (DLFM) has two separate daily forecasts: one for SoCalGas core load and one for SDG&E core load. The two model outputs are combined to develop the overall total SoCalGas plus SDG&E daily core load forecast. Both the SoCalGas and SDG&E DLFM use the same econometric model specification to produce the daily load forecasts.  The DLFM forecast of daily core usage is mainly determined by the forecasted Heating Degrees (HD) for each day of the forecast period from an independent weather forecasting service between 4 AM and 5 AM each morning to capture weather sensitive load changes when daily temperatures are expected to be below 65 Deg-F.  A monthly meter index is used to capture the effect on core load of customer growth from month to month.  In addition, the model incorporates monthly 0-1 variables to capture: 1) seasonal patterns of load variations on a month to month basis, 2) a weekday/weekend load shift and, 3) a holiday load shift effect.  The model parameters are estimated using historical daily core load data derived from operational system send out minus the electronically measured non-core load with the residual being core load.  Our current model parameters are estimated from historical data from May 1, 2008 through April 30th, 2010. The forecasts produced from the model also reflect the in-kind treatment of company use gas for core storage injection and transmission.  Finally, the forecasts include gas for Lost and Un-Accounted-For (L&UAF) volumes that SoCalGas’ Gas Acquisition Department purchases for the entire system, and exclude average daily core transportation load for the month.