QUESTION 2.10:

- With respect to the testimony on page 11 at lines 3-6:

  - What is the maximum withdrawal capability for Honor Rancho?

  - Are there any limitations on the amount of gas that could flow from Honor Rancho through the proposed line from Adelanto to Moreno?

  - If the answer to the previous question is “yes,” please describe in detail the circumstances under which the limitations on flow from Honor Rancho would exist.

RESPONSE 2.10:

2.10.1      Please refer to Response 2.1 of this data request.

2.10.2      No, other than sufficient gas in storage at the Honor Rancho storage field.  Honor Rancho has withdrawal capacity to fully utilize the 800 MMcfd capacity of the North-South pipeline if necessary.

2.10.3      N/A