QUESTION 2.1:

With respect to the Direct Testimony of David Bisi:

- Please provide a map of SoCalGas’ system that shows the following information:

  - The line number designated for each transmission line.

  - Excluding the transmission lines in the Coastal System and in the LA Basin, please provide the following information:

    - The designated capacity of each transmission line.

    - The direction of gas flow that is physically possible on each transmission line.

  - For the transmission lines with bi-directional flow capability that are identified in the response to the previous question, please provide the following information:

    - The maximum amount of flow capability in each direction.

    - The range of flow capability in the direction that is used less frequently.

    - A description of the circumstances that would be required in order to obtain the maximum flow capability in the direction that is used less frequently.

    - For any line that experiences gas flows frequently in a bidirectional basis, please provide the range of flow capability in each direction.

    - A description of the circumstances that would be required in order to obtain the maximum flow capability in each direction.

RESPONSE 2.1:

SoCalGas and SDG&E object to this question on the grounds that it requests confidential and proprietary information.  It would create a serious risk to public safety to make this information public.

QUESTION 2.2:

- Please provide a map of SDG&E’s system that shows the following information:

  - The direction of gas flow that is physically possible on each transmission line.

  - The line number designated for each transmission line.

  - The designated capacity of the line.

  - For the transmission lines with bi-directional flow capability, please provide the following information:

    - The maximum amount of flow capability in each direction.

    - The range of flow capability in the direction that is used less frequently.

    - A description of the circumstances that would be required in order to obtain the maximum flow capability in the direction that is used less frequently.

    - For any line that experiences gas flows frequently in a bidirectional basis, please provide the range of flow capability in each direction.

    - A description of the circumstances that would be required in order to obtain the maximum flow capability in each direction.

RESPONSE 2.2:

SoCalGas and SDG&E object to this question on the grounds that it requests confidential and proprietary information.  It would create a serious risk to public safety to make this information public.

QUESTION 2.3:

- If there is an interconnection point with either the Kern/Mojave Pipeline facilities or the Mojave Pipeline facilities east of the interconnection at Kramer Junction, please provide the location of the interconnection point and its capacity.

RESPONSE 2.3:

There is no such interconnection.

QUESTION 2.4:

- With respect to the testimony on page 6,  lines 16-20:

  - At the current time, can gas from Honor Rancho flow eastward through Chino or Prada valve stations?

  - If the answer to previous question is “no,” please explain why it is “no.”

  - How does the proposed project change the physical circumstances and allow gas to flow from Honor Rancho?

RESPONSE 2.4:

2.4.1	No.

2.4.2	Gas withdrawn from the Honor Rancho storage field must travel long distance to the Chino and Prado crossovers for delivery to the Southern System, and is used by customers upstream of the crossovers, in the San Joaquin Valley, in the Los Angeles Basin, or along the coast.  Gas supply transported to the Southern System via the Chino and Prado crossovers is comprised of supplies delivered to the Northern Transmission System at North Needles, South Needles, and Kramer Junction.

2.4.3	The North-South Pipeline provides a more direct interconnection with the Southern System and the SDG&E demand center at Moreno Pressure Limiting Station (PLS), and the rebuilt Adelanto Compressor Station will boost the pressure such that it is delivered to Moreno at an adequate level for operations.

QUESTION 2.5:

- With respect to the testimony on page 8,  lines 8-17:

  - Please provide the demand associated with the project if SoCalGas has explicitly applied the CPUC mandated design standard cited at lines 11-12.

RESPONSE 2.5:

The 1-in-10 year cold day demand forecast is 5.026 billion cubic feet per day (BCFD) as compared with the demand condition of 5.370 BCFD used in this analysis.

QUESTION 2.6:

- With respect to the testimony on page 8,  lines 18-23 and page 9, lines 1-7:

  - Please provide a copy of the materials announcing open season(s) for capacity on the Southern System.

  - Please provide the workpapers supporting the analysis of need for each open season that was held on the Southern System.

  - Please provide a copy of the advice letters that reported to the Commission the results of the Open Seasons discussed in this testimony.

RESPONSE 2.6:

2.6.1

SoCalGas:

SDG&E:

- 2013 Information on Natural Gas Services & Programs (Annual Notice) page 6

- 2013 Information on Natural Gas Services & Programs Cover Letter and Invitation to Pipeline Capacity Open Season

- Email sent to Noncore & Noncore-Eligible Customers regarding the Pipeline Capacity Open Season and Open Season Webinar dates.

- Email Reminder sent to Noncore & Noncore-Eligible Customers regarding the Pipeline Capacity Open Season.

- Email, Agenda, and Presentation sent to Noncore & Noncore-Eligible Customers who participated in the Pipeline Capacity Open Season Customer Webinar.

2.6.2	No such need analysis was performed, therefore no workpapers exist.  The need for a capacity open season on the SoCalGas/SDG&E gas transmission system is determined by customer requests for firm service and the available capacity in the localized area.  Once an area has been determined to be potentially capacity constrained, capacity open seasons are held at a frequency ordered by the Commission in D.06-09-039 until improvements are made to the localized system or potential customer demand falls within the existing system capacity.

2.6.3

SoCalGas:

SDG&E:

QUESTION 2.7:

- With respect to the testimony on page 9, lines 13-15:

  - Please provide a copy of the SDG&E Gas Capacity Planning and Demand Forecast Semi-Annual Report submitted on October 30, 2013.

  - Please provide the workpapers to this report.

  - Please provide a copy of all previous versions of this report submitted within the last five years.

RESPONSE 2.7:

2.7.1	Please refer to the attached document.

2.7.2	No workpapers were necessary to construct the report.

2.7.3	Please see attached.

QUESTION 2.8:

- With respect to the testimony in footnote 4:

  - What is the distance to the nearest transmission facilities that are sufficient to bear the load associated with an electric drive compressor at Adelanto?

  - What would be the cost associated with substituting an electric drive compressor at Adelanto, that is, what is the compressor cost and the connection cost?

RESPONSE 2.8:

2.8.1   Electric driven compression was not considered a suitable option for the Adelanto Compressor Station, as stated in footnote 4 on page 10 of Mr. Bisi’s testimony, and as such the proximity of the station to electric transmission facilities was not evaluated.

SoCalGas did request a quick, high level analysis from Southern California Edison on their ability to provide service to an electric driven compression solution at Adelanto.  See Attached.

2.8.2   A cost evaluation for electric driven compression was not performed.

QUESTION 2.9:

- With respect to the testimony on page 10 at lines 3-14:

  - Is the Moreno Pressure Limiting Station located at the junction between Lines 6900/1027/1028 and Lines 2000/2001/5000?

  - If the answer to the previous question is “no,” please specify the exact location of the Moreno Pressure Limiting Station.

  - Does Line 5000 begin at Whitewater Station and end at the junction with Lines 6900/1027/1028?

  - If the answer to the previous question is “no,” please explain in detail where Line 5000 begins and ends.

  - What is the operating pressure for Line 5000?

  - What is the normal operating pressure for Lines 2000/2001?

  - What is the pressure projected for Lines 2000/2001 when they are operated at low flow levels?

  - What is the projected operating pressure for the Adelanto to Moreno line?

  - Is Line 5000 required for the operation of Lines 2000/2001 under all circumstances?

  - Is Line 5000 required for the transfer of natural gas from Lines 2000/2001 to Lines 6900/1027/1028?

  - Is it possible to isolate Line 5000 and leave it intact but unchanged while operating Lines 2000/2001 at lower flow levels?

  - If the answer to the previous question is “no,” please explain why it is “no.”

RESPONSE 2.9:

2.9.1	Yes.

2.9.2	N/A

2.9.3	No.

2.9.4	Transmission Line 5000 begins at the Colorado River and ends at the Moreno PLS.  However, there is a short segment of pipeline looping Line 2001 between Moreno PLS and the Chino crossover that is also considered to be part of Line 5000.

2.9.5	SoCalGas and SDG&E object to this question on the grounds that it requests confidential and proprietary information.  It would create a serious risk to public safety to make this information public.

2.9.6	SoCalGas and SDG&E object to this question on the grounds that it requests confidential and proprietary information.  It would create a serious risk to public safety to make this information public.

2.9.7	SoCalGas and SDG&E have made no such projection.  It is expected that the pipeline will always operate between its Minimum and Maximum Allowable Operating Pressures.

2.9.8	Please refer to Response 2.9.7 of this data request.

2.9.9	No.

2.9.10	No.

2.9.11	Yes.

2.9.12	N/A

QUESTION 2.10:

- With respect to the testimony on page 11 at lines 3-6:

  - What is the maximum withdrawal capability for Honor Rancho?

  - Are there any limitations on the amount of gas that could flow from Honor Rancho through the proposed line from Adelanto to Moreno?

  - If the answer to the previous question is “yes,” please describe in detail the circumstances under which the limitations on flow from Honor Rancho would exist.

RESPONSE 2.10:

2.10.1	SoCalGas and SDG&E object to this question on the grounds that it requests confidential and proprietary information.  It would create a serious risk to public safety to make this information public.

2.10.2	No, other than the available deliverability at the Honor Rancho storage field.

2.10.3	N/A

QUESTION 2.11:

- With respect to the testimony on page 15 at lines 3-12:

  - Regarding the increase of 300 MMcf/d in the receipt capacity for the Northern Zone, would this increase in receipt capacity vary at all during the year or under any specific circumstances?

  - If the answer to the previous question is “yes,” please elaborate as to the timing and/or conditions under which the capacity increase would differ from 300 MMcf/d.

  - Regarding the decrease of 300 MMcf/d in the receipt capacity for the Southern Zone would be expected to decrease the receipt capacity for the various pipelines that make up that Southern Zone, would this decrease in receipt capacity vary at all during the year or under any specific circumstances?

  - If the answer to the previous question is “yes,” please elaborate as to the timing and/or conditions under which the capacity decrease would differ from 300 MMcf/d.

  - Please explain why SoCalGas is concerned about the reduction in receipt capacity for the Southern Zone associated with the River Route and Cross Desert alternatives when SoCalGas apparently anticipates that “available supplies at Blythe are going to become more scarce and more expensive.”  (Morrow testimony, page 4, line 11.)

RESPONSE 2.11:

2.11.1	No, assuming there are no facility outages on the SoCalGas/SDG&E gas transmission system.

2.11.2	N/A

2.11.3	No.

2.11.4	N/A

2.11.5	SoCalGas and SDG&E have no control over where our customers or shippers choose to deliver their gas supplies, and therefore any reduction in our existing capacity to receive supply at a particular location is of concern.

QUESTION 2.12:

- With respect to the testimony on page 16, lines 4-8:

  - What percentage of load on the Southern System is represented by the loads on the Rainbow Corridor and San Diego?

  - How long does it currently take Gas Operations to respond to a significant increase in loads on the Rainbow Corridor and/or San Diego?  Please define empirically what load change “significant increase” corresponds to.

  - How long does Gas Operations project it would take to respond to a significant increase in loads with completion of the proposed North-South Pipeline project?

  - How frequently is Gas Operations required to respond to a significant increase in loads?

RESPONSE 2.12:

2.12.1	The Rainbow Corridor and San Diego comprise approximately 60% of the Southern System demand under a 1-in-10 year cold day event.

2.12.2	The SoCalGas/SDG&E Gas Control department responds immediately to changes in demand in the Rainbow Corridor and/or San Diego, such as a new power plant coming online suddenly or a facility outage.  However, gas in the pipeline network does not respond instantaneously to those changes made by the Gas Control department.

2.12.3	Please refer to Response 2.12.2.

2.12.4	Gas Control continuously responds to changes on the SoCalGas/SDG&E system.

QUESTION 2.13:

- With respect to the testimony on page 16, lines 9-14:

  - Please provide the outage history for Lines 2000, 2001, and 5000.

  - Does SoCalGas expect the frequency of outages in the future operation of Lines 2000, 2001, and 5000 to deviate significantly from historical experience?

  - If the answer to the previous question is “yes,” please provide a detailed explanation of the basis for SoCalGas’ expectations.

RESPONSE 2.13:

2.13.1.	This information is available on SoCalGas’ Envoy system at https://scgenvoy.sempra.com

2.13.2.	SoCalGas has not forecasted the future frequency of outages on these Lines.

2.13.3.	N/A

QUESTION 2.14:

- With respect to the testimony on page 16, lines 15-23:

  - Please provide by class the volumes delivered to the Southern System during the last five years.

  - Please provide a forecast by class of the volumes to be delivered to the Southern System over the next ten years.

RESPONSE 2.14:

2.14.1.SoCalGas objects to this question on the grounds that it requests confidential

customer-specific information.

2.14.2	The requested information does not exist.

QUESTION 2.15:

- Does SoCalGas and/or SDG&E currently have the ability to purchase gas from Sempra’s Costa Azul LNG facility?

  - If SoCalGas and/or SDG&E are able to purchase gas from Costa Azul, please describe the tariffs or pricing arrangements that would apply to such a purchase, including the cost of LNG gas, the various charges for use of the LNG facility, and the cost of transporting the gas from Costa Azul to Otay Mesa on the SoCalGas/SDG&E transmission system.

  - Does the Costa Azul LNG facility have the ability to store liquefied gas?

  - If the answer to the previous question is “yes,” please state how much gas the Costa Azul LNG facility is able to store both in terms of volumes of liquid LNG and volumes of regasified LNG.

  - If the answer to the question prior to the previous question is “yes,” please explain how quickly the LNG could be regasified and shipped to Otay Mesa.

  - If SoCalGas and/or SDG&E are unable to purchase gas from Costa Azul, please explain in detail why SoCalGas and/or SDG&E does not have the ability to purchase gas from Costa Azul, providing documentation to support any claims of prohibited actions.

RESPONSE 2.15:

2.15.	No.  SoCalGas and SDG&E would need CPUC authorization before purchasing gas from Sempra’s Costa Azul LNG facility.

2.15.1	Based on the “landed” price of LNG in Japan of $15.65 in the attached FERC link, SoCalGas has not investigated purchasing gas from Costa Azul.

http://www.ferc.gov/market-oversight/mkt-gas/overview/ngas-ovr-lng-wld-pr-est.pdf

2.15.2	SoCalGas and SDG&E do not have any confidential information regarding the Costa Azul facility.  To the extent the requested information is public, it is equally available to SCGC.

2.15.3	See 2.15.2.

2.15.4	See 2.15.2.

2.15.5	See 2.15.1.

QUESTION 2.16:

- Please provide a copy of any report, study, memo, presentation, document, or communication prepared by any employees of SoCalGas or SDG&E or any of their contractors that addressed the potential for adding a storage facility on the Southern System?

RESPONSE 2.16:

2.16	No such document exists.

QUESTION 2.17:

- Please provide a copy of any report, study, memo, presentation, document, or communication prepared by any employees of SoCalGas or SDG&E or any of their contractors that addressed the potential for using the Sempra LNG facility to provide storage capability or flowing gas supplies for the Southern System?

RESPONSE 2.17:

2.17	Please see attached document.