QUESTION 18.1:

18.1.		Regarding Mr. Buczkowski’s Updated Direct Testimony at page 4:

18.1.1.	Please provide the AACE’s Cost Estimate Classification Matrix for the Building and General Construction Industries.

18.1.2.	Please explain why the cost estimate classification system for the building and general construction industries is considered more relevant to pipeline construction that the cost estimate classification system as applied in engineering, procurement, and construction for the process industries.

18.1.3.	Regarding the statement “The only variance between the Class 3 estimate above and as applied for the Process Industries, most applicable to compressor station construction, is a higher range of expected accuracy of +30%.”

18.1.3.1.	Does this mean that SoCalGas expects the estimate of the compressor cost to be less accurate than its estimate for the pipeline construction?

18.1.3.2.	If the answer to the previous question is “yes,” please explain why SoCalGas expects substantial variation in the cost of the compressor station.

18.1.3.2.1.	Is SoCalGas expecting changes to the sizing of the compressors?

18.1.3.2.2.	If the answer to the previous question is “yes,” please describe the factors that would change the size of the compressors.

18.1.3.2.3.	Is SoCalGas expecting continued increases in the cost of manufacturing the compressors?

18.1.3.2.4.	If the answer to the previous question is “yes,” please state the basis for SoCalGas’ belief that compressor costs are continuing to increase.

18.1.3.2.5.	Is SoCalGas expecting continued increases in environmental costs?

18.1.3.2.6.	If the answer to the previous question is “yes,” please state the basis for SoCalGas’ belief that environmental costs are continuing to increase.

RESPONSE 18.1:

18.1.1.

Reprinted with the permission of AACE International,

1265 Suncrest Towne Centre Dr., Morgantown, WV 26505 USA.

Phone 800-858-COST/304-296-8444. Fax: 304-291-5728. Internet: http://www.aacei.org   E-mail: info@aacei.org

Copyright © 2011 by AACE International; all rights reserved.

18.1.2.	In absence of pipeline or utility specific AACE International cost estimate classification systems, and based on discussions with AACE International, SoCalGas used the AACE International Recommended Practice that we felt was best aligned with the nature of the work.

The building and general construction industries estimate classification system can be applied across a wide range of industries and on site/civil projects.  Examples for site/civil projects include utility infrastructure and pipelines. Whereas the process estimate classification system assumes a greenfield or retrofit environment in which most of the project costs are spent on process equipment, and the remainder serves to support, connect, and power the equipment. Therefore the application of this building and general industries AACE International Recommended Practice is the better fit to the pipeline portion of the project.

18.1.3.1.	No.

18.1.3.2.	N/A.

18.1.3.2.1.	SoCalGas is not expecting changes in the overall sizing of the compression station since the key design criteria (e.g., gas flowrates, suction and discharge pressures and temperatures) are established.  SoCalGas continues to evaluate the most appropriate selection and configuration for individual compressors that will make up the station.  This evaluation work continues and will be based primarily on consideration of being able to achieve performance criteria and emission control requirements, comparison of capital and O&M costs, and reliability.

18.1.3.2.2.	N/A.

18.1.3.2.3.	No.  We do not expect increases in costs of compression equipment beyond the escalation identified in the Updated Direct Testimony of Garry Yee.

18.1.3.2.4.	N/A.

18.1.3.2.5.	No.  We do not expect increases in environmental costs beyond the escalation identified in the Updated Direct Testimony of Garry Yee.

18.1.3.2.6 	N/A.

QUESTION 18.2:

18.2.		With respect to the Yee’s workpaper, page 5-1:

18.2.1.	Please provide, in working Excel format, a copy of the AFUDC calculation

that was used to develop the total capital figure of $720.14 million.

18.2.2.	Please breakdown the projected $621.3 of capital investment by depreciation category providing:

18.2.2.1.	Type of asset (equipment or land), specifying the type of equipment

18.2.2.2.	Dollar investment

18.2.2.3.	Depreciation life

18.2.2.4.	Salvage value

.

RESPONSE 18.2:

***Responses below relate to Mr. Yee’s workpapers to his Updated Direct Testimony, addressed in Response SCGC-16, Q.16.9***

18.2.1.

SoCalGas and SDG&E object to this question on the grounds that it requests confidential and proprietary information.

18.2.2.1.

See Response SCGC-16, Q.16.13.1.

18.2.2.2.

See Response SCGC-16, Q.16.13.1. and Table 2 on page 5 of Mr. Buczkowski’s Updated Direct Testimony, as shown below:

18.2.2.3.

See Response SCGC-16, Q.16.13.1.

18.2.2.4.

See Response SCGC-16, Q.16.13.1.