Executive Summary of the

2010 SDG&E Measurement and Evaluation

Load Impact Reports

April 1, 2011

Table of Contents

1	SDG&E’s 2010 Load Impact Executive Summary	2

2	Summary of SDG&E’s Capacity Bidding Program Report	3

2.1	Program Description	3

2.2	CBP Ex-Post Results	3

2.3	CBP Evaluation Methodology	5

2.4	CBP Ex-Ante Analysis	7

3	Summary of SDG&E’s Critical Peak Pricing Default Report	11

3.1	CPP-D Rate Description	11

3.2	CPP-D Ex-Post Results	11

3.3	CPP-D Evaluation Methodology	13

3.4	CPP-D Ex Ante Load Impacts	14

4	Summary of SDG&E’s Summer Saver Report	19

4.1	Summer Saver Program Description	19

4.2	Summer Saver Ex Post Load Impact Estimates	19

4.3	Summer Saver Methodology	23

4.4	Ex Ante Summer Saver Load Impact Estimates	26

5	Summary of SDG&E’s Base Interruptible Program Report	30

5.1	Program Description	30

5.2	BIP ex-post results	30

5.4 BIP ex-ante Load Impact Forecast	34

6	Summary of SDG&E’s Critical Peak Pricing Emergency Report	36

6.1	Program Description	36

6.2	CPP-E Ex-Ante Summary	36

7	Summary of SDG&E’s Demand Smart Program Report	37

7.1	Program Description	37

7.2	Demand Smart Program Ex-Post Results	37

7.3	DSP Ex-Ante Load Impact Summary	38

8	Summary of the Peak Time Rebate Forecast	40

8.1	Program Description	40

8.2	PTR Ex-Ante Load Impact Forecast	45

9	Small Customer Technology Deployment (SCTD) Program	48

9.1	Program Description	48

9.2	Residential PCT Ex-ante Load Impact Forecast	48

9.3	Residential Pool Pump Forecast	53

9.4	Small Commercial Ex-ante Load Impact Forecast	53

10	Portfolio Analysis	54

# SDG&E’s 2010 Load Impact Executive Summary

In Decision (D.) 08-04-050 the Commission required San Diego Gas & Electric Company (SDG&E) to perform annual studies of its demand response (DR) activities using the load impact protocols and to file the entire load impact reports by April 1st each year. The load impact protocols require the preparation of numerous tables and as a result the load impact reports were too large to be filed in hard copy.  The electric investor-owned utilities filed a petition to modify the D.08-41-050 on April 6th 2009 to request the requirement to file the  load impact reports in their entirety be removed and replaced with a requirement to provide the reports to the energy division of the CPUC.  On April 8th 2010 D.10-04-006 granted the utilities permission not to file the entire load impact reports, but also directed the utilities to file an executive summary of the load impact reports.

SDG&E submits this executive summary in accordance with D.10-04-006.   This report contains a summary of the ex-post and ex-ante load impacts of the SDG&E Capacity Bidding Program (CBP), Critical Peak Pricing Default (CPP-D), Summer Saver program and the DemandSMART program (previously named AMP).  The critical peak pricing emergency (CPP-E) program was active in 2010, but no events were called. There are two new demand response activities included in this report. These are the PeakTimeRebate program (PTR) and the Small Customer Technology Development Program (SCTD). This report includes a summary of the ex-ante forecasts for these new demand response activities. The last section of the report describes the portfolio analysis done to account for dual participation between CPP-D and other demand response programs. The summary ex-ante tables that include the 10-year forecast for the 1 in 2 individual program scenario, the 1 in 2 portfolio scenario, the 1 in 10 individual program scenario, and the 1 in 10 portfolio scenario are provided in a separate document  named Appendix A.

# Summary of SDG&E’s Capacity Bidding Program Report

## Program Description

This report documents the results of an ex post and ex ante load impact evaluation of the Capacity Bidding Program (CBP) of San Diego Gas & Electric (SDG&E), for Program Year 2010. The program has two options Capacity Bidding Program day-ahead (CBP DA) and Capacity Bidding Program day-of (CBP DO). Customers may also choose a maximum event length of 4 hour, 6 hour, or 8 hours. The program is available from May through October and events may be called any time between 11 am and 7 pm. Results for the day-ahead and day-of options were forecasted separately. In this program aggregators contract with commercial and industrial customers to act on their behalf with respect to all aspects of the DR program. This includes receiving notices from the utility, arranging for load reductions on event days, receiving incentive payments, and paying penalties to the utility.  Each aggregator forms a “portfolio” of individual customer accounts such that their aggregated load participates in the DR programs.

## CBP Ex-Post Results

There were 112 meters that were nominated during 2010 in the CBP DA program and 269 meters that were nominated in 2010 in the CBP DO program.

Tables 2-1 and 2-2 below summarize estimated average hourly reference loads and ex post load impacts for each event, and for the typical event, for the DA and DO program types respectively.  The average DA event was calculated across all but the sixth event, for which one aggregator was not notified due to a communication failure.  Average hourly load impacts were quite consistent across events for both DA and DO program types, with an average hourly load impact of 9.6 MW for the average DA event, and 8.7 for the average DO event.  Those represent 29 percent of the reference load for DA, and 16 percent for DO.

Table 2-1

Average Hourly Load Impacts (kW) by Event -- SDG&E CBP DA

Table 2-2

Average Hourly Load Impacts (kW) by Event -- SDG&E CBP DO

## CBP Evaluation Methodology

Estimates of total program-level load impacts for each program were developed from the coefficients of individual customer regression equations.  These equations were estimated over the summer months for 2010, using individual customer load data for all customer accounts enrolled in each program.

The regression equations were based on models of hourly loads as functions of a list of variables designed to control for factors such as:

- Seasonal and hourly time patterns (e.g., month, day-of-week, and hour, plus various hour/day-type interactions)

- Weather (e.g., cooling degree hours)

- Event indicators—Event indicators, which were invoked when a given customer’s program type was called, were interacted with hourly indicator variables to allow estimation of hourly load impacts for each event.

The resulting equations provide the capability of measuring hourly load impacts on event days, as well as simulating hourly reference load profiles for various day-types and weather conditions.  In addition, the customer-specific equations provide the capability to summarize load impacts by industry type. Finally, uncertainty-adjusted load impacts were calculated to illustrate the degree of uncertainty that exists around the estimated load impacts

Ex post load impacts were estimated using customer-level hourly data from May through October.  The primary regression model is characterized as follows:

Qt=a+Evt=1Ei=124(bi,EvtAGG×hi,t×AGGt)+bMornLoad×MornLoadt+i=124(biCDH×hi,t×CDHt)+i=224(biMON×hi,t×MONt)+i=224(biFRI×hi,t×FRIt)+i=224(bih×hi,t)+i=25(biDTYPE×DTYPEi,t)+i=610(biMONTH×MONTHi,t)+btSummer×Summert+i=124(biCDH,S×hi,t×Summert×CDHt)+i=224(biMON,S×hi,t×Summert×MONt)+i=224(biFRI,S×hi,t×Summert×FRIt)+i=224(bih,S×hi,t×Summert)+et

In this equation, Qt represents the demand in hour t for a customer nominated in the month of the event date; the b’s are estimated parameters;  hi,t is a dummy variable for hour i; AGGt is an indicator variable for program event days; CDHt is cooling degree hours;  E is the number of event days that occurred during the program year; MornLoadt is a variable equal to the average of the day’s load in hours 1 through 10; MONt is a dummy variable for Monday; FRIt is a dummy variable for Friday; DTYPEi,t is a series of dummy variables for each day of the week; MONTHi,t is a series of dummy variables for each month; Summert is a variable defining summer months (defined as mid-June through mid-August), which is interacted with the weather and hourly profile variables; and et is the error term.  The “morning load” variable was used in lieu of a more formal autoregressive structure in order to adjust the model to account for load levels on a particular day, particularly for customers whose daily loads vary substantially for no observable reason (such as more or less intensive than average operations on the part of manufacturing customers).  Because of the autoregressive nature of the morning load variable, no further correction for serial correlation was performed in these models.

Separate models were estimated for each customer.  The estimated load impacts, in the form of hourly event coefficients, were aggregated across customers to arrive at program-level load impacts, and results by industry group and LCA.  Overall program-level and aggregator-level regressions were also estimated in some cases, primarily to provide consistency checks for the individual customer results.

## CBP Ex-Ante Analysis

Ex ante forecasts of load impacts for SDG&E were produced based on per-customer load impacts calculated from the ex post evaluation results, and applied to enrollment forecasts provided by the utilities.  This section documents the preparation of ex ante forecasts of reference loads and load impacts for 2011 to 2020 for the SDG&E CBP program. Separate load impact forecasts were developed for the day-ahead and day-of program types, where relevant.

The forecasts of load impacts were developed in two primary stages.  First, estimates of reference loads and percentage load impacts, on a per-enrolled customer basis, were developed based on modified versions of the ex-post load impact regressions.  Second, the simulated per-customer reference loads under alternative weather (e.g., 1-in-2 and 1-in-10) and event-type scenarios (e.g., typical event, or monthly system peak day), and the estimated percentage load impacts were combined with program enrollment forecasts from the utilities to develop alternative forecasts of aggregate load impacts.  Forecasts were developed at the program and program-type (e.g., DA and DO) level.

The ex-ante regression equations are similar in design to the ex post load impact equations, differing primarily in two ways.  First, the event variables are modified from the version that produced ex-post estimates of 24 hourly load impact values for each event, to a version that produces estimates of average hourly event-period load impacts across all events.  Second, the ex ante models exclude the morning-usage variable.  While this variable is useful for improving accuracy in estimating ex post load impacts for each event, it complicates the use of the equations in ex ante simulation.  That is, it would require a separate simulation of the level of the morning load.  The regression equations contain both weather variables and monthly indicator variables, which provide the capability to simulate customer loads under the different weather and monthly system peak scenarios.

For SDG&E’s CBP program, per-customer load profiles we developed by industry group and program type (e.g., combinations of notice level and event window), after removing the customer accounts for the aggregator that will offer the new DSP DO product.  Each industry group was expanded at the same rate over time, corresponding to the enrollment forecast provided by SDG&E, which specified the number of enrolled customers within each program type (e.g., DA and DO, and event window length).

The enrollment forecast for the CBP program is based on both the historical growth of the program. Since the DSP program has very similar characteristics to the CBP program the growth rates for both programs was looked at together. The tables below show historical number of customers the average load impact for year for 2007-2010 and SDG&E’s enrollment forecast for 2011-2014.  Enrollment after 2014 is forecasted as constant. Table 2-3 shows that from 2007-2009 the CBP DA grew at a  slower pace than the CBP DO The CBP day-of option on the other hand grew rapidly, more than doubling in size from 2007 to 2008 and from 2008 to 2009.  From 2009 to 2010 there was a decrease in enrollment in CBP day-of due to customers switching from this option to the DemandSMART program.

Table 2-3

Ex-Post M&E Load Impact average event day (MW)

| Ex-Post M&E Load Impact average event day (MW) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Year | CBP DA | CBP DO | DemandSMART | Total | Growth |
| 2007 | 6.6 | 1.2 | 0 | 7.8 | 7.8 |
| 2008 | 10.3 | 6.2 | 0 | 16.5 | 8.7 |
| 2009 | 10.3 | 12.5 | 0 | 22.8 | 6.3 |
| 2010 | 9.6 | 8.6 | 7.8 | 26.0 | 3.2 |

Table 2–4 reports average event-hour load impacts years for the typical event day in 1-in-2 and 1-in-10 weather years for CBP DA and DO for 2011 through 2014, after which the forecasts level off.  . For the CBP Day-Ahead program the forecast assumes the load impact results for 2011 are very similar to the 2010 ex-post results.  The forecast for 2012-2014 assumes that very modest growth occurs due to the CBP program improvements proposed by SDG&E for 2012 - 2014.  The growth forecast for CBP day-of assumes that all customers who plan to move from CBP day-of to DemandSMARTTM have already done so.  The forecast assumes that due to competition with DSP and the elimination of dual participation with CPP-D the growth rate for the CBP program will drop substantially from the historical growth rate of approximately 6 MW per year to roughly 2 MW per year.

Table 2–4

CBP load impacts for Typical Event Days

|  | CBP Typical Event Day |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1-in-2 Weather Yr |  | 1-in-10 Weather Yr |  |
| Year | DA | DO | DA | DO |
| 2011 | 9.3 | 10.4 | 9.2 | 10.6 |
| 2012 | 10.2 | 12.5 | 10.1 | 12.8 |
| 2013 | 11.1 | 14.6 | 11.1 | 14.9 |
| 2014 | 11.3 | 16.5 | 11.3 | 16.9 |

The CBP ex-ante forecast used the weighted average temperatures for the August peak day in a 1 in 2 weather year and a 1 in 10 weather year are shown in Table 2-5 below.

Table 2-5

CBP Forecasted Weather

| Hour Ending | 1-in-2 year Weighted Average Temperature (°F) |  | 1-in-10 year Weighted Average Temperature (°F) |  |
| --- | --- | --- | --- | --- |
|  | Day-Ahead | Day-Off | Day-Ahead | Day-Off |
| 1 | 72 | 70 | 74 | 73 |
| 2 | 71 | 70 | 73 | 73 |
| 3 | 70 | 69 | 73 | 72 |
| 4 | 69 | 69 | 72 | 72 |
| 5 | 69 | 69 | 72 | 72 |
| 6 | 69 | 69 | 73 | 72 |
| 7 | 70 | 69 | 72 | 71 |
| 8 | 69 | 72 | 74 | 74 |
| 9 | 73 | 76 | 77 | 77 |
| 10 | 75 | 79 | 82 | 83 |
| 11 | 79 | 83 | 82 | 84 |
| 12 | 80 | 83 | 85 | 87 |
| 13 | 80 | 83 | 82 | 84 |
| 14 | 81 | 83 | 80 | 82 |
| 15 | 81 | 82 | 82 | 84 |
| 16 | 79 | 82 | 83 | 85 |
| 17 | 79 | 81 | 82 | 84 |
| 18 | 77 | 79 | 82 | 83 |
| 19 | 75 | 76 | 79 | 81 |
| 20 | 73 | 74 | 76 | 77 |
| 21 | 72 | 73 | 76 | 76 |
| 22 | 72 | 72 | 75 | 76 |
| 23 | 72 | 72 | 74 | 74 |
| 24 | 71 | 70 | 74 | 74 |

# Summary of SDG&E’s Critical Peak Pricing Default Report

## CPP-D Rate Description

This report documents the results of a load impact evaluation for program-year 2010 of the SDG&E CPP-D rate. The primary goals of the evaluation were to estimate the hourly ex-post load impacts achieved on each event day and to provide ex-ante forecasts of the load impacts expected to be achieved by CPP-D for 2012-2021. SDG&E implemented CPP-D in 2008 with an “opt-out” provision and bill protection, and began transitioning previous volunteers onto the new default rate.

SDG&E’s default CPP takes on different values for different rate classes.  The default CPP rate is a commodity-only rate and customers pay all non-commodity charges according to their otherwise applicable tariff.  Customers on SDG&E’s default CPP are allowed to pay a monthly capacity reservation charge (CRC) that limits the amount of their load that is exposed to CPP prices on event days.  In addition, customers receive a bill protection guarantee for the first year, during which their bill under default CPP is guaranteed not to exceed what it would have been had they opted out to the new otherwise applicable tariff. Events for the SDG&E CPP-D rate last from 11am-6pm and can be called on any day of the year.

## CPP-D Ex-Post Results

In 2010 1,368 accounts were enrolled in CPP-D. SDG&E called four events in 2010. One event was called on September 27th SDG&E’s all time peak. Table 3-1 shows the estimated ex-post load impacts for each event day and the average event in 2010 for SDG&E’s CPP tariff.  For the average event, CPP customers provided a load reduction of 13.7 kW per participant and 18.8 MW in aggregate.  Relative to the reference load of 260.6 kW, the average participant provides a 5.3% load reduction.  The lowest impacts occurred on September 27, 2010, the hottest event day and the all time system peak.  As mentioned before, the raw data affirms this circumstance.  There are several potential explanations.  The event occurred late in the summer and on a Monday.  Given the day-ahead notification, it is possible that the lower impacts reflect day of week effect and/or the fact that the summer period was essentially over.  The final alternative explanation is that participants provide lower percent load impacts with hotter weather.  Considering that there were four events in 2010, there are few degrees of freedom for modeling how load impacts vary across event days. The load impacts for the remaining events are shown in Table 3-1 below.

Table 3-1 
Estimated Ex-Post Load Impacts by Event Day
2010 SDG&E CPP Events

| Event Date | Number of Participants | Average Reference Load (kW) | Average Load with DR (kW) | Average Load Impact (kW) | % Load Impact | Aggregate Load Impact (MW) | Average Temperature During Event |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 8/25/2010 | 1,368 | 254.3 | 238.6 | 15.8 | 6.2% | 21.6 | 78.8 |
| 8/26/2010 | 1,368 | 248.7 | 230.7 | 18.0 | 7.2% | 24.6 | 76.0 |
| 9/27/2010 | 1,368 | 272.8 | 264.5 | 8.3 | 3.0% | 11.3 | 89.5 |
| 9/28/2010 | 1,368 | 267.2 | 254.5 | 12.7 | 4.7% | 17.3 | 81.2 |
| Average Event | 1,368 | 260.6 | 246.9 | 13.7 | 5.3% | 18.8 | 81.3 |

In comparison to 2009, the number of large customers enrolled in CPP during 2010 dropped by roughly 200 accounts, decreasing from 1,576 to 1,368 for the average event.  The decrease is mainly due to the fact that for many customers, bill protection expired by the 2010 summer.  Correspondingly, the event day load absent DR - the reference load - decreased in proportion, from 419 MW in 2009 to 357 MW in 2010.  The percent load reduction in 2009 and 2010 were essentially equivalent, 5.6% and 5.3%, respectively.

Table 3-2 shows load impacts for SDG&E customers who are dually enrolled in other DR programs.  It also shows load impacts for customers who are defined as medium based on maximum demand.  Customers dually enrolled in the CBP DR program provided an average impact of 30.9 kW relative to their 280.3 kW reference load.  In aggregate, they provided 9% of the load impact on the average event day.  Medium customers showed small average load impacts, percent load impacts and aggregate load impacts at 1.4 kW, 2.5% and 0.5 MW respectively.

Table 3-2

Estimated Ex-Post Load Impacts of Multi-DR & Voluntary CPP Participants
Average 2010 SDG&E CPP Event

| Dual Enrollees and Medium Customers | Number of Participants | Average Reference Load (kW) | Average Load with DR (kW) | Average Load Impact (kW) | % Load Impact | Aggregate Load Impact (MW) | Average Temperature During Event |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dually Enrolled: BIP | 6 | 816.5 | 160.5 | 656.0 | 80.3% | 3.9 | 79.6 |
| Dually Enrolled: CBP | 52 | 280.3 | 249.4 | 30.9 | 11.0% | 1.6 | 83.0 |
| Dually Enrolled: Demand SMART | 23 | 184.3 | 141.5 | 42.8 | 23.2% | 1.0 | 83.3 |
| Medium Customers (20 kW to 200 kW) | 381 | 55.8 | 54.4 | 1.4 | 2.5% | 0.5 | 81.8 |
| Population Totals | 1,368 | 260.6 | 246.9 | 13.7 | 5.3% | 18.8 | 81.3 |

## CPP-D Evaluation Methodology

The CPP ex post hourly load impacts for program-year 2010 were estimated using separate econometric models (i.e., regression equations) for each enrolled CPP customer, based on historical customer load data for the summer of 2010.  The models assume that customers’ hourly loads are functions of weather data, time-based variables such as hour, day of week, and month, and program event information (e.g., the days and hours in which events were called).  The individual customer models allow the development of information on the distribution of load impacts across industry types and on the distribution of the impacts of the load impacts across customers. Table 3-3 provides the variable descriptions used in the model.

Table 3-3
Variable Definitions and Logic for Inclusion in Evaluation Model

| Variable | Definitions and Logic for Inclusion |
| --- | --- |
| kWt | Represents the average hourly demand (kW) for each time period. |
| A | Is the estimated constant term. |
| B through M | Represent the regression model parameters. |
| Houri | Is a series of binary variables for each hour. They account for the basic hourly load shape of the customer after other factors such as weather and prices are accounted for. |
| Yearj | Is a binary variable with a value equal to 1 for 2010. It was included to reflect changes in overall load patterns and economic conditions between the pre- and post-enrollment periods. |
| DayTypej | Is a series of binary variables representing five different day types (Mon, Tues-Thurs, Fri, Sat, Sunday/Holiday). |
| Monthj | Is a series of binary variables for each month designed to reflect seasonality in loads. |
| TotalCDHt | Is a measure of heat intensity for the day. It is the sum of cooling degree hours (base 65) for the day. |
| TotalCDHsqrt | Is the square of the above variable; |
| TotalHDHt | Is the sum of heating degree hours (base 65) for the day; |
| TotalHDHsqrt | Is the above variable squared; |
| SummerCPPt | Is a binary variable representing a customer’s CPP status (enrolled or not enrolled) on summer weekdays in interval t. By interacting it with the hourly binary variables, we capture the effect of the CPP summer period rate discount. |
| WinterCPPt | Is a binary variable representing a customer’s CPP status (enrolled or not enrolled) on winter weekdays in interval t. By interacting it with the hourly binary variables, we capture the effect of the CPP summer period rate discount. |
| OtherDRt | Is a binary variable representing a customer’s participation in another DR event in interval t; |
| Eventdayt | Is a binary variable representing a CPP event day in interval t, and; |
| et | Is the error term. |

## CPP-D Ex Ante Load Impacts

The ex-ante forecast for the CPP-D program for each continuing customer was calculated using the following steps:

- Store the regression parameters from the ex post regression models. This includes parameters that describe customer hourly load patterns, weather sensitivity, average event load impacts absent weather, and how load impacts vary under different weather conditions.

- Use the 1-in-2 and 1-in-10 weather year conditions based on the location of each customer. For example, in predicting the 1-in-2 August Peak Day impacts for a customer in the Greater Bay Area, we employ the weather patterns underlying normal July peak system loads.

- Replicate the same variables used in the ex-post regression models.

- Predict the customer electricity use patters absent event day response - reference loads - based on the regression coefficients and ex ante event day conditions.

- Predict the hourly electricity use pattern with event day response - the estimate load with DR - based on the regression coefficients and ex ante event day conditions.

Impacts are calculated as the difference in loads with and without DR.  The reference loads and impacts are then weighted to reflect any changes in enrollment levels and/or mix.  Finally, they are aggregated for the program as whole and for each local capacity area.  When dually enrolled customers account for a large share of the program reductions such as in SDG&E, we produce both program specific and portfolio impacts. Portfolio impacts apply attribution rules to ensure dually enrolled customer impacts are not double-counted in the portfolio.  In general, programs with higher degrees of commitment are attributed load impacts.  For example, impacts for a customer dually enrolled in an aggregator program and CPP would be attributed to aggregator program because it involved a contractual commitment to deliver specific amounts of load reduction.

The forecast for existing CPP-D customers was based on the regression results for all existing CPP-D customer. Since the majority of existing commercial customers are large commercial customers the forecast for these customers is referred to as the large CPP-D forecast. For the medium commercial CPP-D forecast the ex-ante forecast was based on results from existing CPP-D customers with an average demand less than 100 kW. In addition SDG&E plans to install free programmable communicating thermostats (PCT) for medium commercial customers so the incremental effects of enabling technology are also included in the CPP-D medium forecast. SDG&E plans to install PCT for 5% of participating medium commercial customers by 2014 and 31% of participating medium commercial customers by 2017.

The ex-ante forecast for CPP-D also requires an estimate of the number of customers who will remain on CPP-D. SDG&E has several years of data that show how many customers remained on CPP-D both before and after bill protection. For existing CPP-D retention rates were calculated using the historical retention information for customers who had spent at least one year on CPP-D without bill protection. The medium commercial CPP-D retention rates were also calculated using the historical data but were adjusted to account for load shape characteristics of medium commercial customers.  Table 3-4 shows the percentage of customers remaining assumed that will remain on CPP-D for both the large and medium customers.

Table 3-4

Percentage of customers remaining on CPP-D

| Industry | Large CPP-D Post Bill Protection | Medium CPP-D Post Bill Protection |
| --- | --- | --- |
| Agriculture, Mining & Construction | 46% | 67% |
| Manufacturing | 59% | 63% |
| Wholesale, Transport, other utilities | 77% | 89% |
| Water Districts | 74% | 77% |
| Retail stores | 55% | 66% |
| Offices, Finance, Services | 60% | 74% |
| Hotels and Apartment Buildings | 44% | 46% |
| Schools | 56% | 51% |
| Institutional/Government | 57% | 71% |
| Other or unknown | 59% | 20% |
| Total | 59% | 66% |

CPP ex-ante load impacts for typical event days are presented in Table 3-5:

Table 3-5

CPP load impacts in (MWs) for Typical Event Days

|  | CPP Typical Event Day |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1-in-2 Weather Yr |  | 1-in-10 Weather Yr |  |
| Year | Large | Medium | Large | Medium |
| 2011 | 16.7 | 0 | 22.3 | 0 |
| 2012 | 16.3 | 0 | 21.9 | 0 |
| 2013 | 16.2 | 26.0 | 21.8 | 40.9 |
| 2014 | 16.4 | 28.2 | 22.1 | 42.5 |

The CPP ex-ante forecast used the weighted average temperatures for the August peak day in a 1 in 2 weather year and a 1 in 10 weather year are shown in Table 3-6 below.

Table 3-6

Forecasted weather for CPP-D

| Hour Ending | 1-in-2 year Weighted Average Temperature (°F) | 1-in-10 year Weighted Average Temperature (°F) |
| --- | --- | --- |
| 1 | 68.9 | 73.3 |
| 2 | 67.6 | 72.6 |
| 3 | 67.9 | 72.3 |
| 4 | 67.6 | 71.6 |
| 5 | 66.9 | 71.6 |
| 6 | 66.6 | 72.3 |
| 7 | 66.9 | 71.3 |
| 8 | 66.9 | 73.6 |
| 9 | 68.9 | 77.0 |
| 10 | 72.9 | 82.4 |
| 11 | 78.0 | 83.5 |
| 12 | 79.7 | 86.9 |
| 13 | 79.3 | 83.5 |
| 14 | 78.6 | 81.9 |
| 15 | 80.3 | 83.2 |
| 16 | 79.5 | 84.2 |
| 17 | 78.5 | 83.2 |
| 18 | 76.8 | 82.4 |
| 19 | 73.7 | 80.2 |
| 20 | 70.6 | 76.7 |
| 21 | 69.9 | 76.4 |
| 22 | 69.6 | 75.7 |
| 23 | 68.6 | 74.0 |
| 24 | 67.2 | 73.6 |

# Summary of SDG&E’s Summer Saver Report

## Summer Saver Program Description

San Diego Gas & Electric Company’s (SDG&E) Summer Saver program is a demand response resource based on air conditioning load control.  It is implemented through an agreement between SDG&E and Alternate Energy Resources, formerly known as Comverge, and is currently scheduled to continue through 2016.

The Summer Saver program is available to residential customers and commercial facilities that use up to a maximum of 100 kW on average during a 12-month period.  The Summer Saver season runs from May 1st through October 31st and does not notify participating customers of an event.  A Summer Saver event may be triggered the day of an event if warranted by temperature and system load conditions.  Events may be called at any time between 12pm and 8pm and have a maximum length of 4 hours. There are a variety of enrollment options for both residential and commercial customers.  Residential customers can choose to be cycled 50% or 100% of the time, and can have cycling occur only on weekdays or on weekends as well.  Commercial customers have an option of choosing 30% or 50% cycling, on weekdays only or for seven days a week.  The incentive paid for each option varies and is based on the number of air conditioning tons being controlled at each site.

## Summer Saver Ex Post Load Impact Estimates

Eleven Summer Saver events were called in 2010.  All events were four hours long and each one began at either 1 PM or 2 PM.  The first event was on July 15th.  Two events were called in July, six in August, and three in September, with the last event occurring on September 29th.  All of the events were called in groups: the two July events were successive, the August events were called in two groups of three days each in consecutive weeks and the three September events were on back-to-back days.

Tables 4-1 and 4-2 show the load impacts for each event day for residential and commercial customers respectively. Summer Saver residential customers delivered an average aggregate load reduction over the 11 events of 14 MW, while commercial customers provided an average of 5 MW.  Residential impacts ranged from a low of 10 MW on September 29th, to a high of 26 MW on September 27th, 2010 (the day of SDG&E’s all-time system peak).  Residential load reduction as a percentage of reference load was fairly stable across events at around 55%.  Commercial impacts were steadily around 4.7-5.3 MW, with the exception of September 27th, when commercial customers provided 7 MW of load reduction.  Commercial load reduction as a percentage of reference load was also fairly stable at around 21%.

Residential customers accounted for 65% of enrolled tonnage and more than 70% of the total load reduction.  The average load reduction for residential at 0.13 kW/ton exceeds that for commercial customers at 0.09 kW/ton.  All else being equal, we would expect residential load reductions per ton to be lower than for commercial customers because commercial AC units run more regularly and are usually on at lower temperatures.  However, in this case, commercial units are subject to less severe load control because the options are either 50% or 30%, as opposed to 100% or 50% for residential.  Also, commercial customers face cooler weather on average.  Therefore, residential customers provide higher load reduction as a percentage of the reference load than commercial customers.  Residential customers are split evenly between 50% and 100% cycling.  About 60% of commercial customers are on 30% cycling, with the rest on 50% cycling.

Table 4-1:
2010 Average Hourly Load Reduction for Event Period by Event Day
All Residential Summer Saver Customers

| Date | Day of Week | Avg. Reference Load (kW/ton) | Avg. Load Reduction (kW/ton) | Percent Load Reduction (%) | Aggregate Load Reduction (MW) | Avg. Temp. (°F) |
| --- | --- | --- | --- | --- | --- | --- |
| 7/15/2010 | Thursday | 0.19 | 0.10 | 53 | 11 | 85 |
| 7/16/2010 | Friday | 0.27 | 0.14 | 52 | 15 | 88 |
| 8/17/2010 | Tuesday | 0.20 | 0.11 | 56 | 12 | 85 |
| 8/18/2010 | Wednesday | 0.25 | 0.14 | 56 | 15 | 87 |
| 8/19/2010 | Thursday | 0.21 | 0.12 | 57 | 13 | 85 |
| 8/23/2010 | Monday | 0.22 | 0.12 | 56 | 13 | 87 |
| 8/24/2010 | Tuesday | 0.23 | 0.13 | 55 | 13 | 88 |
| 8/25/2010 | Wednesday | 0.21 | 0.11 | 52 | 11 | 85 |
| 9/27/2010 | Monday | 0.48 | 0.25 | 51 | 26 | 95 |
| 9/28/2010 | Tuesday | 0.22 | 0.13 | 57 | 13 | 84 |
| 9/29/2010 | Wednesday | 0.18 | 0.10 | 55 | 10 | 82 |
| AVERAGE |  | 0.24 | 0.13 | 55 | 14 | 86 |

Table 4-2:
2010 Average Hourly Load Reduction for Event Period by Event Day
All Commercial Summer Saver Customers

| Date | Day of Week | Avg. Reference Load (kW/ton) | Avg. Load Reduction (kW/ton) | Percent Load Reduction (%) | Aggregate Load Reduction (MW) | Avg. Temp. (°F) |
| --- | --- | --- | --- | --- | --- | --- |
| 7/15/2010 | Thursday | 0.41 | 0.09 | 21 | 4.7 | 83 |
| 7/16/2010 | Friday | 0.48 | 0.10 | 20 | 5.2 | 85 |
| 8/17/2010 | Tuesday | 0.39 | 0.08 | 22 | 4.7 | 82 |
| 8/18/2010 | Wednesday | 0.46 | 0.09 | 20 | 5.2 | 84 |
| 8/19/2010 | Thursday | 0.43 | 0.09 | 21 | 4.9 | 82 |
| 8/23/2010 | Monday | 0.41 | 0.09 | 21 | 4.7 | 84 |
| 8/24/2010 | Tuesday | 0.43 | 0.09 | 21 | 4.9 | 85 |
| 8/25/2010 | Wednesday | 0.42 | 0.09 | 21 | 4.8 | 82 |
| 9/27/2010 | Monday | 0.63 | 0.12 | 20 | 6.8 | 92 |
| 9/28/2010 | Tuesday | 0.43 | 0.10 | 23 | 5.3 | 83 |
| 9/29/2010 | Wednesday | 0.39 | 0.09 | 23 | 4.9 | 81 |
| AVERAGE |  | 0.44 | 0.09 | 21 | 5.0 | 84 |

## Summer Saver Methodology

The impact estimates for commercial and residential customers were based on end use data.  Models with whole building data and whole house data respectively were also estimated for comparison purposes.

The primary residential analysis is based on data from 268 premises with data covering the entire summer of 2010.  The commercial analysis is based on data from 482 commercial premises covering the same period.  A total of 500 commercial loggers were installed.  Three were lost and eight were broken during the summer.  Seven showed all missing values for the dates of the study.

The sampled customers were divided into two groups so that each event day had a comparison group that was not called and a curtailed group that was called.  Of the 750 customers in the final estimating sample, 229 commercial and 143 residential AC units were in group A and 239 commercial and 139 residential AC units were in group B.  As shown in Table 4-3, groups A and B alternated between the curtailed and comparison groups from one event to the next.

Table 4-3
Summer Saver 2010 Event Summary

| Date | Day of Week | Start Time | End Time | Group Called |
| --- | --- | --- | --- | --- |
| 7/15/2010 | Thursday | 1 PM | 5 PM | A |
| 7/16/2010 | Friday | 1 PM | 5 PM | B |
| 8/17/2010 | Tuesday | 1 PM | 5 PM | A |
| 8/18/2010 | Wednesday | 1 PM | 5 PM | B |
| 8/19/2010 | Thursday | 1 PM | 5 PM | A |
| 8/23/2010 | Monday | 1 PM | 5 PM | B |
| 8/24/2010 | Tuesday | 1 PM | 5 PM | A |
| 8/25/2010 | Wednesday | 1 PM | 5 PM | B |
| 9/27/2010 | Monday | 2 PM | 6 PM | A |
| 9/28/2010 | Tuesday | 2 PM | 6 PM | B |
| 9/29/2010 | Wednesday | 2 PM | 6 PM | A |

The commercial and residential regressions were developed using a GLS estimator with robust standard errors.  The following equations summarize the specification models used to estimate air condition load based on end use load data:

Commercial:

KWin=α0+i=148j=59βij⋅HALFHOURi⋅MONTHj+i=148k=15δik⋅HALFHOURi⋅DAYTYPEk+i=148k=15μik⋅HALFHOURi⋅DAYTYPEk⋅CDD+i=148k=15ηik⋅HALFHOURi⋅DAYTYPEk⋅CDD2+l=18πl⋅EVENTHALFHOURl⋅CDD+m=112ϖθm⋅POSTEVENTHOURm⋅sumCDH+ε

In this equation,

KW = Half hourly air conditioning load in half-hour i for customer n;

αo = Estimated constant term;

βij through θm are the estimated coefficients;

HALFHOURi = Series of binary variables representing each half-hour of the day (1-48);

MONTHj = Series of binary variables representing each summer month (5-9);

DAYTYPEj = Series of binary variables representing each day type (Mon, Tues-Thurs, Fri, Sat, Sunday/Holiday);

CDD = Cooling degree days for that day (base 65° F)

CDD2 = CDD squared

EVENTHALFHOURl= Series of binary variables representing each half-hour of the event window (1-8; events were four hours long);

POSTEVENTHOURm= Series of binary variables representing twelve half-hour time periods immediately following the end of an event (1-12);

sumCDH = Cumulative cooling degree hours (base 70° F) during the event period, and;

ε =  the error term.

Residential:

KWin=α0+i=148k=12δik⋅HALFHOURi⋅DAYTYPEk⋅CDD+i=148k=12δik⋅HALFHOURi⋅DAYTYPEk⋅CDDsqr+i=148j=59βij⋅HALFHOURi⋅MONTHj⋅CDD+i=148j=59βij⋅HALFHOURi⋅MONTHj⋅CDDsqr+i=148μi⋅HALFHOURi⋅NIGHTCDH+l=18πl⋅EVENTHALFHOURl⋅CDD+m=112ϖθm⋅POSTEVENTHOURm⋅sumCDH+ε

In this equation,

KW = Half hourly air conditioning load in half-hour i for customer n;

αo = Estimated constant term;

βij through θm are the estimated coefficients;

HALFHOURi = Series of binary variables representing each half-hour of the day (1-48);

MONTHj = Series of binary variables representing each summer month (5-9);

DAYTYPEj = Series of binary variables representing each day type (Weekday, Weekend/Holdiay);

CDD = Cooling degree days for that day (base 65° F)

CDD2 = CDD squared

NIGHTCDH= Cumulative cooling degree hours (base 70° F) from 12 am to 6 am;

EVENTHALFHOURl= Series of binary variables representing each half-hour of the event window (1-8; events were four hours long);

POSTEVENTHOURm= Series of binary variables representing twelve half-hour time periods immediately following the end of an event (1-12);

sumCDH = Cumulative cooling degree hours (base 70° F) during the event period, and;

ε =  the error term.

## Ex Ante Summer Saver Load Impact Estimates

The models developed from the ex post load data in 2010 were used to estimate load impacts based on ex ante event conditions and enrollment projections for the years 2011 through 2021.  FSC was provided with data by SDG&E that represents weather under 1-in-2 and 1-in-10 year conditions for each monthly system peak day and a typical event day. Enrollment in the summer saver program is predicted to be constant from 2011-2021.

Tables 4-4 and 4-5 summarize the average and aggregate load impact estimates for residential and commercial Summer Saver participants.  Aggregate impacts are based on steady enrollment levels equal to those as of fall 2010.  Load impact estimates are presented for the average AC unit, for each ton of air conditioning and for participants as a whole.  For a typical event with 1-in-2 year weather conditions, the average impact per AC unit is 0.38 kW for residential customers, and the reduction average per ton is 0.09 kW.  Based on 1-in-10 year weather conditions, these values are roughly 25% higher (0.48 kW and 0.12 kW/ton, respectively).  The aggregate program load reduction potential for residential customers is 10 MW for a typical event day under 1-in-2 year weather conditions and 13 MW under 1-in-10 year weather conditions.  These values are based on program enrollment of 106,416 tons of air conditioning.

Commercial customer predicted impacts are 0.32 kW per AC unit and 0.08 kW/ton for a typical event day in 1-in-2 year weather conditions.  The aggregate impact during these weather conditions is 5 MW.    Commercial impacts increase only slightly under 1-in-10 year weather conditions both due to the lower cycling options for commercial customers and due to commercial customers being located in cool weather areas.

There is significant variation in load impacts across months and weather conditions.  Based on 1-in-2 year weather, the low temperatures in June, reflecting the well known “June Gloom” typically experienced in San Diego, result in small average and aggregate load impact estimates.  The June 1-in-2 impact for residential customers is almost 70% lower than the October estimate, which is the highest of any month in 1-in-2 year weather conditions.  For residential customers the June 1-in-10 year estimate is three times higher than the 1-in-2 year estimate.  The weather conditions on the monthly system peak day in June and July produce the lowest value based on 1-in-10 year weather.  The highest load impacts are in September in the 1-in-10 weather year, with the system peak estimate equaling 19 MW for the whole program.

Table 4-4
Average and Aggregate Load Reductions by Day Type and Weather Year
All Residential Customers

| Weather Year | Day Type | Average Load Reduction (kW) | Average Load Reduction (kW/Ton) | Aggregate Load Reduction (MW) | Avg. Temp. (°F) |
| --- | --- | --- | --- | --- | --- |
| 1-in-2 | Typical Event Day | 0.38 | 0.09 | 10 | 84 |
|  | May Monthly Peak | 0.36 | 0.09 | 10 | 82 |
|  | June Monthly Peak | 0.15 | 0.04 | 4 | 77 |
|  | July Monthly Peak | 0.31 | 0.07 | 8 | 82 |
|  | August Monthly Peak | 0.38 | 0.09 | 10 | 84 |
|  | September Monthly Peak | 0.49 | 0.12 | 12 | 87 |
|  | October Monthly Peak | 0.51 | 0.12 | 13 | 86 |
| 1-in-10 | Typical Event Day | 0.48 | 0.12 | 13 | 86 |
|  | May Monthly Peak | 0.46 | 0.11 | 13 | 86 |
|  | June Monthly Peak | 0.44 | 0.11 | 12 | 87 |
|  | July Monthly Peak | 0.44 | 0.11 | 12 | 86 |
|  | August Monthly Peak | 0.48 | 0.12 | 13 | 86 |
|  | September Monthly Peak | 0.55 | 0.13 | 14 | 88 |
|  | October Monthly Peak | 0.50 | 0.12 | 12 | 87 |

Table 4-5
Average and Aggregate Load Reductions by Day Type and Weather Year
All Commercial Customers

| Weather Year | Day Type | Average Load Reduction (kW) | Average Load Reduction (kW/Ton) | Aggregate Load Reduction (MW) | Avg. Temp. (°F) |
| --- | --- | --- | --- | --- | --- |
| 1-in-2 | Typical Event Day | 0.32 | 0.08 | 4.6 | 81 |
|  | May Monthly Peak | 0.30 | 0.08 | 4.3 | 80 |
|  | June Monthly Peak | 0.23 | 0.06 | 3.3 | 75 |
|  | July Monthly Peak | 0.30 | 0.08 | 4.4 | 81 |
|  | August Monthly Peak | 0.32 | 0.08 | 4.6 | 81 |
|  | September Monthly Peak | 0.35 | 0.09 | 5.1 | 85 |
|  | October Monthly Peak | 0.33 | 0.09 | 4.8 | 83 |
| 1-in-10 | Typical Event Day | 0.35 | 0.09 | 5.0 | 84 |
|  | May Monthly Peak | 0.32 | 0.09 | 4.7 | 84 |
|  | June Monthly Peak | 0.33 | 0.09 | 4.8 | 84 |
|  | July Monthly Peak | 0.33 | 0.09 | 4.8 | 84 |
|  | August Monthly Peak | 0.35 | 0.09 | 5.0 | 84 |
|  | September Monthly Peak | 0.37 | 0.10 | 5.3 | 87 |
|  | October Monthly Peak | 0.34 | 0.09 | 5.0 | 86 |

The Summer Saver ex-ante forecast used the weighted average temperatures for the August peak day in a 1 in 2 weather year and a 1 in 10 weather year are shown in Table 4-6 below.

Table 4-6

Summer Saver Forecasted Weather

| Hour Ending | 1-in-2 year Weighted Average Temperature (°F) | 1-in-10 year Weighted Average Temperature (°F) |
| --- | --- | --- |
| 1 | 69.3 | 71.5 |
| 2 | 68.6 | 71.7 |
| 3 | 68.4 | 71.1 |
| 4 | 69.6 | 71.1 |
| 5 | 69.0 | 71.2 |
| 6 | 67.9 | 71.5 |
| 7 | 67.6 | 71.6 |
| 8 | 71.1 | 74.6 |
| 9 | 78.0 | 78.7 |
| 10 | 81.6 | 84.4 |
| 11 | 87.2 | 88.0 |
| 12 | 88.6 | 91.2 |
| 13 | 87.4 | 91.1 |
| 14 | 86.6 | 88.9 |
| 15 | 84.2 | 87.6 |
| 16 | 84.4 | 87.0 |
| 17 | 82.8 | 84.6 |
| 18 | 80.5 | 82.2 |
| 19 | 77.5 | 80.1 |
| 20 | 73.3 | 77.8 |
| 21 | 71.5 | 76.8 |
| 22 | 69.9 | 75.2 |
| 23 | 68.6 | 74.3 |
| 24 | 68.4 | 72.6 |

# Summary of SDG&E’s Base Interruptible Program Report

## Program Description

- SDG&E BIP is a voluntary program that offers participants a monthly capacity bill credit in exchange for committing to reduce their demand to a contracted FSL on short notice during emergency situations.  SDG&E offers two options that vary with respect to the notification period, number and duration of allowed events and incentive payments:

- BIP-A (Option A): Requires load reduction response within 30 minutes.  Incentive payments are $7/kW.  The maximum event length is 4 hours per day and the maximum number of events is 10 per month and 120 hours per calendar year; and

- BIP-B (Option B):  Requires load reduction response within three hours.  Incentive payments are $3/kW.  The maximum event length is 3 hours per day and the maximum number of events is 10 per month and 90 hours per calendar year.

## BIP ex-post results

Participation in SDG&E’s program has been relatively low and was not open to new customers for an extended period of time.  There was one participant in 2006 and three in 2007.  Participation grew from 3 to 20 participants in 2008, but fell to 19 participants as of January 2010.  In October 2010, SDG&E added customers to BIP for the first time in over a year.  By the end of 2010, there were 21 accounts enrolled in SDG&E BIP.  All but one of these accounts is enrolled in option A.  The current distribution of accounts by industry is shown in Table 5-1.  The largest proportion of SDG&E BIP customers is in the offices, hotels, finance & services segment.  There is only one LCA in SDG&E’s service territory.

Table 5-1
Number of Service Accounts in SDG&E's BIP Program by Industry

| Industry | Number of Accounts |
| --- | --- |
| Agriculture, Mining & Construction | 0 |
| Manufacturing | 7 |
| Wholesale, Transport & Other Utilities | 1 |
| Retail Stores | 4 |
| Offices, Hotels, Finance & Services | 9 |
| Schools | 0 |
| Institutional/Government | 0 |
| Total | 21 |

There was one test event held for SDG&E’s BIP program in 2010.  That event occurred on September 27th and lasted for four hours for option A customers (2 PM to 6 PM) and three hours for option B customers (3 PM to 6 PM).  The six BIP customers that were dually-enrolled in CPP were not called for the BIP event because there was a CPP event on the same day.

Table 5-2 shows the average load impact per customer for one key customer group and for all customers.  Separate Results for BIP option B are not included because there was only one customer in that group.

Customers in BIP option A, which includes all of the customers in the offices, hotels, finance & services segment, underperformed substantially during the event.  In fact, all option A customers were penalized for failing to comply during the event.  Performance and the percent load reduction are higher for all customers because the one BIP option B customer complied and curtailed more than half of its load.  As noted above, this option B customer was the only participant that had experienced a BIP event in the past, which may explain the better performance.

Table 5-2
Average Customer Load Impact for September 27, 2010 SDG&E Event

| Customer Group | Number of Customers | Reference Load (kW) | Load with DR (kW) | Load Reduction (kW) | Average FSL (kW) | Performance (%) |
| --- | --- | --- | --- | --- | --- | --- |
| Offices, Hotels, Finance & Services | 6 | 233.8 | 208.2 | 25.6 | 2.3 | 11.1 |
| All Customers | 13 | 194.8 | 163.4 | 31.4 | 6.5 | 16.7 |

- 5.3 BIP Evaluation Methodology

For ex ante analysis, the estimated load reduction for BIP is a function of: the forecasted load in the absence of a DR event (i.e. the reference load), the participant’s FSL, and estimates of over or under performance. The reference load is estimated using a regression model discussed below. The regression models used to predict reference loads were developed with the primary goal of accurately predicting the average customer load given time-of-day, day-of-week, month, and temperature.  Given that all BIP customers are on TOU rates, rate period variables were also included in the model specification.  Dynamic lags – using load in prior periods to predict load at time t – were included in the ex post analysis for 24 hours prior and two weeks prior.  These lags were not used in the ex ante analysis methodology presented in this section because the actual load 24 hours to two weeks prior is unknown when forecasting load many years forward.  The estimated models were based on hourly load data for each customer from 2007 to 2010. For SDG&E, the ex ante load impact was determined simply by decreasing usage from the reference load to the FSL when the event begins, and then increasing it back up to the reference load in the hour after the event.

The dependent variable in the ex ante regression model was the kW load in each hourly interval for each participant.  The regression model contained hundreds of variables, consisting largely of shape and trend variables (and interaction terms) designed to track variation in load across days of the week and hours of the day.  Weather variables were tested and had significant impacts for certain customers.  Binary variables representing when the underlying TOU rates changed during the day and season were also included to capture the change in load due to price variation.  Mathematically, the regression model can be expressed as:

In this equation,

kWt represents the hourly BIP customer load at time t;

A is the estimated constant term;

B through Mij are the estimated parameters;

SummerOnt, SummerMidt, SummerOfft and WinterMidt are binary variables that indicate which TOU rate block is in effect for each hour;

Houri is a series of binary variables for each hour, which is interacted with all of the remaining variables because each has an impact that varies by hour;

DayTypej is a series of binary variables representing five different day types (Mon, Tues-Thurs, Fri, Sat, Sunday/Holiday);

Monthj is a series of binary variables for each month;

Yearj is a series of binary variables for each year (2007-2010);

CDDt is the number of cooling degree days (base 65) in interval t;

CDDsqrt is the number of cooling degree days squared;

HDDt is the number of heating degree days (base 65) in interval t;

HDDsqrt is the number of heating degree days squared;

Eventday j is a binary variable representing each event day, and;

et is the error term.

In Decision D.09-08-027 the utilities were directed not to market the BIP program until a final decision on the phase 3 of rulemaking R-07-01-041 was issued. The final decision on phase 3 of the rulemaking has not been issued so no growth in the number of customers was assumed for the BIP program.

## 5.4 BIP ex-ante Load Impact Forecast

SDG&E plans to increase enrollment in its BIP program over the next few years.  In May 2011, SDG&E BIP enrollment is expected to equal 26 participants and 55 in May 2014.  Afterwards, enrollment is assumed to remain constant until the end of the ex ante forecast period (2021).  For ex ante purposes, the estimated reference load of new participants is assumed to be the same as existing SDG&E BIP customers.  As for future performance relative to the reference load and FSL, the following assumptions are used in the ex ante analysis:

- Performance for customers that are not dually-enrolled in CPP is the same as their performance in the 2010 event: 16.7%.  This event performance is the only empirical evidence that is available for these customers;

- Performance for customers that are dually-enrolled in CPP: 100%.  Considering that these customers dropped 80% of their load in response to the September 27th CPP event, it is expected that they would be able to provide 100% performance in response to a BIP event that has a much stronger price signal; and

- Performance for new enrollees: 71.7%.  This performance level is the average of the above two segments weighted by aggregate load.

Table 5-3

| BIP Enrollment and Load Impact Forecast |  |  |  |
| --- | --- | --- | --- |
| Year | Customers BIP | 1 in 2 Weather Year (MWs) | 1 in 10 Weather Year (MWs) |
| 2011 | 26 | 7.0 | 7.0 |
| 2012 | 37 | 10.2 | 10.4 |
| 2013 | 45 | 12.5 | 12.7 |
| 2014 | 55 | 15.4 | 15.6 |

The BIP ex-ante forecast used the weather station for coastal customers and the SDG&E Miramar weather station for inland customers.  The weighted average temperatures for the August peak day in a 1 in 2 weather year and a 1 in 10 weather year are shown in Table 5-4 below.

Table 5-4

BIP Weather Forecast

| Hour Ending | 1-in-2 year Weighted Average Temperature (°F) | 1-in-10 year Weighted Average Temperature (°F) |
| --- | --- | --- |
| 1 | 69.1 | 73.4 |
| 2 | 67.8 | 72.7 |
| 3 | 68.1 | 72.4 |
| 4 | 67.8 | 71.7 |
| 5 | 67.1 | 71.7 |
| 6 | 66.8 | 72.4 |
| 7 | 67.1 | 71.4 |
| 8 | 67.1 | 73.7 |
| 9 | 69.1 | 77.0 |
| 10 | 72.5 | 82.2 |
| 11 | 77.4 | 83.2 |
| 12 | 79.0 | 86.5 |
| 13 | 78.7 | 83.2 |
| 14 | 78.1 | 81.5 |
| 15 | 79.8 | 82.9 |
| 16 | 79.2 | 83.9 |
| 17 | 78.2 | 82.9 |
| 18 | 76.5 | 82.2 |
| 19 | 73.6 | 79.9 |
| 20 | 70.7 | 76.6 |
| 21 | 70.1 | 76.3 |
| 22 | 69.8 | 75.6 |
| 23 | 68.8 | 74.0 |
| 24 | 67.5 | 73.7 |

# Summary of SDG&E’s Critical Peak Pricing Emergency Report

## Program Description

The Critical Peak Pricing-Emergency (CPP-E) schedule is an optional commodity tariff that offers customers the opportunity to respond to local Utility emergency situations and to manage their electric costs by either reducing load during high cost pricing periods or shifting load from high cost pricing periods to lower cost pricing periods. This schedule is available to non-residential customers served under a time of use (TOU) rate schedule with an annual maximum demand of 20 kilowatts (kW) or greater currently receiving bundled utility service who have an Interval Data Recorder (IDR) meter installed with related telecommunications capability, compatible with the Utility’s meter reading and telecommunication system.  Participating customers are called upon with very short advance notice (30 minutes) on a day-of basis. CPP-E is designed for customers who have the ability to modify their business operations and reduce load with extremely short notice. CPP-E events are activated during a system reliability emergency as determined by SDG&E which may include but is not limited to a CAISO stage 1 or stage 2 alerts, or when local grid operators determine that firm load reliability is threatened.  CPP provides for a maximum of 80 event hours per year with events limited to no more than 6 hours per day, 4 days per week and 40 hours per month. Events may be called on any day of the year at any hour of the day. On 2010, SDGE proposed to cancel the program, and no events were called in this year

## CPP-E Ex-Ante Summary

There is no ex-ante CPP-E forecast data on the program, i.e. the forecast is equal to zero because SDG&E has plans to cancel the program beginning in 2012.

# Summary of SDG&E’s Demand Smart Program Report

## Program Description

The SDG&E Demand Smart Program (DSP) program (named as Aggregator Managed Program-AMP in 2009 report) was scheduled to begin in 2010 and includes 1 aggregator contract.  Events for this contract are triggered day-of with a 30 minute notification window.  Event called between May and October each year, between 12pm-6pm and the maximum event length is 5 hours. Events may also be called outside of the months, and the aggregator will receive an energy payment, but the aggregator will not be subject to a capacity penalty. Customers receive monthly capacity payments (and energy incentives during events) in return for load reduction when requested.

## Demand Smart Program Ex-Post Results

Table 7–1 reports estimated average hourly reference loads, observed loads, and load impacts by event for SDG&E’s DSP events.  Average hourly load impacts were consistent across events, averaging 7.8 MW, or 33 percent of the estimated reference load, and reached nearly 10 MW on the second to last event.  Table 7–2 reports estimated average hourly load impacts for the average event by industry group.  More than half of the load impacts were provided by schools.

Table 7-1

Average Hourly Load Impacts by Event – SDG&E DSP DO

## DSP Ex-Ante Load Impact Summary

Table 7–2 shows enrollment forecasts for DSP program by year. The forecasts beyond 2012 remain flat. The table below illustrates forecast enrollment for an August 1 in 2 system temperature peak day for 2011 to 2014.  The enrollment for the DSP program on 2010 was 95 meters. Since 2 accounts made up a large percentage of the load reduction these two large accounts were excluded from the impacts per customer used for all new DemandSMART customers.

Table 7-2

DSP enrollment forecast

| DSP Ex-Ante Forecast |  |  |
| --- | --- | --- |
| Year | Meters DSP | Load Impact (MW) |
| 2011 | 204 | 12 |
| 2012 | 275 | 15 |
| 2013 | 275 | 15 |
| 2014 | 275 | 15 |

The DSP ex-ante forecast used the weather station for coastal customers and the SDG&E Miramar weather station for inland customers.  The weighted average temperatures for the August peak day in a 1 in 2 weather year and a 1 in 10 weather year are shown in Table 7-3 below.

Table 7-3

DSP Forecasted weather

| Hour Ending | 1-in-2 year Weighted Average Temperature (°F) | 1-in-10 year Weighted Average Temperature (°F) |
| --- | --- | --- |
| 1 | 71 | 73 |
| 2 | 69 | 72 |
| 3 | 69 | 72 |
| 4 | 70 | 71 |
| 5 | 70 | 71 |
| 6 | 70 | 72 |
| 7 | 70 | 71 |
| 8 | 70 | 73 |
| 9 | 75 | 77 |
| 10 | 78 | 83 |
| 11 | 84 | 85 |
| 12 | 86 | 89 |
| 13 | 86 | 85 |
| 14 | 85 | 84 |
| 15 | 85 | 84 |
| 16 | 83 | 85 |
| 17 | 84 | 84 |
| 18 | 81 | 83 |
| 19 | 76 | 81 |
| 20 | 74 | 77 |
| 21 | 73 | 77 |
| 22 | 72 | 76 |
| 23 | 72 | 74 |
| 24 | 70 | 73 |

# Summary of the Peak Time Rebate Forecast

## Program Description

SDG&E’s PTR is not scheduled to begin until 2012 so there is no ex-post load impact data available on the program. All residential customers will be automatically enrolled in this program. Events last from 11am-6pm and can be triggered either day-ahead or day-of.  PTR events may be called on any day of the year and there is no limit on the number of events. Customers enrolled on PTR will receive a bill credit of $0.75 per kw if there usage on event days is lower than their customer reference level.  PTR customers with enabling technology receive a higher bill credit of $1.25 per kw.

There are five major assumptions required to compute the expected PTR load reduction from residential customers. 1) the rebate price, 2) the participation rates, 3) the reference load, 4) the meter deployment rate and  5) the elasticities which determine the percent impact per customer when combined with the prices. The rebate price is $0.75 as adopted in SDG&E’s GRC phase II decision. In order to avoid double counting with any of the residential technology program such as summer saver and the proposed SCTD program the forecast assumes no customers have enabling technology and therefore no customers receive the higher $1.25 rebate. The participation rate used is 50% which is consistent with the AMI decision D-07-04-043.  The average load per customer for the reference is based on SDG&E’s load research and daily load profile data. The reference load is calculated for the 1 in 2 and 1 in 10 weather years for each monthly system peak day and also for the typical event day as required by the load impact protocols. The meter deployment assumptions and elasticities are discussed in more detail below.

The meter deployment plan for the smart meter deployment began in 2009 and as of March 21st  2011 1,194,032 electric AMI meters have been installed for residential and small commercial customers. Customers will become eligible for PTR once they have had a smart meter in place for three months and the hourly interval data has been tested and validated. Although the majority of the smart meters have been installed, none are using the interval data for billing purposes and the interval data has not yet been tested and validated. For this reason PTR will not begin in 2011 except possibly for a small pilot group. The validation of the interval data from the smart meters is scheduled to begin in April of 2011 and continue through at the latest April of 2012. The PTR forecast therefore assumes a 100% meter validation rate by May of 2012. Although some meters will be validated before May of 2012, SDG&E plans to call no PTR events in the winter of 2012. Therefore the PTR forecast for January through April of 2012 is zero.

For the residential sector analysis, impact estimates for the last PTR forecast filed were based on price elasticities derived from the Statewide Pricing Pilot (SPP), tailored to reflect the weather conditions and Central Air Conditioning (CAC) saturations of SDG&E’s customers.  Equation (3) in Section 3.1 of the SPP Final Report (March 16, 2005), shown below for convenience, was estimated from data on SPP customers in the CPP-F treatment and control cells.

Where

= average daily energy use per hour in the peak period

= average daily energy use per hour in the off-peak period

= the elasticity of substitution between peak and off-peak energy use

= average price during the peak pricing period

= average price during the off-peak pricing period

= measure of weather sensitivity

= the change in elasticity of substitution due to weather sensitivity

= average cooling degree hours per hour (base 72 degrees) during the

peak pricing period

= average cooling degree hours per hour (base 72 degrees) during the

off-peak pricing period

= the change in elasticity of substitution due to the presence of central

air conditioning

CAC = 1 if a household owns a central air conditioner, 0 otherwise

= a binary variable equal to 1 for the customer, 0 otherwise, where

there are a total of customers.

= fixed effect for customer

=    regression error term.

The composite elasticity of substitution (ES) in this model is a function of three terms, as shown below:

(2)

The estimated values for ,  and  are, respectively, -0.03073, -0.00187 and -0.09107.  The elasticities for the base case residential analysis, reported in Table SSG 6-11 below, were derived by multiplying the coefficients in equation 2 by the CAC saturations for each of SDG&E’s two climate zones and by the values for the weather term for each zone and day type.  The saturation of central air conditioning for residential customers in SDG&E’s service territory is 49 percent in the Inland climate zone and 26 percent in the Coastal climate zone.

The daily elasticities reported in the table are derived in a similar manner (i.e., by substituting the relevant weather and CAC saturation data into the daily model estimated from the SPP data).  The model is similar to the one shown above except that the dependent variable is daily electricity use rather than the ratio of daily use in each period, and the price term is average daily price.  Equations 3 and 4 represent the daily demand model and the effective daily price elasticity of daily energy use.

(3)

Where

= average daily energy use per hour

= the daily price elasticity

= average daily price

= measure of weather sensitivity

= the change in daily price elasticity due to weather sensitivity

= average daily cooling degree hours per hour (base 72 degrees)

= the change in daily price elasticity due to the presence of central air

conditioning

CAC = 1 if a household owns a central air conditioner, 0 otherwise

= fixed effect for customer

= a binary variable equal to 1 for the customer, 0 otherwise, where there are

a total of customers.

= regression error term.

The composite daily price elasticity of substitution in this model is a function of three terms, as shown below:

(4)

The values for ,  and , respectively, are -0.03966, 0.00121 and -0.01573.

As previously indicated, before applying the SPP elasticities to predict the impact of the PTR program for residential and small commercial customers, we examined how well the SPP demand models predicted impacts for a very similar rebate program implemented by Anaheim Public Utility (APU).  The APU pilot program paid an incentive equal to $0.35/kWh for all energy reduced during the peak period on critical peak days during the summer of 2005.  For the purpose of determining the incentive payment amount, reductions were calculated relative to a baseline value equal to energy use during the peak period on the three highest, non-critical days during the summer period for each customer.  The incentive was paid as a bill credit at the end of the summer.

The peak period in the APU program was from noon to 6 pm and there were 12 events called during the summer period, which ran from June 1st through October 31st.  Approximately 120 customers participated in the pilot.  Customers were recruited into the pilot and then split randomly between treatment and control groups.  Approximately 71 treatment customers and 52 control customers participated in the pilot.

Impacts for the APU pilot were estimated using a two-equation model conceptually similar to the two equations used in the SPP analysis.  One equation had a dependent variable equal to the log of the ratio of peak to off-peak energy use and independent variables equal to the log of average maximum temperature, a weekend binary variable, a critical-day binary variable, an interaction term between the critical-day variable and a treatment binary variable and fixed effects variables for each customer.  The second equation had daily energy use as the dependent variable and independent variables that are the same as in the first equation.  The equations were estimated using the Stata statistical software package and the standard errors were estimated using the Newey-West correction.

This impact estimate was compared with an estimate based on the SPP analysis, using the Price Impact Simulation Model (PRISM) that was developed as part of that project.  The SPP elasticities were adjusted based on the saturation of central air conditioning in the APU service territory (equal to 44.8 percent) and the average APU weather (which is in between the average climate zone 2 and zone 3 weather from the SPP).  The resulting estimate based on the $0.35/kWh incentive and an average base price of $0.097/kWh in the APU service territory (which results in an implicit price of $0.447/kWh during the peak period on critical days), the reduction in peak-period energy use was 11.4 percent, which is extremely close to the 11.9 percent value estimated for the APU pilot.  As a result, SDG&E believes it is appropriate to use the SPP demand models to predict the impact of SDG&E’s proposed PTR program.

The SPP demand models forecast the change in on-peak and off-peak consumption on event days.  The load impact protocols require that results be reported by hour.  First, the original SPP models were used to forecast the total load drop during the peak period and then the results per hour were created using the results of an hourly analysis performed by CRA of residential customers on Track A of the SPP.  Because the hours of the SPP were 2pm-7pm and the current PTR hours are 11 am – 6pm some of the hourly percentage impacts had to be shifted.  The load impact percentage from 2-3 pm from the pilot was applied to the time period from 11 am to 1 pm and the load impact percentage from 3-4 pm was applied to the time period 1pm-3pm.  All other hours were applied to the matching time period.

Due to new information from PTR pilot results the load impacts per customer which were based on the SPP pilot data in the previous forecast have been updated to reflect results from pilots in other cities. Results from two other pilots became available in 2010 that show different load impacts between CPP rates and PTR rates.  The Power Cents DC program final report published in September of 2010 showed a percentage load reduction of 34% for a CPP rate versus a 13% load reduction for a PTR rate.  Also the Connecticut Plan it Wise pilot results showed a 16.1% load reduction in response to a CPP rate versus a 10.9% response rate for PTR.  The PTR forecast filed in this report assumes that PTR impacts per customer for aware customers will be 67% of CPP impacts based on the percentage difference between the CPP and PTR in the Connecticut pilot.

## PTR Ex-Ante Load Impact Forecast

Table 8-1 contains the forecast of monthly estimates of the average on-peak PTR load impacts impact for the monthly peak days in a 1 in 2 year from 2011 to 2021.  For the months April through October the results in the table represent the average load reduction from 1pm-6pm. For the winter months of January through March and November and December the results are from 4pm-6pm. These hours are consistent with the measurement hours required by the RA filing. The variation in the monthly impacts is due to variation in weather. This report also contains the hourly ex-ante forecast in the format required by the ex-ante protocols for the peak day in the months of July and August in a 1 in 2 weather year.

Table 8-1

PTR  Ex-ante Load Impact Estimates

| Year | PTR Load Impact (MW August 1 in 2 peak day) |
| --- | --- |
| 2012 | 69 |
| 2013 | 70 |
| 2014 | 71 |
| 2015 | 73 |

The PTR ex-ante forecast used weather data from SDG&E Lindberg Field weather station for coastal customers and the SDG&E Miramar weather station for inland customers.  The weighted average temperatures for the August peak day in a 1 in 2 weather year and a 1 in 10 weather year are shown in Table 8-2 below.

Table 8.2

PTR Weather Forecast

| Hour Ending | 1-in-2 year Weighted Average Temperature (°F) | 1-in-10 year Weighted Average Temperature (°F) |
| --- | --- | --- |
| 1 | 62.1 | 70.5 |
| 2 | 61.6 | 69.8 |
| 3 | 61.0 | 67.3 |
| 4 | 60.3 | 66.1 |
| 5 | 60.0 | 65.8 |
| 6 | 59.8 | 65.7 |
| 7 | 60.3 | 71.3 |
| 8 | 64.0 | 78.2 |
| 9 | 69.8 | 84.0 |
| 10 | 74.6 | 90.4 |
| 11 | 77.5 | 92.7 |
| 12 | 79.1 | 93.6 |
| 13 | 80.2 | 93.3 |
| 14 | 79.8 | 93.3 |
| 15 | 80.7 | 94.7 |
| 16 | 80.4 | 95.4 |
| 17 | 80.0 | 94.1 |
| 18 | 78.4 | 92.5 |
| 19 | 75.6 | 86.1 |
| 20 | 70.3 | 81.2 |
| 21 | 68.5 | 77.6 |
| 22 | 66.2 | 76.0 |
| 23 | 64.6 | 72.8 |
| 24 | 64.0 | 70.5 |

# Small Customer Technology Deployment (SCTD) Program

## Program Description

SDG&E’s Small Customer Technology Deployment (SCTD) Program will offer

automated DR enabling technologies at no cost for up to 15,000 participating SDG&E residential customers and as many as 3,000 small commercial customers (<100 kW). SDG&E proposes using Smart Meter interval data to identify, market to, and install load control devices in the homes of residential and small commercial businesses with significant air conditioning and residential customers with mid-day pool pump usage.

These automated enabling technologies will provide incremental load reduction benefits during demand response events and create a technology platform that will support future dynamic pricing rate design for residential and small commercial customers. Potential end use loads include central air conditioning, refrigeration, lighting, pool pumps and electric water heaters.

The residential load impact forecast for the SCTD program quantifies the load impacts of programmable communicating thermostats (PCTs) and pool pumps. The residential load impact estimates provided are incremental to the PTR load impacts. The small commercial forecast does not make any assumptions about what type of technology is installed. Instead it uses the results from SDG&E Auto-DR customers enrolled on CPP-D to estimate percentage load reduction. The next three sections contain more details about the residential PCT forecast, residential pool pump forecast and small commercial forecast.

## Residential PCT Ex-ante Load Impact Forecast

The goal for this analysis is to use data from a sample of customers known to have air-conditioning to predict load impacts for the proposed PCT load control program.  The analysis consists of the following steps:

- Develop an econometric model of AC load to predict AC usage for ex ante weather conditions;

- Develop a reasonable assumption for the incremental impact of PCT load control on top of a PTR rate;

- Determine the best targeting strategy using whole-building data that will be available for the whole population of potential customers.  This is done by testing various targeting strategies to see which one accurately identifies customers with the highest predicted AC usage from the first step; and

- Apply the assumed load impacts to the calculated reference loads on ex ante weather days for the group of customers selected by the best targeting strategy.

SDG&E has maintained an air-conditioner load-research sample (AC LRS) containing 371 customers that is representative of the SDG&E AC-owning residential population.  The representativeness of this sample is assumed for this analysis and has not been verified by FSC.  The AC LRS is used as a proxy for the entire AC-owning SDG&E population.  For the AC LRS sample, both AC-usage data at an hourly level and whole-building usage data at an hourly level for all of 2009 and through September 2010 were available for analysis.  Having both a set of data to use for simulated customer targeting and actual AC loads for the same customers was necessary to perform the analysis.  Otherwise there would be no way to predict AC usage levels for the targeted group.

Each customer has a different usage pattern over time, and each customer’s usage is likely to respond differently to changes in weather.  This led us to estimate separate regressions for each AC unit in the sample, but using a common regression model in each case.  For all AC units, the factors used to estimate usage patterns are weather variables interacted with time indicators.  These allow the model to take into account different reactions to weather conditions at different times of day, times of the week and times of year.  For example, a residential customer’s energy usage might respond strongly to high temperatures on a Saturday afternoon when they are at home, while it might not respond at all on a Wednesday afternoon when they are at work.

The subscript t indicates the particular value at hour t within the whole dataset.  Only non-holiday weekdays were modeled. Table 9-1 defines the variables and describes the effects they seek to identify.  The regression specification was:

Table 9-1
Description of AC Load Regression Variables

| Variable | Description |
| --- | --- |
|  | Estimated constant |
|  | Estimated parameter coefficients |
|  | Indicator variables representing the hours of the day, designed to estimate the effect of daily schedule on usage behavior and event impacts |
|  | Indicator variables for summer versus non-summer, designed to pick up seasonal effects |
|  | Indicator variables for weekend days |
|  | Weighted average of the past 6 hours of cooling degree hours using a base of 70. Weights decrease 10% each hour so that most recent temperatures have the highest weight |
|  | The error term, assumed to be mean zero and uncorrelated with any of the independent variables |

Table 9-2 shows the predicted per customer AC load impacts, incremental to PTR impacts, for 1-in-2 and 1-in-10 weather conditions in SDG&E’s territory, for an event period from 1 PM to 6 PM for each monthly system peak day.  On a 1-in-2 August day, the average per customer impact is expected to be 0.43 kW.  The highest impact occurs for a 1-in-10 September day, with a per customer impact of 0.54 kW.  The months November through April are slightly more complicated to interpret.  The program may only be called during the hours 1 PM to 6 PM, but California DR protocols call for winter load impacts to be calculated over the hours of 4 PM to 9 PM.  Therefore, reference loads shown in Table 1-1 for these months are the average reference load for the hours from 4 PM to 6 PM, and load impacts are the projected load impacts for the same hours, but multiplied by 0.4.  The factor 0.4 comes about because the program can only operate during 2/5 of the hours that the impacts must be calculated over.

Table 9-3 shows aggregate impacts for 2012-2014 based on the average values in Table 1-1 and on enrollment projections provided by SDG&E.  Enrollment is projected to be 7,500 in 2012, 12,500 in 2013 and 15,000 in 2014.  In 2014, on a 1-in-2 August peak day, the aggregate impact of the program is projected to reach 6.48 MW.

Table 9-2 
Reference Loads and Incremental Load Impacts for PCT’s Over and Above PTR Impacts (Average Customer, Monthly Peak Days)

|  | Average reference loads (kW) |  | Average load impacts (kW) |  |
| --- | --- | --- | --- | --- |
|  | 1-in-2 | 1-in-10 | 1-in-2 | 1-in-10 |
| January | 0.00 | 0.00 | 0.00 | 0.00 |
| February | 0.00 | 0.42 | 0.00 | 0.05 |
| March | 0.00 | 0.68 | 0.00 | 0.18 |
| April | 1.08 | 2.15 | 0.12 | 0.23 |
| May | 1.36 | 1.90 | 0.37 | 0.51 |
| June | 0.74 | 1.47 | 0.20 | 0.40 |
| July | 1.39 | 1.70 | 0.38 | 0.46 |
| August | 1.60 | 1.82 | 0.43 | 0.49 |
| September | 1.87 | 1.99 | 0.50 | 0.54 |
| October | 1.84 | 1.90 | 0.50 | 0.51 |
| November | 0.66 | 0.00 | 0.07 | 0.00 |
| December | 0.00 | 0.00 | 0.00 | 0.00 |

Table 9-3
Aggregate Load Impacts (MW)

|  | 2012 |  | 2013 |  | 2014 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 1-in-2 | 1-in-10 | 1-in-2 | 1-in-10 | 1-in-2 | 1-in-10 |
| January | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| February | 0.00 | 0.34 | 0.00 | 0.57 | 0.00 | 0.69 |
| March | 0.00 | 1.38 | 0.00 | 2.30 | 0.00 | 2.75 |
| April | 0.87 | 1.74 | 1.45 | 2.90 | 1.74 | 3.48 |
| May | 2.75 | 3.85 | 4.59 | 6.41 | 5.51 | 7.70 |
| June | 1.50 | 2.98 | 2.50 | 4.96 | 3.00 | 5.95 |
| July | 2.81 | 3.44 | 4.69 | 5.74 | 5.63 | 6.89 |
| August | 3.24 | 3.69 | 5.40 | 6.14 | 6.48 | 7.37 |
| September | 3.79 | 4.03 | 6.31 | 6.72 | 7.57 | 8.06 |
| October | 3.73 | 3.85 | 6.21 | 6.41 | 7.45 | 7.70 |
| November | 0.55 | 0.00 | 0.91 | 0.00 | 1.09 | 0.00 |
| December | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |

The PCT ex-ante forecast used the weather station for coastal customers and the SDG&E Miramar weather station for inland customers.  The weighted average temperatures for the August peak day in a 1 in 2 weather year and a 1 in 10 weather year are shown in Table 9-4 below.

Table 9-4

PCT Weather Forecast

| Hour Ending | 1-in-2 year Weighted Average Temperature (°F) | 1-in-10 year Weighted Average Temperature (°F) |
| --- | --- | --- |
| 1 | 62.1 | 70.5 |
| 2 | 61.6 | 69.8 |
| 3 | 61.0 | 67.3 |
| 4 | 60.3 | 66.1 |
| 5 | 60.0 | 65.8 |
| 6 | 59.8 | 65.7 |
| 7 | 60.3 | 71.3 |
| 8 | 64.0 | 78.2 |
| 9 | 69.8 | 84.0 |
| 10 | 74.6 | 90.4 |
| 11 | 77.5 | 92.7 |
| 12 | 79.1 | 93.6 |
| 13 | 80.2 | 93.3 |
| 14 | 79.8 | 93.3 |
| 15 | 80.7 | 94.7 |
| 16 | 80.4 | 95.4 |
| 17 | 80.0 | 94.1 |
| 18 | 78.4 | 92.5 |
| 19 | 75.6 | 86.1 |
| 20 | 70.3 | 81.2 |
| 21 | 68.5 | 77.6 |
| 22 | 66.2 | 76.0 |
| 23 | 64.6 | 72.8 |
| 24 | 64.0 | 70.5 |

## Residential Pool Pump Forecast

Hourly load impacts per customer for the pool pumps were taken from Table 21 page 31 of the Pool Pump Demand Response Potential Study. This study was prepared by the design and engineering services customer service business unit at SCE and published in June of 2008. In the study end-use metering was installed on customer pool pumps and the hourly pool pump energy use was measured. The forecast assumes that pool pump load impacts do not change with weather.

## Small Commercial Ex-ante Load Impact Forecast

The small customer technology deployment program will also provide enabling technology to small commercial customers enrolled on the Peak Shift at Home rate.  The reference load for the small commercial forecast is based on SDG&E dynamic load profile hourly small commercial customer load shape.  A regression analysis using weekday data was run with day of the week and weather as explanatory variables. This model was used to predict the reference load for the 1 in 2 and 1 in 10 standard temperatures used for all program forecast. Since the Statewide Pricing Pilot small commercial update results showed no statically significant load reduction in response to the CPP rate alone an incremental load impact forecast is not necessary.  The percentage load impact in response to enabling technology used in the forecast is 19.3% consistent with the 2009 SDG&E CPP-D Auto-DR M&E results.  The forecast assumes that 1,000 customers enroll by 2012, 2,000 by 2013 and 3,000 by 2014.  The total load impact forecast for the SCTD program is in Table 9-5.

Table 9-5

SCTD ex-ante Total Load Impact Forecast

| Program | Year | Weather | August Load Impact (MW) |
| --- | --- | --- | --- |
| SCTD | 2012 | 1 in 2 | 6 |
| SCTD | 2013 | 1 in 2 | 10 |
| SCTD | 2014 | 1 in 2 | 12 |

# Portfolio Analysis

Customers can participate in both the CPP-D rate and BIP, the CPP-D rate and CBP DO, and in CPP-D and the DemandSMART. Since CPP-D was classified as an energy program in D.09-08-027 when there is dual participation between CPP-D and another program the load impacts must be subtracted from the CPP-D results. The forecasted number of bundled customer forecasted to be enrolled either DemandSMART, BIP or CBP DO along with CPP-D had to be subtracted from the CPP-D enrollment forecast.

SDG&E has proposed to eliminate dual participation between CPP-D and other demand response programs and therefore all enrollment forecasts for programs assume that all new customers enrolled are not CPP-D participants. However it is still necessary to avoid double counting customers currently enrolled on CPP-D and another program. Therefore for the portfolio forecast all existing customers enrolled on both CPP-D and another program have been removed from the CPP-D forecast.

Another area of multiple program participation involves PTR and Summer Saver and PTR and SCTD. The PTR forecast assumes no enabling technology and the SCTD forecast is incremental to PTR so there is no double counting between thee two programs.

Cooling degree hours (CDH) was defined as MAX[0, Temperature – 50], where Temperature is the hourly temperature in degrees Fahrenheit.  Customer-specific CDH values are calculated using data from the most appropriate weather station.

This variable was initially designed to reflect the load changes that occur when schools are out of session.  We have found the variable to be a useful part of the base specification, as it helps somewhat in modeling schools and does not appear to harm load impact estimates even in cases in which the customer does not change its usage level or profile substantially during the summer months.

The equations also estimated load impacts for the hours immediately preceding and following an event (since many customers begin reducing load prior to an event and do not immediately increase load following an event), and for all remaining event-day hours.

SDG&E selected weather data to represent the 1-in-2 and 1-in-10 year conditions based on an analysis of data from two key weather stations, Miramar and Lindbergh for the period from 2003 through 2009,  The median value for each month was selected to represent 1-in-2 year weather and the second highest value for each month was used to represent 1-in-10 year weather.

The May enrollment number for each year is assumed to be constant from May through October.

PowerCents DC Program Final Report September 2010 E-Meter strategic consulting

CL&P’s Plan-it Wise Program Summer 2009 Impact Evaluation Brattle Group

California Statewide Pricing Pilot Commercial and Industrial Analysis Update June 28 2006 CRA International