SoCalGas objects to the instructions supporting the data request stating the continuing nature of these questions.  Continuing interrogatories are expressly prohibited by California Code of Civil Procedure Section 2030.060(g).

QUESTION SWG 1-1:

Reference: Prepared Direct Testimony of Witness Sim-Cheng Fung, Appendix D, page D-1, table “SoCalGas’ Backbone Pipelines”

a. Please identify and provide a list of pipelines (i.e. pipeline numbers) for each backbone transmission pipeline that SoCalGas utilizes to provide Transportation Level Service (TLS) to Southwest Gas’ interconnect points.

b. Please provide a list of pipelines (i.e. pipeline numbers) where Southwest Gas’

interconnects are directly connected to SoCalGas’ backbone pipeline system.

RESPONSE SWG 1-1:

Southwest Gas’ taps on the SoCalGas transmission system are served directly from Transmission Lines 235, 1185, 4000, 4002, and 6901.  However, SoCalGas would utilize more than just these pipelines to deliver supply to Southwest Gas depending upon which receipt point(s) Southwest Gas utilizes for its interstate pipeline supplies or whether it purchases storage withdrawal.  Without additional information in this regard, SoCalGas cannot identify all pipelines that may be utilized.

QUESTION SWG 1-2:

Reference: Prepared Direct Testimony of Witness Sim-Cheng Fung, Appendix D, page D-1, table “SoCalGas’ Local Pipelines”

a. Please identify and provide a list of pipelines (i.e. pipeline numbers) for each local

transmission pipeline that SoCalGas utilizes to provide Transportation Level Service

(TLS) to Southwest Gas’ interconnect points.

b. Please provide a list of pipelines (i.e. pipeline numbers) where Southwest Gas’

interconnects are directly connected to SoCalGas’ local pipeline system.

RESPONSE SWG 1-2:

Southwest Gas does not directly utilize local transmission assets.  To the extent that Southwest Gas purchases storage withdrawal, local transmission pipelines in the Los Angeles Basin would be utilized to provide that storage service.  These local transmission pipelines are listed below:

| 12 | 767 | 1023 | 1200 | 1242 | 3003 |
| --- | --- | --- | --- | --- | --- |
| 104 | 775 | 1024 | 1202 | 1243 | 3004 |
| 115 | 1013 | 1129 | 1205 | 1244 | 3005 |
| 145 | 1014 | 1132 | 1207 | 2000 | 3007 |
| 317 | 1015 | 1167 | 1211 | 2001 | 7038 |
| 325 | 1016 | 1170 | 1218 | 2002 | 8032 |
| 404 | 1017 | 1171 | 1230 | 2003 | 8038 |
| 406 | 1018 | 1172 | 1232 | 2006 | 8045 |
| 407 | 1019 | 1173 | 1233 | 2007 |  |
| 408 | 1020 | 1174 | 1234 | 3000 |  |
| 512 | 1021 | 1175 | 1236 | 3001 |  |
| 765 | 1022 | 1176 | 1241 | 3002 |  |

QUESTION SWG 1-3:

Reference: Prepared Direct Testimony of Witness Bruce M. Wetzel, page 8, Table 4.

a. Please provide a table like Table 4 that shows, by each noncore customer class, the

demand forecasts for customers that received transportation service directly off of

SoCalGas’ backbone transmission pipelines.

RESPONSE SWG 1-3:

SoCalGas and SDG&E anticipate being able to provide a response by January 8, 2016.

QUESTION SWG 1-4:

Reference: Prepared Direct Testimony of Witness Bruce M. Wetzel, page 9, Table 5.

a. Please provide a table like Table 5 that shows by each noncore customer class, the

demand forecasts for customers that received transportation service directly off of

SoCalGas’ backbone transmission pipelines.

RESPONSE SWG 1-4:

SoCalGas and SDG&E anticipate being able to provide a response by January 8, 2016.

QUESTION SWG 1-5:

Reference: Prepared Direct Testimony of Witness Bruce M. Wetzel, page 10, Table 6.

a. Please provide a table like Table 6 that shows by each noncore customer class, the

demand forecasts for customers that received transportation service directly off of

SoCalGas’ backbone transmission pipelines.

RESPONSE SWG 1-5:

SoCalGas and SDG&E anticipate being able to provide a response by January 8, 2016.

QUESTION SWG 1-6:

Reference: Prepared Direct Testimony of Witness Bruce M. Wetzel, page 11, Table 7.

a. Please provide a table like Table 7 that shows by each noncore customer class, the

demand forecasts for customers that received transportation service directly off of

SoCalGas’ backbone transmission pipelines.

RESPONSE  SWG1-6:

SoCalGas and SDG&E anticipate being able to provide a response by January 8, 2016.

QUESTION SWG 1-7:

Reference: Prepared Direct Testimony of Witness Jason Bonnett, Appendix A, Table 7.

a. Please provide a revised Table 7 that shows customer class Transmission Level Service (TLS) rates for customers that are directly served off of SoCalGas’ backbone

transmission pipelines, and the rates reflect the removal of allocated local transmission

costs to those customers.

RESPONSE  SWG1-7:

The requested information is attached below and is based on the Revised Prepared Direct Testimony of Mr. Bonnett, dated November 19, 2015.  Additionally, it is important to note that if all existing TLS customers were no longer paying for Local Transmission, then local transmission revenues would become under-collected.  Thus, the amount of Local Transmission would need to be reallocated among the remaining customer classes.  However, pursuant to the request above, for the purposes of this response only, the revised TLS rates are shown.

QUESTION SWG 1-8:

Reference: Prepared Direct Testimony of Witness Jason Bonnett, Appendix A, Table 7.

a. Please provide SoCalGas’ rate models in Microsoft Excel format with all links and

equations intact that were used to support the rates shown in this table.

RESPONSE SWG 1-8:

The requested information is attached below and is based on the Revised Prepared Direct Testimony of Mr. Bonnett, dated November 19, 2015.

QUESTION SWG 1-9:

Reference: Prepared Direct Testimony of Witness Jason Bonnett, Appendix A, Table 1, line 34, column E.

a. Please indicate whether the transportation rate calculated for SDG&E includes an

allocation of SoCalGas’ local transmission cost. If not, why not? If so, please provide the

amount of local transmission cost allocated to SDG&E

RESPONSE SWG 1-9:

No, the wholesale rate referenced above does not contain local transmission costs.  However, SDG&E’s transportation rates include a direct allocation of local transmission costs.  As shown on line 32 of the “SI & BTS” tab of the SoCalGas rate design model, SDG&E’s customers are directly allocated approximately $8.2 million in local transmission costs.