QUESTION 1:

Re Teplow Testimony, p. 2

Please provide the actual coldest year and coldest day HDDs in the past 35 years in comparison to Teplow's calculation of HDDs based on a statistical analysis, for both SCG and SDG&E service areas.

RESPONSE 1:

Please find the requested information in the table below:

|  | SCG | SDG&E |
| --- | --- | --- |
| HDDs: Coldest Year | 1686 | 1610 |
| HDs: Coldest Day | 26.0 | 23.5 |

QUESTION 2:

Re Teplow Testimony, p. 2-3:

  - Please provide the observed monthly HDDs for each month in 1994-2014.

  - Please provide the workpapers supporting Table 1 in Excel format.

  - If the utilities contend that the material supporting table 1 appears in the workpapers supporting the Teplow testimony, please identify by page number where the data appear in those workpapers.

  - Please calculate the Cold Year HDD using the 1994-2014 time series.

  - Please explain statistically the meaning of the statement that the SoCalGas service area experienced “unprecedented warm weather in 2014.”

RESPONSE 2:

- The requested information is present in the workpapers supporting Mr. Teplow’s testimony on page 6 for SoCalGas and page 91 for SDG&E. The information has been provided in the below Excel document as well.

- Please see the below Excel document.

- The requested workpapers have already been provided in the workpapers supporting Mr. Teplow’s testimony on pages 5-8 for SoCal Gas and pages 90-93 for SDG&E.

- The Cold Year HDDs provided below are for most recent 20 year period of 1995-2014.

|  | SCG | SDG&E |
| --- | --- | --- |
| 1995-2014 Cold Year HDD | 1750 | 1726 |

- The warm weather that occurred during 2014 resulted in 778 HDDs for the SoCal Gas service area. Based on the weather design for this TCAP, the probability of such an extremely low annual HDD level is 0.45%.