Self-Generation Gas and Electric Datasheet

This datasheet is required to gather information for the proposed installation of a Self-Generation system.  Please complete all information that is applicable.  If unknown, leave blank.  If not applicable mark n/a.  Mail to:

SDG&E

Customer Generation--Mail Stop CP52F

8316 Century Park Ct.

San Diego, CA 92123-1582

- Electric Customer of Record Account Information

| Project Name |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Service Account Name |  |  |  |  |  |  |  |  |  |  |
| Service Account Address |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  |  |  | Zip Code |  |  |  |
| Electric Account No. |  |  |  |  |  | Electric Meter No. |  |  |  |  |
| How long have you had SDG&E service at this location? |  |  |  |  |  |  |  |  |  |  |

| Contact Information (customer of record) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contact Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Company Name |  |  |  |  |  |  |  |  | Title |  |  |  |  |
| Street Address (if different than above) |  |  |  |  |  |  |  |  |  |  |  | City |  |
| State |  |  | Zip Code |  |  |  | Email Address |  |  |  |  |  |  |
| Business Phone |  |  |  |  |  | Fax |  |  |  |  |  |  |  |
| Pager |  |  |  |  |  | Cellular |  |  |  |  |  |  |  |

- Owner/Operator of the Generation Unit

| Who will own and operate the unit? |  |
| --- | --- |

| Contact Information (If different than above--3rd party contact) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company Name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Person |  |  |  |  |  |  |  |  |  |  | Title |  |  |  |  |
| Street Address |  |  |  |  |  |  |  |  |  |  |  | City |  |  |  |
| State |  |  |  |  |  | Zip Code |  |  | Email Address |  |  |  |  |  |  |
| Business Phone |  |  |  |  |  |  |  | Fax |  |  |  |  |  |  |  |
| Pager |  |  |  |  |  |  |  | Cellular |  |  |  |  |  |  |  |

- Project Manager Information

| Primary Contractor Contact Person (Project Manager for the project) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contact Name |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Company Name |  |  |  |  |  |  |  |  | Title |  |  |  |  |
| Address |  |  |  |  |  |  |  |  |  |  | City |  |  |
| State |  |  |  |  | Zip Code |  |  | Email Address |  |  |  |  |  |
| Business Phone |  |  |  |  |  |  | Fax |  |  |  |  |  |  |
| Pager |  |  |  |  |  |  | Cellular |  |  |  |  |  |  |

- Generation System Information (add additional units at the end of the document)

| Is this generating facility operating with more than one generation technology (hybrid system)? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Yes |  | No |  |  |  | If, yes, what generator types? |  |  |  |  |  |  | Total Size (kW) |  |  |  |
| Manufacturer |  |  |  |  |  |  | Model |  |  |  | Technology |  |  |  |  |  |
| Fuel Type |  |  |  |  |  |  |  |  |  | No. Of Units |  |  |  |  | Size (kW) |  |

- System Design Information

| Is an electrical outage required? | Yes |  |  | No |  | If, yes, approximate date. |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Reason for installing the system? |  |  |  |  |  |  |  |
| Target date to start construction? |  |  |  |  |  |  |  |

| Will the system include waste heat recovery? | Yes |  | No |  | If yes, for what application? |
| --- | --- | --- | --- | --- | --- |

| Steam |  | Hot Water |  |  | Absorption Cooling |  |  | Other (specify) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| How much? BTU/HR |  |  |  |  |  | Heat rate of the proposed generator in lower heating value (BTU/kWh) |  |  |  |  |

Gas information required if natural gas is used to fuel generator

- Existing Gas Service (If this service will be used as the fuel source for the generating facility)

| Service Account Name |  |  |  |  |
| --- | --- | --- | --- | --- |
| Service Account Address |  |  |  |  |
| Account No. |  |  | Meter No. |  |

| Is an isolation relay device required (pulse initiator)? | Yes |  | No |  |  |
| --- | --- | --- | --- | --- | --- |

- Gas Delivery Pressure

| Requested Service Pressure | Maximum (PSIG) |  | Minimum (PSIG) |  |
| --- | --- | --- | --- | --- |

| Will the installation include a fuel gas compressor? | Yes |  | No |  |  |
| --- | --- | --- | --- | --- | --- |

Note:  	SDG&E does not guarantee gas pressure

Standard delivery pressure is 7” water column (1/4 PSIG)

- Gas Equipment & Gas Load Profile (list size of unit separately)

All gas loads in (SCFH):

1 Therm = 100 SCFH = 100,000 BTU (Based on higher heating value)

|  |  | Connected Load |  | No. of |  | Total Connected Load |
| --- | --- | --- | --- | --- | --- | --- |
| Equipment Type |  | (SCFH) |  | Units |  | (SCFH) |
|  |  | TOTAL CONNECTED LOAD |  |  |  |  |

- Operation Schedule

| Days Per Week | Sun |  | Mon |  | Tue |  | Wed |  | Thu |  | Fri |  | Sat |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Check applicable days |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Season | Winter |  | Spring |  | Summer |  | Fall |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Check applicable seasons |  |  |  |  |  |  |  |

- Daily Load Profile (check if for full connected load)

| 6-9 AM |  | 9AM-12 PM |  | 12-3 PM |  | 3-6 PM |  |  | 6-9 PM |  | 9PM-12AM |  | 12-3AM |  |  | 3-6AM |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Total Maximum Load (SCFH) |  | Total Minimum Load (SCFH) |  |
| --- | --- | --- | --- |
| Total Annual Load (SCFH) |  | Future Load (SCFH) |  |

- Gas In-Service

| Requested gas in-service date |  |
| --- | --- |

- Gas Contact Information (If different than Item #3)

| Gas Contact Name |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company Name |  |  |  |  |  |  |  | Title |  |  |  |  |
| Street Address |  |  |  |  |  |  |  |  |  | City |  |  |
| State |  |  |  | Zip Code |  |  | Email Address |  |  |  |  |  |
| Business Phone |  |  |  |  |  | Fax |  |  |  |  |  |  |
| Pager |  |  |  |  |  | Cellular |  |  |  |  |  |  |

Note:	Please submit this form along with a signed Request for Retail Noncore Gas Services contract and three (3) copies of the following:

- Site Plan; the location of existing SDG&E facilities on the site, along with the requested new gas meter location shown on the site plan.

- Mechanical/plumbing plan(s).