THIS IS A SAMPLE OF THE PLAQUE OR DIRECTORY REQUIRED WHEN THERE IS ANY ALTERNATE SOURCE OF POWER CONNECTED TO THE PREMISES WIRING SYSTEM.  THE EXAMPLE BELOW SPECIFIES PHOTOVOLTAIC OR WIND GENERATION.  MODIFY AS REQUIRED FOR THE TYPE OF GENERATING FACILITY TO BE INSTALLED.

Caution

¾”

¼”

Power to this building is also supplied

from the Following sources WITH

DISCONNECTS LOCATED as shown:

1/8”

Solar Photovoltaic

on Roof

Storage Batteries

in Garage/room 123

Emergency

Generator

Utility Service point

# X

# X

# X

# X

# X

Wind Turbine on Roof or

Show location if remote

From building

# X

Wind Turbine or solar photovoltaic array remote location per zoning requirements

## Building

ALTERNATE POWER

SOURCE AC DISCONNECT

For utility operation

THE PLAQUE OR DIRECTORY SHALL BE METAL OR PLASTIC, WITH ENGRAVED OR MACHINE

PRINTED LETTERS, OR ELECTRO-PHOTO PLATING, IN A CONTRASTING COLOR TO THE PLAQUE,

AND SHALL BE ATTACHED TO THE SERVICE EQUIPMENT WITH POP-RIVOTS, SCREWS, OR EPOXY.