## NCO - Res
NCO - RESIDENTIAL CLASS - 2020$
Cost Component | DR | DM | DS | DT | DT-RV | DR-TOU | TOU-DR | DR-SES | EV-TOU | EV-TOU-2 | Class
TSM Components
Transformers | 677.8988 | 533.5541 | 1025.46 | 1051.1391 | 1594.3674 | 802.6089 | 765.2168 | 899.8909 | 781.4142 | 950.8062 | 680.5219
Services | 166.4091 | 178.734 | 425.8931 | 1552.5147 | 940.496 | 192.2934 | 177.1051 | 207.6058 | 172.0402 | 211.7256 | 167.42
Meters | 267.4336 | 268.9985 | 289.507 | 401.8683 | 289.1234 | 267.2095 | 267.4839 | 267.4806 | 269.4602 | 267.3595 | 267.485
Replacement Meters (w/o meter labor costs) | 212.419 | 213.9372 | 233.7987 | 332.5709 | 233.8517 | 212.1975 | 212.4687 | 212.4654 | 214.4216 | 212.3457 | 212.4656
Subtotal | 1111.7415 | 981.2866 | 1740.8601 | 3005.522 | 2823.9867 | 1262.1118 | 1209.8058 | 1374.9772 | 1222.9146 | 1429.8913 | 1115.4269
Subtotal for Replacements (w/o meter labor costs) | 1056.7269 | 926.2254 | 1685.1518 | 2936.2246 | 2768.715 | 1207.0998 | 1154.7905 | 1319.962 | 1167.876 | 1374.8775 | 1060.4075
General Plant Loading at
2.772%
Working Capital at
1.502%
Transformers (line) | 707.1591 | 556.584 | 1069.7221 | 1096.5096 | 1663.1853 | 837.252 | 798.2459 | 938.733 | 815.1425 | 991.846 | 709.8953
Services (UG) | 173.5919 | 186.4488 | 444.276 | 1619.5261 | 981.0907 | 200.5934 | 184.7495 | 216.5667 | 179.466 | 220.8644 | 174.6464
Meters | 278.9769 | 280.6093 | 302.003 | 419.2142 | 301.6029 | 278.7431 | 279.0294 | 279.0259 | 281.091 | 278.8995 | 279.0305
Replacement Meters (w/o meter labor costs) | 221.5876 | 223.1714 | 243.8902 | 346.9257 | 243.9454 | 221.3566 | 221.6395 | 221.636 | 223.6767 | 221.5112 | 221.6363
Subtotal | 1159.7278 | 1023.6421 | 1816.0011 | 3135.2498 | 2945.8789 | 1316.5886 | 1262.0248 | 1434.3256 | 1275.6995 | 1491.6099 | 1163.5722
Subtotal for Replacements (w/o meter labor costs) | 1102.3386 | 966.2042 | 1757.8883 | 3062.9613 | 2888.2215 | 1259.2021 | 1204.6349 | 1376.9358 | 1218.2852 | 1434.2216 | 1106.178
PVRR of TSM Components
Transformers (368.1) at 123.76% | 875.183 | 688.8307 | 1323.8925 | 1357.0448 | 2058.3651 | 1036.1866 | 987.9125 | 1161.7799 | 1008.8237 | 1227.5128 | 878.5694
Services (369.2) at 123.27% | 213.9942 | 229.8434 | 547.6782 | 1996.4598 | 1209.433 | 247.2802 | 227.7487 | 266.9711 | 221.2355 | 272.269 | 215.2942
Meters (Average 370.11 & 370.21) at 107.68% | 300.3901 | 302.1478 | 325.1837 | 451.3915 | 324.7528 | 300.1384 | 300.4467 | 300.4429 | 302.6665 | 300.3068 | 300.4478
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 238.5959 | 240.3013 | 262.6104 | 373.5544 | 262.6698 | 238.3472 | 238.6518 | 238.648 | 240.8453 | 238.5136 | 238.6483
Subtotal | 1389.5673 | 1220.822 | 2196.7544 | 3804.8962 | 3592.5509 | 1583.6052 | 1516.1079 | 1729.1939 | 1532.7258 | 1800.0886 | 1394.3114
Subtotal for Replacements (w/o meter labor costs) | 1327.7731 | 1158.9754 | 2134.1811 | 3727.0591 | 3530.4679 | 1521.8139 | 1454.3129 | 1667.3991 | 1470.9046 | 1738.2954 | 1332.5119
2020 Beginning Of Year (BOY) | 1262148 | 3456 | 233 | 359 | 47 | 969 | 28403 | 28403 | 204 | 16171 | 1311990
New Customers | 886 | 0 | 0 | 0 | 0 | 0 | 10311 | 10311 | 0 | 2125 | 13322
Replacement Customers | 38243.0844 | 104.7168 | 7.0599 | 10.8777 | 1.4241 | 29.3607 | 860.6109 | 860.6109 | 6.1812 | 489.9813 | 39753.297
NCO TSM Component per 2020 Customer | 41.207 | 35.117 | 64.6657 | 112.9299 | 106.9732 | 46.111 | 594.4508 | 678.2629 | 44.5684 | 289.2165 | 54.533
O&M Expenses | 27.9264 | 27.2099 | 78.406 | 225.7902 | 126.5563 | 31.7127 | 30.4685 | 34.9958 | 31.1679 | 36.0927 | 28.0843
Miscellaneous Revenue Offset | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284
Customer Accounts/Services | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789
Subtotal per 2020 Customer | 53.3769 | 52.6604 | 103.8565 | 251.2407 | 152.0068 | 57.1632 | 55.919 | 60.4462 | 56.6184 | 61.5432 | 53.5348
Annual NCO per 2020 Customer | 94.5839 | 87.7774 | 168.5222 | 364.1706 | 258.9799 | 103.2742 | 650.3698 | 738.7091 | 101.1868 | 350.7597 | 108.0678
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5
Workpaper).xlsx" file. The Replacement Meters (w/o meter labor costs) (Row 11) from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Small Commercial
NCO - SMALL COMMERCIAL - 2020$
| Secondary |  |  |  |  | Primary |  |  |  |  | Small Commercial Total
Cost Component | 0-5 kW | >5 - 20 kW | >20 - 50 kW | >50 kW | Sec Total | 0-5 kW | >5 - 20 kW | >20 - 50 kW | >50 kW | Pri Total | 0-5 kW | >5 - 20 kW | >20 - 50 kW | >50 kW | Total
TSM Components
Transformers | 564.9506 | 2445.3562 | 8458.8751 | 12884.0395 | 2081.3 | 0 | 0 | 0 | 0 | 0 | 564.8915 | 2445.0186 | 8456.9164 | 12832.9124 | 2080.9845
Services | 303.7291 | 570.3796 | 799.4264 | 1683.5746 | 475.8325 | 3396.422 | 3396.422 | 3396.422 | 5075.8638 | 3648.3383 | 304.0527 | 570.7697 | 800.0278 | 1697.0361 | 476.3134
Meters | 278.8611 | 304.978 | 315.129 | 452.39 | 295.1327 | 939.383 | 939.383 | 939.383 | 1013.2783 | 950.4673 | 278.9302 | 305.0656 | 315.2735 | 454.6158 | 295.2321
Replacement Meters (w/o meter labor costs) | 274.7583 | 300.3117 | 310.2409 | 446.0368 | 290.6872 | 928.1162 | 928.1162 | 928.1162 | 1001.5435 | 939.1303 | 274.8266 | 300.3984 | 310.3839 | 448.2412 | 290.7855
Subtotal | 1147.5407 | 3320.7138 | 9573.4305 | 15020.0041 | 2852.2652 | 4335.8051 | 4335.8051 | 4335.8051 | 6089.1421 | 4598.8056 | 1147.8743 | 3320.8539 | 9572.2177 | 14984.5642 | 2852.5299
Subtotal for Replacements (w/o meter labor costs) | 1143.4379 | 3316.0475 | 9568.5424 | 15013.6509 | 2847.8196 | 4324.5382 | 4324.5382 | 4324.5382 | 6077.4073 | 4587.4686 | 1143.7708 | 3316.1867 | 9567.3281 | 14978.1896 | 2848.0833
General Plant Loading at
2.772%
Working Capital at
1.502%
Transformers | 589.3356 | 2550.9055 | 8823.9869 | 13440.1553 | 2171.1354 | 0 | 0 | 0 | 0 | 0 | 589.274 | 2550.5534 | 8821.9436 | 13386.8213 | 2170.8063
Services | 316.839 | 594.999 | 833.9322 | 1756.243 | 496.3709 | 3543.0223 | 3543.0223 | 3543.0223 | 5294.9541 | 3805.8121 | 317.1765 | 595.4059 | 834.5595 | 1770.2855 | 496.8726
Meters | 290.8976 | 318.1418 | 328.731 | 471.9166 | 307.8716 | 979.9297 | 979.9297 | 979.9297 | 1057.0146 | 991.4925 | 290.9697 | 318.2332 | 328.8817 | 474.2384 | 307.9752
Replacement Meters (w/o meter labor costs) | 286.6177 | 313.2741 | 323.6318 | 465.2892 | 303.2341 | 968.1766 | 968.1766 | 968.1766 | 1044.7733 | 979.6661 | 286.689 | 313.3645 | 323.7811 | 467.5887 | 303.3367
Subtotal | 1197.0722 | 3464.0463 | 9986.65 | 15668.3149 | 2975.3779 | 4522.9521 | 4522.9521 | 4522.9521 | 6351.9687 | 4797.3046 | 1197.4202 | 3464.1925 | 9985.3848 | 15631.3453 | 2975.6541
Subtotal for Replacements (w/o meter labor costs) | 1192.7923 | 3459.1785 | 9981.5509 | 15661.6875 | 2970.7405 | 4511.199 | 4511.199 | 4511.199 | 6339.7274 | 4785.4782 | 1193.1395 | 3459.3238 | 9980.2842 | 15624.6955 | 2971.0156
PVRR of TSM Components
Transformers (368.1) at 123.76% | 729.3642 | 3157.0113 | 10920.603 | 16633.5923 | 2687.0063 | 0 | 0 | 0 | 0 | 0 | 729.2879 | 3156.5755 | 10918.0742 | 16567.586 | 2686.599
Services (369.2) at 123.27% | 390.5811 | 733.481 | 1028.0242 | 2164.9966 | 611.8979 | 4367.6368 | 4367.6368 | 4367.6368 | 6527.3188 | 4691.5891 | 390.9972 | 733.9826 | 1028.7975 | 2182.3074 | 612.5163
Meters (Average 370.11 & 370.21) at 107.68% | 313.2258 | 342.5613 | 353.9631 | 508.1392 | 331.5027 | 1055.1456 | 1055.1456 | 1055.1456 | 1138.1471 | 1067.5958 | 313.3035 | 342.6596 | 354.1255 | 510.6392 | 331.6143
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 308.6174 | 337.3199 | 348.4726 | 501.0031 | 326.5093 | 1042.4903 | 1042.4903 | 1042.4903 | 1124.9662 | 1054.8617 | 308.6942 | 337.4172 | 348.6333 | 503.4791 | 326.6197
Subtotal | 1433.1711 | 4233.0535 | 12302.5904 | 19306.7281 | 3630.4069 | 5422.7823 | 5422.7823 | 5422.7823 | 7665.4659 | 5759.1849 | 1433.5886 | 4233.2177 | 12300.9973 | 19260.5327 | 3630.7296
Subtotal for Replacements (w/o meter labor costs) | 1428.5627 | 4227.8121 | 12297.0999 | 19299.592 | 3625.4135 | 5410.1271 | 5410.1271 | 5410.1271 | 7652.285 | 5746.4508 | 1428.9794 | 4227.9753 | 12295.5051 | 19253.3725 | 3625.735
2020 Beginning Of Year (BOY) | 58937.0442 | 62704.1033 | 11122.0551 | 814.6101 | 133577.8126 | 82.4459 | 17.2377 | 1.7741 | 3.6334 | 105.0912 | 59019.4901 | 62721.341 | 11123.8292 | 818.2435 | 133682.9038
New Customers | 245 | 292 | 45 | 4 | 586 | 0 | 0 | 0 | 0 | 0 | 245 | 292 | 45 | 4 | 586
Replacement Customers | 1785.7924 | 1899.9343 | 336.9983 | 24.6827 | 4047.4077 | 2.4981 | 0.5223 | 0.053755 | 0.11009 | 3.1843 | 1788.2906 | 1900.4566 | 337.052 | 24.7928 | 4050.592
NCO TSM Component per 2020 Customer | 49.2431 | 147.8152 | 422.3786 | 679.5799 | 125.7765 | 163.9269 | 163.9269 | 163.9269 | 231.8642 | 174.1175 | 49.2491 | 147.8155 | 422.3159 | 677.5327 | 125.7751
O&M Expenses | 83.8718 | 91.8077 | 94.7925 | 92.5584 | 88.5582 | 142.7854 | 142.7854 | 142.7854 | 142.7854 | 142.7854 | 83.8798 | 91.8158 | 94.7998 | 92.5638 | 88.5664
Miscellaneous Revenue Offset | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284
Customer Accounts/Services | 56.484 | 56.4834 | 56.4578 | 56.3719 | 56.4813 | 56.4882 | 56.4882 | 56.4882 | 56.4882 | 56.4882 | 56.484 | 56.4834 | 56.4578 | 56.3724 | 56.4813
Subtotal per 2020 Customer | 137.3274 | 145.2627 | 148.2219 | 145.9019 | 142.0111 | 196.2452 | 196.2452 | 196.2452 | 196.2452 | 196.2452 | 137.3354 | 145.2708 | 148.2292 | 145.9077 | 142.0193
Annual NCO per 2020 Customer | 186.5705 | 293.0779 | 570.6004 | 825.4819 | 267.7876 | 360.1721 | 360.1721 | 360.1721 | 428.1095 | 370.3627 | 186.5845 | 293.0863 | 570.5451 | 823.4404 | 267.7944
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper".xlsx" file.
The Replacement Meters (w/o meter labor costs) (Row 11) from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Medium-Large C&I
NCO - MEDIUM/LARGE C&I - 2020$
| Secondary |  |  |  | Primary |  |  |  | Transmission |  |  |  | Medium/Large C&I Total
Cost Component | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total
TSM Components
Transformers | 12141.7485 | 34750.8987 |  | 12757.9094 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12025.2625 | 23978.1201 | 0 | 12482.5233
Services | 1493.1151 | 9478.5339 |  | 1710.7395 | 3396.422 | 4662.2082 | 8434.7473 | 4139.7815 | 63938.2714 | 104587.1581 | 158785.6738 | 101877.2323 | 1535.7212 | 9983.9719 | 94349.5624 | 1898.0637
Meters | 458.8145 | 939.383 |  | 471.9113 | 1028.0573 | 1050.2259 | 1050.2259 | 1040.5347 | 1050.2259 | 1050.2259 | 1050.2259 | 1050.2259 | 464.2847 | 973.7443 | 1050.2259 | 484.1987
Replacement Meters (w/o meter labor costs) | 452.4188 | 928.1162 |  | 465.3828 | 1016.2289 | 1038.2571 | 1038.2571 | 1028.6273 | 1038.2571 | 1038.2571 | 1038.2571 | 1038.2571 | 457.8367 | 962.2599 | 1038.2571 | 477.554
Subtotal | 14093.6781 | 45168.8156 |  | 14940.5602 | 4424.4794 | 5712.4341 | 9484.9732 | 5180.3162 | 64988.4973 | 105637.384 | 159835.8997 | 102927.4582 | 14025.2684 | 34935.8363 | 95399.7883 | 14864.7858
Subtotal for Replacements (w/o meter labor costs) | 14087.2823 | 45157.5488 |  | 14934.0317 | 4412.651 | 5700.4653 | 9473.0044 | 5168.4088 | 64976.5285 | 105625.4152 | 159823.9309 | 102915.4895 | 14018.8204 | 34924.3519 | 95387.8196 | 14858.1411
General Plant Loading at
2.772%
Working Capital at
1.502%
Transformers | 12665.8247 | 36250.8571 |  | 13308.581 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12544.3107 | 25013.0914 | 0 | 13021.3084
Services | 1557.5626 | 9887.6573 |  | 1784.5804 | 3543.0223 | 4863.4438 | 8798.8176 | 4318.4675 | 66698.0489 | 109101.4699 | 165639.3645 | 106274.5752 | 1602.0078 | 10414.9117 | 98421.9873 | 1979.9902
Meters | 478.6184 | 979.9297 |  | 492.2805 | 1072.4315 | 1095.557 | 1095.557 | 1085.4475 | 1095.557 | 1095.557 | 1095.557 | 1095.557 | 484.3247 | 1015.7742 | 1095.557 | 505.0983
Replacement Meters (w/o meter labor costs) | 471.9466 | 968.1766 |  | 485.4702 | 1060.0926 | 1083.0716 | 1083.0716 | 1073.0261 | 1083.0716 | 1083.0716 | 1083.0716 | 1083.0716 | 477.5984 | 1003.7941 | 1083.0716 | 498.1668
Subtotal | 14702.0057 | 47118.4442 |  | 15585.4419 | 4615.4539 | 5959.0008 | 9894.3746 | 5403.915 | 67793.6059 | 110197.0269 | 166734.9215 | 107370.1321 | 14630.6432 | 36443.7773 | 99517.5442 | 15506.3969
Subtotal for Replacements (w/o meter labor costs) | 14695.3339 | 47106.6911 |  | 15578.6316 | 4603.1149 | 5946.5154 | 9881.8892 | 5391.4937 | 67781.1205 | 110184.5415 | 166722.4361 | 107357.6467 | 14623.917 | 36431.7972 | 99505.0588 | 15499.4654
PVRR of TSM Components
Transformers (368.1) at 123.76% | 15675.2775 | 44864.2121 |  | 16470.7554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15524.8913 | 30956.3064 | 0 | 16115.2257
Services (369.2) at 123.27% | 1920.0748 | 12188.9426 |  | 2199.9294 | 4367.6368 | 5995.3774 | 10846.6828 | 5323.5616 | 82221.5677 | 134494.0974 | 204190.8038 | 131009.2621 | 1974.8643 | 12838.9118 | 121329.0376 | 2440.8195
Meters (Average 370.11 & 370.21) at 107.68% | 515.3554 | 1055.1456 |  | 530.0662 | 1154.7475 | 1179.6479 | 1179.6479 | 1168.7625 | 1179.6479 | 1179.6479 | 1179.6479 | 1179.6479 | 521.4997 | 1093.7413 | 1179.6479 | 543.8678
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 508.1715 | 1042.4903 |  | 522.7332 | 1141.4614 | 1166.2042 | 1166.2042 | 1155.3877 | 1166.2042 | 1166.2042 | 1166.2042 | 1166.2042 | 514.2571 | 1080.8416 | 1166.2042 | 536.4043
Subtotal | 18110.7077 | 58108.3002 |  | 19200.751 | 5522.3842 | 7175.0253 | 12026.3307 | 6492.3241 | 83401.2156 | 135673.7454 | 205370.4517 | 132188.91 | 18021.2553 | 44888.9594 | 122508.6856 | 19099.9129
Subtotal for Replacements (w/o meter labor costs) | 18103.5237 | 58095.645 |  | 19193.4179 | 5509.0982 | 7161.5816 | 12012.887 | 6478.9493 | 83387.7719 | 135660.3016 | 205357.008 | 132175.4663 | 18014.0127 | 44876.0597 | 122495.2418 | 19092.4494
2020 Beginning Of Year (BOY) | 20027.3379 | 596.3075 |  | 20623.6454 | 154.2396 | 229.8341 | 3.7969 | 387.8706 | 11.3911 | 15.5935 | 4.4994 | 31.484 | 20192.9686 | 841.7351 | 8.2962 | 21043
New Customers | 379 | 12 |  | 391 | 3 | 4 | 0 | 7 | 0 | 0 | 0 | 0 | 993.8469 | 41.5046 | 0.25138 | 1035.6029
Replacement Customers | 606.8283 | 18.0681 |  | 624.8965 | 4.6735 | 6.964 | 0.11504 | 11.7525 | 0.34515 | 0.47248 | 0.13633 | 0.95396 | 611.8469 | 25.5046 | 0.25138 | 637.6029
NCO TSM Component per 2020 Customer | 891.2662 | 2929.6605 |  | 945.5842 | 274.3375 | 341.869 | 363.9905 | 313.4808 | 2526.6495 | 4110.5071 | 6222.3173 | 4004.9166 | 1432.7853 | 3573.1454 | 7423.619 | 1518.4777
O&M Expenses | 463.8728 | 464.1351 |  | 463.88 | 159.9435 | 161.5564 | 160.2205 | 160.8404 | 2999.4055 | 3199.7359 | 3525.2728 | 3195.7293 | 460.4657 | 483.8453 | 869.5693 | 461.5273
Miscellaneous Revenue Offset | -3.0284 | -3.0284 |  | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284
Customer Accounts/Services | 481.5503 | 481.5503 |  | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503
Subtotal per 2020 Customer | 942.3947 | 942.657 |  | 942.4019 | 638.4654 | 640.0783 | 638.7424 | 639.3623 | 3477.9274 | 3678.2578 | 4003.7947 | 3674.2512 | 938.9876 | 962.3672 | 1348.0912 | 940.0492
Annual NCO per 2020 Customer | 1833.6609 | 3872.3174 |  | 1887.986 | 912.8029 | 981.9473 | 1002.7329 | 952.8431 | 6004.5769 | 7788.765 | 10226.1121 | 7679.1678 | 2371.7729 | 4535.5126 | 8771.7102 | 2458.5269
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper).xlsx" file. The Replacement Meters (w/o meter labor costs) (Row 11)
from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Agricultural Class
NCO - AGRICULTURAL - 2020$
| Secondary |  |  | Primary |  |  | Total-Agricultural Class
Cost Component | ≤ 20 MW | > 20 MW | Sec Total | ≤ 20 MW | > 20 MW | Pri Total | ≤ 20 MW | > 20 MW | Total
TSM Components
Transformers | 1366.5376 | 10422.1319 | 3848.7817 | 0 | 0 | 0 | 1366.06 | 10186.337 | 3823.5502
Services | 389.1467 | 1526.0128 | 700.775 | 3396.422 | 4404.0871 | 4365.3308 | 390.1979 | 1591.1276 | 724.7988
Meters | 286.143 | 486.0433 | 340.938 | 939.383 | 1050.2259 | 1045.9627 | 286.3714 | 498.8076 | 345.56
Replacement Meters (w/o meter labor costs) | 281.8836 | 479.4197 | 336.0306 | 928.1162 | 1038.2571 | 1034.0209 | 282.1095 | 492.0631 | 340.6064
Subtotal | 2041.8274 | 12434.188 | 4890.4947 | 4335.8051 | 5454.313 | 5411.2935 | 2042.6292 | 12276.2723 | 4893.909
Subtotal for Replacements (w/o meter labor costs) | 2037.5679 | 12427.5644 | 4885.5873 | 4324.5382 | 5442.3442 | 5399.3517 | 2038.3673 | 12269.5278 | 4888.9554
General Plant Loading at
2.772%
Working Capital at
1.502%
Transformers | 1425.5217 | 10871.984 | 4014.9073 | 0 | 0 | 0 | 1425.0234 | 10626.0115 | 3988.5867
Services | 405.9435 | 1591.8804 | 731.0227 | 3543.0223 | 4594.1814 | 4553.7522 | 407.04 | 1659.8057 | 756.0834
Meters | 298.4939 | 507.0225 | 355.654 | 979.9297 | 1095.557 | 1091.1098 | 298.7321 | 520.3377 | 360.4754
Replacement Meters (w/o meter labor costs) | 294.0506 | 500.113 | 350.5347 | 968.1766 | 1083.0716 | 1078.6525 | 294.2862 | 513.3021 | 355.308
Subtotal | 2129.9591 | 12970.8868 | 5101.5839 | 4522.9521 | 5689.7384 | 5644.862 | 2130.7955 | 12806.1549 | 5105.1455
Subtotal for Replacements (w/o meter labor costs) | 2125.5158 | 12963.9773 | 5096.4646 | 4511.199 | 5677.253 | 5632.4047 | 2126.3496 | 12799.1193 | 5099.9781
PVRR of TSM Components
Transformers (368.1) at 123.76% | 1764.2316 | 13455.2128 | 4968.866 | 0 | 0 | 0 | 1763.6149 | 13150.7962 | 4936.2915
Services (369.2) at 123.27% | 500.4241 | 1962.3797 | 901.1632 | 4367.6368 | 5663.446 | 5613.6072 | 501.7758 | 2046.1142 | 932.0567
Meters (Average 370.11 & 370.21) at 107.68% | 321.4052 | 545.9396 | 382.9527 | 1055.1456 | 1179.6479 | 1174.8594 | 321.6616 | 560.2769 | 388.1442
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 316.6208 | 538.4998 | 377.4405 | 1042.4903 | 1166.2042 | 1161.446 | 316.8745 | 552.7013 | 382.5802
Subtotal | 2586.0609 | 15963.5321 | 6252.9819 | 5422.7823 | 6843.0939 | 6788.4665 | 2587.0524 | 15757.1874 | 6256.4924
Subtotal for Replacements (w/o meter labor costs) | 2581.2765 | 15956.0923 | 6247.4697 | 5410.1271 | 6829.6502 | 6775.0531 | 2582.2653 | 15749.6117 | 6250.9284
2020 Beginning Of Year (BOY) | 2917.3271 | 1006.5026 | 3923.8297 | 1.9673 | 12.203 | 14.1703 | 2919.2944 | 1018.7056 | 3938
New Customers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replacement Customers | 88.395 | 30.497 | 118.892 | 0.059609 | 0.36975 | 0.42936 | 88.4546 | 30.8668 | 119.3214
NCO TSM Component per 2020 Customer | 78.2127 | 483.4696 | 189.2983 | 163.9269 | 206.9384 | 205.2841 | 78.2426 | 477.2132 | 189.4031
O&M Expenses | 124.6696 | 223.7981 | 151.8419 | 167.6938 | 168.0245 | 168.0118 | 124.5423 | 222.9048 | 151.9479
Miscellaneous Revenue Offset | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284
Customer Accounts/Services | 160.0528 | 160.0528 | 160.0528 | 160.0528 | 160.0528 | 160.0528 | 160.0528 | 160.0528 | 160.0528
Subtotal per 2020 Customer | 281.694 | 380.8225 | 308.8663 | 324.7182 | 325.0489 | 325.0362 | 281.5667 | 379.9292 | 308.9723
Annual NCO per 2020 Customer | 359.9067 | 864.2921 | 498.1646 | 488.645 | 531.9873 | 530.3203 | 359.8093 | 857.1425 | 498.3754
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5
Workpaper).xlsx" file. The Replacement Meters (w/o meter labor costs) (Row 11) from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Lighting
NCO - LIGHTING CLASS - 2020$
Cost Component | Unmetered Lighting
TSM Components per Lamp basis
Transformers | 35.1496
Services | 46.9723
Meters | 0
Subtotal | 82.1219
General Plant Loading at | 2.2767
2.772%
Working Capital at | 1.2679
1.502%
Transformers | 36.6667
Services | 48.9998
Meters | 0
Subtotal | 85.6665
PVRR of TSM Components
Transformers (368.1) at 123.76% | 45.3789
Services (369.2) at 123.27% | 60.4042
Meters (Average 370.11 & 370.21) at 107.68% | 0
Replacement Meters (Average 370.11 & 370.21) at 107.68%
Subtotal per Lamp Basis | 105.7831
Average 2016 Number of Lamps | 161261.0833
Average 2016 Number of Customers | 5281
Subtotal per Customer Basis | 3230.2018
2020 Beginning Of Year (BOY) | 5548
New Plus Replacement Customers | 168.1044
NCO TSM Component per Customer | 97.8751
NCO TSM Component per Lamp | 3.2052
O&M Expenses | 4.7295
Miscellaneous Revenue Offset | -0.099175
Customer Accounts/Services | 1.1317
Subtotal per 2020 Lamp | 5.762
Annual NCO per 2020 Lamp | 8.9672
Note: TSM (Rows 8-10), Number of Lamps (Row 31), Number of Customers (Row 32), O&M Expenses (Row 42), Miscellaneous Revenue Offset (Row 43),
and Customer Account/Services (Row 44) cost from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper).xlsx" file.

## NCO Res Cust Fcst
NCO - 2020 CUSTOMERS - RESIDENTIAL CLASS
Cost Component | DR | DM | DS | DT | DT-RV | DR-TOU | DR-SES | EV-TOU-1 | EV-TOU-2 | Class
Forecast 2020 Avg | 1263309.8333 | 3434.3333 | 233 | 359 | 47 | 969 | 32130 | 204 | 17144.6667 | 1317830.8333
Forecast 2020 BOY | 1262148 | 3456 | 233 | 359 | 47 | 969 | 28403 | 204 | 16171 | 1311990
(Beginning Of Year)
Forecast 2020-2021 Change | 2499 | -47 | 0 | 0 | 0 | 0 | 8444 | 0 | 2125 | 13021
Forecast 2021-2022 Change | 852 | -46 | -1 | 0 | 0 | 0 | 10256 | 0 | 2125 | 13186
Forecast 2022-2023 Change | -692 | -46 | 0 | 0 | 0 | 0 | 12234 | 0 | 2125 | 13621
Average of 2020-2023 Change | 886 | -46 | 0 | 0 | 0 | 0 | 10311 | 0 | 2125 | 13276
New Customers Assumed | 886 | 0 | 0 | 0 | 0 | 0 | 10311 | 0 | 2125 | 13322
Replacement Customers | 38243.0844 | 104.7168 | 7.0599 | 10.8777 | 1.4241 | 29.3607 | 860.6109 | 6.1812 | 489.9813 | 39753.297
(3.03% of 2020 BOY)
New Plus Replacement Customers | 39129.0844 | 104.7168 | 7.0599 | 10.8777 | 1.4241 | 29.3607 | 11171.6109 | 6.1812 | 2614.9813 | 53075.297
Note: Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer, Exhibit SDG&E-38.

## NCO Sml Comm Cust Fcst
NCO - 2020 CUSTOMERS - SMALL COMMERCIAL CLASS
| TOU-A | [5 empty] | Total Small Commercial
Cost Component | Secondary | Primary | Total | A-TC | TOU-M | UM | Secondary | Primary | Total
2020 Service Voltage Percentages
≤ 5 kW | 41.79% | 0.06621% |  | 97.13% | 4.51% | 41.79%
> 5-20 kW | 49.76% | 0.01384% |  | 2.867% | 23.13% | 49.76%
> 20-50 kW | 7.72% | 0.001425% |  |  | 71.82% | 7.72%
> 50 kW | 0.6445% | 0.002918% |  |  | 0.5436% | 0.6445%
Forecast 2020 Avg | 124743.4706 | 105.3628 | 124848.8333 | 6954 | 2088 | 113.9038 | 133899.3743 | 105.3628 | 134004.7371
≤ 5 kW | 52175.1123 | 82.659 | 52257.7713 | 6754.6167 | 94.1701 | 47.6413 | 59071.5403 | 82.659 | 59154.1994
> 5-20 kW | 62125.1861 | 17.2823 | 62142.4684 | 199.3833 | 482.9524 | 56.7268 | 62864.2486 | 17.2823 | 62881.5308
> 20-50 kW | 9638.5735 | 1.7787 | 9640.3522 |  | 1499.5267 | 8.801 | 11146.9013 | 1.7787 | 11148.6799
> 50 kW | 804.5986 | 3.6428 | 808.2414 |  | 11.3509 | 0.73468 | 816.6842 | 3.6428 | 820.327
Forecast 2020 BOY | 124421.9088 | 105.0912 | 124527 | 6954 | 2088 | 113.9038 | 133577.8126 | 105.0912 | 133682.9038
≤ 5 kW | 52040.6161 | 82.4459 | 52123.062 | 6754.6167 | 94.1701 | 47.6413 | 58937.0442 | 82.4459 | 59019.4901
> 5-20 kW | 61965.0408 | 17.2377 | 61982.2785 | 199.3833 | 482.9524 | 56.7268 | 62704.1033 | 17.2377 | 62721.341
> 20-50 kW | 9613.7274 | 1.7741 | 9615.5015 |  | 1499.5267 | 8.801 | 11122.0551 | 1.7741 | 11123.8292
> 50 kW | 802.5245 | 3.6334 | 806.158 |  | 11.3509 | 0.73468 | 814.6101 | 3.6334 | 818.2435
Forecast 2020-2021 Change | 530.5519 | 0.44812 | 531 | 0 | 0 | 0 | 530.5519 | 0.44812 | 531
≤ 5 kW | 221.9082 | 0.35156 | 222.2598 | 0 | 0 | 0 | 221.9082 | 0.35156 | 222.2598
> 5-20 kW | 264.2273 | 0.073504 | 264.3008 | 0 | 0 | 0 | 264.2273 | 0.073504 | 264.3008
> 20-50 kW | 40.9942 | 0.007565 | 41.0018 |  | 0 | 0 | 40.9942 | 0.007565 | 41.0018
> 50 kW | 3.4221 | 0.015493 | 3.4376 |  | 0 | 0 | 3.4221 | 0.015493 | 3.4376
Forecast 2021-2022 Change | 416.6481 | 0.35192 | 417 | 0 | 0 | 0 | 416.6481 | 0.35192 | 417
≤ 5 kW | 174.2669 | 0.27608 | 174.543 | 0 | 0 | 0 | 174.2669 | 0.27608 | 174.543
> 5-20 kW | 207.5006 | 0.057724 | 207.5583 | 0 | 0 | 0 | 207.5006 | 0.057724 | 207.5583
> 20-50 kW | 32.1932 | 0.0059408 | 32.1992 |  | 0 | 0 | 32.1932 | 0.0059408 | 32.1992
> 50 kW | 2.6874 | 0.012167 | 2.6996 |  | 0 | 0 | 2.6874 | 0.012167 | 2.6996
Forecast 2022-2023 Change | 809.3164 | 0.68358 | 810 | 0 | 0 | 0 | 809.3164 | 0.68358 | 810
≤ 5 kW | 338.5041 | 0.53628 | 339.0404 | 0 | 0 | 0 | 338.5041 | 0.53628 | 339.0404
> 5-20 kW | 403.0586 | 0.11212 | 403.1708 | 0 | 0 | 0 | 403.0586 | 0.11212 | 403.1708
> 20-50 kW | 62.5336 | 0.01154 | 62.5451 |  | 0 | 0 | 62.5336 | 0.01154 | 62.5451
> 50 kW | 5.2201 | 0.023634 | 5.2437 |  | 0 | 0 | 5.2201 | 0.023634 | 5.2437
Average of 2020-2023 Change | 586 | 0 | 586 | 0 | 0 | 0 | 586 | 0 | 586
≤ 5 kW | 245 | 0 | 245 | 0 | 0 | 0 | 245 | 0 | 245
> 5-20 kW | 292 | 0 | 292 | 0 | 0 | 0 | 292 | 0 | 292
> 20-50 kW | 45 | 0 | 45 |  | 0 | 0 | 45 | 0 | 45
> 50 kW | 4 | 0 | 4 |  | 0 | 0 | 4 | 0 | 4
New Customers Assumed | 586 | 0 | 586 | 0 | 0 | 0 | 586 | 0 | 586
≤ 5 kW | 245 | 0 | 245 | 0 | 0 | 0 | 245 | 0 | 245
> 5-20 kW | 292 | 0 | 292 | 0 | 0 | 0 | 292 | 0 | 292
> 20-50 kW | 45 | 0 | 45 | 0 | 0 | 0 | 45 | 0 | 45
> 50 kW | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 4
Replacement Customers
(3.03% of 2020 BOY) | 3769.9838 | 3.1843 | 3773.1681 | 210.7062 | 63.2664 | 3.4513 | 4047.4077 | 3.1843 | 4050.592
≤ 5 kW | 1576.8307 | 2.4981 | 1579.3288 | 204.6649 | 2.8534 | 1.4435 | 1785.7924 | 2.4981 | 1788.2906
> 5-20 kW | 1877.5407 | 0.5223 | 1878.063 | 6.0413 | 14.6335 | 1.7188 | 1899.9343 | 0.5223 | 1900.4566
> 20-50 kW | 291.2959 | 0.053755 | 291.3497 | 0 | 45.4357 | 0.26667 | 336.9983 | 0.053755 | 337.052
> 50 kW | 24.3165 | 0.11009 | 24.4266 | 0 | 0.34393 | 0.022261 | 24.6827 | 0.11009 | 24.7928
New Plus Replacement Customers | 4355.9838 | 3.1843 | 4359.1681 | 210.7062 | 63.2664 | 3.4513 | 4633.4077 | 3.1843 | 4636.592
≤ 5 kW | 1821.8307 | 2.4981 | 1824.3288 | 204.6649 | 2.8534 | 1.4435 | 2030.7924 | 2.4981 | 2033.2906
> 5-20 kW | 2169.5407 | 0.5223 | 2170.063 | 6.0413 | 14.6335 | 1.7188 | 2191.9343 | 0.5223 | 2192.4566
> 20-50 kW | 336.2959 | 0.053755 | 336.3497 |  | 45.4357 | 0.26667 | 381.9983 | 0.053755 | 382.052
> 50 kW | 28.3165 | 0.11009 | 28.4266 |  | 0.34393 | 0.022261 | 28.6827 | 0.11009 | 28.7928
Notes:
(1) Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer,
Exhibit SDG&E-38.
(2) 2020 Service Voltage Percentages from the system determinants file.

## NCO Medium-Large C&I Cust Fcst
NCO - 2020 CUSTOMERS - MEDIUM/LARGE COMMERCIAL INDUSTRIAL (M/L C&I) CLASS
| OL-TOU | AL-TOU |  |  |  | DGR |  |  | A6-TOU |  |  | Total M/L C&I Class
Cost Component | Secondary | Secondary | Primary | Transmission | Total | Secondary | Primary | Total | Primary | Transmission | Total | Secondary | Primary | Transmission | Total
2020 Service Voltage Percentages
≤ 500 kW | 100% | 95.27% | 0.7462% | 0.05548% |  | 95.05% | 0.2314%
> 500 kW - 12 MW |  | 2.81% | 1.04% | 0.05075% |  | 4.302% | 0.4206% |  | 63.02% | 22.5%
> 12 MW |  |  | 0.01849% | 0.005691% | [5 empty] | 14.48%
Forecast 2020 Avg | 40 | 20330.8924 | 373.9928 | 23.1982 | 20728.0833 | 466.1077 | 3.0589 | 469.1667 | 14.4947 | 8.5053 | 23 | 20837.0001 | 391.5465 | 31.7034 | 21260.25
≤ 500 kW | 40 | 19748.3486 | 154.6659 | 11.4999 | 19914.5144 | 445.9226 | 1.0858 | 447.0084 | 14.4947 | 5.1743 | 19.669 | 20234.2712 | 170.2464 | 16.6742 | 20421.1918
> 500 kW - 12 MW |  | 582.5438 | 215.4938 | 10.5187 | 808.5562 | 20.1851 | 1.9732 | 22.1583 |  | 3.331 | 3.331 | 602.7289 | 217.4669 | 13.8497 | 834.0455
> 12 MW |  |  | 3.8331 | 1.1796 | 5.0127 | [7 empty] | 3.8331 | 1.1796 | 5.0127
Forecast 2020 BOY
(Beginning Of Year) | 40 | 20138.5664 | 370.4549 | 22.9787 | 20532 | 445.0791 | 2.9209 | 448 | 14.4947 | 8.5053 | 23 | 20623.6454 | 387.8706 | 31.484 | 21043
≤ 500 kW | 40 | 19561.5333 | 153.2028 | 11.3911 | 19726.1273 | 425.8046 | 1.0368 | 426.8414 |  |  |  | 20027.3379 | 154.2396 | 11.3911 | 20192.9686
> 500 kW - 12 MW |  | 577.033 | 213.4552 | 10.4192 | 800.9075 | 19.2745 | 1.8841 | 21.1586 | 14.4947 | 5.1743 | 19.669 | 596.3075 | 229.8341 | 15.5935 | 841.7351
> 12 MW |  | 0 | 3.7969 | 1.1684 | 4.9653 |  |  |  |  | 3.331 | 3.331 |  | 3.7969 | 4.4994 | 8.2962
Forecast 2020-2021 Change | 0 | 307.0023 | 5.6474 | 0.3503 | 313 | 45.7001 | 0.29992 | 46 | 0 | 0 | 0 | 352.7024 | 5.9473 | 0.3503 | 359
≤ 500 kW | 0 | 298.2057 | 2.3355 | 0.17365 | 300.7149 | 43.721 | 0.10646 | 43.8275 |  |  |  | 341.9267 | 2.442 | 0.17365 | 344.5423
> 500 kW - 12 MW |  | 8.7966 | 3.254 | 0.15884 | 12.2094 | 1.9791 | 0.19346 | 2.1725 | 0 | 0 | 0 | 10.7757 | 3.4475 | 0.15884 | 14.382
> 12 MW |  |  | 0.057881 | 0.017812 | 0.075693 |  |  |  |  | 0 | 0 |  | 0.057881 | 0.017812 | 0.075693
Forecast 2021-2022 Change | 0 | 232.4586 | 4.2761 | 0.26524 | 237 | 45.7001 | 0.29992 | 46 | 0 | 0 | 0 | 278.1587 | 4.5761 | 0.26524 | 283
≤ 500 kW | 0 | 225.7979 | 1.7684 | 0.13149 | 227.6978 | 43.721 | 0.10646 | 43.8275 |  |  | 0 | 269.519 | 1.8749 | 0.13149 | 271.5253
> 500 kW - 12 MW |  | 6.6607 | 2.4639 | 0.12027 | 9.2448 | 1.9791 | 0.19346 | 2.1725 | 0 | 0 | 0 | 8.6397 | 2.6574 | 0.12027 | 11.4174
> 12 MW |  |  | 0.043827 | 0.013487 | 0.057314 |  |  |  |  | 0 | 0 |  | 0.043827 | 0.013487 | 0.057314
Forecast 2022-2023 Change | 0 | 496.304 | 9.1297 | 0.5663 | 506 | 45.7001 | 0.29992 | 46 | 0 | 0 | 0 | 542.0041 | 9.4296 | 0.5663 | 552
≤ 500 kW | 0 | 482.0834 | 3.7756 | 0.28073 | 486.1397 | 43.721 | 0.10646 | 43.8275 |  |  |  | 525.8044 | 3.8821 | 0.28073 | 529.9672
> 500 kW - 12 MW |  | 14.2207 | 5.2605 | 0.25678 | 19.7379 | 1.9791 | 0.19346 | 2.1725 | 0 | 0 | 0 | 16.1997 | 5.4539 | 0.25678 | 21.9105
> 12 MW |  | 0 | 0.093572 | 0.028795 | 0.12237 |  |  |  |  | 0 | 0 |  | 0.093572 | 0.028795 | 0.12237
Average of 2020-2023 Change | 0 | 345 | 7 | 0 | 352 | 46 | 0 | 46 | 0 | 0 | 0 | 391 | 7 | 0 | 398
≤ 500 kW | 0 | 335 | 3 | 0 | 338 | 44 | 0 | 44 |  |  |  | 379 | 3 | 0 | 382
> 500 kW - 12 MW |  | 10 | 4 | 0 | 14 | 2 | 0 | 2 | 0 | 0 | 0 | 12 | 4 | 0 | 16
> 12 MW |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0 | 0 | 0
New Customers Assumed | 0 | 345 | 7 | 0 | 352 | 46 | 0 | 46 | 0 | 0 | 0 | 391 | 7 | 0 | 398
≤ 500 kW | 0 | 335 | 3 | 0 | 338 | 44 | 0 | 44 | 0 | 0 | 0 | 379 | 3 | 0 | 382
> 500 kW - 12 MW |  | 10 | 4 | 0 | 14 | 2 | 0 | 2 | 0 | 0 | 0 | 12 | 4 | 0 | 16
> 12 MW
Replacement Customers
(3.03% of 2020 BOY) | 1.212 | 610.1986 | 11.2248 | 0.69626 | 622.1196 | 13.4859 | 0.088504 | 13.5744 | 0.43919 | 0.25771 | 0.6969 | 624.8965 | 11.7525 | 0.95396 | 637.6029
≤ 500 kW | 1.212 | 592.7145 | 4.642 | 0.34515 | 597.7017 | 12.9019 | 0.031415 | 12.9333 |  |  |  | 606.8283 | 4.6735 | 0.34515 | 611.8469
> 500 kW - 12 MW |  | 17.4841 | 6.4677 | 0.3157 | 24.2675 | 0.58402 | 0.057089 | 0.64111 | 0.43919 | 0.15678 | 0.59597 | 18.0681 | 6.964 | 0.47248 | 25.5046
> 12 MW |  |  | 0.11504 | 0.035403 | 0.15045 |  |  |  |  | 0.10093 | 0.10093 |  | 0.11504 | 0.13633 | 0.25138
New Plus Replacement Customers | 1.212 | 955.1986 | 18.2248 | 0.69626 | 974.1196 | 59.4859 | 0.088504 | 59.5744 | 0.43919 | 0.25771 | 0.6969 | 1015.8965 | 18.7525 | 0.95396 | 1035.6029
≤ 500 kW | 1.212 | 927.7145 | 7.642 | 0.34515 | 935.7017 | 56.9019 | 0.031415 | 56.9333 |  |  |  | 985.8283 | 7.6735 | 0.34515 | 993.8469
> 500 kW - 12 MW |  | 27.4841 | 10.4677 | 0.3157 | 38.2675 | 2.584 | 0.057089 | 2.6411 | 0.43919 | 0.15678 | 0.59597 | 30.0681 | 10.964 | 0.47248 | 41.5046
> 12 MW |  |  | 0.11504 | 0.035403 | 0.15045 |  |  |  |  | 0.10093 | 0.10093 |  | 0.11504 | 0.13633 | 0.25138
Notes:
(1) Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer, Exhibit SDG&E-38.
(2) 2020 Service Voltage Percentages from the system determinants file.
|  | 1.696% | 1.94% | 0% | 1.697% | 9.867% | 0% | 9.843% | 0% | 0% | 0% | 1.873% | 1.762% | 0% | 1.871%
|  | 1.717% | 1.856% | 0% | 1.731% | 9.908% | 0% | 9.026% | #DIV/0! | 0% | 0% | 1.991% | 1.839% | 0% | 1.918%
|  | #DIV/0! | 0% | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0% | 0% | 0%

## NCO Agricultural
NCO - 2020 CUSTOMERS - AGRICULTURAL CLASS
| TOU-PA |  |  | PA-T-1 |  |  | Total
Cost Component | Secondary | Primary | Total | Secondary | Primary | Total | Secondary | Primary | Total
2020 Service Voltage Percentages
< 20 kW | 80.54% |  |  | 25.37% | 0.4267%
≥ 20 kW | 19.46% |  |  | 71.55% | 2.647%
Forecast 2020 Avg | 41724 |  | 41724 | 5361.9564 | 170.0436 | 5532 | 47085.9564 | 170.0436 | 47256
< 20 kW | 33604.3292 |  | 33604.3292 | 1403.5958 | 23.6075 | 1427.2033 | 35007.925 | 23.6075 | 35031.5325
≥ 20 kW | 8119.6708 |  | 8119.6708 | 3958.3606 | 146.4361 | 4104.7967 | 12078.0314 | 146.4361 | 12224.4675
Forecast 2020 BOY
(Beginning Of Year) | 3477 |  | 3477 | 446.8297 | 14.1703 | 461 | 3923.8297 | 14.1703 | 3938
< 20 kW | 2800.3608 |  | 2800.3608 | 116.9663 | 1.9673 | 118.9336 | 2917.3271 | 1.9673 | 2919.2944
≥ 20 kW | 676.6392 |  | 676.6392 | 329.8634 | 12.203 | 342.0664 | 1006.5026 | 12.203 | 1018.7056
Forecast 2020-2021 Change | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
< 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
≥ 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast 2021-2022 Change | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
< 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
≥ 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast 2022-2023 Change | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
< 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
≥ 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average of 2020-2023 Change | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
< 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
≥ 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Customers Assumed | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
< 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
≥ 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replacement Customers
(3.03% of 2020 BOY) | 105.3531 |  | 105.3531 | 13.5389 | 0.42936 | 13.9683 | 118.892 | 0.42936 | 119.3214
< 20 kW | 84.8509 |  | 84.8509 | 3.5441 | 0.059609 | 3.6037 | 88.395 | 0.059609 | 88.4546
≥ 20 kW | 20.5022 |  | 20.5022 | 9.9949 | 0.36975 | 10.3646 | 30.497 | 0.36975 | 30.8668
New Plus Replacement Customers | 105.3531 |  | 105.3531 | 13.5389 | 0.42936 | 13.9683 | 118.892 | 0.42936 | 119.3214
< 20 kW | 84.8509 |  | 84.8509 | 3.5441 | 0.059609 | 3.6037 | 88.395 | 0.059609 | 88.4546
≥ 20 kW | 20.5022 |  | 20.5022 | 9.9949 | 0.36975 | 10.3646 | 30.497 | 0.36975 | 30.8668
Notes:
(1) Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer, Exhibit SDG&E-38.
(2) 2020 Service Voltage Percentages from the system determinants file.

## NCO Lighting Cust Fcst
NCO - 2020 CUSTOMERS - LIGHTING CLASS
Cost Component | Unmetered Lighting
Forecast 2020 Avg | 5523.8333
Forecast 2020 BOY | 5548
(Beginning Of Year)
Forecast 2020-2021 Change | -52
Forecast 2021-2022 Change | -51
Forecast 2022-2023 Change | -50
Average of 2020-2023 Change | -51
New Customers Assumed | 0
Replacement Customers | 168.1044
(3.03% of 2020 BOY)
New Plus Replacement Customers | 168.1044
Note: Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1
(A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer, Exhibit SDG&E-38.

## Input
Marginal Customer Cost Development Loading Factors
General Plant Loading Factor (GPL) = | 2.772%
Working Capital = | 1.502%
PVRR of TSM Components
Transformers (368.1) | 123.8%
Services (369.2) | 123.3%
Smart Meters (370.11) | 107.7%
Smart Meter Installation (370.21) | 107.7%
Smart Meter Average | 107.7%
2020 Miscellaneous Revenues = | 4489781.1405
Total Forecasted 2020 Customers = | 1482557.75
2020 Miscellaneous Revenue per Customer = | 3.0284
Note:
(1) Load Factors from the "2019 GRC P2 Marginal Distribution Customer Costs (Chapter 5 Workpaper).xlsx" file.
(2) PVRR of TSM components from SDG&E Financial Assumption file.
(3) Miscellaneous Revenue per Customer component from 2019 GRC Phase 1 miscellaneous cost data and the total forecasted
2020 Customers number.