## Tab Descriptions
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Tab Descriptions
Line |  |  | Line
No. | Tab Name | Tab Description | No.
1 | Tab Descriptions | Description of Tabs in Workpaper | 1
2 | Distrib Class EPMC Rates & Rev | Distribution Equal Percentage of Marginal Cost ("EPMC") Rates and Revenues by Customer Class | 2
3 | Distrib Revenue Allocation | Distribution Revenue Allocation by Customer Class | 3
4 | Distrib Allocation Factors | Distribution Marginal Cost Allocation Factor by Customer Class | 4
5 | Distrib Marginal Revenues | Distribution Marginal Revenues by Customer Class | 5
6 | Distrib Marginal Cost Summary | Distribution Marginal Unit Costs by Customer Class | 6
7 | Distrib System Determinants | 2020 Forecasted Distribution System Determinants by Customer Class | 7
8 | Distrib Revenue Requirement | Current Distribution Revenue Allocation by Customer Class | 8

## Distrib Class EPMC Rates & Rev
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Distribution Equal Percentage of Marginal Cost ("EPMC") Rates and Revenue by Customer Class
EPMC
Distribution
|  |  | Marginal | EPMC | Revenue
|  |  | Distribution | Distribution | Allocation
Line | Customer Class | Determinants | Rate | Rate | ($000) | Line
No. | (A) | (B) | (C) | (D) | (E) | No.
Non-Coincident Demand/On-Peak Demand Spilt:
1 | Residential |  |  |  |  | 1
2 | Customer Marginal Cost ($/Customer-Month) | 15813958 | 12.7581 | 25.099 | 396914.3452 | 2 | Forecasted Average (2017-2019) Marginal Distribution Demand Capacity Costs ($000)
3 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) | 18669260.2157 | 0.47593 | 0.93629 | 17479.8528 | 3 | Feeder & Local Distribution | 10059.268
4 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) | 45984509.6798 | 3.5192 | 6.9232 | 318361.3561 | 4 | Substation | 15424.853
5 | Total - Residential |  |  |  | 732755.5541 | 5 | Total | 25484.121
6 | [5 empty] | 6
7 | Small Commercial |  |  |  |  | 7 | Forecasted On-Peak Related Marginal Distribution Capacity Cost Percentages
8 | Customer Marginal Cost ($/Customer-Month) |  |  |  |  | 8 | Feeder & Local Distribution | 66.31%
9 | Secondary |  |  |  |  | 9 | Substation | 72.12%
10 | 0 - 5 kW | 705738.115 | 19.8775 | 39.105 | 27597.8683 | 10
11 | >5 - 20 kW | 750661.0464 | 35.5794 | 69.9953 | 52542.7607 | 11 | Forecasted Average Marginal Distribution Capacity Related % of Total Distribution Demand Costs
12 | >20 - 50 kW | 133160.8635 | 79.401 | 156.2058 | 20800.4933 | 12 | Feeder & Local Distribution | 2.213%
13 | >50 kW | 9751.9208 | 116.8919 | 229.9616 | 2242.5672 | 13 | Substation | 22.44%
14 | Secondary Total | 1599311.9457 | 32.7949 | 64.5176 | 103183.6895 | 14
15 | [5 empty] | 15 | Forecasted Summer On-Peak Related Marginal Distribution Capacity Cost %
16 | Primary |  |  |  |  | 16 | Feeder & Local Distribution | 1.467%
17 | 0 - 5 kW | 986.9664 | 46.0505 | 90.5953 | 89.4145 | 17 | Substation | 16.18%
18 | >5 - 20 kW | 206.3542 | 46.0505 | 90.5953 | 18.6947 | 18
19 | >20 - 50 kW | 21.2378 | 46.0505 | 90.5953 | 1.924 | 19
20 | >50 kW | 43.496 | 57.0756 | 112.2848 | 4.8839 | 20
21 | Primary Total | 1258.0543 | 46.4317 | 91.3452 | 114.9172 | 21
22 | [5 empty] | 22
23 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) |  |  |  |  | 23
24 | Secondary | 3807029.1756 | 0.71089 | 1.3985 | 5324.2987 | 24
25 | Primary | 26930.2808 | 0.70723 | 1.3913 | 37.4692 | 25
26 | Total | 3833959.4564 | 0.71086 | 1.3985 | 5361.6906 | 26
27 | [5 empty] | 27
28 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) |  |  |  |  | 28
29 | Secondary | 10289024.2898 | 4.7668 | 9.3776 | 96486.7342 | 29
30 | Primary | 102072.9869 | 4.7422 | 9.3293 | 952.273 | 30
31 | Total | 10391097.2766 | 4.7665 | 9.3772 | 97439.0072 | 31
32 | [5 empty] | 32
33 | Total - Small Commercial |  |  |  | 206099.3045 | 33
34 | [5 empty] | 34
35 | Medium/Large Commercial & Industrial |  |  |  |  | 35
36 | [5 empty] | 36
37 | Secondary |  |  |  |  | 37
38 | ≤500 kW | 231890.4458 | 176.9616 | 348.1368 | 80729.5943 | 38
39 | 500 - 12 MW | 6890.965 | 388.79 | 764.8673 | 5270.6735 | 39
40 | > 12 MW |  |  |  |  | 40
41 | Secondary Total | 238781.4108 | 183.0747 | 360.1632 | 86000.2678 | 41
42 | [5 empty] | 42
43 | Primary |  |  |  |  | 43
44 | ≤500 kW | 1790.8568 | 83.7329 | 164.7279 | 295.0041 | 44
45 | 500 - 12 MW | 2665.7181 | 91.8628 | 180.7217 | 481.7532 | 45
46 | > 12 MW | 44.1395 | 114.962 | 226.1648 | 9.9828 | 46
47 | Primary Total | 4500.7144 | 88.8544 | 174.8034 | 786.7402 | 47
48 | [5 empty] | 48
49 | Transmission |  |  |  |  | 49
50 | ≤500 kW | 132.4247 | 693.0458 | 1363.4301 | 180.5518 | 50
51 | 500 - 12 MW | 180.5178 | 959.8321 | 1888.2792 | 340.8681 | 51
52 | > 12 MW | 51.8169 | 1320.4162 | 2597.6569 | 134.6026 | 52
53 | Transmission Total | 364.7594 | 914.2001 | 1798.5072 | 656.0224 | 53
54 | [5 empty] | 54
55 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) |  |  |  |  | 55
56 | Secondary | 7083819.1544 | 1.0098 | 1.9865 | 14072.2161 | 56
57 | Primary | 1959909.3045 | 1.0046 | 1.9763 | 3873.3632 | 57
58 | Transmission |  |  |  |  | 58
59 | Total | 9043728.4589 | 1.0086 | 1.9842 | 17944.515 | 59
60 | [5 empty] | 60
61 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) |  |  |  |  | 61
62 | Secondary | 17143321.4377 | 7.4235 | 14.6043 | 250367.01 | 62
63 | Primary | 5069265.4978 | 7.3853 | 14.5291 | 73651.9741 | 63
64 | Transmission |  |  |  |  | 64
65 | Total | 22212586.9355 | 7.4148 | 14.5872 | 324018.9842 | 65
66 | [5 empty] | 66
67 | Total - Medium/Large Commercial & Industrial |  |  |  | 429406.5296 | 67
68 | [5 empty] | 68
69 | Agricultural |  |  |  |  | 69
70 | Customer Marginal Cost ($/Customer-Month) |  |  |  |  | 70
71 | Secondary |  |  |  |  | 71
72 | ≤20 kW | 34978.9307 | 38.1097 | 74.9733 | 2622.4847 | 72
73 | >20 kW | 12071.0257 | 118.5909 | 233.304 | 2816.2189 | 73
74 | Secondary Total | 47049.9564 | 58.7578 | 115.5942 | 5438.7036 | 74
75 | [5 empty] | 75
76 | Primary |  |  |  |  | 76
77 | ≤20 kW | 23.6075 | 56.7566 | 111.6574 | 2.6359 | 77
78 | >20 kW | 146.4361 | 64.0222 | 125.951 | 18.4438 | 78
79 | Primary Total | 170.0436 | 63.0135 | 123.9666 | 21.0797 | 79
80 | [5 empty] | 80
81 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) |  |  |  |  | 81
82 | Secondary | 469880.674 | 0.55943 | 1.1006 | 517.137 | 82
83 | Primary | 62861.6579 | 0.55655 | 1.0949 | 68.8274 | 83
84 | Total | 532742.3319 | 0.55908 | 1.0999 | 585.9573 | 84
85 | [5 empty] | 85
86 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) |  |  |  |  | 86
87 | Secondary | 1366013.585 | 3.4347 | 6.7572 | 9230.4066 | 87
88 | Primary | 186876.8702 | 3.4171 | 6.7224 | 1256.2573 | 88
89 | Total | 1552890.4552 | 3.4326 | 6.753 | 10486.6639 | 89
90 | [5 empty] | 90
91 | Total - Agricultural |  |  |  | 16532.4045 | 91
92 | [5 empty] | 92
93 | Lighting |  |  |  |  | 93
94 | Customer Marginal Cost ($/Lamp-Month) | 1931845 | 1.0151 | 1.9969 | 3857.792 | 94
95 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) | 236762.2179 | 0.20839 | 0.40997 | 97.0645 | 95
96 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) | 236762.2179 | 3.4929 | 6.8717 | 1626.9517 | 96
97 | Total - Lighting |  |  |  | 5581.8082 | 97
98 | [5 empty] | 98
99 | School |  |  |  |  | 99
100 | Non-Lighting |  |  |  |  | 100
101 | Customer Marginal Cost ($/Customer-Month) |  |  |  |  | 101
102 | Secondary |  |  |  |  | 102
103 | ≤20 kW | 7469 | 42.6975 | 83.9988 | 627.3869 | 103
104 | >20 kW | 10986.7298 | 202.8296 | 399.027 | 4384.0019 | 104
105 | Secondary Total | 18455.7298 | 138.0244 | 271.5357 | 5011.3888 | 105
106 | [5 empty] | 106
107 | Primary |  |  |  |  | 107
108 | ≤20 kW | 60 | 56.7566 | 111.6574 | 6.6994 | 108
109 | >20 kW | 508.5012 | 82.0497 | 161.4165 | 82.0805 | 109
110 | Primary Total | 568.5012 | 79.3802 | 156.1649 | 88.7799 | 110
111 | [5 empty] | 111
112 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) |  |  |  |  | 112
113 | Secondary | 410303.4042 | 0.86807 | 1.7077 | 700.6943 | 113
114 | Primary | 50344.3834 | 0.86359 | 1.699 | 85.5326 | 114
115 | Total | 460647.7875 | 0.86758 | 1.7068 | 786.2279 | 115
116 | [5 empty] | 116
117 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) |  |  |  |  | 117
118 | Secondary | 1476932.2183 | 4.3796 | 8.6159 | 12725.1289 | 118
119 | Primary | 180750.8934 | 4.357 | 8.5715 | 1549.3135 | 119
120 | Total | 1657683.1117 | 4.3771 | 8.6111 | 14274.4424 | 120
121 | [5 empty] | 121
122 | Lighting |  |  |  |  | 122
123 | Customer Marginal Cost ($/Lamp-Month) | 3288 | 1.0151 | 1.9969 | 6.566 | 123
124 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) | 1051.5945 | 0.24122 | 0.47456 | 0.49904 | 124
125 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) | 1051.5945 | 4.3796 | 8.6159 | 9.0605 | 125
126 | Total - Lighting |  |  |  | 16.1255 | 126
127 | [5 empty] | 127
128 | Total - School |  |  |  | 20176.9645 | 128
129 | [5 empty] | 129
130 | Total-System |  |  |  |  | 130
131 | Customer Marginal Cost ($/Customer-Month) |  |  |  | 602080.2924 | 131
132 | Summer On-Peak Demand-Related Marginal Cost ($/On-Peak kW) |  |  |  | 42255.8072 | 132
133 | Non-Coincident Demand-Related Marginal Cost ($/Non-Coincident kW) |  |  |  | 766216.4658 | 133
134 | Total - System |  |  |  | 1410552.5655 | 134
| GRC Phase 1 Distribution Revenue Requirement: | 1424610.9116
| Non-Marginal Revenue Requirement | 14058.3462
| Marginal Distribution Revenue Requirement Allocation | 1410552.5655
| Marginal Customer Distribution Revenue Requirement | 306043.728
| Marginal Demand-Related Distribution Revenue Requirement | 410954.9366
| Total Marginal Distribution Revenue Requirement | 716998.6646
| EPMC Allocation Factor | 196.7%
Note:
(1) Determinants: sum of the 2020 determinants (customers-month, on-peak demand kW-year, and non-coincident demand kW-year) by customer class.
(2) Marginal Distribution Customer Rate ($/Customer-Month): equals the marginal distribution customer cost by class divided by the forecasted number of customer months by customer class.
(3) Marginal Distribution On-Peak Demand Rate ($/On-Peak kW): equals the marginal distribution demand cost by customer class multiplied by the percentage of distribution
capacity costs associated with on-peak demand divided by the forecasted annual on-peak demand by customer class.
(4) Marginal Distribution Non-Coincident Demand Rate ($/On-Peak kW): equals the marginal distribution demand cost by customer class multiplied by the percentage of distribution
capacity costs associated with noncoincident demand divided by the forecasted annual non-coincident demand by customer class.
(5) EPMC Distribution Rate: equals the Marginal Distribution Rate multiplied by the EPMC Distribution Allocation Factor.
(6) EPMC Distribution Revenue Allocation: equals the EPMC Distribution Rate multiplying by the applicable determinants.

## Distrib Revenue Allocation
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Uncapped Distribution Revenue Allocation by Customer Class
|  | Updated Distribution Revenue Allocation1 |  |  |  |  | Comparison to Current Allocation2 |  | Comparison to 2016 GRC Phase 2 Proposed Allocation3
|  | Distribution | Non Marginal | Marginal | Proposed |  | Current |  | SDG&E 2016 GRC Phase 2
|  | Allocation | Distribution | Distribution | Total Distribution |  | Total Distribution | Percentage | Proposed Total Distribution | Percentage
|  | Factors | Revenue | Revenue | Revenue Allocation |  | Revenue Allocation | Change | Revenue Allocation | Change
Line | Customer Class | (%) | ($000) | ($000) | ($000) | (%) | ($000) | (%) | ($000) | (%) | Line
No. | (A) | (B) | (C) | (D) | (E) | (F) | (G) | (H) | (I) | (J) | No.
1 | Residential | 51.95% |  | 732755.5541 | 732755.5541 | 51.44% | 629694.1459 | 16.37% | 691912.4356 | 5.903% | 1
2 | [10 empty] | 2
3 | Small Commercial | 14.61% |  | 206099.3045 | 206099.3045 | 14.47% | 224775.4441 | -8.309% | 225353.8287 | -8.544% | 3
4 | [10 empty] | 4
5 | Medium/Large Commercial & Industrial | 30.44% | 10605.8334 | 429406.5296 | 440012.3631 | 30.89% | 542248.522 | -18.85% | 478671.9887 | -8.076% | 5
6 | [10 empty] | 6
7 | Agricultural | 1.172% |  | 16532.4045 | 16532.4045 | 1.16% | 18619.285 | -11.21% | 17554.7694 | -5.824% | 7
8 | [10 empty] | 8
9 | Lighting | 0.3957% | 3398.5941 | 5581.8082 | 8980.4024 | 0.6304% | 9273.5147 | -3.161% | 11117.8892 | -19.23% | 9
10 | [10 empty] | 10
11 | School | 1.43% | 53.9186 | 20176.9645 | 20230.8831 | 1.42% | NA | NA | NA | NA | 11
12 | [10 empty] | 12
13 | System | 100% | 14058.3462 | 1410552.5655 | 1424610.9116 | 100% | 1424610.9116 | 0% | 1424610.9116 | 0% | 13
14 | [10 empty] | 14
15 | Distribution Revenue Requirement ($000):4 | 1424610.9116 | [8 empty] | 15
16 | [10 empty] | 16
17 | Non Marginal Revenue Requirement Components ($000) | [9 empty] | 17
18 | Lighting Facilities & Maintenance Charge Revenues (Non-School):5 | 3398.5941 | [8 empty] | 18
19 | Lighting Facilities & Maintenance Charge Revenues (School):5 | 27.6986 | [8 empty] | 19
20 | Standby Revenues:6 | 7099.8289 | [8 empty] | 20
21 | Distance Adjustment Fee Revenues (Non-School):7 | 3506.0046 | [8 empty] | 21
22 | Distance Adjustment Fee Revenues (School):7 | 26.22 | [8 empty] | 22
Note:
(1) Updated Distribution Revenue Allocation: allocation of the current distribution revenue requirement based on the marginal Distribution Allocation Factors presented in this Application.
(2) Current Total Distribution Revenue Allocation: allocation of current distribution revenue requirement based on the current class distribution allocation percentages reflected in current rates; rates effective January 1, 2019, pursuant to SDG&E Advice Letter 3326-E.
(3) 2016 GRC Phase 2 Proposed Total Distribution Revenue Allocation: total distribution revenue allocation based on the total distribution allocation factors proposed in SDG&E 2016 GRC Phase 2 (A.15-04-012) Rebuttal Testimony of William G. Saxe (Chapter 5) multiplied by the current total distribution revenue requirement.
(4) Distribution Revenue Requirement: the $1,424,611,000 Distribution Revenue Requirement reflects the current distribution revenues being collected in rates effective January 1, 2019, pursuant to SDG&E Advice Letter 3326-E, excluding revenues that have separate allocation treatment
such as Demand Response ("DR") and Vehicle-Grid Integration ("VGI").
(5) Non-Marginal Lighting Facilities & Maintenance Charge Revenues: Lighting Facilities Charges of $3,399,000 for non-school and $28,000 for school are the annual lighting facilities and maintenance revenues identified in the Lighting Model from SDG&E witness William Saxe (Chapter 7) workpapers.
(6) Non-Marginal Standby Revenues: Standby Revenues of $7,100,000 are the standby revenues based on the forecasted standby determinants multiplied by the applicable current standby rates effective January 1, 2019, pursuant to SDG&E Advice Letter 3326-E.
(7) Non-Marginal Distance Adjustment Fee Revenues: Distance Adjustment Fees of $3,506,000 for non-school and $26,000 for school are the annual distance adjustment fees revenues based on the forecasted overhead and underground distance adjustment fee determinants in feet multiplied by the applicable
current distance adjustment fees effective January 1, 2019, pursuant to SDG&E Advice Letter 3326-E.
(8) Input data in blue font comes from a separate source file.

## Distrib Allocation Factors
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Distribution Marginal Cost Allocation Factor by Customer Class
[6 empty] | Total | Distribution
|  | Customer |  | Demand-Related |  | Distribution | Marginal Cost
|  | Marginal Cost | Percentage | Marginal Cost | Percentage | Marginal Cost | Allocation
|  | Revenue | Allocation | Revenue | Allocation | Revenue | Factor
Line | Customer Class | ($000) | (%) | ($000) | (%) | ($000) | (%) | Line
No. | (A) | (B) | (C) | (D) | (E) | (F) | (G) | No.
1 | Residential | 201755.725 | 65.92% | 170711.6092 | 41.54% | 372467.3342 | 51.95% | 1
2 | [7 empty] | 2
3 | Small Commercial | 52507.7653 | 17.16% | 52254.673 | 12.72% | 104762.4383 | 14.61% | 3
4 | [7 empty] | 4
5 | Medium/Large Commercial & Industrial | 44448.2096 | 14.52% | 173823.6336 | 42.3% | 218271.8431 | 30.44% | 5
6 | [7 empty] | 6
7 | Agricultural | 2775.2651 | 0.9068% | 5628.3295 | 1.37% | 8403.5946 | 1.172% | 7
8 | [7 empty] | 8
9 | Lighting | 1960.9561 | 0.6407% | 876.3355 | 0.2132% | 2837.2917 | 0.3957% | 9
10 | [7 empty] | 10
11 | School | 2595.8068 | 0.8482% | 7660.3559 | 1.864% | 10256.1627 | 1.43% | 11
12 | [7 empty] | 12
13 | System | 306043.728 | 100% | 410954.9366 | 100% | 716998.6646 | 100% | 13
Note:
(1) Customer Marginal Cost Revenue: reflects customer-related distribution marginal costs.
(2) Demand-Related Marginal Cost Revenue: reflects feeder & local distribution and substation demand-related distribution marginal costs.

## Distrib Marginal Revenues
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Distribution Marginal Cost Revenues by Customer Class
|  | Secondary | Primary | Transmission | Total
Line | Description | ($000) | ($000) | ($000) | ($000) | Line
No. | (A) | (B) | (C) | (D) | (E) | No.
1 | Customer Marginal Cost: |  |  |  |  | 1
2 | [5 empty] | 2
3 | Residential | 201755.725 |  |  | 201755.725 | 3
4 | Small Commercial |  |  |  |  | 4
5 | 0 - 5 kW | 14028.2859 | 45.4503 |  | 14073.7363 | 5
6 | >5 - 20 kW | 26708.0364 | 9.5027 |  | 26717.5391 | 6
7 | >20 - 50 kW | 10573.1089 | 0.97801 |  | 10574.0869 | 7
8 | >50 kW | 1139.9204 | 2.4826 |  | 1142.403 | 8
9 | Total | 52449.3517 | 58.4136 |  | 52507.7653 | 9
10 | [5 empty] | 10
11 | Medium/Large Commercial & Industrial |  |  |  |  | 11
12 | ≤500 kW | 41035.6996 | 149.9537 | 91.7764 | 41277.4297 | 12
13 | 500 - 12 MW | 2679.1386 | 244.8802 | 173.2668 | 3097.2856 | 13
14 | > 12 MW |  | 5.0744 | 68.4199 | 73.4943 | 14
15 | Total | 43714.8382 | 399.9083 | 333.4631 | 44448.2096 | 15
16 | [5 empty] | 16
17 | Agricultural |  |  |  |  | 17
18 | ≤20 kW | 1333.0365 | 1.3399 |  | 1334.3764 | 18
19 | >20 kW | 1431.5136 | 9.3752 |  | 1440.8888 | 19
20 | Total | 2764.5501 | 10.715 |  | 2775.2651 | 20
21 | [5 empty] | 21
22 | Lighting | 1960.9561 |  |  | 1960.9561 | 22
23 | [5 empty] | 23
24 | School |  |  |  |  | 24
25 | ≤20 kW | 318.9073 | 3.4054 |  | 322.3127 | 25
26 | >20 kW | 2228.4341 | 41.7224 |  | 2270.1565 | 26
27 | Lighting | 3.3375 |  |  | 3.3375 | 27
28 | Total | 2550.679 | 45.1278 |  | 2595.8068 | 28
29 | [5 empty] | 29
30 | System | 305196.1002 | 514.1647 | 333.4631 | 306043.728 | 30
31 | [5 empty] | 31
32 | [5 empty] | 32
33 | Demand-Related Marginal Cost |  |  |  |  | 33
34 | [5 empty] | 34
35 | Feeders & Local Distribution Demand: |  |  |  |  | 35
36 | Residential | 127344.6344 |  |  | 127344.6344 | 36
37 | Small Commercial | 38561.0742 | 380.5774 |  | 38941.6516 | 37
38 | Medium/Large Commercial & Industrial | 99802.2268 | 29359.4233 |  | 129161.6501 | 38
39 | Agricultural | 3666.2179 | 498.9718 |  | 4165.1897 | 39
40 | Lighting | 628.38 |  |  | 628.38 | 40
41 | School (Non-Lighting) | 5083.6538 | 618.9464 |  | 5702.6002 | 41
42 | School (Lighting) | 3.6196 |  |  | 3.6196 | 42
43 | System | 275089.8068 | 30857.9189 |  | 305947.7257 | 43 | Goal Seek
44 | [5 empty] | 44 | Total Based on Dist Planning Forecast Circuit Load | 305947.7257
45 | Substation Demand: |  |  |  |  | 45 | Difference | 0
46 | [5 empty] | 46 | Factor | 1.7203
47 | Residential | 43366.9747 |  |  | 43366.9747 | 47
48 | Small Commercial | 13182.913 | 130.1084 |  | 13313.0214 | 48
49 | Medium/Large Commercial & Industrial | 34509.9757 | 10152.0078 |  | 44661.9835 | 49
50 | Agricultural | 1287.8619 | 175.2779 |  | 1463.1398 | 50
51 | Lighting | 247.9555 |  |  | 247.9555 | 51
52 | School (Non-Lighting) | 1740.9338 | 211.9627 |  | 1952.8965 | 52
53 | School (Lighting) | 1.2396 |  |  | 1.2396 | 53
54 | System | 94337.8542 | 10669.3567 |  | 105007.2109 | 54
55 | Total System Demand-Related Marginal Cost | 369427.661 | 41527.2756 |  | 410954.9366 | 55 | Goal Seek
56 | [5 empty] | 56 | Total Based on Dist Planning Forecast Substation Load | 105007.2109
57 | TOTAL SYSTEM MARGINAL COST | 674623.7611 | 42041.4403 | 333.4631 | 716998.6646 | 57 | Difference | 0
[7 empty] | Factor | 1.6984
Note:
(1) Customer Marginal Cost by Customer Class: equals the class unit marginal customer cost per year multiplied by the TY 2020
forecasted number of customers by class and by voltage level.
(2) Feeder & Local Distribution Demand Cost by Customer Class: equals the unit marginal feeder & local distribution demand cost
per year multiplied by the total non-coincident demand and the product of the class' share of circuit demand and applicable loss factors.
(3) Substation Demand Cost by Customer Class: equals the unit marginal substation demand cost per year multiplied by the
total non-coincident demand and the product of the class' share of substation demand and applicable loss factors.

## Distrib Marginal Cost Summary
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Distribution Marginal Unit Costs by Customer Class
Line | Description | Secondary | Primary | Transmission | Line
No. | (A) | (B) | (C) | (D) | No.
1 | Customer Marginal Cost: |  |  |  | 1
2 | Residential ($/Customer/Year) | 153.0969 |  |  | 2
3 |  |  |  |  | 3
4 | Small Commercial ($/Customer/Year) |  |  |  | 4
5 | 0 - 5 kW | 238.5296 | 552.6064 |  | 5
6 | >5 - 20 kW | 426.9523 | 552.6064 |  | 6
7 | >20 - 50 kW | 952.8123 | 552.6064 |  | 7
8 | >50 kW | 1402.7026 | 684.9066 |  | 8
9 |  |  |  |  | 9
10 | Medium/Large Commercial & Industrial ($/Customer/Year) |  |  |  | 10
11 | ≤500 kW | 2123.539 | 1004.7952 | 8316.5501 | 11
12 | 500 - 12 MW | 4665.4806 | 1102.3531 | 11517.9852 | 12
13 | > 12 MW |  | 1379.5436 | 15844.995 | 13
14 |  |  |  |  | 14
15 | Agricultural ($/Customer/Year) |  |  |  | 15
16 | ≤20 kW | 457.3164 | 681.0794 |  | 16
17 | >20 kW | 1423.0906 | 768.2667 |  | 17
18 |  |  |  |  | 18
19 | Lighting ($/Lamp/Year) | 12.1808 |  |  | 19
20 |  |  |  |  | 20
21 | School |  |  |  | 21
22 | Non-Lighting ($/Customer/Year) |  |  |  | 22
23 | ≤20 kW | 512.3695 | 681.0794 |  | 23
24 | >20 kW | 2433.9553 | 984.5964 |  | 24
25 |  |  |  |  | 25
26 | Lighting ($/Lamp/Year) | 12.1808 |  |  | 26
27 |  |  |  |  | 27
28 | Demand-Related Marginal Cost: |  |  |  | 28
29 | Feeders & Local Distribution Demand ($/kW/Year) | 52.0526 | 52.0526 |  | 29
30 |  |  |  |  | 30
31 | Substation Demand ($/kW/Year) | 19.6124 | 19.6124 |  | 31
32 |  |  |  |  | 32
33 | Total Demand-Related Marginal Cost ($/kW/Year) | 71.665 | 71.665 |  | 33
Note:
(1) Customer, Feeder & Local Distribution Demand and Substation Demand Unit Marginal Costs: Customer, Feeder & Local
Distribution Demand and Substation Demand Unit Marginal Costs are from the direct testimony workpapers of SDG&E witness
William G. Saxe (Chapter 5).
(2) Input data in blue font comes from a separate source file.

## Distrib System Determinants
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Revenue Allocation Determinants
Line | Description | Secondary | Primary | Transmission | Total | Line
No. | (A) | (B) | (C) | (D) | (E) | No.
1 | Forecasted 2020 Customers (Average): |  |  |  |  | 1
2 | Residential | 1317829.8333 |  |  | 1317829.8333 | 2
3 | Small Commercial |  |  |  |  | 3
4 | 0 - 5 kW | 58811.5096 | 82.2472 |  | 58893.7568 | 4
5 | >5 - 20 kW | 62555.0872 | 17.1962 |  | 62572.2834 | 5
6 | >20 - 50 kW | 11096.7386 | 1.7698 |  | 11098.5084 | 6
7 | >50 kW | 812.6601 | 3.6247 |  | 816.2847 | 7
8 | Total | 133275.9955 | 104.8379 |  | 133380.8333 | 8
9 | [5 empty] | 9
10 | Medium/Large Commercial & Industrial |  |  |  |  | 10
11 | ≤500 kW | 19324.2038 | 149.2381 | 11.0354 | 19484.4773 | 11
12 | 500 - 12 MW | 574.2471 | 222.1432 | 15.0432 | 811.4334 | 12
13 | > 12 MW |  | 3.6783 | 4.3181 | 7.9964 | 13
14 | Total | 19898.4509 | 375.0595 | 30.3966 | 20303.9071 | 14
15 | [5 empty] | 15
16 | Agricultural |  |  |  |  | 16
17 | ≤20 kW | 2914.9109 | 1.9673 |  | 2916.8782 | 17
18 | >20 kW | 1005.9188 | 12.203 |  | 1018.1218 | 18
19 | Total | 3920.8297 | 14.1703 |  | 3935 | 19
20 | [5 empty] | 20
21 | Lighting | 5420.8333 |  |  | 5420.8333 | 21
22 | [5 empty] | 22
23 | School |  |  |  |  | 23
24 | ≤20 kW | 622.4167 | 5 |  | 627.4167 | 24
25 | >20 kW | 915.5608 | 42.3751 |  | 957.9359 | 25
26 | Lighting | 103 |  |  | 103 | 26
27 | Total | 1640.9775 | 47.3751 |  | 1688.3526 | 27
28 | [5 empty] | 28
29 | System-Total | 1481986.9202 | 541.4428 | 30.3966 | 1482558.7596 | 29
30 | [5 empty] | 30
31 | Lighting Lamp Count |  |  |  |  | 31
32 | Non-School | 160987.0833 |  |  |  | 32
33 | School | 274 |  |  |  | 33
34 | Total | 161261.0833 |  |  |  | 34
35 | [5 empty] | 35
36 | Forecasted 2020 On-Peak Demand (kW-year): |  |  |  |  | 36
37 | Residential | 18669260.2157 |  |  | 18669260.2157 | 37
38 | Small Commercial | 3807029.1756 | 26930.2808 |  | 3833959.4564 | 38
39 | Medium/Large Commercial & Industrial | 7083819.1544 | 1959909.3045 |  | 9043728.4589 | 39
40 | Agricultural | 469880.674 | 62861.6579 |  | 532742.3319 | 40
41 | Lighting | 236762.2179 |  |  | 236762.2179 | 41
42 | School (Non-Lighting) | 410303.4042 | 50344.3834 |  | 460647.7875 | 42
43 | School (Lighting) | 1051.5945 |  |  | 1051.5945 | 43
44 | Total | 30678106.4364 | 2100045.6266 |  | 32778152.0629 | 44
45 | [5 empty] | 45
46 | Forecasted 2020 Non-Coincident Demand (kW-year): |  |  |  |  | 46
47 | Residential | 45984509.6798 |  |  | 45984509.6798 | 47
48 | Small Commercial | 10289024.2898 | 102072.9869 |  | 10391097.2766 | 48
49 | Medium/Large Commercial & Industrial | 17143321.4377 | 5069265.4978 |  | 22212586.9355 | 49
50 | Agricultural | 1366013.585 | 186876.8702 |  | 1552890.4552 | 50
51 | Lighting | 236762.2179 |  |  | 236762.2179 | 51
52 | School (Non-Lighting) | 1476932.2183 | 180750.8934 |  | 1657683.1117 | 52
53 | School (Lighting) | 1051.5945 |  |  | 1051.5945 | 53
54 | [5 empty] | 54
55 | Total | 76497615.0229 | 5538966.2482 |  | 82036581.2712 | 55
56 | [5 empty] | 56
57 | Circuit Effective Demand Factors |  |  |  |  | 57
58 | Residential |  |  |  | 34.9% | 58
59 | Small Commercial |  |  |  | 47.24% | 59
60 | Medium/Large Commercial & Industrial |  |  |  | 73.37% | 60
61 | Agricultural |  |  |  | 33.83% | 61
62 | Lighting |  |  |  | 33.45% | 62
63 | School |  |  |  | 43.38% | 63
64 | [5 empty] | 64
65 | Substation Effective Demand Factors |  |  |  |  | 65
66 | Residential |  |  |  | 31.95% | 66
67 | Small Commercial |  |  |  | 43.41% | 67
68 | Medium/Large Commercial & Industrial |  |  |  | 68.21% | 68
69 | Agricultural |  |  |  | 31.94% | 69
70 | Lighting |  |  |  | 35.48% | 70
71 | School |  |  |  | 39.94% | 71
72 | [5 empty] | 72
73 | Distribution Loss Factors | 1.0632 | 1.0578 |  |  | 73
Note:
(1) Forecasted 2020 Customers (Average): 2020 customer forecasts developed consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E.
Schiermeyer, Exhibit SDG&E-38.
(2) Forecasted 2020 Non-Coincident Demand (kW-year): forecasted 2020 non-coincident demand determinants were developed consistent with the sales forecast in the 2019 GRC Phase 2
(A.19-03-002) Direct Testimony of Kenneth E. Schiermeyer, Chapter 4.
(3) Circuit and Substation Effective Demand Factors: the class' contribution to circuit and substation demand are based on 3-year average of 2014-2016 demands at the SDG&E circuits and substations.
(4) Distribution Loss Factors: loss factors developed based on SDG&E's distribution load profiles.
(5) Input data in blue font comes from a separate source file.

## Distrib Revenue Requirement
SAN DIEGO GAS & ELECTRIC COMPANY ("SDG&E")
TEST YEAR ("TY") 2019 GENERAL RATE CASE ("GRC") PHASE 2, APPLICATION ("A.") 19-03-002
DISTRIBUTION REVENUE ALLOCATION WORKPAPERS - CHAPTER 5 (SAXE)
Current Distribution Revenue Allocation by Customer Class
Current
|  | Total Distribution | Allocation
|  | Revenue Requirement | Percentage
Line | Customer Class | ($000) | (%) | Line
No. | (A) | (B) | (C) | No.
1 | Residential | 629694.1459 | 44.2% | 1
2 |  |  |  | 2
3 | Small Commercial | 224775.4441 | 15.78% | 3
4 |  |  |  | 4
5 | Medium/Large Commercial & Industrial | 542248.522 | 38.06% | 5
6 |  |  |  | 6
7 | Agricultural | 18619.285 | 1.307% | 7
8 |  |  |  | 8
9 | Lighting | 9273.5147 | 0.651% | 9
10 |  |  |  | 10
11 | School | NA | NA | 11
12 |  |  |  | 12
13 | System | 1424610.9116 | 100% | 13
Note:
(1) Current Total Distribution Revenue Requirement: Current Total Distribution Revenue Requirement is the distribution revenues
collected in rates effective January 1, 2019, pursuant to Advice Letter 3326-E, excluding revenues that have separate allocation
treatment such as Demand Response ("DR") and Vehicle-Grid Integration ("VGI").
(2) Input data in blue font comes from a separate source file.