## NCO - School (Non-Lighting)
NCO - SCHOOL (Non-Lighting) - 2020$
| Secondary |  |  | Primary |  |  | Total-School Class
Cost Component | ≤ 20 MW | > 20 MW | Sec Total | ≤ 20 MW | > 20 MW | Pri Total | ≤ 20 MW | > 20 MW | Total
TSM Components
Transformers | 3117.854 | 13606.1232 | 9247.7994 |  | 0 | 0 | 3117.854 | 12777.6802 | 8910.1631
Services | 537.3786 | 2742.833 | 1826.3725 |  | 3396.422 | 3396.422 | 537.3786 | 2782.6284 | 1883.6948
Meters | 300.904 | 723.5173 | 547.9034 |  | 1044.5898 | 1044.5898 | 300.904 | 743.0666 | 566.0374
Replacement Meters (w/o meter labor costs) | 296.3281 | 714.3716 | 545.1902 |  | 1038.2571 | 928.6788 | 293.9666 | 728.699 | 556.65
Subtotal | 3956.1365 | 17072.4734 | 11622.0752 |  | 4441.0119 | 4441.0119 | 3956.1365 | 16303.3752 | 11359.8953
Subtotal for Replacements (w/o meter labor costs) | 3951.5607 | 17063.3278 | 11619.362 |  | 4434.6792 | 4325.1008 | 3949.1992 | 16289.0076 | 11350.5079
General Plant Loading at
2.909%
Working Capital at
1.995%
Transformers | 3272.5706 | 14281.2972 | 9706.7011 |  | 0 | 0 | 3272.5706 | 13411.7445 | 9352.3104
Services | 564.0448 | 2878.94 | 1917.0022 |  | 3564.962 | 3564.962 | 564.0448 | 2920.7102 | 1977.1691
Meters | 315.8357 | 759.4202 | 575.0919 |  | 1096.4253 | 1096.4253 | 315.8357 | 779.9396 | 594.1257
Replacement Meters (w/o meter labor costs) | 311.0327 | 749.8208 | 572.244 |  | 1089.7784 | 974.7624 | 308.554 | 764.8591 | 584.2725
Subtotal | 4152.4511 | 17919.6575 | 12198.7952 |  | 4661.3873 | 4661.3873 | 4152.4511 | 17112.3944 | 11923.6052
Subtotal for Replacements (w/o meter labor costs) | 4147.6482 | 17910.058 | 12195.9474 |  | 4654.7404 | 4539.7245 | 4145.1695 | 17097.3138 | 11913.752
PVRR of TSM Components
Transformers (368.1) at 123.76% | 4050.1471 | 17674.593 | 12013.0538 |  | 0 | 0 | 4050.1471 | 16598.431 | 11574.4584
Services (369.2) at 123.27% | 695.3224 | 3548.9938 | 2363.1715 |  | 4394.6828 | 4394.6828 | 695.3224 | 3600.4857 | 2437.3418
Meters (Average 370.11 & 370.21) at 107.68% | 340.078 | 817.7106 | 619.2339 |  | 1180.5829 | 1180.5829 | 340.078 | 839.805 | 639.7287
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 334.9064 | 807.3743 | 616.1674 |  | 1173.4258 | 1049.5816 | 332.2375 | 823.5669 | 629.1191
Subtotal | 5085.5476 | 22041.2974 | 14995.4592 |  | 5575.2657 | 5575.2657 | 5085.5476 | 21038.7217 | 14651.5288
Subtotal for Replacements (w/o meter labor costs) | 5080.376 | 22030.9611 | 14992.3927 |  | 5568.1086 | 5444.2644 | 5077.707 | 21022.4836 | 14640.9193
2020 Beginning Of Year (BOY) | 622.4167 | 957.9359 | 1580.3526 |  | 18.6654 | 18.6654 | 622.4167 | 976.6013 | 1599.0179
New Customers | 2.9086 | 39.2087 | 42.1173 |  | 0.18712 | 0.18712 | 2.9086 | 39.3959 | 42.3044
Replacement Customers | 9.3362 | 14.369 | 23.7053 |  | 0.27998 | 0.27998 | 9.3362 | 14.649 | 23.9853
NCO TSM Component per 2020 Customer | 99.9706 | 1232.6246 | 624.5237 |  | 139.413 | 137.5553 | 99.9306 | 1164.0343 | 607.2422
O&M Expenses | 41.9003 | 179.8814 | 122.5443 |  | 46.8266 | 46.8266 | 41.9003 | 171.78 | 119.7799
Miscellaneous Revenue Offset | -3.0284 | -3.0284 | -3.0284 |  | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284
Customer Accounts/Services | 56.7651 | 481.197 | 304.8274 |  | 481.5503 | 481.5503 | 56.7651 | 481.2185 | 311.2796
Subtotal per 2020 Customer | 95.6369 | 658.05 | 424.3434 |  | 525.3485 | 525.3485 | 95.6369 | 649.9702 | 428.0311
Annual NCO per 2020 Customer | 195.6075 | 1890.6746 | 1048.867 |  | 664.7615 | 662.9039 | 195.5675 | 1814.0045 | 1035.2732
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "Ch_5_WP#3_Marg Dist Cust Costs for School Class_Rebuttal"
Chapter 5 workpaper file. The Replacement Meters (w/o meter labor costs) (Row 11) from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Res
NCO - RESIDENTIAL CLASS - 2020$
Cost Component | DR | DM | DS | DT | DT-RV | DR-TOU | TOU-DR | DR-SES | EV-TOU | EV-TOU-2 | Class
TSM Components
Transformers | 1464.5655 | [9 empty] | 1464.5655
Services | 231.9298 | [9 empty] | 231.9298
Meters | 267.2095 | [9 empty] | 267.2095
Replacement Meters (w/o meter labor costs) | 212.1975 | [9 empty] | 212.1975
Subtotal | 1963.7048 | [9 empty] | 1963.7048
Subtotal for Replacements (w/o meter labor costs) | 1908.6928 | [9 empty] | 1908.6928
General Plant Loading at
2.909%
Working Capital at
1.995%
Transformers (line) | 1537.2414 | [9 empty] | 1537.2414
Services (UG) | 243.4388 | [9 empty] | 243.4388
Meters | 280.4692 | [9 empty] | 280.4692
Replacement Meters (w/o meter labor costs) | 222.7273 | [9 empty] | 222.7273
Subtotal | 2061.1493 | [9 empty] | 2061.1493
Subtotal for Replacements (w/o meter labor costs) | 2003.4075 | [9 empty] | 2003.4075
PVRR of TSM Components
Transformers (368.1) at 123.76% | 1902.4963 | [9 empty] | 1902.4963
Services (369.2) at 123.27% | 300.0975 | [9 empty] | 300.0975
Meters (Average 370.11 & 370.21) at 107.68% | 301.997 | [9 empty] | 301.997
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 239.8231 | [9 empty] | 239.8231
Subtotal | 2504.5908 | [9 empty] | 2504.5908
Subtotal for Replacements (w/o meter labor costs) | 2442.4169 | [9 empty] | 2442.4169
2020 Beginning Of Year (BOY) | 1 | [9 empty] | 1
New Customers | 0.00070198 | [9 empty] | 0.00070198
Replacement Customers | 0.015 | [9 empty] | 0.015
NCO TSM Component per 2020 Customer | 38.3944 | [9 empty] | 38.3944
O&M Expenses | 16.7431 | [9 empty] | 16.7431
Miscellaneous Revenue Offset | -3.0284 | [9 empty] | -3.0284
Customer Accounts/Services | 28.4789 | [9 empty] | 28.4789
Subtotal per 2020 Customer | 42.1935 | [9 empty] | 42.1935
Annual NCO per 2020 Customer | 80.588 | [9 empty] | 80.588
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "Ch_5_WP#3_2019 GRC P2 Marg Dist Cust Costs for School Class_Rebuttal"
Chapter 5 workpaper file. The Replacement Meters (w/o meter labor costs) (Row 11) from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Small Commercial
NCO - SMALL COMMERCIAL - 2020$
| Secondary |  |  |  |  | Primary |  |  |  |  | Small Commercial Total
Cost Component | 0-5 kW | >5 - 20 kW | >20 - 50 kW | >50 kW | Sec Total | 0-5 kW | >5 - 20 kW | >20 - 50 kW | >50 kW | Pri Total | 0-5 kW | >5 - 20 kW | >20 - 50 kW | >50 kW | Total
TSM Components
Transformers | 639.3692 | 2204.6344 | 7496.0853 | 12932.2573 | 3124.5981 | [5 empty] | 639.3692 | 2204.6344 | 7496.0853 | 12932.2573 | 3124.5981
Services | 356.6636 | 523.6054 | 646.4454 | 1570.9759 | 537.2839 | [5 empty] | 356.6636 | 523.6054 | 646.4454 | 1570.9759 | 537.2839
Meters | 286.0992 | 299.588 | 292.3909 | 497.5784 | 300.8738 | [5 empty] | 286.0992 | 299.588 | 292.3909 | 497.5784 | 300.8738
Replacement Meters (w/o meter labor costs) | 281.8407 | 295.0384 | 287.9967 | 490.995 | 296.3626 | [5 empty] | 281.8407 | 295.0384 | 287.9967 | 490.995 | 296.3626
Subtotal | 1282.1319 | 3027.8277 | 8434.9216 | 15000.8117 | 3962.7558 | [5 empty] | 1282.1319 | 3027.8277 | 8434.9216 | 15000.8117 | 3962.7558
Subtotal for Replacements (w/o meter labor costs) | 1277.8734 | 3023.2782 | 8430.5273 | 14994.2283 | 3958.2446 | [5 empty] | 1277.8734 | 3023.2782 | 8430.5273 | 14994.2283 | 3958.2446
General Plant Loading at
2.909%
Working Capital at
1.995%
Transformers | 671.0964 | 2314.0345 | 7868.0621 | 13573.9922 | 3279.6494 | [5 empty] | 671.0964 | 2314.0345 | 7868.0621 | 13573.9922 | 3279.6494
Services | 374.3623 | 549.5881 | 678.5238 | 1648.9322 | 563.9454 | [5 empty] | 374.3623 | 549.5881 | 678.5238 | 1648.9322 | 563.9454
Meters | 300.2962 | 314.4543 | 306.9002 | 522.2697 | 315.804 | [5 empty] | 300.2962 | 314.4543 | 306.9002 | 522.2697 | 315.804
Replacement Meters (w/o meter labor costs) | 295.8264 | 309.6791 | 302.2879 | 515.3596 | 311.0689 | [5 empty] | 295.8264 | 309.6791 | 302.2879 | 515.3596 | 311.0689
Subtotal | 1345.7549 | 3178.077 | 8853.4861 | 15745.194 | 4159.3989 | [5 empty] | 1345.7549 | 3178.077 | 8853.4861 | 15745.194 | 4159.3989
Subtotal for Replacements (w/o meter labor costs) | 1341.2851 | 3173.3017 | 8848.8738 | 15738.284 | 4154.6638 | [5 empty] | 1341.2851 | 3173.3017 | 8848.8738 | 15738.284 | 4154.6638
PVRR of TSM Components
Transformers (368.1) at 123.76% | 830.5518 | 2863.8588 | 9737.5465 | 16799.2294 | 4058.9078 | [5 empty] | 830.5518 | 2863.8588 | 9737.5465 | 16799.2294 | 4058.9078
Services (369.2) at 123.27% | 461.4925 | 677.501 | 836.4456 | 2032.71 | 695.1999 | [5 empty] | 461.4925 | 677.501 | 836.4456 | 2032.71 | 695.1999
Meters (Average 370.11 & 370.21) at 107.68% | 323.3458 | 338.5907 | 330.4567 | 562.3572 | 340.044 | [5 empty] | 323.3458 | 338.5907 | 330.4567 | 562.3572 | 340.044
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 318.5329 | 333.4489 | 325.4904 | 554.9167 | 334.9454 | [5 empty] | 318.5329 | 333.4489 | 325.4904 | 554.9167 | 334.9454
Subtotal | 1615.3901 | 3879.9505 | 10904.4488 | 19394.2966 | 5094.1517 | [5 empty] | 1615.3901 | 3879.9505 | 10904.4488 | 19394.2966 | 5094.1517
Subtotal for Replacements (w/o meter labor costs) | 1610.5772 | 3874.8087 | 10899.4825 | 19386.8561 | 5089.0532 | [5 empty] | 1610.5772 | 3874.8087 | 10899.4825 | 19386.8561 | 5089.0532
2020 Beginning Of Year (BOY) | 153.5833 | 311.5833 | 134.4167 | 19.4167 | 619 | [5 empty] | 158.5833 | 311.5833 | 134.4167 | 19.4167 | 624
New Customers | 0.71363 | 1.4683 | 0.62918 | 0.096778 | 2.9079 | [5 empty] | 0.71363 | 1.4683 | 0.62918 | 0.096778 | 2.9079
Replacement Customers | 2.3037 | 4.6737 | 2.0162 | 0.29125 | 9.285 | [5 empty] | 2.3788 | 4.6737 | 2.0162 | 0.29125 | 9.36
NCO TSM Component per 2020 Customer | 31.6647 | 76.4058 | 214.5339 | 387.4693 | 100.2666 | [5 empty] | 31.428 | 76.4058 | 214.5339 | 387.4693 | 100.0748
O&M Expenses | 41.5812 | 41.5812 | 42.6776 | 41.5812 | 41.7838 | [5 empty] | 41.5812 | 41.5812 | 42.6776 | 41.5812 | 41.7838
Miscellaneous Revenue Offset | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | [5 empty] | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284
Customer Accounts/Services | 38.5528 | 38.5528 | 39.6492 | 38.5528 | 38.7554 | [5 empty] | 38.5528 | 38.5528 | 39.6492 | 38.5528 | 38.7554
Subtotal per 2020 Customer | 77.1056 | 77.1056 | 79.2984 | 77.1056 | 77.5108 | [5 empty] | 77.1056 | 77.1056 | 79.2984 | 77.1056 | 77.5108
Annual NCO per 2020 Customer | 108.7703 | 153.5114 | 293.8323 | 464.5749 | 177.7774 | [5 empty] | 108.5336 | 153.5114 | 293.8323 | 464.5749 | 177.5857
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "Ch_5_WP#3_Marg Dist Cust Costs for School Class_Rebuttal" Chapter 5 workpaper file.
The Replacement Meters (w/o meter labor costs) (Row 11) from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Medium-Large C&I
NCO - MEDIUM/LARGE C&I - 2020$
| Secondary |  |  |  | Primary |  |  |  | Transmission |  |  |  | Medium/Large C&I Total
Cost Component | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total
TSM Components
Transformers | 13154.2479 | 28884.4778 |  | 13604.1774 | 0 | 0 |  | 0 |  |  |  |  | 12556.9739 | 17465.0331 |  | 12774.9972
Services | 2610.4345 | 7182.7881 |  | 2741.2169 | 3396.422 | 3396.422 |  | 3396.422 |  |  |  |  | 2646.1226 | 5685.8527 |  | 2781.1519
Meters | 716.9166 | 939.383 |  | 723.2798 | 1042.3086 | 1050.2259 |  | 1044.5898 |  |  |  |  | 731.6912 | 983.2046 |  | 742.8638
Replacement Meters (w/o meter labor costs) | 707.9376 | 928.1162 |  | 714.2354 | 1030.3899 | 1038.2571 |  | 1032.6567 |  |  |  |  | 722.5787 | 971.6603 |  | 733.6433
Subtotal | 16481.599 | 37006.6489 |  | 17068.6741 | 4438.7306 | 4446.648 |  | 4441.0119 |  |  |  |  | 15934.7877 | 24134.0904 |  | 16299.0129
Subtotal for Replacements (w/o meter labor costs) | 16472.62 | 36995.3821 |  | 17059.6297 | 4426.812 | 4434.6792 |  | 4429.0788 |  |  |  |  | 15925.6752 | 24122.5461 |  | 16289.7924
General Plant Loading at
2.909%
Working Capital at
1.995%
Transformers | 13806.9986 | 30317.8066 |  | 14279.2549 | 0 | 0 |  | 0 |  |  |  |  | 13180.0862 | 18331.697 |  | 13408.9284
Services | 2739.9716 | 7539.2182 |  | 2877.2438 | 3564.962 | 3564.962 |  | 3564.962 |  |  |  |  | 2777.4306 | 5968.0007 |  | 2919.1605
Meters | 752.492 | 985.9978 |  | 759.171 | 1094.0308 | 1102.3411 |  | 1096.4253 |  |  |  |  | 767.9998 | 1031.994 |  | 779.7268
Replacement Meters (w/o meter labor costs) | 743.0675 | 974.1719 |  | 749.6777 | 1081.5208 | 1089.7784 |  | 1083.9001 |  |  |  |  | 758.4351 | 1019.8768 |  | 770.0487
Subtotal | 17299.4622 | 38843.0227 |  | 17915.6696 | 4658.9929 | 4667.3031 |  | 4661.3873 |  |  |  |  | 16725.5165 | 25331.6917 |  | 17107.8156
Subtotal for Replacements (w/o meter labor costs) | 17290.0376 | 38831.1968 |  | 17906.1764 | 4646.4828 | 4654.7404 |  | 4648.8621 |  |  |  |  | 16715.9519 | 25319.5745 |  | 17098.1376
PVRR of TSM Components
Transformers (368.1) at 123.76% | 17087.599 | 37521.444 |  | 17672.0655 | 0 | 0 |  | 0 |  |  |  |  | 16311.7297 | 22687.3848 |  | 16594.9458
Services (369.2) at 123.27% | 3377.6814 | 9293.9202 |  | 3546.9027 | 4394.6828 | 4394.6828 |  | 4394.6828 |  |  |  |  | 3423.8587 | 7357.0124 |  | 3598.5753
Meters (Average 370.11 & 370.21) at 107.68% | 810.2506 | 1061.6794 |  | 817.4422 | 1178.0046 | 1186.9527 |  | 1180.5829 |  |  |  |  | 826.9486 | 1111.2061 |  | 839.5758
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 800.1026 | 1048.9458 |  | 807.2203 | 1164.5343 | 1173.4258 |  | 1167.0963 |  |  |  |  | 816.6498 | 1098.1588 |  | 829.1549
Subtotal | 21275.531 | 47877.0437 |  | 22036.4104 | 5572.6874 | 5581.6355 |  | 5575.2657 |  |  |  |  | 20562.537 | 31155.6032 |  | 21033.0968
Subtotal for Replacements (w/o meter labor costs) | 21265.3831 | 47864.31 |  | 22026.1885 | 5559.2171 | 5568.1086 |  | 5561.7791 |  |  |  |  | 20552.2382 | 31142.556 |  | 21022.6759
2020 Beginning Of Year (BOY) | 889.3581 | 25.6194 |  | 914.9775 | 23.7097 | 18.6654 |  | 42.3751 |  |  |  |  | 913.0678 | 44.2848 |  | 957.3526
New Customers | 23.6523 | 0.68802 |  | 24.3403 | 0.32106 | 0.18712 |  | 0.50817 |  |  |  |  | 37.6693 | 1.5394 |  | 39.2087
Replacement Customers | 13.3404 | 0.38429 |  | 13.7247 | 0.35565 | 0.27998 |  | 0.63563 |  |  |  |  | 13.696 | 0.66427 |  | 14.3603
NCO TSM Component per 2020 Customer | 884.7984 | 2003.7221 |  | 916.6067 | 158.8485 | 139.4769 |  | 150.2868 |  |  |  |  | 1156.6074 | 1550.1568 |  | 1176.7588
O&M Expenses | 179.9781 | 179.8457 |  | 179.9743 | 46.8211 | 46.8402 |  | 46.8266 |  |  |  |  | 171.9942 | 168.9492 |  | 171.8589
Miscellaneous Revenue Offset | -3.0284 | -3.0284 |  | -3.0284 | -3.0284 | -3.0284 |  | -3.0284 |  |  |  |  | -3.0284 | -3.0284 |  | -3.0284
Customer Accounts/Services | 481.5503 | 481.5503 |  | 481.5503 | 481.5503 | 481.5503 |  | 481.5503 |  |  |  |  | 481.5503 | 481.5503 |  | 481.5503
Subtotal per 2020 Customer | 658.5 | 658.3676 |  | 658.4962 | 525.343 | 525.3621 |  | 525.3485 |  |  |  |  | 650.5161 | 647.4711 |  | 650.3808
Annual NCO per 2020 Customer | 1543.2984 | 2662.0898 |  | 1575.103 | 684.1915 | 664.839 |  | 675.6353 |  |  |  |  | 1807.1235 | 2197.6279 |  | 1827.1396
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "Ch_5_WP#3_Marg Dist Cust Costs for School Class_Rebuttal" Chapter 5 workpaper file. The Replacement Meters (w/o meter labor costs) (Row 11)
from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Agricultural Class
NCO - AGRICULTURAL - 2020$
| Secondary |  |  | Primary |  |  | Total-Agricultural Class
Cost Component | ≤ 20 MW | > 20 MW | Sec Total | ≤ 20 MW | > 20 MW | Pri Total | ≤ 20 MW | > 20 MW | Total
TSM Components
Transformers | 1772.8869 | 15374.8173 | 6306.8637 |  |  |  | 1772.8869 | 15374.8173 | 6306.8637
Services | 720.5966 | 4211.8571 | 1884.3501 |  |  |  | 720.5966 | 4211.8571 | 1884.3501
Meters | 327.4569 | 939.383 | 531.4322 |  |  |  | 327.4569 | 939.383 | 531.4322
Replacement Meters (w/o meter labor costs) | 322.3061 | 928.1162 | 524.2428 |  |  |  | 322.3061 | 928.1162 | 524.2428
Subtotal | 2820.9403 | 20526.0575 | 8722.646 |  |  |  | 2820.9403 | 20526.0575 | 8722.646
Subtotal for Replacements (w/o meter labor costs) | 2815.7895 | 20514.7907 | 8715.4566 |  |  |  | 2815.7895 | 20514.7907 | 8715.4566
General Plant Loading at
2.909%
Working Capital at
1.995%
Transformers | 1860.8625 | 16137.7589 | 6619.828 |  |  |  | 1860.8625 | 16137.7589 | 6619.828
Services | 756.3546 | 4420.8613 | 1977.8568 |  |  |  | 756.3546 | 4420.8613 | 1977.8568
Meters | 343.7062 | 985.9978 | 557.8034 |  |  |  | 343.7062 | 985.9978 | 557.8034
Replacement Meters (w/o meter labor costs) | 338.2998 | 974.1719 | 550.2572 |  |  |  | 338.2998 | 974.1719 | 550.2572
Subtotal | 2960.9233 | 21544.6181 | 9155.4882 |  |  |  | 2960.9233 | 21544.6181 | 9155.4882
Subtotal for Replacements (w/o meter labor costs) | 2955.5169 | 21532.7922 | 9147.942 |  |  |  | 2955.5169 | 21532.7922 | 9147.942
PVRR of TSM Components
Transformers (368.1) at 123.76% | 2303.0112 | 19972.1578 | 8192.7267 |  |  |  | 2303.0112 | 19972.1578 | 8192.7267
Services (369.2) at 123.27% | 932.391 | 5449.7868 | 2438.1896 |  |  |  | 932.391 | 5449.7868 | 2438.1896
Meters (Average 370.11 & 370.21) at 107.68% | 370.0878 | 1061.6794 | 600.6184 |  |  |  | 370.0878 | 1061.6794 | 600.6184
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 364.2665 | 1048.9458 | 592.4929 |  |  |  | 364.2665 | 1048.9458 | 592.4929
Subtotal | 3605.49 | 26483.624 | 11231.5347 |  |  |  | 3605.49 | 26483.624 | 11231.5347
Subtotal for Replacements (w/o meter labor costs) | 3599.6687 | 26470.8904 | 11223.4093 |  |  |  | 3599.6687 | 26470.8904 | 11223.4093
2020 Beginning Of Year (BOY) | 2.4167 | 0.58333 | 3 |  |  |  | 2.4167 | 0.58333 | 3
New Customers | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
Replacement Customers | 0.03625 | 0.00875 | 0.045 |  |  |  | 0.03625 | 0.00875 | 0.045
NCO TSM Component per 2020 Customer | 53.995 | 397.0634 | 168.3511 |  |  |  | 53.995 | 397.0634 | 168.3511
O&M Expenses | 91.9727 | 91.9727 | 91.9727 |  |  |  | 91.9727 | 91.9727 | 91.9727
Miscellaneous Revenue Offset | -3.0284 | -3.0284 | -3.0284 |  |  |  | -3.0284 | -3.0284 | -3.0284
Customer Accounts/Services | 160.0528 | 160.0528 | 160.0528 |  |  |  | 160.0528 | 160.0528 | 160.0528
Subtotal per 2020 Customer | 248.9971 | 248.9971 | 248.9971 |  |  |  | 248.9971 | 248.9971 | 248.9971
Annual NCO per 2020 Customer | 302.9921 | 646.0605 | 417.3483 |  |  |  | 302.9921 | 646.0605 | 417.3483
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "Ch_5_WP#3_Marg Dist Cust Costs for School Class_Rebuttal"
Chapter 5 workpaper file. The Replacement Meters (w/o meter labor costs) (Row 11) from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Lighting
NCO - LIGHTING CLASS - 2020$
Cost Component | Unmetered Lighting
TSM Components per Lamp basis
Transformers | 35.1496
Services | 46.9723
Meters | 0
Subtotal | 82.1219
General Plant Loading at | 2.3893
2.909%
Working Capital at | 1.6858
1.995%
Transformers | 36.8938
Services | 49.3032
Meters | 0
Subtotal | 86.197
PVRR of TSM Components
Transformers (368.1) at 123.76% | 45.6599
Services (369.2) at 123.27% | 60.7782
Meters (Average 370.11 & 370.21) at 107.68% | 0
Replacement Meters (Average 370.11 & 370.21) at 107.68%
Subtotal per Lamp Basis | 106.4381
Average 2020 Number of Lamps | 3145.2171
Average 2020 Number of Customers | 103
Subtotal per Customer Basis | 3250.2044
2020 Beginning Of Year (BOY) | 103
New Plus Replacement Customers | 1.545
NCO TSM Component per Customer | 48.7531
NCO TSM Component per Lamp | 1.5966
O&M Expenses | 0.19745
Miscellaneous Revenue Offset | -0.099175
Customer Accounts/Services | 1.1317
Subtotal per 2020 Lamp | 1.23
Annual NCO per 2020 Lamp | 2.8265
Note: TSM (Rows 8-10), Number of Lamps (Row 31), Number of Customers (Row 32), O&M Expenses (Row 42), Miscellaneous Revenue Offset (Row 43),
and Customer Account/Services (Row 44) cost from the "Ch_5_WP#3_Marg Dist Cust Costs for School Class_Rebuttal" Chapter 5 workpaper file.

## NCO Res Cust Fcst
NCO - 2020 CUSTOMERS - RESIDENTIAL CLASS
Cost Component | DR | DM | DS | DT | DT-RV | DR-TOU | DR-SES | EV-TOU-1 | EV-TOU-2 | Class
Forecast 2020 Avg | 1 | [8 empty] | 1
Forecast 2020 BOY | 1 | [8 empty] | 1
(Beginning Of Year)
New Customers Assumed | 0.00070198 | [8 empty] | 0.00070198
Replacement Customers | 0.015 | [8 empty] | 0.015
(1.50% of 2020 BOY)
New Plus Replacement Customers | 0.015702 | [8 empty] | 0.015702
Note: Forecasted number of School class customers based on the current customer count plus new customers and replacement customers based on the residential class.

## NCO Sml Comm Cust Fcst
NCO - 2020 CUSTOMERS - SMALL COMMERCIAL CLASS
| TOU-A | [5 empty] | Total Small Commercial
Cost Component | Secondary | Primary | Total | A-TC | TOU-M | UM | Secondary | Primary | Total
Forecast 2020 Avg | 617 | 5 | 622 |  | 2 |  | 619 | 5 | 624
≤ 5 kW | 151.5833 | 5 | 156.5833 |  | 2 |  | 153.5833 | 5 | 158.5833
> 5-20 kW | 311.5833 | 0 | 311.5833 |  | 0 |  | 311.5833 | 0 | 311.5833
> 20-50 kW | 134.4167 | 0 | 134.4167 |  | 0 |  | 134.4167 | 0 | 134.4167
> 50 kW | 19.4167 | 0 | 19.4167 |  | 0 |  | 19.4167 | 0 | 19.4167
Forecast 2020 BOY | 617 | 5 | 622 |  | 2 |  | 619 | 5 | 624
≤ 5 kW | 151.5833 | 5 | 156.5833 |  | 2 |  | 153.5833 | 5 | 158.5833
> 5-20 kW | 311.5833 | 0 | 311.5833 |  | 0 |  | 311.5833 | 0 | 311.5833
> 20-50 kW | 134.4167 | 0 | 134.4167 |  | 0 |  | 134.4167 | 0 | 134.4167
> 50 kW | 19.4167 | 0 | 19.4167 |  | 0 |  | 19.4167 | 0 | 19.4167
New Customers Assumed | 2.9079 | 0 | 2.9079 |  | 0 |  | 2.9079 | 0 | 2.9079
≤ 5 kW | 0.71363 | 0 | 0.71363 |  | 0 |  | 0.71363 | 0 | 0.71363
> 5-20 kW | 1.4683 | 0 | 1.4683 |  | 0 |  | 1.4683 | 0 | 1.4683
> 20-50 kW | 0.62918 | 0 | 0.62918 |  | 0 |  | 0.62918 | 0 | 0.62918
> 50 kW | 0.096778 | 0 | 0.096778 |  | 0 |  | 0.096778 | 0 | 0.096778
Replacement Customers
(1.50% of 2020 BOY) | 9.255 | 0.075 | 9.33 |  | 0.03 |  | 9.285 | 0.075 | 9.36
≤ 5 kW | 2.2738 | 0.075 | 2.3488 |  | 0.03 |  | 2.3037 | 0.075 | 2.3788
> 5-20 kW | 4.6737 | 0 | 4.6737 |  | 0 |  | 4.6737 | 0 | 4.6737
> 20-50 kW | 2.0162 | 0 | 2.0162 |  | 0 |  | 2.0162 | 0 | 2.0162
> 50 kW | 0.29125 | 0 | 0.29125 |  | 0 |  | 0.29125 | 0 | 0.29125
New Plus Replacement Customers | 12.1629 | 0.075 | 12.2379 |  | 0.03 |  | 12.1929 | 0.075 | 12.2679
≤ 5 kW | 2.9874 | 0.075 | 3.0624 |  | 0.03 |  | 3.0174 | 0.075 | 3.0924
> 5-20 kW | 6.142 | 0 | 6.142 |  | 0 |  | 6.142 | 0 | 6.142
> 20-50 kW | 2.6454 | 0 | 2.6454 |  | 0 |  | 2.6454 | 0 | 2.6454
> 50 kW | 0.38803 | 0 | 0.38803 |  | 0 |  | 0.38803 | 0 | 0.38803
Notes:
(1) Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer,
Exhibit SDG&E-38.
(2) 2020 Service Voltage Percentages from the system determinants file.

## NCO Medium-Large C&I Cust Fcst
NCO - 2020 CUSTOMERS - MEDIUM/LARGE COMMERCIAL INDUSTRIAL (M/L C&I) CLASS
| OL-TOU | AL-TOU |  |  |  | DGR |  |  | A6-TOU |  |  | Total M/L C&I Class
Cost Component | Secondary | Secondary | Primary | Transmission | Total | Secondary | Primary | Total | Primary | Transmission | Total | Secondary | Primary | Transmission | Total
Forecast 2020 Avg | 3 | 810.8691 | 26.3809 |  | 837.25 | 101.1084 | 14.9942 | 116.1026 | 1 |  | 1 | 914.9775 | 42.3751 |  | 957.3526
≤ 500 kW | 3 | 788.0731 | 16.3956 |  | 804.4686 | 98.285 | 7.3142 | 105.5992 |  |  |  | 889.3581 | 23.7097 |  | 913.0678
> 500 kW - 12 MW |  | 22.7961 | 9.9853 |  | 32.7814 | 2.8234 | 7.68 | 10.5034 | 1 |  | 1 | 25.6194 | 18.6654 |  | 44.2848
> 12 MW |  |  |  |  | 0 | [9 empty] | 0
Forecast 2020 BOY
(Beginning Of Year) | 3 | 810.8691 | 26.3809 |  | 837.25 | 101.1084 | 14.9942 | 116.1026 | 1 |  | 1 | 914.9775 | 42.3751 |  | 957.3526
≤ 500 kW | 3 | 788.0731 | 16.3956 |  | 804.4686 | 98.285 | 7.3142 | 105.5992 |  |  |  | 889.3581 | 23.7097 |  | 913.0678
> 500 kW - 12 MW |  | 22.7961 | 9.9853 |  | 32.7814 | 2.8234 | 7.68 | 10.5034 | 1 |  | 1 | 25.6194 | 18.6654 |  | 44.2848
> 12 MW |  |  |  |  | 0
New Customers Assumed | 0 | 13.8912 | 0.50817 |  | 14.3993 | 10.4491 | 0 | 10.4491 | 0 |  | 0 | 24.3403 | 0.50817 |  | 24.8485
≤ 500 kW | 0 | 13.4961 | 0.32106 |  | 13.8172 | 10.1562 | 0 | 10.1562 | 0 |  | 0 | 23.6523 | 0.32106 |  | 23.9733
> 500 kW - 12 MW |  | 0.39506 | 0.18712 |  | 0.58217 | 0.29296 | 0 | 0.29296 |  |  |  | 0.68802 | 0.18712 |  | 0.87514
> 12 MW
Replacement Customers
(1.50% of 2020 BOY) | 0.045 | 12.163 | 0.39571 |  | 12.5587 | 1.5166 | 0.22491 | 1.7415 | 0.015 |  | 0.015 | 13.7247 | 0.63563 |  | 14.3603
≤ 500 kW | 0.045 | 11.8211 | 0.24593 |  | 12.067 | 1.4743 | 0.10971 | 1.584 |  |  |  | 13.3404 | 0.35565 |  | 13.696
> 500 kW - 12 MW |  | 0.34194 | 0.14978 |  | 0.49172 | 0.04235 | 0.1152 | 0.15755 | 0.015 |  | 0.015 | 0.38429 | 0.27998 |  | 0.66427
> 12 MW |  |  |  |  | 0
New Plus Replacement Customers | 0.045 | 26.0542 | 0.90389 |  | 26.9581 | 11.9658 | 0.22491 | 12.1907 | 0.015 |  | 0.015 | 38.0649 | 1.1438 |  | 39.2087
≤ 500 kW | 0.045 | 25.3172 | 0.56699 |  | 25.8842 | 11.6304 | 0.10971 | 11.7401 |  |  |  | 36.9926 | 0.6767 |  | 37.6693
> 500 kW - 12 MW |  | 0.737 | 0.3369 |  | 1.0739 | 0.33531 | 0.1152 | 0.45051 | 0.015 |  | 0.015 | 1.0723 | 0.4671 |  | 1.5394
> 12 MW |  |  |  |  | 0
Notes:
(1) Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer, Exhibit SDG&E-38.
(2) 2020 Service Voltage Percentages from the system determinants file.

## NCO Agricultural
NCO - 2020 CUSTOMERS - AGRICULTURAL CLASS
| TOU-PA |  |  | PA-T-1 |  |  | Total
Cost Component | Secondary | Primary | Total | Secondary | Primary | Total | Secondary | Primary | Total
Forecast 2020 Avg | 3 |  | 3 |  |  |  | 3 |  | 3
< 20 kW | 2.4167 |  | 2.4167 |  |  |  | 2.4167 |  | 2.4167
≥ 20 kW | 0.58333 |  | 0.58333 |  |  |  | 0.58333 |  | 0.58333
Forecast 2020 BOY
(Beginning Of Year) | 3 |  | 3 |  |  |  | 3 |  | 3
< 20 kW | 2.4167 |  | 2.4167 |  |  |  | 2.4167 |  | 2.4167
≥ 20 kW | 0.58333 |  | 0.58333 |  |  |  | 0.58333 |  | 0.58333
New Customers Assumed | 0 |  | 0 |  |  |  | 0 |  | 0
< 20 kW | 0 |  | 0 |  |  |  | 0 |  | 0
≥ 20 kW | 0 |  | 0 |  |  |  | 0 |  | 0
Replacement Customers
(1.50% of 2020 BOY) | 0.045 |  | 0.045 |  |  |  | 0.045 |  | 0.045
< 20 kW | 0.03625 |  | 0.03625 |  |  |  | 0.03625 |  | 0.03625
≥ 20 kW | 0.00875 |  | 0.00875 |  |  |  | 0.00875 |  | 0.00875
New Plus Replacement Customers | 0.045 |  | 0.045 |  |  |  | 0.045 |  | 0.045
< 20 kW | 0.03625 |  | 0.03625 |  |  |  | 0.03625 |  | 0.03625
≥ 20 kW | 0.00875 |  | 0.00875 |  |  |  | 0.00875 |  | 0.00875
Notes:
(1) Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer, Exhibit SDG&E-38.
(2) 2020 Service Voltage Percentages from the system determinants file.

## NCO Lighting Cust Fcst
NCO - 2020 CUSTOMERS - LIGHTING CLASS
Cost Component | Unmetered Lighting
Forecast 2020 Avg | 103
Forecast 2020 BOY | 103
(Beginning Of Year)
New Customers Assumed | 0
Replacement Customers | 1.545
(1.50% of 2020 BOY)
New Plus Replacement Customers | 1.545
Note: Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1
(A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer, Exhibit SDG&E-38.

## Input
Marginal Customer Cost Development Loading Factors
General Plant Loading Factor (GPL) = | 2.909%
Working Capital = | 1.995%
PVRR of TSM Components
Transformers (368.1) | 123.8%
Services (369.2) | 123.3%
Smart Meters (370.11) | 107.7%
Smart Meter Installation (370.21) | 107.7%
Smart Meter Average | 107.7%
2020 Miscellaneous Revenues = | 4489781.1405
Total Forecasted 2020 Customers = | 1482557.75
2020 Miscellaneous Revenue per Customer = | 3.0284
Note:
(1) Load Factors from the "Ch_5_WP#3_Marg Dist Cust Costs for School Class_Rebuttal"Chapter 5 workpaper file.
(2) PVRR of TSM components from SDG&E Financial Assumption file.
(3) Miscellaneous Revenue per Customer component from 2019 GRC Phase 1 miscellaneous cost data and the total forecasted
2020 Customers number.