## NCO - Res
NCO - RESIDENTIAL CLASS - 2020$
Cost Component | DR | DM | DS | DT | DT-RV | DR-TOU | TOU-DR | DR-SES | EV-TOU | EV-TOU-2 | Class
TSM Components
Transformers | 677.8988 | 533.5541 | 1025.46 | 1051.1391 | 1594.3674 | 802.6089 | 765.2168 | 899.8909 | 781.4142 | 950.8062 | 680.5219
Services | 166.4091 | 178.734 | 425.8931 | 1552.5147 | 940.496 | 192.2934 | 177.1051 | 207.6058 | 172.0402 | 211.7256 | 167.42
Meters | 267.4336 | 268.9985 | 289.507 | 401.8683 | 289.1234 | 267.2095 | 267.4839 | 267.4806 | 269.4602 | 267.3595 | 267.485
Replacement Meters (w/o meter labor costs) | 212.419 | 213.9372 | 233.7987 | 332.5709 | 233.8517 | 212.1975 | 212.4687 | 212.4654 | 214.4216 | 212.3457 | 212.4656
Subtotal | 1111.7415 | 981.2866 | 1740.8601 | 3005.522 | 2823.9867 | 1262.1118 | 1209.8058 | 1374.9772 | 1222.9146 | 1429.8913 | 1115.4269
Subtotal for Replacements (w/o meter labor costs) | 1056.7269 | 926.2254 | 1685.1518 | 2936.2246 | 2768.715 | 1207.0998 | 1154.7905 | 1319.962 | 1167.876 | 1374.8775 | 1060.4075
General Plant Loading at
2.909%
Working Capital at
1.995%
Transformers (line) | 711.5381 | 560.0306 | 1076.3462 | 1103.2996 | 1673.4844 | 842.4366 | 803.189 | 944.546 | 820.1902 | 997.9879 | 714.2913
Services (UG) | 174.6668 | 187.6033 | 447.0271 | 1629.5548 | 987.166 | 201.8356 | 185.8935 | 217.9078 | 180.5774 | 222.232 | 175.7279
Meters | 280.7044 | 282.3469 | 303.8731 | 421.8101 | 303.4705 | 280.4692 | 280.7572 | 280.7537 | 282.8316 | 280.6266 | 280.7583
Replacement Meters (w/o meter labor costs) | 222.9598 | 224.5534 | 245.4005 | 349.074 | 245.4561 | 222.7273 | 223.012 | 223.0085 | 225.0618 | 222.8829 | 223.0087
Subtotal | 1166.9093 | 1029.9808 | 1827.2465 | 3154.6645 | 2964.1209 | 1324.7414 | 1269.8397 | 1443.2075 | 1283.5991 | 1500.8465 | 1170.7775
Subtotal for Replacements (w/o meter labor costs) | 1109.1647 | 972.1873 | 1768.7738 | 3081.9283 | 2906.1064 | 1266.9995 | 1212.0945 | 1385.4623 | 1225.8293 | 1443.1028 | 1113.0279
PVRR of TSM Components
Transformers (368.1) at 123.76% | 880.6025 | 693.0962 | 1332.0906 | 1365.4481 | 2071.1112 | 1042.6031 | 994.03 | 1168.9741 | 1015.0708 | 1235.114 | 884.0098
Services (369.2) at 123.27% | 215.3193 | 231.2667 | 551.0696 | 2008.8226 | 1216.9222 | 248.8114 | 229.159 | 268.6243 | 222.6055 | 273.955 | 216.6274
Meters (Average 370.11 & 370.21) at 107.68% | 302.2503 | 304.0188 | 327.1973 | 454.1867 | 326.7638 | 301.997 | 302.3072 | 302.3033 | 304.5407 | 302.1664 | 302.3083
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 240.0734 | 241.7893 | 264.2365 | 375.8676 | 264.2964 | 239.8231 | 240.1296 | 240.1258 | 242.3367 | 239.9906 | 240.1261
Subtotal | 1398.172 | 1228.3818 | 2210.3575 | 3828.4575 | 3614.7973 | 1593.4115 | 1525.4961 | 1739.9017 | 1542.217 | 1811.2355 | 1402.9455
Subtotal for Replacements (w/o meter labor costs) | 1335.9952 | 1166.1522 | 2147.3967 | 3750.1384 | 3552.3298 | 1531.2376 | 1463.3186 | 1677.7242 | 1480.0129 | 1749.0596 | 1340.7633
2020 Beginning Of Year (BOY) | 1262148 | 3456 | 233 | 359 | 47 | 969 | 28403 | 28403 | 204 | 16171 | 1311990
New Customers | 886 | 0 | 0 | 0 | 0 | 0 | 10311 | 10311 | 0 | 2125 | 13322
Replacement Customers | 18932.22 | 51.84 | 3.495 | 5.385 | 0.705 | 14.535 | 426.045 | 426.045 | 3.06 | 242.565 | 19679.85
NCO TSM Component per 2020 Customer | 21.0214 | 17.4923 | 32.211 | 56.2521 | 53.2849 | 22.9686 | 575.7431 | 656.7937 | 22.2002 | 264.2469 | 34.357
O&M Expenses | 9.4839 | 9.2406 | 26.627 | 76.6791 | 42.9789 | 10.7698 | 10.3472 | 11.8847 | 10.5847 | 12.2572 | 9.5375
Miscellaneous Revenue Offset | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284
Customer Accounts/Services | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789 | 28.4789
Subtotal per 2020 Customer | 34.9344 | 34.6911 | 52.0774 | 102.1296 | 68.4294 | 36.2202 | 35.7977 | 37.3352 | 36.0352 | 37.7077 | 34.988
Annual NCO per 2020 Customer | 55.9558 | 52.1833 | 84.2884 | 158.3817 | 121.7144 | 59.1888 | 611.5407 | 694.1289 | 58.2354 | 301.9545 | 69.345
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "Ch_5_WP#2_2019 GRC P2 Marg Dist Cust Costs for Non Schools Classes_Rebuttal"
Chapter 5 workpaper file. The Replacement Meters (w/o meter labor costs) (Row 11) from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Small Commercial
NCO - SMALL COMMERCIAL - 2020$
| Secondary |  |  |  |  | Primary |  |  |  |  | Small Commercial Total
Cost Component | 0-5 kW | >5 - 20 kW | >20 - 50 kW | >50 kW | Sec Total | 0-5 kW | >5 - 20 kW | >20 - 50 kW | >50 kW | Pri Total | 0-5 kW | >5 - 20 kW | >20 - 50 kW | >50 kW | Total
TSM Components
Transformers | 564.9506 | 2445.3562 | 8458.8751 | 12884.0395 | 2081.3 | 0 | 0 | 0 | 0 | 0 | 564.8915 | 2445.0186 | 8456.9164 | 12832.9124 | 2080.9845
Services | 303.7291 | 570.3796 | 799.4264 | 1683.5746 | 475.8325 | 3396.422 | 3396.422 | 3396.422 | 5075.8638 | 3648.3383 | 304.0527 | 570.7697 | 800.0278 | 1697.0361 | 476.3134
Meters | 278.8611 | 304.978 | 315.129 | 452.39 | 295.1327 | 939.383 | 939.383 | 939.383 | 1013.2783 | 950.4673 | 278.9302 | 305.0656 | 315.2735 | 454.6158 | 295.2321
Replacement Meters (w/o meter labor costs) | 274.7583 | 300.3117 | 310.2409 | 446.0368 | 290.6872 | 928.1162 | 928.1162 | 928.1162 | 1001.5435 | 939.1303 | 274.8266 | 300.3984 | 310.3839 | 448.2412 | 290.7855
Subtotal | 1147.5407 | 3320.7138 | 9573.4305 | 15020.0041 | 2852.2652 | 4335.8051 | 4335.8051 | 4335.8051 | 6089.1421 | 4598.8056 | 1147.8743 | 3320.8539 | 9572.2177 | 14984.5642 | 2852.5299
Subtotal for Replacements (w/o meter labor costs) | 1143.4379 | 3316.0475 | 9568.5424 | 15013.6509 | 2847.8196 | 4324.5382 | 4324.5382 | 4324.5382 | 6077.4073 | 4587.4686 | 1143.7708 | 3316.1867 | 9567.3281 | 14978.1896 | 2848.0833
General Plant Loading at
2.909%
Working Capital at
1.995%
Transformers | 592.985 | 2566.7016 | 8878.6283 | 13523.3817 | 2184.5799 | 0 | 0 | 0 | 0 | 0 | 592.923 | 2566.3473 | 8876.5723 | 13469.7175 | 2184.2488
Services | 318.8009 | 598.6834 | 839.0962 | 1767.1183 | 499.4446 | 3564.962 | 3564.962 | 3564.962 | 5327.7424 | 3829.3791 | 319.1406 | 599.0929 | 839.7274 | 1781.2478 | 499.9494
Meters | 292.6989 | 320.1119 | 330.7666 | 474.8389 | 309.778 | 985.9978 | 985.9978 | 985.9978 | 1063.56 | 997.6322 | 292.7715 | 320.2038 | 330.9183 | 477.1751 | 309.8823
Replacement Meters (w/o meter labor costs) | 288.3925 | 315.214 | 325.6359 | 468.1704 | 305.1119 | 974.1719 | 974.1719 | 974.1719 | 1051.2429 | 985.7326 | 288.4643 | 315.305 | 325.786 | 470.4842 | 305.215
Subtotal | 1204.4849 | 3485.497 | 10048.491 | 15765.3389 | 2993.8026 | 4550.9599 | 4550.9599 | 4550.9599 | 6391.3024 | 4827.0113 | 1204.8351 | 3485.644 | 10047.218 | 15728.1403 | 2994.0805
Subtotal for Replacements (w/o meter labor costs) | 1200.1785 | 3480.5991 | 10043.3603 | 15758.6704 | 2989.1364 | 4539.134 | 4539.134 | 4539.134 | 6378.9853 | 4815.1117 | 1200.5279 | 3480.7452 | 10042.0858 | 15721.4494 | 2989.4132
PVRR of TSM Components
Transformers (368.1) at 123.76% | 733.8807 | 3176.5606 | 10988.2274 | 16736.5936 | 2703.6452 | 0 | 0 | 0 | 0 | 0 | 733.8039 | 3176.1222 | 10985.683 | 16670.1786 | 2703.2354
Services (369.2) at 123.27% | 392.9997 | 738.0229 | 1034.3901 | 2178.4031 | 615.687 | 4394.6828 | 4394.6828 | 4394.6828 | 6567.7383 | 4720.6411 | 393.4184 | 738.5277 | 1035.1682 | 2195.8211 | 616.3093
Meters (Average 370.11 & 370.21) at 107.68% | 315.1654 | 344.6825 | 356.155 | 511.2858 | 333.5555 | 1061.6794 | 1061.6794 | 1061.6794 | 1145.195 | 1074.2068 | 315.2435 | 344.7815 | 356.3184 | 513.8013 | 333.6677
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 310.5285 | 339.4087 | 350.6305 | 504.1055 | 328.5311 | 1048.9458 | 1048.9458 | 1048.9458 | 1131.9324 | 1061.3938 | 310.6058 | 339.5066 | 350.7922 | 506.5968 | 328.6422
Subtotal | 1442.0459 | 4259.2661 | 12378.7726 | 19426.2825 | 3652.8877 | 5456.3622 | 5456.3622 | 5456.3622 | 7712.9333 | 5794.8479 | 1442.4659 | 4259.4313 | 12377.1696 | 19379.801 | 3653.2124
Subtotal for Replacements (w/o meter labor costs) | 1437.4089 | 4253.9923 | 12373.248 | 19419.1022 | 3647.8634 | 5443.6286 | 5443.6286 | 5443.6286 | 7699.6708 | 5782.0349 | 1437.8281 | 4254.1565 | 12371.6434 | 19372.5965 | 3648.1869
2020 Beginning Of Year (BOY) | 58937.0442 | 62704.1033 | 11122.0551 | 814.6101 | 133577.8126 | 82.4459 | 17.2377 | 1.7741 | 3.6334 | 105.0912 | 59019.4901 | 62721.341 | 11123.8292 | 818.2435 | 133682.9038
New Customers | 245 | 292 | 45 | 4 | 586 | 0 | 0 | 0 | 0 | 0 | 245 | 292 | 45 | 4 | 586
Replacement Customers | 884.0557 | 940.5615 | 166.8308 | 12.2192 | 2003.6672 | 1.2367 | 0.25857 | 0.026611 | 0.054501 | 1.5764 | 885.2924 | 940.8201 | 166.8574 | 12.2737 | 2005.2436
NCO TSM Component per 2020 Customer | 27.5557 | 83.6444 | 235.6834 | 386.6759 | 70.743 | 81.6544 | 81.6544 | 81.6544 | 115.4951 | 86.7305 | 27.5553 | 83.6422 | 235.6449 | 385.3275 | 70.7367
O&M Expenses | 28.4831 | 31.1782 | 32.1918 | 31.4332 | 30.0747 | 48.4904 | 48.4904 | 48.4904 | 48.4904 | 48.4904 | 28.4859 | 31.181 | 32.1943 | 31.435 | 30.0774
Miscellaneous Revenue Offset | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284
Customer Accounts/Services | 56.484 | 56.4834 | 56.4578 | 56.3719 | 56.4813 | 56.4882 | 56.4882 | 56.4882 | 56.4882 | 56.4882 | 56.484 | 56.4834 | 56.4578 | 56.3724 | 56.4813
Subtotal per 2020 Customer | 81.9387 | 84.6332 | 85.6212 | 84.7767 | 83.5276 | 101.9503 | 101.9503 | 101.9503 | 101.9503 | 101.9503 | 81.9414 | 84.636 | 85.6238 | 84.7789 | 83.5304
Annual NCO per 2020 Customer | 109.4944 | 168.2776 | 321.3047 | 471.4525 | 154.2706 | 183.6047 | 183.6047 | 183.6047 | 217.4453 | 188.6808 | 109.4968 | 168.2782 | 321.2686 | 470.1064 | 154.2671
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "Ch_5_WP#2_Marg Dist Cust Costs for Non School Classes_Rebuttal" Chapter 5 workpaper file.
The Replacement Meters (w/o meter labor costs) (Row 11) from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Medium-Large C&I
NCO - MEDIUM/LARGE C&I - 2020$
| Secondary |  |  |  | Primary |  |  |  | Transmission |  |  |  | Medium/Large C&I Total
Cost Component | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total | ≤ 500 kW | > 500 kW - 12 MW | > 12 MW | Total
TSM Components
Transformers | 12141.7485 | 34750.8987 |  | 12757.9094 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12025.2625 | 23978.1201 | 0 | 12482.5233
Services | 1493.1151 | 9478.5339 |  | 1710.7395 | 3396.422 | 4662.2082 | 8434.7473 | 4139.7815 | 63938.2714 | 104587.1581 | 158785.6738 | 101877.2323 | 1535.7212 | 9983.9719 | 94349.5624 | 1898.0637
Meters | 458.8145 | 939.383 |  | 471.9113 | 1028.0573 | 1050.2259 | 1050.2259 | 1040.5347 | 1050.2259 | 1050.2259 | 1050.2259 | 1050.2259 | 464.2847 | 973.7443 | 1050.2259 | 484.1987
Replacement Meters (w/o meter labor costs) | 452.4188 | 928.1162 |  | 465.3828 | 1016.2289 | 1038.2571 | 1038.2571 | 1028.6273 | 1038.2571 | 1038.2571 | 1038.2571 | 1038.2571 | 457.8367 | 962.2599 | 1038.2571 | 477.554
Subtotal | 14093.6781 | 45168.8156 |  | 14940.5602 | 4424.4794 | 5712.4341 | 9484.9732 | 5180.3162 | 64988.4973 | 105637.384 | 159835.8997 | 102927.4582 | 14025.2684 | 34935.8363 | 95399.7883 | 14864.7858
Subtotal for Replacements (w/o meter labor costs) | 14087.2823 | 45157.5488 |  | 14934.0317 | 4412.651 | 5700.4653 | 9473.0044 | 5168.4088 | 64976.5285 | 105625.4152 | 159823.9309 | 102915.4895 | 14018.8204 | 34924.3519 | 95387.8196 | 14858.1411
General Plant Loading at
2.909%
Working Capital at
1.995%
Transformers | 12744.2561 | 36475.3358 |  | 13390.9926 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12621.9897 | 25167.9817 | 0 | 13101.9412
Services | 1567.2076 | 9948.8854 |  | 1795.6312 | 3564.962 | 4893.5601 | 8853.3032 | 4345.2091 | 67111.0679 | 109777.0665 | 166665.0646 | 106932.6666 | 1611.928 | 10479.4046 | 99031.4526 | 1992.251
Meters | 481.5822 | 985.9978 |  | 495.3289 | 1079.0724 | 1102.3411 | 1102.3411 | 1092.169 | 1102.3411 | 1102.3411 | 1102.3411 | 1102.3411 | 487.3238 | 1022.0642 | 1102.3411 | 508.226
Replacement Meters (w/o meter labor costs) | 474.8691 | 974.1719 |  | 488.4764 | 1066.6571 | 1089.7784 | 1089.7784 | 1079.6707 | 1089.7784 | 1089.7784 | 1089.7784 | 1089.7784 | 480.5559 | 1010.0099 | 1089.7784 | 501.2516
Subtotal | 14793.046 | 47410.219 |  | 15681.9527 | 4644.0345 | 5995.9011 | 9955.6442 | 5437.3781 | 68213.4089 | 110879.4075 | 167767.4057 | 108035.0076 | 14721.2416 | 36669.4506 | 100133.7936 | 15602.4182
Subtotal for Replacements (w/o meter labor costs) | 14786.3328 | 47398.3931 |  | 15675.1003 | 4631.6191 | 5983.3384 | 9943.0815 | 5424.8798 | 68200.8462 | 110866.8448 | 167754.843 | 108022.4449 | 14714.4737 | 36657.3963 | 100121.2309 | 15595.4438
PVRR of TSM Components
Transformers (368.1) at 123.76% | 15772.3446 | 45142.0279 |  | 16572.7484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15621.0272 | 31147.9992 | 0 | 16215.0171
Services (369.2) at 123.27% | 1931.9646 | 12264.421 |  | 2213.5522 | 4394.6828 | 6032.503 | 10913.8494 | 5356.527 | 82730.714 | 135326.9345 | 205455.2286 | 131820.5198 | 1987.0933 | 12918.415 | 122080.3518 | 2455.9339
Meters (Average 370.11 & 370.21) at 107.68% | 518.5467 | 1061.6794 |  | 533.3486 | 1161.8981 | 1186.9527 | 1186.9527 | 1175.9999 | 1186.9527 | 1186.9527 | 1186.9527 | 1186.9527 | 524.729 | 1100.5142 | 1186.9527 | 547.2356
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 511.3183 | 1048.9458 |  | 525.9701 | 1148.5298 | 1173.4258 | 1173.4258 | 1162.5423 | 1173.4258 | 1173.4258 | 1173.4258 | 1173.4258 | 517.4416 | 1087.5346 | 1173.4258 | 539.7259
Subtotal | 18222.8559 | 58468.1283 |  | 19319.6491 | 5556.5809 | 7219.4557 | 12100.8022 | 6532.5269 | 83917.6667 | 136513.8873 | 206642.1814 | 133007.4726 | 18132.8495 | 45166.9284 | 123267.3046 | 19218.1866
Subtotal for Replacements (w/o meter labor costs) | 18215.6275 | 58455.3947 |  | 19312.2707 | 5543.2126 | 7205.9287 | 12087.2752 | 6519.0693 | 83904.1397 | 136500.3603 | 206628.6544 | 132993.9456 | 18125.5621 | 45153.9489 | 123253.7776 | 19210.6769
2020 Beginning Of Year (BOY) | 20027.3379 | 596.3075 |  | 20623.6454 | 154.2396 | 229.8341 | 3.7969 | 387.8706 | 11.3911 | 15.5935 | 4.4994 | 31.484 | 20192.9686 | 841.7351 | 8.2962 | 21043
New Customers | 379 | 12 |  | 391 | 3 | 4 | 0 | 7 | 0 | 0 | 0 | 0 | 684.8945 | 28.626 | 0.12444 | 713.645
Replacement Customers | 300.4101 | 8.9446 |  | 309.3547 | 2.3136 | 3.4475 | 0.056953 | 5.8181 | 0.17087 | 0.2339 | 0.067491 | 0.47226 | 302.8945 | 12.626 | 0.12444 | 315.645
NCO TSM Component per 2020 Customer | 618.0862 | 2053.4345 |  | 655.9618 | 191.2251 | 233.7353 | 181.3091 | 215.6802 | 1258.5621 | 2047.5054 | 3099.4298 | 1994.9092 | 886.9039 | 2213.3622 | 3697.8162 | 939.9191
O&M Expenses | 157.5328 | 157.6219 |  | 157.5352 | 54.3174 | 54.8651 | 54.4114 | 54.6219 | 1018.6084 | 1086.6412 | 1197.1947 | 1085.2806 | 156.3757 | 164.3155 | 295.3087 | 156.7362
Miscellaneous Revenue Offset | -3.0284 | -3.0284 |  | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284
Customer Accounts/Services | 481.5503 | 481.5503 |  | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503 | 481.5503
Subtotal per 2020 Customer | 636.0547 | 636.1438 |  | 636.0571 | 532.8393 | 533.387 | 532.9333 | 533.1438 | 1497.1303 | 1565.1631 | 1675.7166 | 1563.8025 | 634.8976 | 642.8374 | 773.8306 | 635.2582
Annual NCO per 2020 Customer | 1254.1409 | 2689.5782 |  | 1292.019 | 724.0644 | 767.1223 | 714.2425 | 748.8241 | 2755.6924 | 3612.6685 | 4775.1464 | 3558.7117 | 1521.8016 | 2856.1996 | 4471.6469 | 1575.1772
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "Ch_5_WP#2_Marg Dist Cust Costs for Non School Classes_Rebuttal" Chapter 5 workpaper file. The Replacement Meters (w/o meter labor costs) (Row 11)
from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Agricultural Class
NCO - AGRICULTURAL - 2020$
| Secondary |  |  | Primary |  |  | Total-Agricultural Class
Cost Component | ≤ 20 MW | > 20 MW | Sec Total | ≤ 20 MW | > 20 MW | Pri Total | ≤ 20 MW | > 20 MW | Total
TSM Components
Transformers | 1366.5376 | 10422.1319 | 3848.7817 | 0 | 0 | 0 | 1366.06 | 10186.337 | 3823.5502
Services | 389.1467 | 1526.0128 | 700.775 | 3396.422 | 4404.0871 | 4365.3308 | 390.1979 | 1591.1276 | 724.7988
Meters | 286.143 | 486.0433 | 340.938 | 939.383 | 1050.2259 | 1045.9627 | 286.3714 | 498.8076 | 345.56
Replacement Meters (w/o meter labor costs) | 281.8836 | 479.4197 | 336.0306 | 928.1162 | 1038.2571 | 1034.0209 | 282.1095 | 492.0631 | 340.6064
Subtotal | 2041.8274 | 12434.188 | 4890.4947 | 4335.8051 | 5454.313 | 5411.2935 | 2042.6292 | 12276.2723 | 4893.909
Subtotal for Replacements (w/o meter labor costs) | 2037.5679 | 12427.5644 | 4885.5873 | 4324.5382 | 5442.3442 | 5399.3517 | 2038.3673 | 12269.5278 | 4888.9554
General Plant Loading at
2.909%
Working Capital at
1.995%
Transformers | 1434.349 | 10939.3073 | 4039.7691 | 0 | 0 | 0 | 1433.8477 | 10691.8117 | 4013.2855
Services | 408.4573 | 1601.7379 | 735.5494 | 3564.962 | 4622.6303 | 4581.9507 | 409.5606 | 1670.0838 | 760.7654
Meters | 300.3423 | 510.1621 | 357.8563 | 985.9978 | 1102.3411 | 1097.8663 | 300.5819 | 523.5598 | 362.7076
Replacement Meters (w/o meter labor costs) | 295.8714 | 503.2099 | 352.7053 | 974.1719 | 1089.7784 | 1085.332 | 296.1085 | 516.4807 | 357.5082
Subtotal | 2143.1486 | 13051.2073 | 5133.1748 | 4550.9599 | 5724.9713 | 5679.817 | 2143.9902 | 12885.4554 | 5136.7585
Subtotal for Replacements (w/o meter labor costs) | 2138.6778 | 13044.2551 | 5128.0238 | 4539.134 | 5712.4086 | 5667.2827 | 2139.5168 | 12878.3762 | 5131.5591
PVRR of TSM Components
Transformers (368.1) at 123.76% | 1775.1563 | 13538.5324 | 4999.6351 | 0 | 0 | 0 | 1774.5359 | 13232.2308 | 4966.8588
Services (369.2) at 123.27% | 503.5229 | 1974.5315 | 906.7436 | 4394.6828 | 5698.5161 | 5648.3687 | 504.883 | 2058.7845 | 937.8283
Meters (Average 370.11 & 370.21) at 107.68% | 323.3954 | 549.3203 | 385.3241 | 1061.6794 | 1186.9527 | 1182.1345 | 323.6535 | 563.7464 | 390.5477
Replacement Meters (Average 370.11 & 370.21) at 107.68% | 318.5815 | 541.8344 | 379.7777 | 1048.9458 | 1173.4258 | 1168.6381 | 318.8367 | 556.1238 | 384.9493
Subtotal | 2602.0747 | 16062.3842 | 6291.7027 | 5456.3622 | 6885.4689 | 6830.5032 | 2603.0724 | 15854.7617 | 6295.2349
Subtotal for Replacements (w/o meter labor costs) | 2597.2607 | 16054.8983 | 6286.1563 | 5443.6286 | 6871.9419 | 6817.0068 | 2598.2556 | 15847.1391 | 6289.6364
2020 Beginning Of Year (BOY) | 2917.3271 | 1006.5026 | 3923.8297 | 1.9673 | 12.203 | 14.1703 | 2919.2944 | 1018.7056 | 3938
New Customers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replacement Customers | 43.7599 | 15.0975 | 58.8574 | 0.029509 | 0.18305 | 0.21255 | 43.7894 | 15.2806 | 59.07
NCO TSM Component per 2020 Customer | 38.9589 | 240.8235 | 94.2923 | 81.6544 | 103.0791 | 102.2551 | 38.9738 | 237.7071 | 94.3445
O&M Expenses | 42.3382 | 76.0026 | 51.566 | 56.9494 | 57.0617 | 57.0574 | 42.295 | 75.6992 | 51.602
Miscellaneous Revenue Offset | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284 | -3.0284
Customer Accounts/Services | 160.0528 | 160.0528 | 160.0528 | 160.0528 | 160.0528 | 160.0528 | 160.0528 | 160.0528 | 160.0528
Subtotal per 2020 Customer | 199.3626 | 233.027 | 208.5904 | 213.9738 | 214.0861 | 214.0818 | 199.3194 | 232.7236 | 208.6264
Annual NCO per 2020 Customer | 238.3215 | 473.8505 | 302.8828 | 295.6282 | 317.1652 | 316.3369 | 238.2932 | 470.4307 | 302.971
Note: TSM (Rows 8-10), O&M Expenses (Row 43), Miscellaneous Revenue Offset (Row 44), and Customer Account/Services (Row 45) costs from the "Ch_5_WP#2_Marg Dist Cust Costs for Non School Classes_Rebuttal"
Chapter 5 workpaper file. The Replacement Meters (w/o meter labor costs) (Row 11) from the "2019 GRC P2 Marg Dist Cust Costs (Chapter 5 Workpaper Replacement Meter).xlsx" file.

## NCO - Lighting
NCO - LIGHTING CLASS - 2020$
Cost Component | Unmetered Lighting
TSM Components per Lamp basis
Transformers | 35.1496
Services | 46.9723
Meters | 0
Subtotal | 82.1219
General Plant Loading at | 2.3893
2.909%
Working Capital at | 1.6858
1.995%
Transformers | 36.8938
Services | 49.3032
Meters | 0
Subtotal | 86.197
PVRR of TSM Components
Transformers (368.1) at 123.76% | 45.6599
Services (369.2) at 123.27% | 60.7782
Meters (Average 370.11 & 370.21) at 107.68% | 0
Replacement Meters (Average 370.11 & 370.21) at 107.68%
Subtotal per Lamp Basis | 106.4381
Average 2016 Number of Lamps | 161261.0833
Average 2016 Number of Customers | 5281
Subtotal per Customer Basis | 3250.2044
2020 Beginning Of Year (BOY) | 5548
New Plus Replacement Customers | 83.22
NCO TSM Component per Customer | 48.7531
NCO TSM Component per Lamp | 1.5966
O&M Expenses | 0.19745
Miscellaneous Revenue Offset | -0.099175
Customer Accounts/Services | 1.1317
Subtotal per 2020 Lamp | 1.23
Annual NCO per 2020 Lamp | 2.8265
Note: TSM (Rows 8-10), Number of Lamps (Row 31), Number of Customers (Row 32), O&M Expenses (Row 42), Miscellaneous Revenue Offset (Row 43),
and Customer Account/Services (Row 44) cost from the "Ch_5_WP#2_Marg Dist Cust Costs for Non School Classes_Rebuttal" Chapter 5 workpaper file.

## NCO Res Cust Fcst
NCO - 2020 CUSTOMERS - RESIDENTIAL CLASS
Cost Component | DR | DM | DS | DT | DT-RV | DR-TOU | DR-SES | EV-TOU-1 | EV-TOU-2 | Class
Forecast 2020 Avg | 1263309.8333 | 3434.3333 | 233 | 359 | 47 | 969 | 32130 | 204 | 17144.6667 | 1317830.8333
Forecast 2020 BOY | 1262148 | 3456 | 233 | 359 | 47 | 969 | 28403 | 204 | 16171 | 1311990
(Beginning Of Year)
Forecast 2020-2021 Change | 2499 | -47 | 0 | 0 | 0 | 0 | 8444 | 0 | 2125 | 13021
Forecast 2021-2022 Change | 852 | -46 | -1 | 0 | 0 | 0 | 10256 | 0 | 2125 | 13186
Forecast 2022-2023 Change | -692 | -46 | 0 | 0 | 0 | 0 | 12234 | 0 | 2125 | 13621
Average of 2020-2023 Change | 886 | -46 | 0 | 0 | 0 | 0 | 10311 | 0 | 2125 | 13276
New Customers Assumed | 886 | 0 | 0 | 0 | 0 | 0 | 10311 | 0 | 2125 | 13322
Replacement Customers | 18932.22 | 51.84 | 3.495 | 5.385 | 0.705 | 14.535 | 426.045 | 3.06 | 242.565 | 19679.85
(1.50% of 2020 BOY)
New Plus Replacement Customers | 19818.22 | 51.84 | 3.495 | 5.385 | 0.705 | 14.535 | 10737.045 | 3.06 | 2367.565 | 33001.85
Note: Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer, Exhibit SDG&E-38.

## NCO Sml Comm Cust Fcst
NCO - 2020 CUSTOMERS - SMALL COMMERCIAL CLASS
| TOU-A | [5 empty] | Total Small Commercial
Cost Component | Secondary | Primary | Total | A-TC | TOU-M | UM | Secondary | Primary | Total
2020 Service Voltage Percentages
≤ 5 kW | 41.79% | 0.06621% |  | 97.13% | 4.51% | 41.79%
> 5-20 kW | 49.76% | 0.01384% |  | 2.867% | 23.13% | 49.76%
> 20-50 kW | 7.72% | 0.001425% |  |  | 71.82% | 7.72%
> 50 kW | 0.6445% | 0.002918% |  |  | 0.5436% | 0.6445%
Forecast 2020 Avg | 124743.4706 | 105.3628 | 124848.8333 | 6954 | 2088 | 113.9038 | 133899.3743 | 105.3628 | 134004.7371
≤ 5 kW | 52175.1123 | 82.659 | 52257.7713 | 6754.6167 | 94.1701 | 47.6413 | 59071.5403 | 82.659 | 59154.1994
> 5-20 kW | 62125.1861 | 17.2823 | 62142.4684 | 199.3833 | 482.9524 | 56.7268 | 62864.2486 | 17.2823 | 62881.5308
> 20-50 kW | 9638.5735 | 1.7787 | 9640.3522 |  | 1499.5267 | 8.801 | 11146.9013 | 1.7787 | 11148.6799
> 50 kW | 804.5986 | 3.6428 | 808.2414 |  | 11.3509 | 0.73468 | 816.6842 | 3.6428 | 820.327
Forecast 2020 BOY | 124421.9088 | 105.0912 | 124527 | 6954 | 2088 | 113.9038 | 133577.8126 | 105.0912 | 133682.9038
≤ 5 kW | 52040.6161 | 82.4459 | 52123.062 | 6754.6167 | 94.1701 | 47.6413 | 58937.0442 | 82.4459 | 59019.4901
> 5-20 kW | 61965.0408 | 17.2377 | 61982.2785 | 199.3833 | 482.9524 | 56.7268 | 62704.1033 | 17.2377 | 62721.341
> 20-50 kW | 9613.7274 | 1.7741 | 9615.5015 |  | 1499.5267 | 8.801 | 11122.0551 | 1.7741 | 11123.8292
> 50 kW | 802.5245 | 3.6334 | 806.158 |  | 11.3509 | 0.73468 | 814.6101 | 3.6334 | 818.2435
Forecast 2020-2021 Change | 530.5519 | 0.44812 | 531 | 0 | 0 | 0 | 530.5519 | 0.44812 | 531
≤ 5 kW | 221.9082 | 0.35156 | 222.2598 | 0 | 0 | 0 | 221.9082 | 0.35156 | 222.2598
> 5-20 kW | 264.2273 | 0.073504 | 264.3008 | 0 | 0 | 0 | 264.2273 | 0.073504 | 264.3008
> 20-50 kW | 40.9942 | 0.007565 | 41.0018 |  | 0 | 0 | 40.9942 | 0.007565 | 41.0018
> 50 kW | 3.4221 | 0.015493 | 3.4376 |  | 0 | 0 | 3.4221 | 0.015493 | 3.4376
Forecast 2021-2022 Change | 416.6481 | 0.35192 | 417 | 0 | 0 | 0 | 416.6481 | 0.35192 | 417
≤ 5 kW | 174.2669 | 0.27608 | 174.543 | 0 | 0 | 0 | 174.2669 | 0.27608 | 174.543
> 5-20 kW | 207.5006 | 0.057724 | 207.5583 | 0 | 0 | 0 | 207.5006 | 0.057724 | 207.5583
> 20-50 kW | 32.1932 | 0.0059408 | 32.1992 |  | 0 | 0 | 32.1932 | 0.0059408 | 32.1992
> 50 kW | 2.6874 | 0.012167 | 2.6996 |  | 0 | 0 | 2.6874 | 0.012167 | 2.6996
Forecast 2022-2023 Change | 809.3164 | 0.68358 | 810 | 0 | 0 | 0 | 809.3164 | 0.68358 | 810
≤ 5 kW | 338.5041 | 0.53628 | 339.0404 | 0 | 0 | 0 | 338.5041 | 0.53628 | 339.0404
> 5-20 kW | 403.0586 | 0.11212 | 403.1708 | 0 | 0 | 0 | 403.0586 | 0.11212 | 403.1708
> 20-50 kW | 62.5336 | 0.01154 | 62.5451 |  | 0 | 0 | 62.5336 | 0.01154 | 62.5451
> 50 kW | 5.2201 | 0.023634 | 5.2437 |  | 0 | 0 | 5.2201 | 0.023634 | 5.2437
Average of 2020-2023 Change | 586 | 0 | 586 | 0 | 0 | 0 | 586 | 0 | 586
≤ 5 kW | 245 | 0 | 245 | 0 | 0 | 0 | 245 | 0 | 245
> 5-20 kW | 292 | 0 | 292 | 0 | 0 | 0 | 292 | 0 | 292
> 20-50 kW | 45 | 0 | 45 |  | 0 | 0 | 45 | 0 | 45
> 50 kW | 4 | 0 | 4 |  | 0 | 0 | 4 | 0 | 4
New Customers Assumed | 586 | 0 | 586 | 0 | 0 | 0 | 586 | 0 | 586
≤ 5 kW | 245 | 0 | 245 | 0 | 0 | 0 | 245 | 0 | 245
> 5-20 kW | 292 | 0 | 292 | 0 | 0 | 0 | 292 | 0 | 292
> 20-50 kW | 45 | 0 | 45 | 0 | 0 | 0 | 45 | 0 | 45
> 50 kW | 4 | 0 | 4 | 0 | 0 | 0 | 4 | 0 | 4
Replacement Customers
(1.50% of 2020 BOY) | 1866.3286 | 1.5764 | 1867.905 | 104.31 | 31.32 | 1.7086 | 2003.6672 | 1.5764 | 2005.2436
≤ 5 kW | 780.6092 | 1.2367 | 781.8459 | 101.3193 | 1.4126 | 0.71462 | 884.0557 | 1.2367 | 885.2924
> 5-20 kW | 929.4756 | 0.25857 | 929.7342 | 2.9907 | 7.2443 | 0.8509 | 940.5615 | 0.25857 | 940.8201
> 20-50 kW | 144.2059 | 0.026611 | 144.2325 | 0 | 22.4929 | 0.13202 | 166.8308 | 0.026611 | 166.8574
> 50 kW | 12.0379 | 0.054501 | 12.0924 | 0 | 0.17026 | 0.01102 | 12.2192 | 0.054501 | 12.2737
New Plus Replacement Customers | 2452.3286 | 1.5764 | 2453.905 | 104.31 | 31.32 | 1.7086 | 2589.6672 | 1.5764 | 2591.2436
≤ 5 kW | 1025.6092 | 1.2367 | 1026.8459 | 101.3193 | 1.4126 | 0.71462 | 1129.0557 | 1.2367 | 1130.2924
> 5-20 kW | 1221.4756 | 0.25857 | 1221.7342 | 2.9907 | 7.2443 | 0.8509 | 1232.5615 | 0.25857 | 1232.8201
> 20-50 kW | 189.2059 | 0.026611 | 189.2325 |  | 22.4929 | 0.13202 | 211.8308 | 0.026611 | 211.8574
> 50 kW | 16.0379 | 0.054501 | 16.0924 |  | 0.17026 | 0.01102 | 16.2192 | 0.054501 | 16.2737
Notes:
(1) Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer,
Exhibit SDG&E-38.
(2) 2020 Service Voltage Percentages from the system determinants file.

## NCO Medium-Large C&I Cust Fcst
NCO - 2020 CUSTOMERS - MEDIUM/LARGE COMMERCIAL INDUSTRIAL (M/L C&I) CLASS
| OL-TOU | AL-TOU |  |  |  | DGR |  |  | A6-TOU |  |  | Total M/L C&I Class
Cost Component | Secondary | Secondary | Primary | Transmission | Total | Secondary | Primary | Total | Primary | Transmission | Total | Secondary | Primary | Transmission | Total
2020 Service Voltage Percentages
≤ 500 kW | 100% | 95.27% | 0.7462% | 0.05548% |  | 95.05% | 0.2314%
> 500 kW - 12 MW |  | 2.81% | 1.04% | 0.05075% |  | 4.302% | 0.4206% |  | 63.02% | 22.5%
> 12 MW |  |  | 0.01849% | 0.005691% | [5 empty] | 14.48%
Forecast 2020 Avg | 40 | 20330.8924 | 373.9928 | 23.1982 | 20728.0833 | 466.1077 | 3.0589 | 469.1667 | 14.4947 | 8.5053 | 23 | 20837.0001 | 391.5465 | 31.7034 | 21260.25
≤ 500 kW | 40 | 19748.3486 | 154.6659 | 11.4999 | 19914.5144 | 445.9226 | 1.0858 | 447.0084 | 14.4947 | 5.1743 | 19.669 | 20234.2712 | 170.2464 | 16.6742 | 20421.1918
> 500 kW - 12 MW |  | 582.5438 | 215.4938 | 10.5187 | 808.5562 | 20.1851 | 1.9732 | 22.1583 |  | 3.331 | 3.331 | 602.7289 | 217.4669 | 13.8497 | 834.0455
> 12 MW |  |  | 3.8331 | 1.1796 | 5.0127 | [7 empty] | 3.8331 | 1.1796 | 5.0127
Forecast 2020 BOY
(Beginning Of Year) | 40 | 20138.5664 | 370.4549 | 22.9787 | 20532 | 445.0791 | 2.9209 | 448 | 14.4947 | 8.5053 | 23 | 20623.6454 | 387.8706 | 31.484 | 21043
≤ 500 kW | 40 | 19561.5333 | 153.2028 | 11.3911 | 19726.1273 | 425.8046 | 1.0368 | 426.8414 |  |  |  | 20027.3379 | 154.2396 | 11.3911 | 20192.9686
> 500 kW - 12 MW |  | 577.033 | 213.4552 | 10.4192 | 800.9075 | 19.2745 | 1.8841 | 21.1586 | 14.4947 | 5.1743 | 19.669 | 596.3075 | 229.8341 | 15.5935 | 841.7351
> 12 MW |  | 0 | 3.7969 | 1.1684 | 4.9653 |  |  |  |  | 3.331 | 3.331 |  | 3.7969 | 4.4994 | 8.2962
Forecast 2020-2021 Change | 0 | 307.0023 | 5.6474 | 0.3503 | 313 | 45.7001 | 0.29992 | 46 | 0 | 0 | 0 | 352.7024 | 5.9473 | 0.3503 | 359
≤ 500 kW | 0 | 298.2057 | 2.3355 | 0.17365 | 300.7149 | 43.721 | 0.10646 | 43.8275 |  |  |  | 341.9267 | 2.442 | 0.17365 | 344.5423
> 500 kW - 12 MW |  | 8.7966 | 3.254 | 0.15884 | 12.2094 | 1.9791 | 0.19346 | 2.1725 | 0 | 0 | 0 | 10.7757 | 3.4475 | 0.15884 | 14.382
> 12 MW |  |  | 0.057881 | 0.017812 | 0.075693 |  |  |  |  | 0 | 0 |  | 0.057881 | 0.017812 | 0.075693
Forecast 2021-2022 Change | 0 | 232.4586 | 4.2761 | 0.26524 | 237 | 45.7001 | 0.29992 | 46 | 0 | 0 | 0 | 278.1587 | 4.5761 | 0.26524 | 283
≤ 500 kW | 0 | 225.7979 | 1.7684 | 0.13149 | 227.6978 | 43.721 | 0.10646 | 43.8275 |  |  | 0 | 269.519 | 1.8749 | 0.13149 | 271.5253
> 500 kW - 12 MW |  | 6.6607 | 2.4639 | 0.12027 | 9.2448 | 1.9791 | 0.19346 | 2.1725 | 0 | 0 | 0 | 8.6397 | 2.6574 | 0.12027 | 11.4174
> 12 MW |  |  | 0.043827 | 0.013487 | 0.057314 |  |  |  |  | 0 | 0 |  | 0.043827 | 0.013487 | 0.057314
Forecast 2022-2023 Change | 0 | 496.304 | 9.1297 | 0.5663 | 506 | 45.7001 | 0.29992 | 46 | 0 | 0 | 0 | 542.0041 | 9.4296 | 0.5663 | 552
≤ 500 kW | 0 | 482.0834 | 3.7756 | 0.28073 | 486.1397 | 43.721 | 0.10646 | 43.8275 |  |  |  | 525.8044 | 3.8821 | 0.28073 | 529.9672
> 500 kW - 12 MW |  | 14.2207 | 5.2605 | 0.25678 | 19.7379 | 1.9791 | 0.19346 | 2.1725 | 0 | 0 | 0 | 16.1997 | 5.4539 | 0.25678 | 21.9105
> 12 MW |  | 0 | 0.093572 | 0.028795 | 0.12237 |  |  |  |  | 0 | 0 |  | 0.093572 | 0.028795 | 0.12237
Average of 2020-2023 Change | 0 | 345 | 7 | 0 | 352 | 46 | 0 | 46 | 0 | 0 | 0 | 391 | 7 | 0 | 398
≤ 500 kW | 0 | 335 | 3 | 0 | 338 | 44 | 0 | 44 |  |  |  | 379 | 3 | 0 | 382
> 500 kW - 12 MW |  | 10 | 4 | 0 | 14 | 2 | 0 | 2 | 0 | 0 | 0 | 12 | 4 | 0 | 16
> 12 MW |  |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 |  | 0 | 0 | 0
New Customers Assumed | 0 | 345 | 7 | 0 | 352 | 46 | 0 | 46 | 0 | 0 | 0 | 391 | 7 | 0 | 398
≤ 500 kW | 0 | 335 | 3 | 0 | 338 | 44 | 0 | 44 | 0 | 0 | 0 | 379 | 3 | 0 | 382
> 500 kW - 12 MW |  | 10 | 4 | 0 | 14 | 2 | 0 | 2 | 0 | 0 | 0 | 12 | 4 | 0 | 16
> 12 MW
Replacement Customers
(1.50% of 2020 BOY) | 0.6 | 302.0785 | 5.5568 | 0.34468 | 307.98 | 6.6762 | 0.043814 | 6.72 | 0.21742 | 0.12758 | 0.345 | 309.3547 | 5.8181 | 0.47226 | 315.645
≤ 500 kW | 0.6 | 293.423 | 2.298 | 0.17087 | 295.8919 | 6.3871 | 0.015552 | 6.4026 |  |  |  | 300.4101 | 2.3136 | 0.17087 | 302.8945
> 500 kW - 12 MW |  | 8.6555 | 3.2018 | 0.15629 | 12.0136 | 0.28912 | 0.028262 | 0.31738 | 0.21742 | 0.077614 | 0.29504 | 8.9446 | 3.4475 | 0.2339 | 12.626
> 12 MW |  |  | 0.056953 | 0.017526 | 0.074479 |  |  |  |  | 0.049965 | 0.049965 |  | 0.056953 | 0.067491 | 0.12444
New Plus Replacement Customers | 0.6 | 647.0785 | 12.5568 | 0.34468 | 659.98 | 52.6762 | 0.043814 | 52.72 | 0.21742 | 0.12758 | 0.345 | 700.3547 | 12.8181 | 0.47226 | 713.645
≤ 500 kW | 0.6 | 628.423 | 5.298 | 0.17087 | 633.8919 | 50.3871 | 0.015552 | 50.4026 |  |  |  | 679.4101 | 5.3136 | 0.17087 | 684.8945
> 500 kW - 12 MW |  | 18.6555 | 7.2018 | 0.15629 | 26.0136 | 2.2891 | 0.028262 | 2.3174 | 0.21742 | 0.077614 | 0.29504 | 20.9446 | 7.4475 | 0.2339 | 28.626
> 12 MW |  |  | 0.056953 | 0.017526 | 0.074479 |  |  |  |  | 0.049965 | 0.049965 |  | 0.056953 | 0.067491 | 0.12444
Notes:
(1) Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer, Exhibit SDG&E-38.
(2) 2020 Service Voltage Percentages from the system determinants file.
|  | 1.696% | 1.94% | 0% | 1.697% | 9.867% | 0% | 9.843% | 0% | 0% | 0% | 1.873% | 1.762% | 0% | 1.871%
|  | 1.717% | 1.856% | 0% | 1.731% | 9.908% | 0% | 9.026% | #DIV/0! | 0% | 0% | 1.991% | 1.839% | 0% | 1.918%
|  | #DIV/0! | 0% | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0% | 0% | 0%

## NCO Agricultural
NCO - 2020 CUSTOMERS - AGRICULTURAL CLASS
| TOU-PA |  |  | PA-T-1 |  |  | Total
Cost Component | Secondary | Primary | Total | Secondary | Primary | Total | Secondary | Primary | Total
2020 Service Voltage Percentages
< 20 kW | 80.54% |  |  | 25.37% | 0.4267%
≥ 20 kW | 19.46% |  |  | 71.55% | 2.647%
Forecast 2020 Avg | 41724 |  | 41724 | 5361.9564 | 170.0436 | 5532 | 47085.9564 | 170.0436 | 47256
< 20 kW | 33604.3292 |  | 33604.3292 | 1403.5958 | 23.6075 | 1427.2033 | 35007.925 | 23.6075 | 35031.5325
≥ 20 kW | 8119.6708 |  | 8119.6708 | 3958.3606 | 146.4361 | 4104.7967 | 12078.0314 | 146.4361 | 12224.4675
Forecast 2020 BOY
(Beginning Of Year) | 3477 |  | 3477 | 446.8297 | 14.1703 | 461 | 3923.8297 | 14.1703 | 3938
< 20 kW | 2800.3608 |  | 2800.3608 | 116.9663 | 1.9673 | 118.9336 | 2917.3271 | 1.9673 | 2919.2944
≥ 20 kW | 676.6392 |  | 676.6392 | 329.8634 | 12.203 | 342.0664 | 1006.5026 | 12.203 | 1018.7056
Forecast 2020-2021 Change | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
< 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
≥ 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast 2021-2022 Change | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
< 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
≥ 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Forecast 2022-2023 Change | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
< 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
≥ 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average of 2020-2023 Change | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
< 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
≥ 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Customers Assumed | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
< 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
≥ 20 kW | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replacement Customers
(1.50% of 2020 BOY) | 52.155 |  | 52.155 | 6.7024 | 0.21255 | 6.915 | 58.8574 | 0.21255 | 59.07
< 20 kW | 42.0054 |  | 42.0054 | 1.7545 | 0.029509 | 1.784 | 43.7599 | 0.029509 | 43.7894
≥ 20 kW | 10.1496 |  | 10.1496 | 4.948 | 0.18305 | 5.131 | 15.0975 | 0.18305 | 15.2806
New Plus Replacement Customers | 52.155 |  | 52.155 | 6.7024 | 0.21255 | 6.915 | 58.8574 | 0.21255 | 59.07
< 20 kW | 42.0054 |  | 42.0054 | 1.7545 | 0.029509 | 1.784 | 43.7599 | 0.029509 | 43.7894
≥ 20 kW | 10.1496 |  | 10.1496 | 4.948 | 0.18305 | 5.131 | 15.0975 | 0.18305 | 15.2806
Notes:
(1) Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1 (A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer, Exhibit SDG&E-38.
(2) 2020 Service Voltage Percentages from the system determinants file.

## NCO Lighting Cust Fcst
NCO - 2020 CUSTOMERS - LIGHTING CLASS
Cost Component | Unmetered Lighting
Forecast 2020 Avg | 5523.8333
Forecast 2020 BOY | 5548
(Beginning Of Year)
Forecast 2020-2021 Change | -52
Forecast 2021-2022 Change | -51
Forecast 2022-2023 Change | -50
Average of 2020-2023 Change | -51
New Customers Assumed | 0
Replacement Customers | 83.22
(1.50% of 2020 BOY)
New Plus Replacement Customers | 83.22
Note: Forecasted number of customers consistent with the customer forecast in the 2019 GRC Phase 1
(A.17-10-007) Direct Testimony of Kenneth E. Schiermeyer, Exhibit SDG&E-38.

## Input
Marginal Customer Cost Development Loading Factors
General Plant Loading Factor (GPL) = | 2.909%
Working Capital = | 1.995%
PVRR of TSM Components
Transformers (368.1) | 123.8%
Services (369.2) | 123.3%
Smart Meters (370.11) | 107.7%
Smart Meter Installation (370.21) | 107.7%
Smart Meter Average | 107.7%
2020 Miscellaneous Revenues = | 4489781.1405
Total Forecasted 2020 Customers = | 1482557.75
2020 Miscellaneous Revenue per Customer = | 3.0284
Note:
(1) Load Factors from the "Ch_5_WP#2_Marg Dist Cust Costs for Non School Classes_Rebuttal" Chapter 5 workpaper file.
(2) PVRR of TSM components from SDG&E Financial Assumption file.
(3) Miscellaneous Revenue per Customer component from 2019 GRC Phase 1 miscellaneous cost data and the total forecasted
2020 Customers number.